### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical systems - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operations - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Inspect and diagnose a faulty generator with a non-functional ignition system and alternator using ammeter and voltmeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. Assessment Task 2: Inspect and diagnose a faulty generator with a non-functional warning and charging system using digital multimeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Inspect and diagnose a faulty generator with a non-functional ignition system and alternator using ammeter and voltmeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. - Identify the tools and equipment as per job requirement. - Calibrate Ammeter and voltmeter - Check DC power supply of ignition coil and distributor as per SOPs. - Check HT leads as per SOPs. - Check spark plugs as per SOPs. - Check DC output voltage as per SOPs. - Check belt as per SOPs. - Perform repairing according to the identified fault Assessment Task 2: Inspect and diagnose a faulty generator with a non-functional warning and charging system using digital multimeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. - Identify tools and equipment as per job requirement - Calibrate digital multimeter - Check oil sensor as per SOPs. - Check temperature sensor as per SOPs. - Check fuel sensor as per SOPs - Check over/under load module as per SOPs. - Check battery power leads as per SOPs. - Check charging circuit of alternator as per SOPs - Perfrom repairing according to the identified fault |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Inspect and diagnose a faulty generator with a non-functional ignition system and alternator using ammeter and voltmeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify the tools and equipment as per job requirement. |  |  |
| - Calibrate Ammeter and voltmeter |  |  |
| - Check DC power supply of ignition coil and distributor as per SOPs. |  |  |
| - Check HT leads as per SOPs. |  |  |
| - Check spark plugs as per SOPs. |  |  |
| - Check DC output voltage as per SOPs. |  |  |
| - Check belt as per SOPs. |  |  |
| - Perform repairing according to the identified fault |  |  |
| - Identify the tools and equipment as per job requirement. |  |  |

| Assessment Task 2 | Activity: Inspect and diagnose a faulty generator with a non-functional warning and charging system using digital multimeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify tools and equipment as per job requirement |  |  |
| - Calibrate digital multimeter |  |  |
| - Check oil sensor as per SOPs. |  |  |
| - Check temperature sensor as per SOPs. |  |  |
| - Check fuel sensor as per SOPs |  |  |
| - Check over/under load module as per SOPs. |  |  |
| - Check battery power leads as per SOPs. |  |  |
| - Check charging circuit of alternator as per SOPs |  |  |
| - Perform repairing according to the identified fault |  |  |
| - Identify tools and equipment as per job requirement |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical system - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Inspect and diagnose a faulty generator with a non-functional ignition system and alternator using ammeter and voltmeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify the tools and equipment as per job requirement. |  |  |  |  |  |
|  | Calibrate Ammeter and voltmeter |  |  |  |  |  |
|  | Check DC power supply of ignition coil and distributor as per SOPs. |  |  |  |  |  |
|  | Check HT leads as per SOPs. |  |  |  |  |  |
|  | Check spark plugs as per SOPs. |  |  |  |  |  |
|  | Check DC output voltage as per SOPs. |  |  |  |  |  |
|  | Check belt as per SOPs. |  |  |  |  |  |
|  | Perform repairing according to the identified fault |  |  |  |  |  |
|  | Identify the tools and equipment as per job requirement. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: Inspect and diagnose a faulty generator with a non-functional warning and charging system using digital multimeter after calibration: identify electrical faults and perform necessary repairs to restore proper operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify tools and equipment as per job requirement |  |  |  |  |  |
|  | Calibrate digital multimeter |  |  |  |  |  |
|  | Check oil sensor as per SOPs. |  |  |  |  |  |
|  | Check temperature sensor as per SOPs. |  |  |  |  |  |
|  | Check fuel sensor as per SOPs |  |  |  |  |  |
|  | Check over/under load module as per SOPs. |  |  |  |  |  |
|  | Check battery power leads as per SOPs. |  |  |  |  |  |
|  | Check charging circuit of alternator as per SOPs |  |  |  |  |  |
|  | Perform repairing according to the identified fault |  |  |  |  |  |
|  | Identify tools and equipment as per job requirement |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | What is calibration? |  |  |  |  |
|  | Why is calibration important? |  |  |  |  |
|  | What is the purpose of a calibration standard? |  |  |  |  |
| 4. | What is traceability in calibration? |  |  |  |  |
| 5. | Differentiate between calibration and verification? |  |  |  |  |
| 6. | What is the purpose of a generator's voltage regulator? |  |  |  |  |
| 7. | How do you diagnose a faulty generator diode? |  |  |  |  |
| 8. | What is a symptom of a faulty generator brush? |  |  |  |  |
| 9. | What is a common cause of generator output voltage fluctuation? |  |  |  |  |
| 10. | What is a common cause of generator overheating? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________