### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical systems - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operations - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Install and Operate Buchholz Relay for Protection of Power Transformer Assessment Task 2: Install and Operate Differential Relay for Protection, and Ensure Proper Grounding for Bus Bar |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Install and Operate Buchholz Relay for Protection of Power Transformer - Select appropriate PPE and follow safety protocols - Check transformer oil level and conservator tank - Select appropriate Buchholz relay compatible with the transformer size/capacity - Install relay correctly between the main tank and conservator pipeline - Connect float switch and gas detection terminals as per wiring diagram - Check mechanical alignment and gas flow detection capability - Simulate fault condition to verify relay trip function - Monitor relay indication (alarm/trip) for correct sequence - Verify relay reset mechanism is functional - Inspect and verify that all electrical connections are adequately insulated as per safety standards. - Maintain safety precautions during installation and operation Assessment Task 2: Install and Operate Differential Relay for Protection, and Ensure Proper Grounding for Bus Bar - Select appropriate PPE and follow safety protocols - Select appropriate differential relay with matching CT ratios - Install CTs on both ends of protected equipment - Check polarity and phase sequence of CT connections - Connect CT secondaries to differential relay as per control scheme - Set relay parameters - Verify correct relay operation through testing - Connect the earthing system for the bus bar and associated metallic components as per electrical grounding standards. - Measure earth resistance and verify it meets acceptable standards - Maintain safety precautions during installation and operation |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Install and Operate Buchholz Relay for Protection of Power Transformer |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select appropriate PPE and follow safety protocols |  |  |
| - Check transformer oil level and conservator tank |  |  |
| - Select appropriate Buchholz relay compatible with the transformer size/capacity |  |  |
| - Install relay correctly between the main tank and conservator pipeline |  |  |
| - Connect float switch and gas detection terminals as per wiring diagram |  |  |
| - Check mechanical alignment and gas flow detection capability |  |  |
| - Simulate fault condition to verify relay trip function |  |  |
| - Monitor relay indication (alarm/trip) for correct sequence |  |  |
| - Verify relay reset mechanism is functional |  |  |
| - Inspect and verify that all electrical connections are adequately insulated as per safety standards. |  |  |
| - Maintain safety precautions during installation and operation |  |  |
| - Select appropriate PPE and follow safety protocols |  |  |

| Assessment Task 2 | Activity: Install and Operate Differential Relay for Protection, and Ensure Proper Grounding for Bus Bar |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select appropriate PPE and follow safety protocols |  |  |
| - Select appropriate differential relay with matching CT ratios |  |  |
| - Install CTs on both ends of protected equipment |  |  |
| - Check polarity and phase sequence of CT connections |  |  |
| - Connect CT secondaries to differential relay as per control scheme |  |  |
| - Set relay parameters |  |  |
| - Verify correct relay operation through testing |  |  |
| - Connect the earthing system for the bus bar and associated metallic components as per electrical grounding standards. |  |  |
| - Measure earth resistance and verify it meets acceptable standards |  |  |
| - Maintain safety precautions during installation and operation |  |  |
| - Select appropriate PPE and follow safety protocols |  |  |
| - Select appropriate differential relay with matching CT ratios |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical system - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Install and Operate Buchholz Relay for Protection of Power Transformer |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select appropriate PPE and follow safety protocols |  |  |  |  |  |
|  | Check transformer oil level and conservator tank |  |  |  |  |  |
|  | Select appropriate Buchholz relay compatible with the transformer size/capacity |  |  |  |  |  |
|  | Install relay correctly between the main tank and conservator pipeline |  |  |  |  |  |
|  | Connect float switch and gas detection terminals as per wiring diagram |  |  |  |  |  |
|  | Check mechanical alignment and gas flow detection capability |  |  |  |  |  |
|  | Simulate fault condition to verify relay trip function |  |  |  |  |  |
|  | Monitor relay indication (alarm/trip) for correct sequence |  |  |  |  |  |
|  | Verify relay reset mechanism is functional |  |  |  |  |  |
|  | Inspect and verify that all electrical connections are adequately insulated as per safety standards. |  |  |  |  |  |
|  | Maintain safety precautions during installation and operation |  |  |  |  |  |
|  | Maintain safety precautions during installation and operation |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: Install and Operate Differential Relay for Protection, and Ensure Proper Grounding for Bus Bar |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select appropriate PPE and follow safety protocols |  |  |  |  |  |
|  | Select appropriate differential relay with matching CT ratios |  |  |  |  |  |
|  | Install CTs on both ends of protected equipment |  |  |  |  |  |
|  | Check polarity and phase sequence of CT connections |  |  |  |  |  |
|  | Connect CT secondaries to differential relay as per control scheme |  |  |  |  |  |
|  | Set relay parameters |  |  |  |  |  |
|  | Verify correct relay operation through testing |  |  |  |  |  |
|  | Connect the earthing system for the bus bar and associated metallic components as per electrical grounding standards. |  |  |  |  |  |
|  | Measure earth resistance and verify it meets acceptable standards |  |  |  |  |  |
|  | Maintain safety precautions during installation and operation |  |  |  |  |  |
|  | Select appropriate PPE and follow safety protocols |  |  |  |  |  |
|  | Select appropriate differential relay with matching CT ratios |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | Differentiate between transmission and distribution |  |  |  |  |
|  | State working principle of Buchholz Relay. |  |  |  |  |
|  | Enlist the types of bus bar. |  |  |  |  |
| 4. | Enlist names of protection which is used on transformer. |  |  |  |  |
| 5. | Enlist names of grounding equipment which is used on substation. |  |  |  |  |
| 6. | Differentiate between primary and secondary transmission line. |  |  |  |  |
| 7. | State working principle of differential relay. |  |  |  |  |
| 8. | State working principle of current transformer. |  |  |  |  |
| 9. | What is a common cause of generator output voltage fluctuation? |  |  |  |  |
| 10. | State function of relay. |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________