### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical systems - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operations - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: Assemble hydro turbine and generator after verifying foundation layout, make electrical connections and perform pre operation testing. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: Assemble hydro turbine and generator after verifying foundation layout, make electrical connections and perform pre operation testing. - Select appropriate PPE and follow safety protocols - Verify foundation layout against approved drawings and specifications - Check leveling, anchor bolts, and grouting condition of the base foundation - Position and mount hydro turbine accurately on the base - Align generator with turbine shaft using alignment tools - Install mechanical coupling between turbine and generator correctly - Tighten fasteners and mounting bolts to recommended torque values - Make proper electrical connections from generator terminals to the control panel - Connect grounding/bonding conductors as per safety standards - Perform insulation resistance test and terminal continuity check - Conduct dry run (no-load test) of the coupled system |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: Assemble hydro turbine and generator after verifying foundation layout, make electrical connections and perform pre operation testing. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Select appropriate PPE and follow safety protocols |  |  |
| - Verify foundation layout against approved drawings and specifications |  |  |
| - Check leveling, anchor bolts, and grouting condition of the base foundation |  |  |
| - Position and mount hydro turbine accurately on the base |  |  |
| - Align generator with turbine shaft using alignment tools |  |  |
| - Install mechanical coupling between turbine and generator correctly |  |  |
| - Tighten fasteners and mounting bolts to recommended torque values |  |  |
| - Make proper electrical connections from generator terminals to the control panel |  |  |
| - Connect grounding/bonding conductors as per safety standards |  |  |
| - Perform insulation resistance test and terminal continuity check |  |  |
| - Conduct dry run (no-load test) of the coupled system |  |  |
| - Select appropriate PPE and follow safety protocols |  |  |
| - Verify foundation layout against approved drawings and specifications |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical system - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Assemble hydro turbine and generator after verifying foundation layout, make electrical connections and perform pre operation testing. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Select appropriate PPE and follow safety protocols |  |  |  |  |  |
|  | Verify foundation layout against approved drawings and specifications |  |  |  |  |  |
|  | Check leveling, anchor bolts, and grouting condition of the base foundation |  |  |  |  |  |
|  | Position and mount hydro turbine accurately on the base |  |  |  |  |  |
|  | Align generator with turbine shaft using alignment tools |  |  |  |  |  |
|  | Install mechanical coupling between turbine and generator correctly |  |  |  |  |  |
|  | Tighten fasteners and mounting bolts to recommended torque values |  |  |  |  |  |
|  | Make proper electrical connections from generator terminals to the control panel |  |  |  |  |  |
|  | Connect grounding/bonding conductors as per safety standards |  |  |  |  |  |
|  | Perform insulation resistance test and terminal continuity check |  |  |  |  |  |
|  | Conduct dry run (no-load test) of the coupled system |  |  |  |  |  |
|  | Select appropriate PPE and follow safety protocols |  |  |  |  |  |
|  | Verify foundation layout against approved drawings and specifications |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | State purpose of installing a turbine in a power plant. |  |  |  |  |
|  | Enlist types of turbines used in hydro power plants. |  |  |  |  |
|  | State function of the turbine runner. |  |  |  |  |
| 4. | State role of foundation bolts in turbine installation. |  |  |  |  |
| 5. | Which type of turbine is suitable for high-head applications. |  |  |  |  |
| 6. | State purpose of installing a generator. |  |  |  |  |
| 7. | Enlist types of generators commonly used in power plants. |  |  |  |  |
| 8. | State function of the Automatic Voltage Regulator (AVR). |  |  |  |  |
| 9. | Enlist consumable item used during generator installation. |  |  |  |  |
| 10. | State function of the governor in a generator system. |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________