### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: You are required to operate a simulated turbine-generator setup, observe system parameters (voltage, frequency, load), detect any abnormality in turbine operation, perform basic fault diagnosis planted/simulated by assessor, disassemble specified parts for overhaul, and conduct reassembly and testing. Assessment Task 2: You are required to install electrical wiring and switchgear components based on the provided single-line diagram. Perform proper cable connections, interpret electrical drawings accurately, test a protection relay/breaker for functionality, and ensure full compliance with electrical safety standards throughout the activity. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: You are required to operate a simulated turbine-generator setup, observe system parameters (voltage, frequency, load), detect any abnormality in turbine operation, perform basic fault diagnosis planted/simulated by assessor, disassemble specified parts for overhaul, and conduct reassembly and testing. - Use correct PPE and follow safety procedures - Operate turbine-generator using SOP - Measure voltage/frequency using multimeter - Identify faults simulated by assessor - Perform basic disassembly - Reassemble components correctly - Verify system functionality post-repair Assessment Task 2: You are required to install electrical wiring and switchgear components based on the provided single-line diagram. Perform proper cable connections, interpret electrical drawings accurately, test a protection relay/breaker for functionality, and ensure full compliance with electrical safety standards throughout the activity. - Use correct PPE and follow safety procedures - Select and use appropriate cable type and tools - Perform cable stripping, crimping, and terminal connections correctly - Interpret and follow a single-line diagram or circuit layout accurately - Connect a protection device - Verify tripping function |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: You are required to operate a simulated turbine-generator setup, observe system parameters (voltage, frequency, load), detect any abnormality in turbine operation, perform basic fault diagnosis planted/simulated by assessor, disassemble specified parts for overhaul, and conduct reassembly and testing. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Use correct PPE and follow safety procedures |  |  |
| - Operate turbine-generator using SOP |  |  |
| - Measure voltage/frequency using multimeter |  |  |
| - Identify faults simulated by assessor |  |  |
| - Perform basic disassembly |  |  |
| - Reassemble components correctly |  |  |
| - Verify system functionality post-repair |  |  |

| Assessment Task 2 | Activity: You are required to install electrical wiring and switchgear components based on the provided single-line diagram. Perform proper cable connections, interpret electrical drawings accurately, test a protection relay/breaker for functionality, and ensure full compliance with electrical safety standards throughout the activity. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Use correct PPE and follow safety procedures |  |  |
| - Operate turbine-generator using SOP |  |  |
| - Measure voltage/frequency using multimeter |  |  |
| - Identify faults simulated by assessor |  |  |
| - Perform basic disassembly |  |  |
| - Reassemble components correctly |  |  |
| - Verify system functionality post-repair |  |  |

Candidates Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Basic Communication Skills - Operate and Monitor Hydro Power Systems - Perform Electrical Installation - Interpret Technical Drawings - Conduct Power System Protection and Testing - Overhaul and Repair Hydro Power Components - Supervise On-Site Civil and Structural Works - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: You are required to operate a simulated turbine-generator setup, observe system parameters (voltage, frequency, load), detect any abnormality in turbine operation, perform basic fault diagnosis planted/simulated by assessor, disassemble specified parts for overhaul, and conduct reassembly and testing. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Use correct PPE and follow safety procedures |  |  |  |  |  |
|  | Operate turbine-generator using SOP |  |  |  |  |  |
|  | Measure voltage/frequency using multimeter |  |  |  |  |  |
|  | Identify faults simulated by assessor |  |  |  |  |  |
|  | Perform basic disassembly |  |  |  |  |  |
|  | Reassemble components correctly |  |  |  |  |  |
|  | Verify system functionality post-repair |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: You are required to install electrical wiring and switchgear components based on the provided single-line diagram. Perform proper cable connections, interpret electrical drawings accurately, test a protection relay/breaker for functionality, and ensure full compliance with electrical safety standards throughout the activity. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Use correct PPE and follow safety procedures |  |  |  |  |  |
|  | Operate turbine-generator using SOP |  |  |  |  |  |
|  | Measure voltage/frequency using multimeter |  |  |  |  |  |
|  | Identify faults simulated by assessor |  |  |  |  |  |
|  | Perform basic disassembly |  |  |  |  |  |
|  | Reassemble components correctly |  |  |  |  |  |
|  | Verify system functionality post-repair |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |  |
| --- | --- | --- | --- | --- |
|  | What is the function of a governor in a turbine system? |  |  |  |  |
|  | State one condition under which a generator should not be operated. |  |  |  |  |
|  | Why is load balancing important in power generation? |  |  |  |  |
| 4. | What instrument is used to monitor electrical frequency? |  |  |  |  |
| 5. | What is the first step to take in case of an electrical fire? |  |  |  |  |
| 6. | Who should be informed immediately after an electric shock incident? |  |  |  |  |
| 7. | What safety measure is essential before installing a transformer? |  |  |  |  |
| 8 | Name one tool used for mounting a switchgear panel. |  |  |  |  |
| 9. | Why is color coding important in cable installation? |  |  |  |  |
| 10. | What type of cable is typically used for underground power supply? |  |  |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________