### Assessment Evidence Guide Template & Guidelines for Level 2 – 4 Qualifications

Section A: Instruction Sheet for Candidate(s)

| Qualification |  |
| --- | --- |
| Competency Standard(s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical systems - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operations - On Job Training |
| Purpose of Assessment | Formative / Summative / RPL |
| Candidate Details | Name________________________________________________________ Registration/Roll Number___________________ Date _________________ |

Section A1: Guidance for Candidate(s)

To be used on need-basis (prior to the assessments)

| General Guidance | To meet this assessment, the candidate(s) is/are required to complete the following Assessment Task 1: You are required to install a micro hydro turbine by welding the provided mounting frames onto a prepared foundation and coupling it with the generator using provided alignment tools. Complete simulated electrical connections to a pre-wired control panel, perform basic pre-operation checks and record inlet pressure and flow rate from pre-installed gauges. |
| --- | --- |
| Time: | 00 Hrs. |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate(s) is/are required to: Assessment Task 1: You are required to install a micro hydro turbine by welding the provided mounting frames onto a prepared foundation and coupling it with the generator using provided alignment tools. Complete simulated electrical connections to a pre-wired control panel, perform basic pre-operation checks and record inlet pressure and flow rate from pre-installed gauges. - Use correct PPE and follow safety procedures - Weld mounting frame correctly and securely - Mount and align turbine on pre-prepared foundation correctly - Couple turbine with generator accurately - Make electrical wiring connections as per diagram - Perform pre-operation checks systematically - Record inlet pressure and flow rate correctly |

Section A2: Self-Assessment Checklist

This section is optional for regular assessments and mandatory for RPL assessments

| Assessment Task 1 | Activity: You are required to install a micro hydro turbine by welding the provided mounting frames onto a prepared foundation and coupling it with the generator using provided alignment tools. Complete simulated electrical connections to a pre-wired control panel, perform basic pre-operation checks and record inlet pressure and flow rate from pre-installed gauges. |
| --- | --- |

I (candidate) can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Use correct PPE and follow safety procedures |  |  |
| - Weld mounting frame correctly and securely |  |  |
| - Mount and align turbine on pre-prepared foundation correctly |  |  |
| - Couple turbine with generator accurately |  |  |
| - Make electrical wiring connections as per diagram |  |  |
| - Perform pre-operation checks systematically |  |  |
| - Record inlet pressure and flow rate correctly |  |  |
| - Use correct PPE and follow safety procedures |  |  |

Candidate’s Signature___________________ Assessor’s Signature_______________________

Date _______________________________

Section B: Assessor’s Judgement Guide

| Qualification |  |
| --- | --- |
| Competency Standard (s) | - Apply Entrepreneurial Skill - Perform Advance Welding - Operate Hydraulic Machines - Perform Quantity Survey/Estimation - Calibrate Electrical Equipment - Diagnose Electrical Fault in Generator - Carryout Protection of Distribution and Transmission System - Install Turbine - Install Generator - Control MHP plant shutdown for emergency standby electrical system - Analyze faults in MHP plant operation - Carry out preventive maintenance procedures as part of MHP operation - On Job Training |
| Purpose of Assessment |  |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: You are required to install a micro hydro turbine by welding the provided mounting frames onto a prepared foundation and coupling it with the generator using provided alignment tools. Complete simulated electrical connections to a pre-wired control panel, perform basic pre-operation checks and record inlet pressure and flow rate from pre-installed gauges. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Use correct PPE and follow safety procedures |  |  |  |  |  |
|  | Weld mounting frame correctly and securely |  |  |  |  |  |
|  | Mount and align turbine on pre-prepared foundation correctly |  |  |  |  |  |
|  | Couple turbine with generator accurately |  |  |  |  |  |
|  | Make electrical wiring connections as per diagram |  |  |  |  |  |
|  | Perform pre-operation checks systematically |  |  |  |  |  |
|  | Record inlet pressure and flow rate correctly |  |  |  |  |  |
|  | Use correct PPE and follow safety procedures |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Differentiate between SMAW and GTAW. |  |  |
|  | Enlist type of Welding. |  |  |
|  | What is the purpose of arc length control. |  |  |
|  | State primary function of the welding power source in arc welding. |  |  |
|  | Differentiate between a carburizing flame and an oxidizing flame. |  |  |
|  | State importance of weld quality control. |  |  |
|  | Define submerged arc welding. |  |  |
|  | State friction stirs welding. |  |  |
|  | State importance of weld quality control. |  |  |
|  | State Non-Destructive Welding Tests. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________ Date _________________