| DACUM Panel Engr. Tauseef Hussain Qasmi, Water & Power Department Government of Gilgit-Baltistan Engr. Dr. Tauqeer Akhtar, Punjab Irrigation and Power Department, Government of Punjab Mr. Sheraz Ali, Environmental Protection Agency (EPA) GB Engr. Navid Ali, KP-TEVTA, Independent Consultant Mr. Ejaz Ahmed, GVTTC Diamer GB Engr. Hayat Baig, Baig Hydro Designs Gilgit Engr. Arif Hussain, Karakoram International University Gilgit Engr. Abdul Rehman, P-TEVTA Engr. Muhammad Asad P-TEVTA Engr. Waqas Anjum Khan, P-TEVTA Dr. Mehmood Hassan, P-TEVTA DACUM Facilitator: Abdul Basit, Pak-PWD, Gujranwala Qurbat Zahra, H-Techniques, (Co-DACUM) Coordinator: Muhammad Asim Assistant Director NAVTTC Islamabad Muhammad Ishaq Deputy Director NAVTTC Islamabad | Occupational Profile For National Vocational Certificate Level 2 in “Micro Hydro Power Plant Generation Assistant” |
| --- | --- |
|  | 03-07th March, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

1. Occupational Profiling

| Micro Hydro Power Plant Generation Assistant Level – 2 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Duties and Tasks |  |  |  |  |  |
| - Maintain workplace safety |  |  |  |  |  |
| A1. Identify hazards at workplace | A2. Observe tools & equipment safety measures |  | A3. Operate fire extinguisher | A4. Follow workplace emergency procedures |  |
| - Perform Workshop Practice |  |  |  |  |  |
| B1. Perform bench working | B2. Operate hand held power tools |  | B3. Perform basic welding process | B4. Perform metal work techniques |  |
| - Perform general maintenance of Hydro Power Plant Components |  |  |  |  |  |
| C1. Perform maintenance/ inspection of mechanical parts. | C2. Perform maintenance/inspection of hydraulic system |  | C3. Perform maintenance/inspection of electrical system | C4. Perform maintenance/inspection of structure. |  |
| - Perform basic Masonry operations |  |  |  |  |  |
| D1. Prepare cement mortar | D2. Perform concreting operation |  | D3. Perform brick/block masonry | D4. Perform plastering |  |
| - Install wiring |  |  |  |  |  |
| E1. Prepare wiring layout | E2. Perform wiring operations |  | E3. Install industrial / commercial wiring | E4. Perform wiring test |  |
| - Perform Basic Engineering Survey |  |  |  |  |  |
| F1. Measure linear distances | F2. Perform simple levelling | F3. Perform contouring. |  | F4. Compute volume by contouring |
| - Interpret Basic Technical Drawings |  |  |  |  |  |
| G1. Produce template of title block/strip & draw types of lines | G2. Perform lettering |  |  | G3. Construct scales for drawing |  |
| G4. Draw geometrical figures | G5. Draw sections of objects |  |  | G6. Label dimensioning on drawings |  |