Competency Standards

For

National Vocational Certificate Level 2 in

“Micro Hydro Power Plant Assistant”

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level – II. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, Micro Hydro Power Plant Experts, Water & Power Department Government of Gilgit-Baltistan, Punjab Irrigation and Power Department, Government of Punjab, experts from academia KP-TEVTA, Punjab Tevta and Karakoram International University Gilgit work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1.	Date of development:	4

1.2.	Date of review & validation:	4

1.3.	Entry requirement of trainee:	4

1.4.	Trainer Qualification Requirement	4

1.5.	Codes of qualification (ISCED)	4

2.	Summary of Competency Standards and Contact Hours	5

3.	Qualification Levelling and Packaging	5

4.	Description of Qualification Package	5

5.	Competency Standards	6

5.1 1022OHS01 Maintain Workplace Safety	6

5.2 0713E&E3801 Perform Workshop Practice	8

5.3 0713E&E3802 Perform General maintenance of Hydro Power Plant Components	11

5.4 0713E&E3803 Perform Basic Masonry operations	13

5.5 0713E&E3804 Install wiring	16

5.6 0713E&E3805 Perform Basic Engineering Survey	19

5.7 0713E&E3806 Interpret Basic Technical Drawings	22

5.8 0713E&E380 On Job Training	23

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	24

7.	Members of Qualification Development & Review Committee	28

- Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledges the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Competency Standards (CS) for the trade of Micro Hydro Power Plant Assistant. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

A micro hydro power plant is an intricate structure that utilizes flows of water to create electricity. In order to maintain its optimal performance, some activities must be completed, including workplace safety, workshop practices, and general upkeep. Protecting workers who operate in environments full of dangerous machines and electrical components is key, keeping safety at the forefront. In addition, taking care of the plant regularly promotes smoother operations while saving and producing energy for maximum efficiency.

Alongside safety and maintenance, there is a range of other competencies required for the effective management of a hydro plant. These skills include but are not limited to performing basic engineering surveys to gauge site conditions, graphically interpreting facilities and construction drawings, and basic masonry for structure work to secure wiring. All these skills enable take charge and operate a micro hydro power plant to generate and serve as an everlasting energy resource.

| ## Date of development: | 3rd March 2025 – 7th March 2025 |
| --- | --- |
| ## Date of review & validation: | 7th March 2025 |
| ## Entry requirement of trainee: | Secondary School Certificate or Equivalent |
| ## Trainer Qualification Requirement | Minimum Intermediate with 5 years of hands-on experience in Micro Hydro Power OR Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power |
| ## Codes of qualification (ISCED) | Code: 0713E&E38 Description: National Vocational Certificate Level-II Micro Hydro Power Plant Assistant |

# Summary of Competency Standards and Contact Hours

| Sr. No. | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
|  | 1022OHS01 Maintain Workplace Safety | 2 | Generic | 9 | 42 | 51 | 3.00 |
|  | 0713E&E3801 Perform Workshop Practice | 2 | Technical | 10 | 60 | 70 | 4.00 |
|  | 0713E&E3802 Perform general maintenance of Power Plants Components | 2 | Technical | 8 | 54 | 62 | 3.50 |
|  | 0713E&E3803 Perform basic Masonry operations | 2 | Technical | 7 | 66 | 73 | 4.00 |
|  | 0713E&E3804 Install wiring | 2 | Technical | 6 | 48 | 54 | 3.00 |
|  | 0713E&E3805 Perform Basic Engineering Survey | 2 | Technical | 10 | 60 | 70 | 4.00 |
|  | 0713E&E3806 Interpret Basic Technical Drawings | 2 | Technical | 10 | 60 | 70 | 4.00 |
|  | 0713E&E3807 On Job Training | 2 | Technical | 0 | 0 | 180 | 4.5 |
|  | Total |  |  | 60 | 390 | 630 | 30 |

# Qualification Levelling and Packaging

| S # | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
|  | Micro Hydro Power Plant Assistant | 0713E&E3801 to 0713E&E3808 | 2 | 30 | 6 months |

# Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| Micro Hydro Power Plant Assistant | Micro Hydro Power Plant Operator | Micro Hydro Power Plant Technician | - DAE Civil Technology - DAE Electrical Technology - DAE Mechanical Technology |

# Competency Standards

## 5.1 1022OHS01 Maintain Workplace Safety

Overview:

This competency standard covers the under-pinning knowledge and skills required for a trainee to be competent to Maintain Workplace Safety. After completing the competency standard, the student will be able to perform all the task to keep the environment safe in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| Identify hazards at workplace | - Identify tools, equipment harmful at workplace. - Identify safety signs, barricades and symbols. - Interpret work processes and procedures to identify hazards at workplace. - Report workplace hazards, accidents and emergencies. |
| Observe tools & equipment safety measures. | - Check electrical connections of machines. - Check earthing for safety of equipment. - Select tool as per the job requirements. - Store the tools and equipment as per SOPs. |
| Operate fire extinguisher | - Asses the fire situation. - Select the fire extinguisher based on the type and size of the fire. - Verify the working condition of the fire extinguisher. - Check expiry of fire extinguisher. - Apply fire extinguishing technique as per SOPs. |
| Follow workplace emergency plan/procedure | - Adopt safe workplace procedure as per SOPs. - Adopt evacuation as per SOPs. - Use designated exits and assembly points. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types of personal protective equipment.

- Types of safety signs.

- Health and safety precautions.

- Dealing with hazards to avoid accidents.

- Firefighting methods.

- Methods of treatment against shocks.

- Methods of treatment against minor injuries.

- Types of Fire Extinguisher.

- Uses of Fire Extinguisher.

- Safety measures.

- Types of hazards that are most likely to cause harm to health and safety

- Health and safety signs and precautions

- Techniques and methods to identify the risks of hazards at workplace

- Safety reporting procedures and documentation

- Describe fire-fighting methods

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

    - List hazards at workplace.

    - Wear Personal Protective Equipment (PPEs) as per SOPs.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Health and Safety Manual | 25 |
|  | First Aid Box (Fully Equipped) | 3 |
|  | Safety Equipment PPEs | 25 each |
|  | Smoke Detecting Alarm | 2 |
|  | Fire Extinguisher (Dry Chemical Powder) | 5 |
|  | Fire Extinguisher wet chemical | 5 |
|  | Fire Extinguisher (water) | 5 |
|  | Fire Bucket | 5 |
|  | Safety Helmet | 25 |
|  | Safety Goggles | 25 |
|  | Ear Protection (Ear Muffs or Plugs) | 25 |
|  | Safety Gloves (Electrical & General Purpose) | 25 Pairs |
|  | High-Visibility Safety Vests | 25 |
|  | Safety Shoes (Steel Toe) | 25 Pairs |
|  | Face Shields | 5 |
|  | Fire Blanket | 5 |
|  | Electrical Rubber Mat (2m x 1m) | 3 |
|  | Warning Sign Boards / Labels | 10 Sets |
|  | Emergency Light Units | 2 |
|  | Spill Control Kit | 1 Set |
|  | Insulation Tape | 10 Rolls |
|  | Safety Posters | 10 Sets |
|  | Disposable Masks | 250 Pieces |
|  | Disposable Gloves (Latex/Nitrile) | 100 Pairs |
|  | Cleaning Cloth | 100 Pieces |
|  | Hand Sanitizer Bottles (500 ml) | 10 Bottles |
|  | Disinfectant Solution / Spray | 10 Liters |
|  | Floor Safety Marking Tape | 10 Rolls |
|  | Replacement Batteries (for emergency lights) | 10 Sets |
|  | Fuse Wires / Breaker Links (Assorted) | 1 Kit |
|  | Industrial Soap or Hand Wash | 20 Liters |
|  | Aprons | 25 Pieces |

## 5.2 0713E&E3801 Perform Workshop Practice

Overview:

This competency standard covers the skills and knowledge required by the trainees to identify the tools and equipment used in workshop and carry out bench working, welding process and apply the techniques of metal work. These skills aim to enhance capabilities in real-world scenarios.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform bench working | - Select tools according to job requirement. - Use hand tools as per job requirement. - Mark layout as per given drawing. - Inspect finished components according to the given drawing. - Perform filling operations on the given workpiece according to given drawing. - Follow assembly operation to fit and join parts according to given drawing. - Clean and store tools and equipment as per SOPs. |
| Operate hand held power tools | - Wear PPEs as per SOPs. - Select tools for grinding operation as per job requirement. - Perform grinding operation as per SOPs. - Select drilling tools for drilling operation as per job requirement. - Perform drilling operation according to given drawing. - Inspect finished job as per given drawing. |
| Perform basic welding process | - Select welding tools, equipment, and materials as per job requirement. - Adopt safety measures, during welding operations. - Prepare work pieces for welding according to SOPs. - Perform welding operations, as per given drawing. - Inspect welds for defects (cracks, porosity, or weak joints). - Perform rework, if required to meet given quality standards. - Clean and store tools and equipment as per SOPs. |
| Perform metal work techniques | - Take measurements as per job requirements. - Mark job according to the layout. - Use cutting tools as per job requirements. - Implement forming techniques, including bending, rolling, and forging, to shape metal components as per given drawing. - Prepare Dove tail, Spanner, and Funnel on the given workpiece. - Perform grinding/sanding to finish metal surfaces according to job requirement. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Describe measuring units.

- Describe basic measuring /Marking /cutting tools.

- Define methods and techniques of sawing.

- Define types of hammers.

- Describe the drilling procedure.

- Describe use of round file.

- Types of fits and tolerances.

- Explain metal properties.

- Define temperature and its units.

- Knowledge of basic drawing.

- Explain marking tools.

- Explain marking methods.

- Describe the filler rod.

- Describe joint symbols.

- Types of electrodes.

- Motion of electrodes.

- Temperature of arc.

- Explain positions of electrode according to work.

- Knowledge of setting the current on welding machine.

- Describe Bead in Arc welding.

- Explain importance of gap between electrode and base metal

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) to be competent in this competency standard:

- Prepare a job using hand held tools such as drill machine and grinder. Also, perform finishing of job after welding.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Work bench | 7 |
|  | Bench vice | 25 |
|  | Hammer | 25 |
|  | Tri-square | 25 |
|  | Hand hacksaw | 25 |
|  | Combination Spanner Set (6–32 mm) | 5 Sets |
|  | Adjustable Wrench (12") | 10 |
|  | Screwdriver Set (Flat & Philips) (05 Each) | 10 Sets |
|  | Steel Rule (12") | 25 |
|  | Center Punch | 10 |
|  | Hand File Set (Rough, Smooth, Fine) | 10 Sets |
|  | Measuring Tape 16 ft | 25 |
|  | Pipe Wrench (18") | 5 |
|  | Scriber | 25 |
|  | Vernier caliper (150 mm) | 25 |
|  | Welding transformer | 5 |
|  | Welding rectifier | 5 |
|  | Industrial Extension leads | 10 |
|  | Chipping Hammer | 25 |
|  | Wire brush | 25 |
|  | Face shield | 25 |
|  | Electrode holder | 5 |
|  | Generator | 1 |
|  | Electric Drill Machine (Handheld) | 5 |
|  | Hand grinder | 5 |
|  | Hand Rivet Machine/Gun | 5 |
|  | Safety Helmet | 25 |
|  | Safety Shoes | 25 |
|  | Hacksaw Blades | 50 Pieces |
|  | Marking Chalk / Pencil | 50 Pieces |
|  | Emery Paper (Rough & Fine) | 100 Sheets |
|  | Machine Oil / Lubricant | 10 Liters |
|  | Drill Bits (HSS, assorted) | 50 Pieces |
|  | Stainless Steel Metal Rivets | 500 |
|  | Cleaning cloth | 25 Kg |
|  | Kerosene / Degreaser | 10 Liters |
|  | Masking Tape | 20 Rolls |
|  | Hand wash | 20 Liters |
|  | Safety Gloves (Cotton) | 100 Pairs |
|  | Aprons | 30 |
|  | Grinder Disk | 25 |
|  | Metal sheet | 2500 sft |
|  | Hinges | 100 |
|  | Screws | 100 boxes |

## 5.3 0713E&E3802 Perform General maintenance of Hydro Power Plant Components

Overview:

This competency standard covers the skills and knowledge required by the trainee to inspect and maintain the hydro power plant. ‘Routine maintenance’ in this context refers to simple, small-scale activities associated with general upkeep of machinery, equipment and infrastructure against normal wear and tear. This module covers routine maintenance, inspection of hydraulic components, inspection of electrical system and inspection of structure. These skills intend to enhance the understanding regarding inspection and maintenance of hydro power plant.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform maintenance/ inspection of mechanical parts. | - Inspect mechanical parts of hydro power plant as per SOPs. - Lubricate movable parts (Bearings, Gearbox, Spindle etc.) as per given schedule. - Check alignment of belts as per procedures. - Inspect belts for wear, tear and damage. - Inspect gate valve spindle and gear for damage. - Inspect foundation of generator and turbine for imbalance. |
| Perform maintenance/ inspection of hydraulic system. | - Check hydraulic oil level of hydraulic governor. - Check seal of hydraulic governor for any damage. - Maintain hydraulic fluid levels in systems controlling gates and turbines as per procedures. - Inspect pumps and valve for functioning and damage. |
| Perform maintenance/ inspection of electrical system. | - Inspect loose connections and overheating in electrical panel. - Test circuit breakers operation as per SOPs. - Inspect generator bushes for any damage. - Test protective relays functioning as per procedures. - Inspect the transformer link for any damage. - Monitor voltage and current levels as per SOPs. |
| Perform maintenance/ inspection of structure. | - Inspect Dam Structure for cracks, erosion, or structural damage as per procedures. - Monitor Reservoir Levels for safe operating limits. - Inspect spillways and gates for blockages or mechanical issues as per procedures. - Monitor sediment levels for sediment buildup in the reservoir as per SOPs. - Inspect penstocks for corrosion, leaks, or structural issues as per procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Types of lubricants for mechanical system.

- Drawing symbols for electrical and hydraulic system.

- Belt drive system and types.

- Common faults in electrical circuits.

- Measure and calculate electrical parameters.

- Types of cables.

- Sediment load as per seasonal variation.

- Penstock and Turbine Parts.

- Types of valves and flushing gates.

- Expansion joints.

Critical Evidence(s)

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Inspect and maintain mechanical parts and hydraulic system of provided equipment.

- Demonstrate inspection and monitoring of given electrical panel.

- List cracks types in penstock.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Multi-meter | 25 |
|  | Frequency meters | 25 |
|  | Adjustable wrench (6 & 12 Inch) (3 Each) | 6 |
|  | Allen keys set | 5 |
|  | Combination pliers set | 5 |
|  | Insulation link rod | 2 |
|  | Puller | 5 |
|  | Grease gun | 5 |
|  | Oil cane | 10 |
|  | Spanner Set (6–32 mm, Combination) | 5 Sets |
|  | Socket Set with Ratchet Handle | 5 Sets |
|  | Torque Wrench | 2 |
|  | Screwdriver Set (Flat & Philips) | 10 Sets |
|  | Ball Peen Hammer (1 Kg) | 10 |
|  | Rubber Mallet | 5 |
|  | Pipe Wrench (18") | 5 |
|  | Bearing Puller Set | 2 Sets |
|  | Electric Drill Machine (Handheld) | 5 |
|  | Tool Trolley / Box | 5 |
|  | Grease (Multipurpose) | 10 Kg |
|  | Machine Oil | 10 Liters |
|  | Thread Sealing Tape (Teflon Tape) | 10 Rolls |
|  | Insulation Tape (Electrical Grade) | 10 Rolls |
|  | Cleaning Clothes | 10 Kg |
|  | Rust Remover | 10 Liters |
|  | Safety Gloves (Cotton & Rubber) | 50 Pairs |
|  | Safety Goggles | 25 |
|  | Hand Wash | 20 Liters |
|  | Aprons | 25 |
|  | Disposable Masks | 250 Pieces |
|  | Nuts, Bolts & Washers (Assorted) | 3 Box (1 Each) |

## 5.4 0713E&E3803 Perform Basic Masonry operations

Overview:

This competency standard covers the skills and knowledge required by the trainee to perform the masonry work. This competency standard includes Plan for Concreting, perform excavation by hand, Concreting Operation, Plan for Bricklaying work, Perform Bricklaying Operation and Perform Plaster Operation. These skills intend to enhance understanding regarding masonry work at hydro power plant.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare cement mortar | - Select materials for mortar as per job requirement. - Sieve materials on standard sieve. - Prepare non-porous platform / select metal tray for mixing. - Identify ratio of mortar as per procedures. - Batch required quantities of materials as per job requirement. - Prepare mortar as per SOPs. |
| Perform concreting operation | - Identify ratio for concrete as per SOPs. - Prepare ingredients for concreting as per job requirement. - Identify method of mixing as per job requirement. - Prepare non-porous platform for hand mixing. - Select method of batching according to the job. - Batch and mix ingredients of concrete according to given specified ratio. - Select method of transportation of concrete according to job requirement. - Transport concrete for placing as per SOPs. - Place / lay concrete in formwork. - Select method of compacting concrete as per procedures. - Compact concrete as per procedures. - Select methods of finishing concrete. - Finish concrete as per procedures. - Select methods of curing as per procedures. - Cure concrete for specified duration/requirement as per procedures. |
| Perform brick/block masonry | - Use PPEs as per SOPs. - Calculate material quantity as per given specifications. - Select bricks/blocks for conformity with given specifications. - Develop work platform as per job requirements. - Identify location and structural details of brickwork/ blockwork from the given plans. - Set out base brickwork construction as per procedures. - Build walls to gauge straight and true in plumb, line and level within standards tolerance. - Brush down brickwork/block work prior to drying to remove unwanted mortar and face is cleaned. - Remove excess mortar from brick/blockwork surfaces and clean cavities free of mortar and debris. - Clean work area, and waste disposed of, reused or recycled as per SOPs. |
| Perfrom plastering | - Identify tools for plastering. - Prepare mortar for plastering. - Identify double / triple coats of plastering. - Prepare surface for plastering. - Apply rendering / floating coat. - Prepare screeds for plastering - Plaster surface between screeds. - Cure plastered surface as per give specifications. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Construction Materials Understanding.

- Mixing Mortar.

- Tools Proficiency.

- Concrete Ratio.

- Reading Plans and Drawings.

- Foundation Knowledge.

- Laying Techniques.

- Leveling and Plumb.

- Bonding Patterns.

- Safety Practices.

- Finishing Techniques.

- Basic Structural Principles.

- Weather Considerations.

- Plaster ratio and coats.

- Bricklaying process.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare concrete as per given ratio.

- Perform plaster work as per given specification.

- Perform bricklaying operation according to given instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Shovel | 25 |
|  | Trowel | 25 |
|  | Float | 25 |
|  | Brick Hammer | 25 |
|  | Spirit Level | 25 |
|  | Plumb Bob | 25 |
|  | Measuring Tape (30m) | 5 |
|  | Straight edge | 25 |
|  | Wheelbarrow | 5 |
|  | Spade | 10 |
|  | Pickaxe | 5 |
|  | Mortar Pan | 25 |
|  | Concrete Mixer (Small, Portable) | 1 |
|  | Poker Vibrator | 1 |
|  | Wooden Float | 15 |
|  | Steel Float | 10 |
|  | Ladder (Aluminum) | 3 |
|  | Water Hose Pipe with Nozzle | 1 |
|  | Buckets (Plastic/Metal) | 20 |
|  | Safety Shoes | 25 Pairs |
|  | Safety Helmets | 25 |
|  | Masonry Chisel | 25 |
|  | Tuck Pointer | 25 |
|  | Hawk (Plaster’s tools) | 25 |
|  | Cement (Bags) | 10 Bags |
|  | Sand (Fine and Coarse) | 50 Cubic Feet |
|  | Crushed Aggregate (Bajri) | 50 Cubic feet |
|  | Bricks (Standard Size) | 1000 |
|  | Binding Wire | 5 Kg |
|  | Nails (Assorted Sizes) | 5 Kg |
|  | Rubber Gloves | 50 Pairs |
|  | Dust Masks | 100 Pieces |
|  | Wire brush | 25 |
|  | Line and Pins | 25 sets |
|  | Sponge | 50 |
|  | Plastering sponge float | 25 |
|  | String | 10 rolls |

## 5.5 0713E&E3804 Install wiring

Overview:

This competency standard introduces the practical approach for the trainees to understand wiring layouts, identify categories of cables and cables joints, install the wiring according to the required layout and run different types of tests to check the wiring.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare wiring layout | - Draw wiring layout as per instructions. - Measure distance to connection points of the given circuit. - Estimate material as per given job specification. - Prepare tools, equipment and materials as per job requirements. |
| Perform wiring operations | - Select tools and equipment as per job requirements. - Install conduits or ducts according to job requirement. - Pull-in cables through pipes or ducts. - Strip the insulation from the cables as per procedures. - Connect wire to switches or junction box according to plan layout. |
| - In Install industrial / commercial wiring | - Select tools and equipment as per job requirement. - Draw wiring diagram of circuit according to instructions. - Mark points for installation as per procedures. - Lay wires in duct/pipe according to layout diagram. - Carry out Earthing as per SOPs. - Fix all the accessories as per given wiring diagram. - Fix Distribution Box (DB) as per SOPs. - Connect the installed wiring with main supply. - Make connections of accessories as per given wiring diagram. |
| CU4. Perform wiring test | - Inspect wiring and distribution board as per procedures. - Conduct wiring tests as per job requirements. - Document test results including reading and discrepancies. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Interpret electrical drawing and symbols.

- Local electrical codes.

- Types of wiring.

- Conductor and insulation types.

- Ducting procedure for wiring.

- Types of wire joints.

- Safety practices.

- PPEs for Electrical work.

- Installation techniques.

- Continuity, short circuit, open circuit and voltage tests.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard.

- Perform domestic wiring as per instructions.

- Perform continuity, open circuit and short circuit wiring tests as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Insulation combination plier | 10 |
|  | Multi-meter | 10 |
|  | Wire Striper | 10 |
|  | Nose plier | 10 |
|  | Megger meter | 10 |
|  | Screw Driver flat and plus type set off 4”, 6”, 8” | 5 Each |
|  | Neon phase tester light duty pocket size | 10 |
|  | Insulated pliers with side cutter | 10 |
|  | Insulated long nose pliers with side cutter | 10 |
|  | Insulated wire cutter | 10 |
|  | Insulated Electrical Knife | 10 |
|  | Measuring Tape (30m) | 5 |
|  | Hammer | 10 |
|  | Electric Drill Machine with Bits | 5 |
|  | Continuity Tester / Test Lamp | 10 |
|  | Clamp Meter | 2 |
|  | Conduit Bender (Manual) | 3 |
|  | Ladder (6 ft Aluminum) | 3 |
|  | Line Tester | 15 |
|  | Tool Kit Box (for Electrical Work) | 5 |
|  | Thimble plier | 25 |
|  | PVC Insulated Wire (1.5 mm², 2.5 mm², 4 mm²) | 10 Coils each |
|  | Electrical Conduit (PVC) | 500 meters |
|  | Junction Boxes (PVC) | 100 Pieces |
|  | Electrical Insulation Tape | 100 peces |
|  | Cable Clips with Nails | 10 packs |
|  | Screws and Wall Plugs (Assorted) | 2,000 Pieces |
|  | PVC Bends and Tees | 300 Pieces |
|  | Circuit Breakers (MCB - SP/DP) | 10 Each |
|  | Distribution Boards | 2 |
|  | Bulb Holders | 50 Pieces |
|  | LED Bulbs (10W–15W) | 50 Pieces |
|  | Safety Gloves (Rubber Insulated) | 25 Pairs |
|  | Safety Goggles | 25 |
|  | Face Masks | 100 Pieces |
|  | Warning Labels & Safety Sign Stickers | 30 Sets |
|  | Notebook | 25 |
|  | Pencil | 75 |
|  | Drawing Paper | 75 |
|  | Scale | 75 |
|  | Eraser | 75 |
|  | Sharpener | 75 |
|  | Switches | 100 pieces |
|  | Sockets | 100 pieces |
|  | Earthing rods | 10 |
|  | Earthing wires | 800 meter |
|  | Wire connectors | 50 strips |
|  | Mounting plates | 200 pieces |
|  | Labels (for marking installation points) | 200 |
|  | Cable sleeves | 100 pieces |

## 5.6 0713E&E3805 Perform Basic Engineering Survey

Overview:

The competency standard describes skills and knowledge required to measure distance, perform levelling, perform contouring, Compute Volume by Contouring, Perform Traversing by Theodolite. This module intends to enhance the understanding regarding the basic survey operation necessary for hydro power plant.

| Competency Units | Performance Criteria |
| --- | --- |
| Measure linear distances | - Select start and end points of line as per instructions. - Select tools to be used for measurement as per instructions. - Range line for measurement according to SOPs. - Take measurements by measuring tape as per instructions. |
| Perform simple levelling. | - Identify leveling instrument and leveling staffs as per job requirement. - Identify temporary Bench Mark as per procedures. - Perform temporary adjustment of level as per procedures. - Select the Bench mark/reduce level as per requirements. - Determine height of instrument as per procedures. - Record BS & FS in field book as per SOPs. - Calculate Reduced Levels by height of instrument and rise & fall method. |
| Perform contouring | - Select instruments for contouring as per procedures. - Perform temporary adjustment of levelling instrument as per procedures. - Locate points of specified contour levels as per SOPs. - Draw radial Lines for direct method / squares for indirect method as per instructions. - Draw contour lines on drawing sheet as drawn on earth and mention their levels according to given scale. |
| Compute volume by contouring | - Identify given contouring data for computation of volume. - Find out area of each contour as per procedures. - Apply Average End Area (trapezoidal) Method / prismoidal formula to find out volume between two contours. - Sum up volume in tabular forms for all contours. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Define Surveying.

- State the purpose of surveying.

- State the divisions (plane, geodetic).

- State classes of survey (Preliminary survey, control survey, layout survey).

- State classification of surveying based on function of survey and type of instrument used including Chain & Compass Surveying, Control surveying, Land surveying, Topographic Surveying, Engineering Surveys, Cadastral Surveys.

- Explain instruments used in surveying.

- State the fundamental principles of surveying.

- State units of measurement.

- State distance measurement (horizontal, vertical and slope distance).

- State distance measuring techniques (direct and indirect).

- Explain procedure of ranging.

- Describe offsets and its types.

- Define levelling and describe the purpose of levelling.

- Define technical terms, level line, level surface, datum, datum line, horizontal plane, vertical plane, Horizontal line, vertical line, level line, line of collimation, Axis of telescope, bubble tube axes, back sight, foresight, Intermediate sight, change point, station point.

- Identify the parts and function of various types of tilting levels, Auto set level and digital level.

- Explain with sketches levelling staves and their uses.

- List the steps involved in performing temporary adjustment of a level.

- Compute the reduced levels by rise & fall method and height of instrument method and recording the same on level book.

- State precautions in levelling operation.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure a survey line using tape and EDM.

- Compute volume of reservoir by contouring as per given instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Calculator (Scientific) | 25 |
|  | Ruler / Scale (Engineering & Metric) | 25 |
|  | Measuring Tape (Fiberglass) | 25 |
|  | Ranging Rods | 25 |
|  | Arrows | 25 |
|  | Auto Level with tripod | 10 |
|  | Levelling staff (Metric / FPS) | 10 |
|  | Plumb Bob | 10 |
|  | Ball peen hammer | 10 |
|  | Umbrella with stand | 10 |
|  | Tee scale, | 25 |
|  | Set square | 25 |
|  | Drawing table with stand | 25 |
|  | Measuring Tape (30m Steel) | 10 |
|  | Protractor | 25 |
|  | Compass | 25 |
|  | Marking Chalk (White & Colored) | 50 Pieces |
|  | Spray Paint (for ground marking) | 10 Cans |
|  | Wooden Pegs (Survey Pegs) | 50 Pieces |
|  | Nails (For Peg Marking) | 2 Kg |
|  | String | 5 Rolls |
|  | Scotch Tape | 20 Rolls |
|  | Hand Gloves | 25 Pairs |
|  | Safety Helmets | 25 |
|  | Safety Vests (Reflective) | 25 |
|  | Dust Masks | 100 Pieces |
|  | Field Book | 25 |
|  | Pencil, Eraser, Sharpener | 25 Sets |
|  | Drawing Sheets | 150 |
|  | Divider | 25 |
|  | EDM | 10 |

## 5.7 0713E&E3806 Interpret Basic Technical Drawings

Overview:

The competency standard describes skills and knowledge required to perform lettering and draw orthographic views, cross sections and layout of a building along with title block. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Units | Performance Criteria |
| --- | --- |
| Produce template of title block/strip & draw types of lines | - Identify instruments for engineering drawing. - Select instruments for fixing of drawing sheet on drawing board - Select Instruments for horizontal / vertical / inclined lines. - Identify drawing sheets - Draw margins as per local standard. - Draw title strip on imperial / half imperial size sheet. - Draw lines used in construction drawings. - Identify grades of pencils |
| Perform Lettering | - Draw single stroke letters as per given ratio on drawing sheet. - Draw double stroke letters as per given ratio on drawing sheet. - Draw italic letters on graph sheet as per instructions. - Draw gothic letters on drawing sheet as per instructions. |
| Draw Geometrical Figures | - Draw equilateral triangle of side length 2” on a drawing sheet as per instructions. - Draw isosceles triangle with base 5 cm and height= 6cm on a drawing sheet as per instructions. - Draw scalene triangle of lengths 2”, 1.5”, 1” on a drawing sheet as per instructions. - Draw acute, right and obtuse angled triangles on a drawing sheet as per instructions. |
| Draw Geometrical Figures | - Draw equilateral triangle of side length 2” on a drawing sheet. - Draw isosceles triangle with base 5 cm and height= 6cm on a drawing sheet. - Draw scalene triangle of lengths 2”, 1.5”, 1” on a drawing sheet. - Draw acute, right and obtuse angled triangles on a drawing sheet. - Draw a regular pentagon of side length = 4 cm on a drawing sheet. - Draw hexagon inscribes in a circle and circumscribed about a circle of 3 inches diameter on a drawing sheet. - Draw circle, semi-circle, segment of circle, sector of circle & zone of circle of diameter 1.5 inch and 3.5 inch on a drawing sheet. - Draw square of side length 2”and 4.5 “on a drawing sheet. - Draw rectangle with length 5 cm and width= 3cm on a drawing sheet. - Draw rhombus of side length=2 cm & internal angle= 45° on a drawing sheet. - Draw parallelogram of length 6 cm, width= 3 cm having internal angle= 45° on a drawing sheet. - Draw trapezoid of parallel sides’ length 4 cm & 6cm spaced at a distance of 3 cm on a drawing sheet. - Draw trapezium of side lengths 5 cm, 4 cm, 6 cm & 3 cm on a drawing sheet. - Draw conic section resulting in a circle, ellipse, parabola & hyperbola on a drawing sheet. - Draw ellipse by four center, basic & parallelogram methods on a drawing sheet. |
| Draw Sections of objects | - Prepare drawing sheet of full section, half section, broken out sections, offset sections, revolved sections and removed sections as per instructions. - Draw conventional section representation of materials / pipes / rectangular/ square /angle /channel / rolled sections as per instructions. - Draw orthographic sectional views of different objects as per instructions. |
| Label Dimensioning on Drawings | - Draw uni-directional / bi-directional dimensioning of given drawing. - Draw base line dimensioning of given drawing. - Draw continuous dimensioning of given drawing. - Draw location dimensioning / mark centre of holes as per instructions. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe the health and safety considerations involved in construction drawings.

- Identify standard drawing sheet sizes.

- Identify and state the use of the various types of drawing equipment.

- Explain the different types of lines and arrowheads used in drawings.

- Explain the weight of lines, grades of pencils.

- State importance of lettering.

- State the need and different types of lettering.

- Describe different uses of lettering stencils for a given application.

- State the principles of lettering.

- Define scale, Scale Factor and R.F.

- State the types of scales- Reducing scales, enlarging scales, full scale.

- Describe plane scales and diagonal scales.

- Explain sectional views, its types and purpose.

- Explain conventional representation of engineering materials.

- Know rule of putting arrowhead on cutting plane line.

- Define Dimensioning and its types.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare title block on drawing sheet as per given instructions.

- Prepare drawing sheet of geometrical figures (Triangle, polygon, quadrilaterals) as per given instructions.

- Draw the section view of simple solid objects as per given instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Drawing board with stand | 25 |
|  | T square | 25 |
|  | Pair of Set squares | 25 |
|  | Drawing Box (Compasses, divider, protractor, rule) | 25 |
|  | Sharpener/ Sand paper | 25 |
|  | Stencil | 25 |
|  | French Curves | 25 |
|  | Drawing Board (Standard A2 Size) | 25 |
|  | Drawing Sheets (A2 / A3 size) | 250 Sheets |
|  | Drawing Pencils (HB, H, 2H) | 50 Pieces |
|  | Erasers | 50 Pieces |
|  | Sharpeners | 25 |
|  | Masking Tape | 50 |
|  | Duster | 25 |
|  | Hand kerchief | 25 |
|  | Thumb pins | 3 boxes |
|  | Scotch Tape | 50 |

## 5.8 0713E&E3807 On Job Training

Overview:

The On-job training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environments. During this phase, students must take on entry level or support roles such as Hydro Power Plant Operator Assistant, Junior Plant Maintenance Assistant, Electrical/Mechanical Assistant (Micro Hydro) and Technical Assistant – Micro Hydro Systems. These roles span across various hydro power plants that enable learners to contribute in the development of hydro power infrastructures while fulfilling the requirements of qualification.

In case of unavailability of relevant industry for OJT, a project may be carried out for the fulfilment of OJT requirement.

Trainees shall prepare a model construction site using basic masonry techniques, develop and analyze a contour map to calculate volume for site planning, interpret hydro-power system layout drawings for accurate installation, perform routine maintenance of hydro power plant components, and establish electrical connections for a three-phase motor using a direct-on-line (DOL) starter, simulating end-to-end technical competencies required in micro hydro power plant implementation.

# List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| Sr. No | Items | Quantity |
|  | First Aid Box (Fully Equipped) | 3 Pieces |
|  | Safety Equipment PPEs | 25 each |
|  | Smoke Detecting Alarm | 2 Pieces |
|  | Fire Extinguisher (Dry Chemical Powder) | 5 Pieces |
|  | Fire Extinguisher (Wet Chemical) | 5 Pieces |
|  | Fire Extinguisher (Water) | 5 Pieces |
|  | Fire Bucket | 5 Pieces |
|  | Safety Shoes (Steel Toe) | 25 Pairs |
|  | High-Visibility Safety Vests | 25 Pieces |
|  | Safety Gloves (Electrical & General Purpose) | 25 Pairs |
|  | Ear Protection (Ear Muffs or Plugs) | 25 Pieces |
|  | Safety Goggles | 25 Pieces |
|  | Safety Helmet | 25 Pieces |
|  | Disinfectant Solution / Spray | 10 Liters |
|  | Fire Blanket | 5 Pieces |
|  | Electrical Rubber Mat (2m x 1m) | 3 Pieces |
|  | Warning Sign Boards / Labels | 10 Sets |
|  | Emergency Light Units | 2 Pieces |
|  | Spill Control Kit | 1 Set |
|  | Insulation Tape | 10 Rolls |
|  | Safety Posters | 10 Sets |
|  | Disposable Masks | 250 Pieces |
|  | Disposable Gloves (Latex/Nitrile) | 100 Pairs |
|  | Cleaning Cloth | 100 Pieces |
|  | Hand Sanitizer Bottles (500 ml) | 10 Bottles |
|  | Floor Safety Marking Tape | 10 Rolls |
|  | Replacement Batteries (for emergency lights) | 10 Sets |
|  | Fuse Wires / Breaker Links (Assorted) | 1 Kit |
|  | Industrial Soap or Hand Wash | 20 Liters |
|  | Aprons | 25 Pieces |
|  | Dust Masks | 100 Pieces |
|  | Cleaning cloth | 25 Kg |
|  | Kerosene / Degreaser | 10 Liters |
|  | Masking Tape | 20 Rolls |
|  | Safety Gloves (Cotton & Rubber) | 50 Pairs |
|  | Thumb pins | 3 boxes |
|  | Handkerchief | 25 pieces |
|  | Duster | 25 Pieces |
|  | Masking Tape | 50 Pieces |
|  | Sharpeners | 25 Pieces |
|  | Erasers | 50 Pieces |
|  | Drawing Pencils (HB, H, 2H) | 50 Pieces |
|  | Divider | 25 Pieces |
|  | Nails (Assorted Sizes) | 5 kg |
|  | Drawing Sheets | 150 Pieces |
|  | Field Book | 25 Pieces |
|  | Dust Masks | 100 Pieces |
|  | Pencils | 25 Pieces |
|  | Safety Vests (Reflective) | 25 Pieces |
|  | Scotch Tape | 70 Rolls |
|  | String | 5 Rolls |
|  | Grease (Multipurpose) | 10 kg |
|  | Thread Sealing Tape (Teflon Tape) | 10 Rolls |
|  | Rust Remover | 10 Liters |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| Sr. No | Items | Quantity |
|  | Work bench | 7 Pieces |
|  | Bench vice | 25 Pieces |
|  | Torque Wrench | 2 Pieces |
|  | Socket Set with Ratchet Handle | 5 Sets |
|  | Spanner Set (6–32 mm, Combination) | 5 Sets |
|  | Grease gun | 5 Pieces |
|  | Rolls Tool trolley / Box | 5Pieces |
|  | Masking Tape | 70 Rolls |
|  | Kerosene / Degreaser | 10 Liters |
|  | Cleaning cloth | 50 kg |
|  | Stainless Steel Metal Rivets | 500 pieces |
|  | Drill Bits (HSS, assorted) | 50 pieces |
|  | Emery Paper (Rough & Fine) | 100 Sheets |
|  | Marking Chalk / Pencil | 50 Pieces |
|  | Hacksaw Blades | 50 Pieces |
|  | Hand Rivet Machine/Gun | 5 Pieces |
|  | Hand grinder | 5 Pieces |
|  | Electric Drill Machine (Handheld) | 10 Pieces |
|  | Generator | 1 piece |
|  | Electrode holder | 5 pieces |
|  | Face shield | 50 Pieces |
|  | Wire brush | 50 Pieces |
|  | Chipping Hammer | 25 Pieces |
|  | Industrial Extension leads | 10 Pieces |
|  | Welding rectifier | 5 Pieces |
|  | Welding transformer | 25 Pieces |
|  | Vernier caliper (150 mm) | 25 Pieces |
|  | Scriber | 25 Pieces |
|  | Pipe Wrench (18") | 10 Pieces |
|  | Ball Peen Hammer (1 Kg) | 10 Pieces |
|  | Cable sleeves | 100 pieces |
|  | Mounting plates | 200 pieces |
|  | Screws and Wall Plugs (Assorted) | 2,000 Pieces |
|  | Labels (for marking installation points) | 200 |
|  | Cable Clips with Nails | 10 packs |
|  | Junction Boxes (PVC) | 100 Pieces |
|  | Electrical Conduit (PVC) | 500 meters |
|  | PVC Insulated Wire (1.5 mm², 2.5 mm², 4 mm²) | 30 Coils |
|  | Insulation Tape (Electrical Grade) | 10 Rolls |
|  | Ladder (6 ft Aluminum) | 3 |
|  | Ladder (Aluminum) | 3 |
|  | Plumb Bob | 10 |
|  | Auto Level with tripod | 10 |
|  | Drawing Table with Stand | 25 |
|  | Field Book | 25 |
|  | Safety Helmets | 25 |
|  | LED Bulbs (10W–15W) | 50 Pieces |
|  | Bulb Holders | 50 Pieces |
|  | Distribution Boards | 2 |
|  | Bearing Puller Set | 2 |
|  | Rubber Mallet | 5 |
|  | Insulation combination plier10 | 10 |
|  | Multi -mete | 25 |
|  | Frequency meters | 25 |
|  | Adjustable wrench (6 & 12 Inch) (3 Each) | 6 |
|  | Circuit Breakers (MCB - SP/DP) | 10 Each |
|  | PVC Bends and Tees | 300 Pieces |
|  | Measuring Tape 16 ft | 25 Pieces |
|  | Hand File Set (Rough, Smooth, Fine) | 10 sets |
|  | Center Punch | 10 Pieces |
|  | Steel Rule (12") | 25 Pieces |
|  | Screwdriver Set (Flat & Philips) (05 Each) | 20 sets |
|  | Adjustable Wrench (12") | 10 Pieces |
|  | Combination Spanner Set (6–32 mm) | 5 sets |
|  | Hand hacksaw | 25 Pieces |
|  | Tri-square | 25 Pieces |
|  | Hammer | 35 Pieces |
|  | Puller | 5 |
|  | Insulation link rod | 2 |
|  | Combination pliers set | 5 |
|  | Allen keys set | 5 |

# Members of Qualification Development & Review Committee

The following members participated in the qualification development and review process:

| Qualification Development Committee |  |  |
| --- | --- | --- |
| S. No | Name | Organization |
|  | Engr. Tauseef Hussain Qasmi | Water & Power Department Government of Gilgit-Baltistan |
|  | Engr. Dr. Tauqeer Akhtar | Punjab Irrigation and Power Department, Government of Punjab |
|  | Mr. Sheraz Ali | Environmental Protection Agency (EPA) GB |
|  | Abdul Basit Mansoor | DAACUM FACILITATOR, Pak PWD Gujranwala |
|  | Engr. Qurbat Zahra | CO-DAACUM FACILITATOR |
|  | Engr. Navid Ali | KP-TEVTA |
|  | Engr. Danial Rahim | AAJSONS (Pvt.) Ltd Upper Chitral |
|  | Mr. Umar Ali Shah | MHRSC Chitral |
|  | Engr. Asif Hayat | AKRSP |
|  | Mr. Asif Fareed | Independent Consultant |
|  | Mr. Ejaz Ahmed | GVTTC Diamer GB |
|  | Engr. Hayat Baig | Baig Hydro Designs Gilgit |
|  | Engr. Arif Hussain | Karakoram International University Gilgit |
|  | Engr. Abdul Rehman | P-TEVTA |
|  | Engr. Muhammad Asad | P-TEVTA |
|  | Engr. Mubashar Hamid | P-TEVTA |
|  | Mr. Muhammad Ishaq | Engro Power Plant RYK |
|  | Engr. Zeeshan Ahmad Shakeel | P-TEVTA |
|  | Engr. Waqas Anjum Khan | P-TEVTA |
|  | Dr. Mehmood Hassan | P-TEVTA |
|  | Engr. Muhammad Ali | P-TEVTA |