Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E38 – National Diploma Level 2 in Hydro Power Plant Assistant |
| --- | --- |
| ## Date of development | 19th – 23rd May, 2025 |
| ## Entry requirement | Middle or Equivalent |
| ## Minimum qualification for teachers / instructors | DAE (Civil/Mechanical/Electrical/Electronics) with 02 years of hands-on experience in Micro Hydro Power OR Intermediate with relevant 06-month course with 03 years of hands-on experience in Micro Hydro Power OR Bachelor in relevant field with 02 years of hands-on experience in Micro Hydro Power |
| ## Medium of instruction | English, Urdu |
| ## Duration of course | Total. 630 hours. Theory. 60 hours Practical. 390 hours On Job Training. 180 hours |

- List of Competencies/Modules

| S. No. | Competency standard | NVQF Level | Category |
| --- | --- | --- | --- |
| 1022OHS01 | Maintain Workplace Safety | L-2 | Generic |
| 0713E&E3801 | Perform Workshop Practice | L-2 | Technical |
| 0713E&E3802 | Perform general maintenance of Power Plants Components | L-2 | Technical |
| 0713E&E3803 | Perform basic Masonry operations | L-2 | Technical |
| 0713E&E3804 | Install wiring | L-2 | Technical |
| 0713E&E3805 | Perform Basic Engineering Survey | L-2 | Technical |
| 0713E&E3806 | Interpret Basic Technical Drawings | L-2 | Technical |
| 0713E&E3807 | On Job Training | L-2 | Technical |

- Class / Workshop Size/ Dimension (25 Trainees Capacity)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory | Yes |  |
| Any other Requirement | As prescribed by the respective provincial Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity/25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | Work bench | 7 Pieces |
|  | Bench vice | 25 Pieces |
|  | Torque Wrench | 2 |
|  | Socket Set with Ratchet Handle | 5 Sets |
|  | Spanner Set (6–32 mm, Combination) | 5 Sets |
|  | Grease gun | 5 Pieces |
|  | Rolls Tool trolley / Box | 5Pieces |
|  | Masking Tape | 70 Rolls |
|  | Kerosene / Degreaser | 10 Liters |
|  | Cleaning cloth | 50 kg |
|  | Stainless Steel Metal Rivets | 500 pieces |
|  | Drill Bits (HSS, assorted) | 50 pieces |
|  | Emery Paper (Rough & Fine) | 100 Sheets |
|  | Marking Chalk / Pencil | 50 Pieces |
|  | Hacksaw Blades | 50 Pieces |
|  | Hand Rivet Machine/Gun | 5 Pieces |
|  | Hand grinder | 5 Pieces |
|  | Electric Drill Machine (Handheld) | 10 Pieces |
|  | Generator | 1 piece |
|  | Electrode holder | 5 pieces |
|  | Face shield | 50 Pieces |
|  | Wire brush | 50 Pieces |
|  | Chipping Hammer | 25 Pieces |
|  | Industrial Extension leads | 10 Pieces |
|  | Welding rectifier | 5 Pieces |
|  | Welding transformer | 25 Pieces |
|  | Vernier caliper (150 mm) | 25 Pieces |
|  | Scriber | 25 Pieces |
|  | Pipe Wrench (18") | 10 Pieces |
|  | Ball Peen Hammer (1 Kg) | 10 Pieces |
|  | Cable sleeves | 100 pieces |
|  | Mounting plates | 200 pieces |
|  | Screws and Wall Plugs (Assorted) | 2,000 Pieces |
|  | Labels (for marking installation points) | 200 |
|  | Cable Clips with Nails | 10 packs |
|  | Junction Boxes (PVC) | 100 Pieces |
|  | Electrical Conduit (PVC) | 500 meters |
|  | PVC Insulated Wire (1.5 mm², 2.5 mm², 4 mm²) | 30 Coils |
|  | Insulation Tape (Electrical Grade) | 10 Rolls |
|  | Ladder (6 ft Aluminium) | 3 |
|  | Ladder (Aluminium) | 3 |
|  | Plumb Bob | 10 |
|  | Auto Level with tripod | 10 |
|  | Drawing Table with Stand | 25 |
|  | Field Book | 25 |
|  | Safety Helmets | 25 |
|  | LED Bulbs (10W–15W) | 50 Pieces |
|  | Bulb Holders | 50 Pieces |
|  | Distribution Boards | 2 |
|  | Bearing Puller Set | 2 |
|  | Rubber Mallet | 5 |
|  | Insulation combination plier10 | 10 |
|  | Multi -mete | 25 |
|  | Frequency meters | 25 |
|  | Adjustable wrench (6 & 12 Inch) (3 Each) | 6 |
|  | Circuit Breakers (MCB - SP/DP) | 10 Each |
|  | PVC Bends and Tees | 300 Pieces |
|  | Measuring Tape 16 ft | 25 Pieces |
|  | Hand File Set (Rough, Smooth, Fine) | 10 sets |
|  | Centre Punch | 10 Pieces |
|  | Steel Rule (12") | 25 Pieces |
|  | Screwdriver Set (Flat & Philips) (05 Each) | 20 sets |
|  | Adjustable Wrench (12") | 10 Pieces |
|  | Combination Spanner Set (6–32 mm) | 5 sets |
|  | Hand hacksaw | 25 Pieces |
|  | Tri-square | 25 Pieces |
|  | Hammer | 35 Pieces |
|  | Puller | 5 |
|  | Insulation link rod | 2 |
|  | Combination pliers set | 5 |
|  | Allen keys set | 5 |

- Consumable (with quantity/25 Trainees)

| Sr. No. | Consumable | Quantity |
| --- | --- | --- |
|  | First Aid Box (Fully Equipped) | 3 Pieces |
|  | Safety Equipment PPEs | 25 each |
|  | Smoke Detecting Alarm | 2 Pieces |
|  | Fire Extinguisher (Dry Chemical Powder) | 5 Pieces |
|  | Fire Extinguisher (Wet Chemical) | 5 Pieces |
|  | Fire Extinguisher (Water) | 5 Pieces |
|  | Fire Bucket | 5 Pieces |
|  | Safety Shoes (Steel Toe) | 25 Pairs |
|  | High-Visibility Safety Vests | 25 Pieces |
|  | Safety Gloves (Electrical & General Purpose) | 25 Pairs |
|  | Ear Protection (Ear Muffs or Plugs) | 25 Pieces |
|  | Safety Goggles | 25 Pieces |
|  | Safety Helmet | 25 Pieces |
|  | Disinfectant Solution / Spray | 10 Liters |
|  | Fire Blanket | 5 Pieces |
|  | Electrical Rubber Mat (2m x 1m) | 3 Pieces |
|  | Warning Sign Boards / Labels | 10 Sets |
|  | Emergency Light Units | 2 Pieces |
|  | Spill Control Kit | 1 Set |
|  | Insulation Tape | 10 Rolls |
|  | Safety Posters | 10 Sets |
|  | Disposable Masks | 250 Pieces |
|  | Disposable Gloves (Latex/Nitrile) | 100 Pairs |
|  | Cleaning Cloth | 100 Pieces |
|  | Hand Sanitizer Bottles (500 ml) | 10 Bottles |
|  | Floor Safety Marking Tape | 10 Rolls |
|  | Replacement Batteries (for emergency lights) | 10 Sets |
|  | Fuse Wires / Breaker Links (Assorted) | 1 Kit |
|  | Industrial Soap or Hand Wash | 20 Liters |
|  | Aprons | 25 Pieces |
|  | Dust Masks | 100 Pieces |
|  | Cleaning cloth | 25 Kg |
|  | Kerosene / Degreaser | 10 Liters |
|  | Masking Tape | 20 Rolls |
|  | Safety Gloves (Cotton & Rubber) | 50 Pairs |
|  | Thumb pins | 3 boxes |
|  | Handkerchief | 25 pieces |
|  | Duster | 25 Pieces |
|  | Masking Tape | 50 Pieces |
|  | Sharpeners | 25 Pieces |
|  | Erasers | 50 Pieces |
|  | Drawing Pencils (HB, H, 2H) | 50 Pieces |
|  | Divider | 25 Pieces |
|  | Nails (Assorted Sizes) | 5 kg |
|  | Drawing Sheets | 150 Pieces |
|  | Field Book | 25 Pieces |
|  | Dust Masks | 100 Pieces |
|  | Pencils | 25 Pieces |
|  | Safety Vests (Reflective) | 25 Pieces |
|  | Scotch Tape | 70 Rolls |
|  | String | 5 Rolls |
|  | Grease (Multipurpose) | 10 kg |
|  | Thread Sealing Tape (Teflon Tape) | 10 Rolls |
|  | Rust Remover | 10 Liters |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |