Competency Standards

For

National Vocational Certificate Level 3 in

“Micro Hydro Power Plant Operator”

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level – III. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, micro–Hydro Power Plant Experts, Water & Power Department Government of Gilgit-Baltistan, Punjab Irrigation and Power Department, Government of Punjab, experts from academia KP-TEVTA, Punjab Tevta and Karakoram International University Gilgit work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1.	Date of development:	4

1.2.	Date of review & validation:	4

1.3.	Minimum Entry requirement:	4

1.4.	Minimum Qualification of Trainer	4

1.5.	Codes of qualification (ISCED)	4

2.	Summary of Competency Standards and contact hours	5

3.	Qualification Levelling and Packaging	5

4.	Description of Qualification Package	5

5.	Detail of Competency Standards	6

5.1 0032PSD01 Basic Communication Skills	6

5.2 0713E&E3901 Operate Hydro Electric Power Systems	8

5.3 0713E&E3902 Perform Electrical Installations	9

5.4 0713E&E3903 Interpret Technical Drawings:	12

5.5 0713E&E3904 Conduct Power System Protection and Testing	14

5.6 0713E&E3905 Overhaul and Repair Hydro Power Components	16

5.7 0713E&E3906 Supervise On-Site Civil/Structural Works	18

5.8 On Job Training	19

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	19

7.	Members of Qualification Development & Review Committee	22

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) recognizes the critical importance of vocational and technical education in empowering Pakistan's workforce with the skills and expertise required to excel in the renewable energy sector. To meet the growing demand for skilled professionals in the field of hydropower generation, NAVTTC has embarked on the development of Competency Standards (CS) for the trade of Micro Hydro Electric in Pakistan. This initiative highlights NAVTTC’s dedication to workforce development, enhancing employability, and driving Pakistan’s transition toward sustainable energy solutions while aligning with global industry standards.

Hydropower electric generation is a cornerstone of renewable energy, playing a pivotal role in addressing energy shortages and reducing carbon emissions. This sector encompasses a wide range of technical disciplines, including turbine and generator operation, power system monitoring, preventive maintenance, electrical installations, and civil infrastructure management. With the increasing global focus on clean energy, the hydropower industry offers significant career opportunities for skilled professionals, both domestically and internationally. By establishing these competency standards, NAVTTC ensures the development of a workforce capable of meeting industry demands and contributing to Pakistan’s energy security and economic growth.

The qualification framework for Micro Hydro Power Plant focuses on equipping learners with essential skills and knowledge, ranging from basic turbine and generator operation, power system monitoring, and fault analysis to advanced electrical installations, system protection, and civil infrastructure oversight. Students will gain hands-on experience with industry-standard tools and techniques, enabling them to operate and maintain hydropower systems efficiently. Additionally, the framework includes the development and implementation of hydropower projects, covering aspects such as project planning, site assessment, installation of turbines and generators, and commissioning of power plants. This comprehensive approach ensures graduates are well-prepared to contribute to all stages of hydropower project development, from conception to operation.

The inclusion of safety protocols, environmental considerations, and professional development skills further ensures that graduates are equipped to tackle real-world challenges and contribute to Pakistan’s sustainable energy future. This initiative supports the nation’s integration into the global renewable energy landscape, fostering a skilled and innovative workforce for the hydropower sector, and enabling Pakistan to harness its vast hydropower potential for long-term energy sustainability.

| ## Date of development: | 3rd March, 2025 – 7th March, 2025 |
| --- | --- |
| ## Date of review & validation: | 7th March, 2025 |
| ## Minimum Entry requirement: | Secondary School Certificate or Equivalent and Level-2 |
| ## Minimum Qualification of Trainer | Minimum Intermediate with 5 years of hands-on experience in Micro Hydro Power OR Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power |
| ## Codes of qualification (ISCED) | Code: 0713E&E39 Description: National Vocational Certificate Level-III Micro Hydro Power Plant Operator |

# Summary of Competency Standards and contact hours

| Sr. No. | Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Total |  |
|  | 0032PSD01 Basic Communication Skills | 3 | Generic | 5 | 50 | 55 | 3 |
|  | 0713E&E3901 Operate and Monitor Hydro Power Systems | 3 | Technical | 10 | 60 | 70 | 4 |
|  | 0713E&E3902 Perform Electrical Installation | 3 | Technical | 10 | 60 | 70 | 4 |
|  | 0713E&E3903 Interpret Technical Drawings | 3 | Technical | 10 | 50 | 60 | 3.5 |
|  | 0713E&E3904 Conduct Power System Protection and Testing | 3 | Technical | 10 | 70 | 80 | 4.5 |
|  | 0713E&E3905 Overhaul and Repair Hydro Power Components | 3 | Technical | 10 | 60 | 70 | 4 |
|  | 0713E&E3906 Supervise On-Site Civil and Structural Works | 3 | Technical | 5 | 40 | 45 | 2.5 |
|  | 0713E&E3907 On Job Training |  | Technical | - | - | 180 | 4.5 |
|  | Total |  |  | 60 | 390 | 630 | 30 |

- Qualification Levelling and Packaging

| S # | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
|  | Micro Hydro Power Plant Operator | 0713E&E3901 to 0713E&E3907 | 3 | 30 | 6 months |

- Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| Micro Hydro Power Plant Assistant | Micro Hydro Power Plant Operator | Micro Hydro Power Plant Technician | - DAE Civil Technology - DAE Electrical Technology - DAE Mechanical Technology |

# Detail of Competency Standards

## 5.1 0032PSD01 Basic Communication Skills

Overview:

This competency standard covers the skills and knowledge require adopting effective listening, developing communications and demonstrating interpersonal skills. It also covers the skills and knowledge required to identify, evaluate, and control hazards arising from the workplace that may impair the health of workers and take remedial measures to deal with the emergencies in a professional manner, minimizing the losses and providing a safe and healthy working environment.

| Competency Units | Performance Criteria |
| --- | --- |
| Adopt effective Listening | - Practice active listening - Ask clarifying questions - Adopt sympathize attitude |
| Develop Non-Verbal Communication Skills | - Adopt hand gestures if required - Encourage others to speak openly - Make eye contact with communicator - Make a relaxed, open stance during communication. |
| Develop Verbal Communication Skills | - Adopt face to face conversations - Convey your messages clearly and directly - Adopt phrases as simple as demonstrated - Respect others and their ideas |
| Develop interpersonal Skills | - Convey your message in few words - Communicate politely - Handle the conflict in an efficient way - Adopt sympathy |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Effective Listening

- Various types of effective listening

- Verbal and Nonverbal Communication

- Various communication medium

- Interpersonal skills

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Adopt Effective Listening

- Develop Nonverbal Communication

- Develop Verbal Communication

- Develop Written Communication Skills

- Adopt Best Interpersonal Skills

Consumables, Tools, Machinery & Equipment

| List Of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Notebook | 25 |
| 2. | Pen | 25 |
| 3. | Board Marker | 5 |
| 4. | White Board | 1 |
| 5. | Projector | 1 |
| 6. | Computer | 1 |

## 5.2 0713E&E3901 Operate Hydro Electric Power Systems

Overview:

This competency standard focuses on equipping trainees with the essential skills to operate, monitor, and maintain hydropower systems efficiently. It covers the operation of turbines and generators, including start-up, shutdown, and parameter adjustments, ensuring smooth and safe power generation. Trainees will learn to monitor power generation and balance loads to meet demand, while maintaining accurate records of system performance. The standard also emphasizes fault analysis, enabling trainees to identify, report, and troubleshoot system issues promptly. By mastering these competencies, trainees will contribute to the reliable and sustainable operation of hydropower plants, supporting Pakistan’s energy needs and workforce development.

| Competency Units | Performance Criteria |
| --- | --- |
| Operate turbines and generators | - Perform necessary checks before starting turbine and generator - Start turbine according to SOPs. - Ensure safety protocols during operation - Note down readings/parameters during operations. - Shutdown turbine and generator in case of emergency |
| Monitor power generation and load balancing | - Compare generated power with load demand - Adjust power generation according to demand - Report superior/senior if demand is changing abruptly - Monitor warning lights or alarms on the control panel. - Record power generation levels in the logbook every hour. |
| Conduct fault analysis | - Monitor warning lights or alarms that indicate a problem. - Record parameters during fault. - Report faults or malfunctions to the superior/senior immediately. - Perform troubleshooting according to instructions of superior/senior - Record all faults and actions taken in the logbook. |

Knowledge & Understanding

The candidate must be able to demonstrate the underpinning knowledge and understanding required to carry out tasks covered in these competency units. This includes knowledge of:

- Check fluids, start, adjust, shut down.

- Follow shutdown, use safety controls.

- Understand turbine and generator components and functions.

- Check oil, coolant, and fuel levels regularly.

- Perform start-up, shutdown, and speed adjustments.

- Monitor power meters and adjust generator output.

- Balance load demand efficiently and report issues.

- Identify faults using alarms and warning lights.

- Document unusual readings and troubleshoot issues.

- Maintain accurate logs for operations and faults.

- Follow emergency shutdown and safety procedures.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Operate turbine and generators, monitor its operations and analyze faults

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No. | Items | Quantity |
| 1 | Cranes and Hoists (for transformer installation) | 1 |
| 2 | Hydraulic and Manual Cable Pullers | 10 |
| 3 | Cable Trays, Conduits, and Supports | As required |
| 4 | Digital Multimeter | 25 |
| 5 | Insulation Resistance Tester (Megger) | 1 |
| 6 | Circuit Breaker Tester | 10 |
| 7 | Voltage Detector | 25 |
| 8 | High-Voltage Gloves and PPE | As required |
| 9 | Transformer Oil Testing Kit | 1 |
| 10 | Grounding Rods and Clamps | As required |
| 11 | Earth Resistance Tester | 1 |
| 12 | Cable Strippers and Crimping Tools | 2 each |
| 13 | Insulation Tape and Heat Shrink Sleeves | As required |
| 14 | Cable Jointing and Termination Kit | 10 |
| 15 | Torque Wrench for Tightening Bolts | 25 |
| 16 | Power Drills and Impact Drivers | 25 |
| 17 | Hammer Drills and Core Drills (for grounding) | 25 |
| 18 | Measuring Tape and Laser Distance Meter | 2 each |
| 19 | Conduit Bender | 10 |
| 20 | Tachometer | 10 |
| 21 | Lockout/Tagout Kit for Electrical Safety | As required |
| 22 | Communication Devices (Radios, Walkie-Talkies) | As required |
| 24 | Safety Signs and Barriers | As required |
| 25 | Work Lights and Portable LED Lamps | 2 each |
| 26 | Screwdrivers, Pliers, and Wrenches Set | 1 |
| 28 | Electrical Load Analyzer | 10 |
| 29 | First Aid Kit for Electrical Incidents | As required |
| 30 | Fire Extinguishers (for electrical fires) | As required |

## 5.3 0713E&E3902 Perform Electrical Installations

Overview:

This competency standard covers the skills and knowledge required to understand preventive maintenance strategies to enhance system reliability.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform Installation of transformers and switchgear | - Identify and select tools and equipment - Position transformers in the designated area. - Connect cables to transformers as per the wiring diagram. - Tighten transformer bolts - Connect/disconnect switchgear inside power house - Report any issues or defects in transformer to the supervisor. |
| Install transmission cables | - Interpret cable routing plan - Lay cables using cable trays/conduits - Connect stripped cables to terminals. - Apply insulation tape/sleeves to exposed cable ends - Test cable connections for continuity |
| Perform system grounding | - Dig pit for grounding rods - Install grounding rods - Connect grounding rod to the grounding wire. - Tighten all connections to ensure proper contact. - Use a multimeter to check the resistance of the grounding system. - Report any grounding system issues to the supervisor. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Power distribution principles

- Cable types, voltage ratings

- Electrical safety, earthing methods

Critical Evidence(s)

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Install transformers and switchgear and perform grounding of system

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1 | Cranes and Hoists (for transformer installation) | 1 |
| 2 | Hydraulic and Manual Cable Pullers | 10 |
| 3 | Cable Trays, Conduits, and Supports | As required |
| 4 | Digital Multimeter | 25 |
| 5 | Insulation Resistance Tester (Megger) | 1 |
| 6 | Circuit Breaker Tester | 10 |
| 7 | Voltage Detector | 25 |
| 8 | High-Voltage Gloves and PPE | As required |
| 9 | Transformer Oil Testing Kit | 1 |
| 10 | Grounding Rods and Clamps | As required |
| 11 | Earth Resistance Tester | 1 |
| 12 | Cable Strippers and Crimping Tools | 2 each |
| 13 | Insulation Tape and Heat Shrink Sleeves | As required |
| 14 | Cable Jointing and Termination Kit | 10 |
| 15 | Torque Wrench for Tightening Bolts | 25 |
| 16 | Power Drills and Impact Drivers | 25 |
| 17 | Hammer Drills and Core Drills (for grounding) | 25 |
| 18 | Measuring Tape and Laser Distance Meter | 2 each |
| 19 | Conduit Bender | 10 |
| 21 | Lockout/Tagout Kit for Electrical Safety | 10 |
| 22 | Communication Devices (Radios, Walkie-Talkies) | As required |
| 23 | Safety Signs and Barriers | As required |
| 24 | Work Lights and Portable LED Lamps | As required |
| 25 | Screwdrivers, Pliers, and Wrenches Set | 2 each |
| 26 | Electrical Load Analyzer | 1 |
| 27 | First Aid Kit for Electrical Incidents | 10 |
| 38 | Fire Extinguishers (for electrical fires) | As required |

## 5.4 0713E&E3903 Interpret Technical Drawings:

Overview:

Covers complex electrical system installations in hydro power plants. Understand and interpret technical drawings accurately to identify symbols, connections, and key components. Verify dimensions and report any discrepancies found during analysis. Ensure proper alignment with project requirements and safety standards. Seek clarification from supervisors for any unclear or complex details.

| Competency Units | Performance Criteria |
| --- | --- |
| Interpret electrical drawings | - Identify basic symbols on electrical drawings. - Follow the wiring diagram to trace connections between components. - Use the schematic to locate components. - Report any discrepancies between the drawing and actual wiring. |
| Analyze mechanical system blueprints | - Identify key components - Follow the blueprint to locate parts - Check the blueprint for dimensions - Check the blueprint for specifications of components. - Report any mismatches between the blueprint and actual equipment. |
| Examine civil engineering layouts | - Identify key structures on the layout. - Use the layout to understand the flow of water. - Check the layout for locations of structures. - Verify dimensions of structures - Report any issues/errors in the layout to the supervisor. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Circuit diagrams, protection systems

- Engineering schematics, material properties

- Structural principles, load calculations

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Interpret electrical drawings, analyze mechanical blue prints and verify dimensions of civil structures

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Digital Multimeter | 25 |
|  | Electrical Symbol Reference Guide | 25 |
|  | Circuit Tracer & Wire Identifier | 25 |
|  | Magnifying Glass or Inspection Lamp | 25 |
|  | Vernier Calipers & Micrometers | 25 |
|  | Engineering Scale Ruler | 25 |
|  | Torque Wrench | 25 |
|  | Portable Coordinate Measuring Machine (CMM) | 10 |
|  | Laser Distance Meter | 10 |
|  | Measuring Tape (3m and 5m) | 2 each |
|  | Compass and Protractor Set | 25 |
|  | Drafting Table with Adjustable Stand | 25 |
|  | Drawing Compass and Dividers | 25 |
|  | Structural Load Calculator | 15 |
|  | Light Table for Blueprint Analysis | `5 |
|  | Mechanical Component Identification Charts | 25 |
|  | PPE (Safety Glasses, Gloves) | As required |
|  | Drawing Storage Cabinet | 10 |
|  | Reference Handbooks on Electrical, Mechanical, and Civil Drawings | As required |

## 5.5 0713E&E3904 Conduct Power System Protection and Testing

Overview

This competency standard focuses on ensuring the safe and efficient operation of electrical systems in hydropower plants. It covers testing protection relays and breakers, monitoring voltage and frequency to maintain system stability, and enforcing electrical safety measures. By mastering these skills, candidates will contribute to the reliable and safe operation of hydropower systems, ensuring compliance with safety protocols and operational standards. Covers power protection mechanisms and system testing procedures.

| Competency Units | Performance Criteria |
| --- | --- |
| Test protection relays/breakers | - Use a testing kit to check relays/breakers. - Follow the test procedure provided by the supervisor. - Record test results in the maintenance logbook. |
| Monitor voltage/ frequency | - Check voltage readings on the control panel. - Check frequency readings on the control panel. - Adjust the generator output to maintain stable voltage. - Adjust the generator output to maintain a stable frequency. |
| Enforce electrical safety measures | - Wear personal protective equipment (PPE) like gloves and helmets. - Follow lockout/tagout procedures before working on electrical systems. - Report any unsafe conditions or practices to the supervisor. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Relay coordination, breaker operation

- Load control, fault detection

- Lockout/tagout procedures, emergency response

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be competent in this competency standard:

- Perform testing of relays and monitor voltage/frequency.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1 | Relay Testing Kit | 10 |
| 2 | Circuit Breaker Analyzer | 10 |
| 3 | Digital Multimeter | 25 |
| 4 | Insulation Resistance Tester (Megger) | 01 |
| 5 | Power Quality Analyzer | 10 |
| 6 | Frequency Meter | 10 |
| 7 | Voltage Regulator | 25 |
| 8 | Load Bank (for generator testing) | 1 |
| 9 | Oscilloscope | 10 |
| 10 | Transformer Turns Ratio Tester | 10 |
| 11 | Lockout/Tagout (LOTO) Kit | 05 set |
| 12 | Grounding Resistance Tester | 05 |
| 13 | Thermal Imaging Camera (for hot spots) | 05 |
| 14 | Arc Flash Protective Gear (PPE) | As needed |
| 15 | Digital Logbook (Tablet/Laptop) | 01 |
| 16 | Earthing Rods and Clamps | 1 set |
| 17 | High Voltage Test Kit | 1 |
| 18 | Contact Resistance Meter | 10 |
| 19 | Remote Monitoring System | 10 |
| 20 | Portable Emergency Light | 10 |

## 5.6 0713E&E3905 Overhaul and Repair Hydro Power Components

Overview

Covers in-depth maintenance and repair of mechanical and electrical systems. This competency standard focuses on the maintenance and repair of hydropower turbines, ensuring their efficient and reliable operation. It covers disassembling and inspecting turbine components, repairing or replacing faulty parts, and reassembling and testing turbines post-repair. By mastering these skills, candidates will contribute to the longevity and optimal performance of hydropower systems, ensuring minimal downtime and adherence to operational standards.

| Competency Units | Performance Criteria |
| --- | --- |
| Analyze faults in turbine | - Follow instructions to safely disassemble turbine components. - Inspect parts of turbine. - Record findings and report damaged parts to the supervisor. |
| Perform overhauling of turbine | - Replace damaged parts with new ones. - Use basic tools to repair minor issues. P3. Repair damaged parts as per instruction. |
| Conduct reassembly and testing | - Reassemble turbine parts. - Test the turbine to ensure turbine operation. - Record test results. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Mechanical tolerances, component lifespan

- Welding, machining, bearing replacement

- Torque specifications, performance testing

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) in order to be competent in this competency standard.

- Repair an out of order turbine and conduct testing.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1 | Torque Wrench Set | 10 |
| 2 | Dial Indicator (for alignment checks) | 20 |
| 3 | Micrometer and Vernier Calipers | 20 |
| 4 | Bearing Puller Set | 05 |
| 5 | Hydraulic Jack and Lifting Equipment | 1 |
| 6 | Ultrasonic Flaw Detector | 02 |
| 7 | Digital Multimeter | 10 |
| 8 | Insulation Resistance Tester (Megger) | 05 |
| 9 | Circuit Breaker Tester | 10 |
| 10 | Protection Relay Testing Kit | 10 |
| 11 | Welding Machine (TIG/MIG) | 05 |
| 12 | Grinding and Machining Tools | 05 |
| 13 | Vibration Analyzer | 1 |
| 14 | Laser Shaft Alignment Tool | 05 |
| 15 | Endoscope Camera (for internal inspection) | 1 |
| 16 | Oil Analysis Kit | 1 |
| 17 | Cooling System Pressure Tester | 1 |
| 18 | Personal Protective Equipment (PPE) Set | As needed |
| 19 | Hand Tools (wrenches, screwdrivers, hammers) | 1 set |
| 20 | Digital Logbook (Tablet/Laptop) | 1 |

## 5.7 0713E&E3906 Supervise On-Site Civil/Structural Works

Overview:

Covers overseeing civil works related to hydropower infrastructure. This competency standard focuses on the inspection and maintenance of critical hydropower infrastructure, including dams, intakes, penstocks, powerhouses, and drainage systems. It covers visual inspections, alignment checks, pressure testing, and reporting of structural or operational issues. By mastering these skills, candidates will ensure the structural integrity and efficient operation of hydropower facilities, contributing to their long-term reliability and safety.

| Competency Units | Performance Criteria |
| --- | --- |
| Monitor intake structures | - Inspect the structures for cracks. - Check for sediment buildup in hydraulic structures. - Record inspection findings in the logbook. |
| Oversee penstock installation | - Check the alignment of the penstock. - Install anchor blocks. - Check for leaks in penstock during pressure testing. |
| Inspect powerhouse and drainage systems | - Inspect the powerhouse for structural damage. - Check drainage system. - Clear blockage if any. - Report any issues to the supervisor for further action. |

Knowledge & Understanding

The candidate must demonstrate the underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Concrete durability, erosion control

- Pipe welding, pressure loss analysis

- Civil engineering materials, flood protection

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare a report after inspection of intake structures, penstock installation, power house and drainage systems.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Concrete Crack Detector | 1 |
|  | Ultrasonic Thickness Gauge | 1 |
|  | Digital Pressure Gauge | 10 |
|  | Laser Alignment Tool | 10 |
|  | Vibration Analyzer | 1 |
|  | Infrared Thermographic Camera | 1 |
|  | Penstock Pressure Testing Kit | 10 |
|  | Water Level Sensor | 2 |
|  | Drain Inspection Camera | 1 |
|  | Personal Protective Equipment (PPE) Set | 25 |
|  | Measuring Tape and Calipers | 25 |
|  | Sediment Sampler Kit | 05 |

### 5.8 On Job Training

Overview:

The on-job training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environments. During this phase, students must take on entry level or support roles such as Micro Hydro Power Plant Operator, Turbine Operator, Control Room Operator, Micro Hydro Plant Electrical Fitter and Micro Hydro Plant Mechanical Fitter. These roles span across various hydro power plants that enable learners to contribute in the development of hydro power infrastructures while fulfilling the requirements of qualification.

In case of unavailability of relevant industry for OJT, the following project may be carried out for the fulfilment of OJT requirement.

Trainees shall supervise on-site civil and structural works in accordance with hydro power plant construction standards, perform electrical installation and connection of electro-mechanical components, operate and monitor the performance of a functioning micro hydropower system under varying load conditions, conduct power system protection and testing using appropriate devices and fault simulations, and carry out overhaul and repair of key hydro power plant components, demonstrating advanced technical competencies required for full-cycle implementation and maintenance of a micro hydro power plant.

# List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| Sr. No | Items | Quantity |
|  | Notebook | 25 |
|  | Board marker | 5 |
|  | Pen | 25 |
|  | Sketching pencils | 25 |
|  | Fire extinguisher | 1 |
|  | First Aid kit | 1 |
|  | Fire Blanket | 25 Nos |
|  | Fire Bucket | 25 Nos |
|  | Safety googles | 25 Nos |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| Sr. No | Items | Quantity |
|  | Projector | 1 |
|  | Computer | 1 |
|  | Hydraulic and Manual Cable Pullers | 10 |
|  | Cable Trays, Conduits, and Supports | As required |
|  | Digital multi-meter | 25 |
|  | Insulation Resistance Tester (Megger) | 1 |
|  | Circuit Breaker Tester | 10 |
|  | Voltage Detector | 25 |
|  | High-Voltage Gloves and PPE | As required |
|  | Transformer Oil Testing Kit | 1 |
|  | Grounding Rods and Clamps | As required |
|  | Earth Resistance Tester | 1 |
|  | Cable Strippers and Crimping Tools | 2 each |
|  | Insulation Tape and Heat Shrink Sleeves | As required |
|  | Cable Jointing and Termination Kit | 10 |
|  | Torque Wrench for Tightening Bolts | 25 |
|  | Power Drills and Impact Drivers | 25 |
|  | Hammer Drills and Core Drills (for grounding) | 25 |
|  | Measuring Tape and Laser Distance Meter | 2 each |
|  | Conduit Bender | 10 |
|  | Tachometer | 10 |
|  | Communication Devices (Radios, Walkie-Talkies) | As required |
|  | Safety Signs and Barriers | As required |
|  | Work Lights and Portable LED Lamps | 2 each |
|  | Screwdrivers, Pliers, and Wrenches Set | 1 |
|  | Electrical Load Analyzer | 10 |
|  | First Aid Kit for Electrical Incidents | As required |
|  | Fire Extinguishers (for electrical fires) | As required |
|  | Lockout/Tagout Kit for Electrical Safety | 10 |
|  | Work Lights and Portable LED Lamps | As required |
|  | Screwdrivers, Pliers, and Wrenches Set | 2 each |
|  | Electrical Load Analyzer | 1 |
|  | First Aid Kit for Electrical Incidents | 10 |
|  | Electrical Symbol Reference Guide | 25 |
|  | Circuit Tracer & Wire Identifier | 25 |
|  | Magnifying Glass or Inspection Lamp | 25 |
|  | Vernier Calipers & Micrometers | 25 |
|  | Engineering Scale Ruler | 25 |
|  | Torque Wrench | 25 |
|  | Portable Coordinate Measuring Machine (CMM) | 10 |
|  | Laser Distance Meter | 10 |
|  | Measuring Tape (3m and 5m) | 2 each |
|  | Compass and Protractor Set | 25 |
|  | Drafting Table with Adjustable Stand | 25 |
|  | Drawing Compass and Dividers | 25 |
|  | Structural Load Calculator | 10 |
|  | Light Table for Blueprint Analysis | 20 |
|  | Mechanical Component Identification Charts | 10 |
|  | PPE (Safety Glasses, Gloves) | As required |
|  | Drawing Storage Cabinet | 10 |
|  | Reference Handbooks on Electrical, Mechanical, and Civil Drawings | As required |
|  | Relay Testing Kit | 10 |
|  | Circuit Breaker Analyzer | 10 |
|  | Digital Multi-meter | 25 |
|  | Power Quality Analyzer | 10 |
|  | Frequency Meter | 10 |
|  | Voltage Regulator | 25 |
|  | Load Bank (for generator testing) | 1 |
|  | Oscilloscope | 10 |
|  | Transformer Turns Ratio Tester | 10 |
|  | Lockout/Tagout (LOTO) Kit | 05 set |
|  | Grounding Resistance Tester | 5 |
|  | Thermal Imaging Camera (for hot spots) | 5 |
|  | Arc Flash Protective Gear (PPE) | As needed |
|  | Digital Logbook (Tablet/Laptop) | 1 |
|  | Earthing Rods and Clamps | 1 set |
|  | High Voltage Test Kit | 1 |
|  | Contact Resistance Meter | 10 |
|  | Remote Monitoring System | 10 |
|  | Portable Emergency Light | 10 |
|  | Torque Wrench Set | 10 |
|  | Dial Indicator (for alignment checks) | 20 |
|  | Micrometer and Vernier Calipers | 20 |
|  | Bearing Puller Set | 5 |
|  | Hydraulic Jack and Lifting Equipment | 1 |
|  | Ultrasonic Flaw Detector | 2 |
|  | Digital Multimeter | 10 |
|  | Insulation Resistance Tester (Megger) | 5 |
|  | Protection Relay Testing Kit | 10 |
|  | Welding Machine (TIG/MIG) | 5 |
|  | Grinding and Machining Tools | 5 |
|  | Vibration Analyzer | 1 |
|  | Laser Shaft Alignment Tool | 5 |
|  | Endoscope Camera (for internal inspection) | 1 |
|  | Oil Analysis Kit | 1 |
|  | Cooling System Pressure Tester | 1 |
|  | Personal Protective Equipment (PPE) Set | As needed |
|  | Hand Tools (wrenches, screwdrivers, hammers) | 1 set |
|  | Concrete Crack Detector | 1 |
|  | Ultrasonic Thickness Gauge | 1 |
|  | Digital Pressure Gauge | 10 |
|  | Laser Alignment Tool | 10 |
|  | Infrared Thermo graphic Camera | 1 |
|  | Penstock Pressure Testing Kit | 10 |
|  | Water Level Sensor | 2 |
|  | Drain Inspection Camera | 1 |
|  | Personal Protective Equipment (PPE) Set | 25 |
|  | Measuring Tape and Calipers | 25 |
|  | Sediment Sampler Kit | 5 |

# Members of Qualification Development & Review Committee

The following members participated in the qualification development and review process:

| Qualification Development Committee |  |  |
| --- | --- | --- |
| S. No | Name | Organization |
|  | Engr. Tauseef Hussain Qasmi | Water & Power Department Government of Gilgit-Baltistan |
|  | Engr. Dr. Tauqeer Akhtar | Punjab Irrigation and Power Department, Government of Punjab |
|  | Mr. Sheraz Ali | Environmental Protection Agency (EPA) GB |
|  | Abdul Basit Mansoor | Pak PWD Gujranwala |
|  | Engr. Navid Ali | KP-TEVTA |
|  | Engr. Danial Rahim | AAJSONS (Pvt.) Ltd Upper Chitral |
|  | Mr. Umar Ali Shah | MHRSC Chitral |
|  | Engr. Asif Hayat | AKRSP |
|  | Mr. Asif Fareed | Independent Consultant |
|  | Mr. Ejaz Ahmed | GVTTC Diamer GB |
|  | Engr. Hayat Baig | Baig Hydro Designs Gilgit |
|  | Engr. Arif Hussain | Karakoram International University Gilgit |
|  | Engr. Abdul Rehman | P-TEVTA |
|  | Engr. Muhammad Asad | P-TEVTA |
|  | Engrt. Mubashar Hamid | P-TEVTA |
|  | Mr. Muhammad Ishaq | Engro Power Plant RYK |
|  | Engr. Zeeshan Ahmad Shakeel | P-TEVTA |
|  | Engr. Waqas Anjum Khan | P-TEVTA |
|  | Dr. Mehmood Hassan | P-TEVTA |
|  | Engr. Muhammad Ali | P-TEVTA |

Qualification Review & Development Committee

| S. No | Name | Organization |
| --- | --- | --- |
| 1. | Engr. Abdul Rehman | P-TEVTA |
| 2. | Engr. Mohsin Jahanzeb | P-TEVTA |
| 3. | Syed M. Yasir Ali | P-TEVTA |
| 4. | Asif Farid | Independent Consultant |
| 5. | Israr Ahmad | KP-TEVTA |
| 6. | Muhammad Altaf | KP-TEVTA |
| 7. | Engr. Ijaz Khan | KP-TEVTA |
| 8. | Muhammad Arslan Anwar | Lahore |
| 9. | Hafiz Waqas Hashmi | P-TEVTA |
| 10. | Engr. M. Ali | P-TEVTA |
| 11. | Abdul Basit Mansoor | Pak PWD Gujranwala |