| DACUM Panel Engr. Tauseef Hussain Qasmi, Water & Power Department Government of Gilgit-Baltistan Engr. Dr. Tauqeer Akhtar, Punjab Irrigation and Power Department, Government of Punjab Mr. Sheraz Ali, Environmental Protection Agency (EPA) GB Engr. Navid Ali, KP-TEVTA Mr. Ejaz Ahmed, GVTTC Diamer GB Engr. Hayat Baig, Baig Hydro Designs Gilgit Engr. Arif Hussain, Karakoram International University Gilgit Engr. Abdul Rehman, P-TEVTA Engr. Muhammad Asad P-TEVTA Engr. Waqas Anjum Khan, P-TEVTA Dr. Mehmood Hassan, P-TEVTA DACUM Facilitator: Abdul Basit, Civil Engineer, Gujrawla Qurbat Zahra (Co-DACUM) Coordintor: Muhammad Asim Assistant Director NAVTTC Islamabad Muhammad Ishaq Deputy Director NAVTTC Islamabad | Occupational Profile For National Vocational Certificate Level 4 In “Micro Hydro Power Plant Technician” |
| --- | --- |
|  | 03-07th March, 2025 |
|  | Lahore |
|  | National Vocational & Technical Training Commission |

1. Occupational Profiling

| Micro Hydro Power Plant Technician Level-4 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Duties and Tasks |  |  |  |  |
| A. Apply entrepreneurial skills |  |  |  |  |
| A1. Communicate effectively in a professional environment | A2. Prepare reports and documentation | A3. Develop customer relationship and service skills |  | A4. Understand business fundamentals in the energy sector |
| A5. Apply financial management skills | A6. Follow entrepreneurial best practices | A7. Implement safety and regulatory compliance |  | A8. Identify business opportunities in the Energy sector |
| A9. Develop structure of the new Energy business | A10. Develop strategy to attract customers |  |  | A11. Create portfolios on Facebook, Instagram and LinkedIn |
| B. Perform Advance welding |  |  |  |  |
| B1. Cut Metal by Oxy-Acetylene / Oxy-Fuel Flame/Grinding | B2. Perform Gas Metal Arc Welding (GMAW) | B3. Perform Shield Metal Arc Welding (SMAW) |  | B4. Perform Gas Tungsten Arc Welding (GTAW) |
| B5. Perform Submerged Arc Welding | B6. Perform Friction Welding | B7. Perform Non-Destructive Welding Tests |  | B8. Perform Destructive Welding Tests |
| C. Operate Hydraulic Machines |  |  |  |  |
| C1. Categorize fluid mechanics | C2. Illustrate hydro kinetics | C3. Measure flow of fluid through pipes |  | C4. Measure fluid pressure through Impact of Jet |
| C5. Operate water turbines | C6. Operate water pumps | C7. Operate hydraulic valves and seals |  | C8. Calculate the performance of Hydraulic machines |
| C9. Operate hydraulic actuators |  | C10. Identify hydraulic circuits and accessories |  |  |
| D. Perform Quantity Survey/Estimation |  |  |  |  |
| D1. Prepare rough cost estimates of building | D2. Prepare bill of quantities | D3. Produce detailed estimate of a single storey building |  | D4. Prepare annual/special repair estimates |
| D5. Calculate earth work for civil engineering structures | D6. Prepare material statements |  | D7. Analyze rates of items of work for building |  |
| E. Calibrate Electrical Equipment |  |  |  |  |
| E1. Perform Pre Calibration activity | E2. Calibrate Ammeter |  |  | E3. Calibrate Voltmeter |
| E4. Calibrate Ohmmeter |  | E5. Calibrate multimeter |  |  |
| F. Diagnose Electrical Fault in Generator |  |  |  |  |
| F1. Inspect/ service Ignition system | F2. Inspect / service alternator |  |  | F3. Inspect/ service warning |
| F4. Inspect/ service charging system |  | F5. Troubleshoot wiring |  |  |
| I. Carryout Protection of Distribution and Transmission System |  |  |  |  |
| I1. Install relay for protection | I2. Perform operations of relay |  |  | I3. Perform troubleshooting of relay |
| I4. Carry out bus bar protection | I5. Carry out protection of power transformer |  |  | I6. Install grounding equipment of substation/trans mission lines |
| J. Install Turbine |  |  |  |  |
| J1. Verify foundation layout | J2. Assemble hydro turbine |  |  | J3. Perform mechanical couplings |
| J4. Perform alignment and calibration of turbine | J5. Perform testing and commissioning |  |  | J6. Perform inspection and documentation |
| K. Install Generator |  |  |  |  |
| K1. Verify foundation layout | K2. Perform A.C generator coupling |  |  | K3. Perform alignment and calibration of generator |
| K4. Make electrical connections |  | K5. Perform testing and commissioning |  |  |
| L. Control MHP plant shutdown for emergency standby electrical systems |  |  |  |  |
| L1. Prepare emergency standby electrical system | L2. Shut down and isolate emergency standby electrical system | L3. Service emergency standby electrical system |  | L4. Monitor emergency standby electrical system and stabilize transient condition |
| M. Analyze faults in MHP plant operation |  |  |  |  |
| M1. Diagnose faults in MHP plant | M2. Test plant and auxiliary equipment operation | M3. Analyze plant and allied equipment faults |  | M4. Prepare documentation of faults diagnosis |
| N. Carry out preventive maintenance procedures as part of MHPP operations |  |  |  |  |
| N1. Plan for preventive maintenance | N2. Perform daily routine checks | N3. Perform preventive maintenance |  | N4. Perform documentation of preventive maintenance |