Competency Standards

for

National Diploma Level 4

in

“Micro Hydro Power Plant Technician”

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level - IV Micro Hydro Power Plant Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, Energy Sector Experts Pakistan, work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of energy sector. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1	Date of development:	4

1.2	Date of review & validation:	4

1.3	Entry requirement of trainee:	4

1.4	Trainer Qualification Requirement	4

1.5	Codes of qualification (ISCED)	4

2.	Summary of Competency Standards and contact hours	5

3.	Qualification Levelling and Packaging	5

4.	Description of Qualification Package	5

5.	Competency Standards	6

5.1 0713E&E4001 Apply Entrepreneurial Skill	6

5.2 0713E&E4002 Perform Advance Welding	8

5.3 0713E&E4003 Operate Hydraulic Machines	14

5.4 0713E&E4004 Perform Quantity Survey/Estimation	16

5.5 0713E&E4005 Calibrate Electrical Equipment	19

5.6 0713E&E4006 Diagnose Electrical Fault in Generator	23

5.7 0713E&E4007 Carryout Protection of Distribution and Transmission System	26

5.8 0713E&E4008 Install Turbine	30

5.9 0713E&E4009 Install Generator	33

5.10 0713E&E4010 Control MHP plant shutdown for emergency standby electrical systems	35

5.11 0713E&E4011 Analyze faults in MHP plant operation	37

5.12 0713E&E4012 Carry out preventive maintenance procedures as part of MHP operations	39

5.13 On Job Training	41

6.	List of Consolidated Consumables, Tools, Machinery & Equipment	41

7.	Members of Qualifications Development Committee	45

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledge the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Competency Standards (CS) for the trade of Micro Hydro Power Plant technician in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

Micro Hydro Power Plant Technology is a rapidly growing sector with significant contributions to the global economy, spanning industries such as rural electrification, sustainable energy, agriculture, and industrial applications. This multidisciplinary field demands expertise in hydrodynamics, electrical engineering, turbine design, power generation, and system integration. With the accelerating adoption of renewable energy solutions, the micro hydro industry is witnessing a surge in demand for skilled professionals, creating substantial career opportunities both locally and internationally. By establishing these competency standards, NAVTTC ensures the development of a workforce prepared to meet industry requirements and contribute to Pakistan's economic advancement.

The qualification framework for Micro Hydro Power Plant Technician focuses on equipping learners with essential skills and knowledge, ranging from entrepreneurial skills, Advance welding, Fluid Mechanics & Hydraulics Machines, Quantity Survey/Estimation, Electrical Equipment, Electrical Fault in Generator, Transmission of Electrical Power, Distribution of Electrical Power, Protection of Distribution and Transmission System, Install Turbine, Install Generator, Control MHP plant shutdown for emergency standby electrical systems, Analyze faults in MHP plant operation, preventive maintenance procedures as part of MHP operations.

| # Date of development: | 03rd March 2025 – 07th March 2025 |
| --- | --- |
| # Date of review & validation: | 30th Apr 2025 – 2nd May 2025 |
| # Entry requirement of trainee: | Secondary School Certificate or Equivalent and Level 3 |
| # Trainer Qualification Requirement | Minimum DAE with 5 years of hands-on experience in Micro Hydro Power Plant Technician OR Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power Plant Technician |
| # Codes of qualification (ISCED) | Code: 0713E&E40 Description: National Diploma Level 4 in Electrical Technology “Micro Hydro Power Plant Technician” |

# Summary of Competency Standards and contact hours

| Competency Standards | NVQF Level | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Th | Pr | Total |  |
| 0713E&E4001 Apply Entrepreneurial Skill | 4 | Generic | 2 | 6 | 8 | 0.5 |
| 0713E&E4002 Perform Advance Welding | 4 | Technical | 10 | 50 | 60 | 3.5 |
| 0713E&E4003 Operate Hydraulics Machines | 4 | Technical | 10 | 40 | 50 | 3 |
| 0713E&E4004 Perform Quantity Survey/Estimation | 4 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E4005 Calibrate Electrical Equipment | 4 | Technical | 4 | 22 | 26 | 1.5 |
| 0713E&E4006 Diagnose Electrical Fault in Generator | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E4007 Carryout Protection of Distribution and Transmission System | 4 | Technical | 5 | 50 | 55 | 3 |
| 0713E&E4008 Install Turbine | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E4009 Install Generator | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E4010 Control MHP plant shutdown for emergency standby electrical systems | 4 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E4011 Analyze faults in MHP plant operation | 4 | Technical | 5 | 50 | 55 | 3 |
| 0713E&E4012 Carry out preventive maintenance procedures as part of MHP operation | 4 | Technical | 5 | 40 | 45 | 2.5 |
| 0613GD(24) On Job Training | 4 | Technical | - | - | 240 | 6 |
| Total |  |  | 81 | 518 | 839 | 40 |

# Qualification Levelling and Packaging

| S# | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
| 1. | Micro Hydro Power Plant Technician | 0713E&E40CS-1 to 0713E&E40CS-14 | 4 | 40 | 1 year |

# Description of Qualification Package

| Level 2 | Level 3 | Level 4 | Level 5 |
| --- | --- | --- | --- |
| Micro Hydro Power Plant Assistant | Micro Hydro Power Plant Operator | Micro Hydro Power Plant Technician | - DAE Civil Technology - DAE Electrical Technology - DAE Mechanical Technology |

# Competency Standards

### 5.1 0713E&E4001 Apply Entrepreneurial Skill

Overview:

This competency standard covers the underpinning knowledge and skills required for a trainee to be competent in developing entrepreneurial skills and business operations within the energy sector. After completing this competency standard, the student will be able to successfully perform all the tasks related to communication, business structuring, financial management, customer engagement, and regulatory compliance in accordance with the essence of the Competency-Based Training (CBT) System.

| Competency Units | Performance Criteria |
| --- | --- |
| Communicate effectively in a professional environment | - Enlist technical terminology in energy sector. - Deliver messages to team members &supervisors as per SOPs. - Demonstrate active listening skills in discussions. |
| Prepare reports and documentation | - Prepare daily operation log as per procedures. - Prepare document for maintenance records as per SOPs. - Document troubleshooting reports as per SOPs. - Maintain organized record-keeping system as per procedures. |
| Develop customer relationship and service skills | - Resolve customer concerns related to energy sector services as per procedures. - Educate consumers about energy efficiency and sustainable solutions as per instructions. - Maintain professionalism while interacting with clients and stakeholders. - Build long-term relationships by ensuring customer satisfaction and trust. |
| Understand business fundamentals in the energy sector | - Identify the basics of energy business models and revenue generation. - Identify key stakeholders involved in energy projects. - Analyze cost and pricing structures for energy distribution. - Evaluate market trends and business opportunities within the energy sector. |
| Apply financial management skills | - Prepare cost estimations for energy projects. - Track operational expenses and recommend cost-saving measures. - Identify basic financial terms related to energy businesses. - Develop budgeting strategies to enhance financial sustainability. |
| Follow entrepreneurial best practices | - Identify market opportunities for energy services. - Develop strategies for business growth and customer acquisition. - Implement risk management techniques for sustainable business operations. - Enlist funding opportunities for energy projects. - Enlist investment opportunities for energy projects. |
| Implement safety and regulatory compliance | - Enlist to legal and safety requirements for energy operations. - Enlist government policies and licensing requirements. - Enlist occupational health and safety regulations. - Enlist environmental compliance and sustainable energy practices. |
| Identify business opportunities in the Energy sector | - Conduct market research to identify potential energy business opportunities. - Analyze demand for decentralized energy solutions. - Evaluate the impact of renewable energy trends on energy businesses. - Develop a feasibility study for launching an energy service. |
| Develop structure of the new Energy business | - Identify different business models for an energy company. - Establish roles and responsibilities within the energy enterprise. - Design an operational workflow for energy distribution. - Demonstrate compliance with industry standards and regulations. |
| Develop strategy to attract customers | - Create marketing and outreach campaigns to promote energy services. - Engage with potential customers through digital platforms and local events. - Build partnerships with stakeholders and community leaders. - Develop customer incentives to enhance service adoption. |
| Create portfolios on Facebook, Instagram and LinkedIn | - Create a Facebook Page - Upload Portfolio Content on Facebook - Create a Facebook Group - Join already created Facebook groups for freelancers - Create Profile on Instagram - Upload Portfolio Content on Instagram - Create LinkedIn Profile, company page and showcase page - Create LinkedIn group - Join LinkedIn groups for freelancers |

Knowledge & Understanding

- Fundamentals of effective oral and written communication in a technical environment.

- Report writing techniques for documentation, maintenance logs, and incident reports.

- Customer relationship management (CRM) for energy sector professionals.

- Basic principles of entrepreneurship, including market analysis, financial planning, and risk assessment.

- Energy sector regulations related to business operations and compliance.

- Business ethics and professionalism in customer interactions and negotiations.

- Financial management essentials such as cost estimation, budgeting, and revenue tracking.

- Safety and environmental considerations in energy operations.

- Strategies for scaling energy businesses and identifying investment opportunities.

- Methods to attract and retain customers in the energy sector.

- Understanding of market research, business structuring, and promotional strategies in the energy sector.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Write sample daily operation log/technical report as per instructions.

- Prepare basic financial plan for an energy project as per instructions.

- Handle a simulated customer complaint resolution as per instructions.

- Demonstrate professional behavior during role-play scenario as per instructions.

- Prepare safety assessment checklist for an energy facility.

Consumables, Tools, Machinery & Equipment

The tools and equipment required for this competency standard are given below:

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S.No | Item | Quantity |
|  | Directories of existing businesses | 25 |
|  | Examples of business plans | 25 |
|  | Sample of financial plans | 25 |
|  | Business planner templates | 25 |
|  | Start-up-costs estimator | 25 |

### 5.2 0713E&E4002 Perform Advance Welding

Overview:

This competency standard covers the skills and knowledge required to Cut Metal by Oxy Acetylene/Oxy-Fuel Flame/Grinding, Perform Gas Metal Arc Welding (GMAW), Perform Shield Metal Arc Welding (SMAW), Perform Gas Tungsten Arc Welding (GTAW), Perform Submerged Arc Welding, Perform Friction Welding, Perform Non-Destructive Welding Tests and Perform Destructive Welding Tests

| Competency Units | Performance Criteria |
| --- | --- |
| Cut Metal by Oxy Acetylene/Oxy-Fuel Flame/Grinding | - Select material as per given drawing. - Cut metal by oxyacetylene manually as per given drawing. - Cut metal by oxyacetylene automatically as per given drawing. - Use hammer and anvil to straighten the workpiece as per instructions. - Set flame of welding torch in oxidizing flame as per SOPs. - Cut one side of work piece as per procedures. - Maintain standard distance between welding torch nozzle and work piece. - Set cutting torch in Auto Feed machine as per job requirement. - Set Feed Rate of machine as per job requirement. - Set disk grinder on grinding machine as per procedures. - Set RPM of disk grinding machine as per SOPs. - Cut on marked line with disk grinder by hand for manual cutting as per instructions. - Set guide blade of disk grinding machine as per requirement for automatic cutting. - Set feed of disk grinding machine as per SOPs. |
| Perform Gas Metal Arc Welding (GMAW) | - Select welding materials as per given drawings. - Prepare GMAW welding machine as per SOPs. - Set up welding machine accessories as per procedures. - Connect welding machine to an independent power supply as per procedures. - Set polarity before performing welding operation as per procedures. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Inspect welding joint visually as per SOPs. - Deposit root pass as per job requirement. - Deposit filling pass as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per procedures. - Maintain and store tools/equipment/consumable materials as per SOPs. |
| Perform Shield metal Arc Welding (SMAW) | - Identify welding specifications from given drawing. - Prepare SMAW welding machine as per SOPs. - Set welding machine accessories as per SOPs. - Connect welding machine to an independent power supply as per procedures. - Set polarity as per procedures. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per SOPs. - Adjust welding parameters as per job requirement. - Carry out finishing work of welds as per SOPs. - Inspect weld visually and mark any visual defects as per procedures. - Clean work area as per procedures. - Store tools/equipment/consumable materials as per SOPs. |
| Perform Gas Tungsten Arc Welding (GTAW) | - Identify welding specifications from given drawing. - Prepare GTAW welding machine as per SOPs. - Set up welding machine accessories and consumables as per SOPs. - Connect welding machine to an independent power supply as per SOPs. - Set polarity indicated as per SOPs. - Adjust welding parameters (current, voltage etc.) as per procedures. - Maintain gap between electrode and base metal as per procedures. - Carry out welding in Flat and Horizontal (1F, 2F) and Flat (1G, 2G) positions as per instructions. - Adjust welding parameters as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per SOPs. - Adjust welding parameters as per SOPs. - Perform groove welding on Carbon Steel Plate as per instructions. - Store tools/equipment/consumable materials as per SOPs. |
| Perform Submerged Arc Welding | - Identify welding requirements from given drawing. - Prepare SAW welding machine as per SOPs. - Set welding machine accessories and consumables as per SOPs. - Connect welding machine to an independent power supply as per SOPs. - Set polarity indicated as per SOPs. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Carry out welding in 1F and 1G position as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per job requirement. - Carry out finishing work of welds as per job requirement. - Inspect weld visually and mark any visual defects as per SOPs. - Clean work area as per SOPs. - Store tools/equipment/consumable materials as per SOPs. |
| Perform Friction Welding | - Prepare given work pieces for smooth square surface for Inertia Friction welding as per job requirement. - Mount one piece on a rotor driven chuck as per SOPs. - Mount other piece in stationary chuck as per SOPs. - Set RPM to rotate mounted work piece as per SOPs. - Apply Low pressure on the stationary work piece as per SOPs. - Apply high pressure force to the stationary work piece and force it toward rotating work piece as per SOPs. - Apply pressure until the plastic forming temperature is achieved. - Stop rotor and apply pressure force increasingly until the whole weld is formed. - Prepare both work pieces for smooth square surface for Linear Friction Welding. - Mount one piece on lateral motion chuck as per SOPs. - Mount other piece in stationary chuck as per SOPs. - Set oscillating speed of lateral motion chuck as per SOPs. - Apply high pressure force to the stationary work piece and force it toward oscillating work piece to generates a high friction force - Apply pressure until the plastic forming temperature is achieved. - Stop rotor and apply pressure force increasingly until the whole weld is formed. |
| Perform Non-Destructive Welding Tests | - Prepare weld joint as per SOPs for Visual Inspection. - Check for cracks, pits, surface pores, undercut, missed joint as per SOPs. - Prepare weld joint as per SOPs for X-Ray test. - Place work piece in x-ray machine as per procedures. - Set x-ray machine as per SOPs. - Expose welded area to x-ray beam as per SOPs. - Produce negative film of welded area as per SOPs. - Mark dark spots on negative film identifying defects as per SOPs. - Prepare weld joint as per SOPs for Magna flux Test. - Sprinkle very small iron particles on welded joint. - Slide magnet underneath the welded joint. - Mark area where iron particles are gathered as per procedures. |
| Perform Destructive Welding Tests | - Prepare weld joint as per SOPs for Tensile Test. - Place work piece on universal testing machine (UTM) as per SOPs. - Mount work piece in jaws of UTM as per SOPs. - Start UTM machine. - Note ultimate tensile strength of welded joint as per SOPs. - Note Poisson’s ratio of welded joint. - Prepare weld joint as per SOPs for Impact Test - Set machine for Load test method as per SOPs. - Prepare and mount work piece for Load test method as per SOPs. - Strike test piece with striker as per procedures. - Note test readings. |

Knowledge & Understanding

The candidate must possess underpinning knowledge and understanding required to carry out tasks covered in this competency standard. Therefore he/she must be able to:

- Feed Rate for Automatic machine.

- Fore hand welding method.

- Explain advantages of GMAW.

- Describe the principle of MIG welding.

- List Personal Protective Equipment required for MIG welding and state their use.

- Explain safe working practices to be followed while carrying out MIG welding.

- Identify hazards associated with MIG welding and take remedial measures.

- Explain the factors to be considered in TIG welding like type and thickness of the base metal, current type and polarity, type of shielding gas to be used.

- Explain the (current, voltage, wire feed speed etc.) as per welding procedure specifications/job requirements to produce Fillet Welds on Carbon Steel Plate, Groove welds on Carbon Steel Plate (1F,1G,2F,2G).

- Define Visual welding defects.

- State the purpose of using shielding gas in TIG welding.

- Explain advantages of GTAW.

- Describe the principle of TIG welding.

- Explain safe working practices to be followed while carrying out TIG welding.

- Identify hazards associated with TIG welding and take remedial measures.

- Define Visual welding defects.

- Describe various welding processes including Submerged Arc Welding process.

- Explain non-destructive tests.

- Describe advantages of non-destructive tests.

- Describe visual inspection.

- Describe x- ray welding.

- Explain wave length of x-rays.

- Explain difference between x-ray and gamma ray.

- Describe dis advantages of magna flux test.

- Describe applications of magna flux tests.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Set Feed Rate of machine as per instructions.

- Make Fillet welds on given Carbon Steel plate, Groove weld on Carbon Steel Plate (3F,3G,4F,4G) as per instructions.

- Set oscillating speed of lateral motion chuck as per instructions.

- Perform Magna flux Test on the given welded joint as per instructions.

- Perform Impact Test on the given weld joint as per instructions.

- Perform tensile test on the given weld joint as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S.No | Items | Quantity |
| 1. | Oxy-Acetylene Gas Welding Set (Torch, Hoses, Regulator, etc.) | 2 Sets |
| 2. | Oxygen Cylinder | 2 |
| 3. | Acetylene Cylinder | 2 |
| 4. | GMAW Welding Machine (MIG) | 2 |
| 5. | SMAW Welding Machine (Arc) | 2 |
| 6. | GTAW Welding Machine (TIG) | 2 |
| 7. | Submerged Arc Welding (SAW) Machine | 1 |
| 8. | Friction Welding Machine | 1 |
| 9. | Welding Table with Clamps | 4 |
| 10. | Angle Grinder | 5 |
| 11. | Electrode Drying Oven | 1 |
| 12. | Welding Helmet (Auto Darkening) | 10 |
| 13. | Welding Aprons & Gloves (Leather) | 15 Sets |
| 14. | Face Shields & Safety Goggles | 25 |
| 15. | Bench Vices | 5 |
| 16. | Fire Extinguisher (CO₂ / Dry Chemical) | 2 |
| 17. | Welding Curtain / Screen | 3 |
| 18. | First Aid Box | 1 |
| 19. | Digital Multimeter (for basic testing) | 3 |
| 20. | Non-Destructive Test (NDT) Kit (Dye Penetrant, etc.) | 1 Set |
| 21. | Destructive Testing Kit (Basic Tensile/Hardness Tools) | 1 Set |

| List of Consumables |  |  |
| --- | --- | --- |
| S.No | Item | Quantity |
| 1. | Oxy-Acetylene Hoses and Tips | 6 Sets |
| 2. | Welding Electrodes (E6013, E7018, etc.) | 50 Kg |
| 3. | MIG Wire Spools | 10 Spools |
| 4. | TIG Electrodes (Tungsten Rods) | 50 Rods |
| 5. | Submerged Arc Welding Flux | 25 Kg |
| 6. | Filler Rods for TIG Welding (Aluminum, Steel) | 100 Rods |
| 7. | Gas Nozzles & Contact Tips (GMAW/TIG) | 20 Sets |
| 8. | Sand Paper / Grinding Discs | 50 Pieces |
| 9. | Welding Coupons / Metal Plates (for practice) | 100 Pieces |
| 10. | Marking Chalk / Soapstone | 50 Pieces |
| 11. | Anti-Spatter Spray | 5 Bottles |
| 12. | Welding Cleaning Brush (Steel) | 10 |
| 13. | Paint / Penetrant for NDT Testing | 10 Sets |
| 14. | NDT Developer & Cleaner Sprays | 10 Sets |
| 15. | Hand Cleaner / Degreaser | 5 Bottles |
| 16. | Ear Plugs / Ear Muffs | 25 |
| 17. | Safety Masks / Respirators | 25 |

### 5.3 0713E&E4003 Operate Hydraulic Machines

Overview:

This competency standard covers the skills and knowledge required to Categorize fluid mechanics, Illustrate Hydro kinetics, Measure Flow of fluid Through Pipes, Measure fluid pressure through Impact of Jet, Identify and use of Water Turbines, illustrate water Pumps, Categorize Hydraulic Valves and Seals, Classify and use of Hydraulic machines, Illustrate Hydraulic Actuators, Identify Hydraulic Circuits and Accessories and Operate Pneumatic Simple Machines

| Competency Units | Performance Criteria |
| --- | --- |
| Categorize Fluid Mechanics | - Classify fluids - List properties of fluids. - Illustrate application of fluid mechanics principles. |
| Illustrate Hydro kinetics | - List principles of hydrokinetics. - Calculate velocity and pressure distribution in fluid flow as per instructions. - Interpret impact of external forces on fluid. |
| Measure Flow of fluid Through Pipes | - Identify flow measurement devices. - Calibrate measurement device as per SOPs. - Measure flow rate of the given fluid as per instructions. |
| Measure Fluid Pressure Through Impact of Jet | - Test jet impact apparatus as per SOPs. - Calibrate measurement instruments as per SOPs. - Record forces exerted by the jet as per procedures. - Calculate fluid pressure from the force readings. |
| Operate Water Turbines | - Categorize types of water turbines. - Select water turbine as per instructions. - Install water turbine system as per SOPs. - Operate water turbine as per SOPs. |
| Operate Water Pumps | - List types of water pumps. - Install given water pump as per instructions. - Calculate Suction head, Delivery head and Total lift of the given pump. |
| Operate hydraulic Valves and seals | - List types of hydraulic valves. - Operate given hydraulic valves as per SOPs. - List types of hydraulic seals. - Check leakage of Hydraulic Seals as per SOPs. |
| Calculate The Performance of Hydraulic Machines | - List types of hydraulic machines. - Operate hydraulic controls as per SOPs. - Calculate efficiency of given hydraulic machine as per instructions. |
| Operate Hydraulic Actuators | - List types of hydraulic actuators. - Install given hydraulic actuators as per SOPs. - Calculate efficiency of given hydraulic actuator as per instructions. |
| Identify Hydraulic Circuits and Accessories | - Draw hydraulic circuits as per instructions. - List components in given hydraulic circuit. - Analyse performance of given hydraulic circuit. |

Knowledge & Understanding

The candidate must possess underpinning knowledge and understanding required to carry out tasks covered in this competency standard. Therefore he/she must be able to:

- Understand Fluid Properties.

- Analyse Fluid Flow Types.

- Understand Hydraulic Pressure.

- Design and Analyse Hydraulic Circuits.

- Select Appropriate Hydraulic Machines.

- Understand Simple Fluid Mechanics Calculations.

- Implement Safety Procedures.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Measure the following fluid properties

  - Density

  - Viscosity

  - Flow rates as per given instructions.

- Solve given problems using Bernoulli’s equation and the continuity equation

- Design simple hydraulic circuits and check their performance as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S.No | Items | Quantity |
|  | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Sets |
|  | Flow Measuring Apparatus (Venturi meter / Orifice Meter) | 2 Sets |
|  | Pressure Gauge Set (with manometers) | 3 Sets |
|  | Impact of Jet Apparatus | 1 Set |
|  | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) | 2 Sets |
|  | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 2 Sets |
|  | Hydraulic Valve Test Bench | 1 Set |
|  | Measuring Cylinders / Flow Meter | 4 |
|  | Stop Watch | 5 |
|  | Transparent Pipes for Flow Visualization | 3 Sets |
|  | Hydraulic Seals & Valve Cut Section Models | 2 Sets |
|  | Hydraulic Motor Test Kit | 1 Set |
|  | Computer System with Simulation Software (Hydraulic Systems) | 2 PCs |
|  | Safety Goggles | 25 |
|  | Hydraulic Oil (Standard Grade) | 40 Liters |
|  | Marking Chalk / Soapstone | 30 Pieces |
|  | Rubber Seals and Gaskets (Assorted sizes) | 50 Pieces |
|  | Teflon Tape | 20 Rolls |
|  | Transparent Tubing (for experiments) | 30 Meters |
|  | Lubricating Oil | 5 Liters |
|  | Thread Sealant | 10 Bottles |
|  | Clean Rags / Wiping Cloths | 100 Pieces |
|  | Hand Gloves (Rubber/Nitrile for fluid handling) | 25 Pairs |
|  | Washers and Small Fittings | 100 Pieces |
|  | Cleaning Spray / Degreaser | 5 Bottles |
|  | Fluid Sample Containers | 25 |
|  | Disposable Aprons | 25 |
|  | Lab Notebooks / Recording Sheets | 25 |
|  | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 Sets |

### 5.4 0713E&E4004 Perform Quantity Survey/Estimation

Overview:

The competency standard describes skills and knowledge required to prepare rough cost estimate and detailed estimate of a building and other services, BOQ of different type of walls and material statement. Your underpinning knowledge will be sufficient to provide you the basis for your work.

| Competency Unit | Performance Criteria |
| --- | --- |
| Prepare Rough Cost Estimates Of Building | - List types of building drawings. - Select number of units as per procedures. - Calculate unit rate from existing building as per instructions. - Calculate covered area of the building as per instructions. - Calculate cost per square unit from existing buildings as per instructions. - Prepare rough cost estimate of new building as per instructions. |
| Prepare Bill Of Quantities | - Select type of wall i.e. D-wall, H-Wall, Tee Wall, L-Wall, U-wall and circular wall as per procedures. - Prepare BOQ table as per given specifications. - Take measurements from given plan and section. - Record measurement in BOQ table. |
| Produce Detailed Estimate Of A Single Storey Building | - Select plan and section as per SOPs. - Draw centre lines in plan s per SOPs. - Sum up lengths of centre lines by centre line method. - Prepare BOQ for quantities of items of work for building as per instructions. - Select MRS/PWD rates of qualities as per given specifications. - Prepare abstract of cost table with help of composite schedule of rates. |
| Prepare Annual/Special Repair Estimates | - Identify items of work for Annual/ Special Repair of building / road as per SOPs. - Calculate quantities of items of work for Annual/ Special Repair for building/ road as per SOPs. - Select MRS/PWD rates as per given specification. - Prepare Abstract of Cost for Annual/ Special Repair for building / road as per SOPs. |
| Calculate Earth Work for Civil Engineering Structures | - Select section of road in plain / hilly road as per SOPs. - Select section of irrigation canal as per SOPs. - Select method of calculation of earth work i.e. mean area, mid sectional area and prismoid formula method. - Identify data of NSL, FL and calculate depth of filling. - Calculate x-sectional area at each RD as per selected method. - Calculate volume of earth work filling / cutting as per instructions. |
| Prepare Material Statements | - Select item of work for material statement. - Identify specification for work as per SOPs. - Calculate proportion required for work as per SOPs. - Prepare material statement as per SOPs. |
| Analyze Rates of Items of Work for Building | - Select unit of quantity for analysis according to value of item work. - Identify relevant specification. - Calculate quantities of items of work. - Calculate cost of material. - Calculate carriage of material. - Calculate labor cost. - Calculate total cost. - Calculate contingencies. - Calculates contractors’ profit. - Calculate total cost and unit cost. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- State formulae for area, perimeters and volumes of various plane and solid geometrical figures.

- State units FPS, MKS and SI.

- Understand unit conversions

- Describe importance of estimates.

- State measurement linear, square, cubic.

- State type of estimate.

- Discuss detailed specifications of important items of works by help of specifications book VOL I&II GOP.

- Procedure to prepare rough cost estimate of a building from given line plan or covered area.

- Distinguish between P.W.D and English method of recording measurements.

- List all items of works for a residential building (only building position except public health and electrification installation).

- Determine quantities of all items of works for straight; D,F,H,T,U shaped walls and circular walls.

- Workout quantities of all items of works for a single Storey building (building portion only) from given drawings.

- Procedure to prepare bill of quantities and abstract of cost with help of composite schedule of rates.

- Procedure to prepare annual and special repair estimate for a given building.

- State data required for computation of earth works. (Intermediate point-IMP)

- Explain methods to determine quantity of earth work and its respective proformas (mid area, mean area, Prismoid & Graphical Methods).

- Work out (determine) quantity of earth work for embankments, roads and irrigation channels.

- Explain remodeling of irrigations channels.

- Work out quantity of earth work for remodeling of a channel from given x-sections of channels.

- Describe purpose of rate analysis.

- Brief introduction to chaps/rate analysis of MRS items of work.

- Determine quantity of materials required for various items of building works.

- Procedure to prepare material statement for various items of building works.

- Procedure to prepare analysis of rates for important items of work as given in subject contents by using input rates.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Estimate a single Storey two room with veranda building as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Desktop Computers/Laptops (with Estimation & Excel software) | 5 Units |
| 2. | AutoCAD Software License (or Drafting Software) | 5 Seats |
| 3. | Digital Plan Measuring Tool (Scale Master Pro or similar) | 2 Units |
| 4. | Scientific Calculators | 10 Units |
| 5. | Steel Tape Measures (30m) | 5 Units |
| 6. | Total Station or Theodolite (for earthwork estimation) | 1 Unit |
| 7. | Whiteboard and Markers | 1 Set |
| 8. | Projector and Screen (for visual training) | 1 Set |
| 9. | Drawing Boards with T-Square (for manual drafting) | 10 Sets |
| 10. | Stationery Tool Kits (compass, divider, scale ruler) | 10 Sets |
| 11. | Vernier Calipers (for checking samples) | 5 Units |
|  | UPS/Power Backup for computer systems | 1 Unit |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | A4 & A3 Size Drawing Sheets | 300 Sheets |
| 2. | Graph Papers | 200 Sheets |
| 3. | Plotter Paper Rolls | 4 Rolls |
| 4. | Printer Ink Cartridges / Toners | 2 Sets |
| 5. | Pencils (HB, 2H, 4H) | 100 Pieces |
| 6. | Erasers and Sharpeners | 50 Sets |
| 7. | Drafting Tape | 20 Rolls |
| 8. | Transparent Plastic Scales (1:50, 1:100) | 25 Sets |
| 9. | Notebook for Estimate Calculations | 25 Units |
| 10. | File Folders and Document Holders | 25 Units |
| 11. | Markers and Highlighters | 30 Pieces |
| 12. | Glue Stick / Adhesives | 20 Pieces |
| 13. | Earth Sample (for volume estimation practice) | As Required |
| 14. | Paper Clips and Rubber Bands | 10 packs |

### 5.5 0713E&E4005 Calibrate Electrical Equipment

Overview:

This competency standard covers the skills and knowledge required to calibrate ammeter, voltmeter, ohmmeter, multi-meter, capacitor, inductor and 2-wire/4-wire resistor by direct comparison method.

| Competency Units | Performance Criteria |
| --- | --- |
| Perform Pre Calibration Activity | - Perform functional and physical check of under test equipment/UUT (Unit Under Test) as per SOPs. - Prepare equipment receipt with specifications and allot unique code. - Keep the equipment in controlled environment for thermal stabilization as per SOPs. - Turn ON the equipment for warm-up as per SOPs. - Record the under-test equipment specifications, environmental condition of laboratory as per procedures. |  |
| Calibrate Ammeter | - Select reference/Standard Current Source as per SOPs. - Connectable on the basis of under test ammeter range as per SOPs. - Connect the under-test ammeter with Reference/Standard Current Source at current terminals as per SOPs. - Select calibration points on under test ammeter as per SOPs. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying current. - Apply the Reference current and record the value displayed on the under-test ammeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. |  |
| Calibrate Voltmeter | - Select the Reference/Standard Voltage Source as per SOPs. - Connect the under test voltmeter with Reference/Standard Voltage Source at voltage terminals. - Select calibration points on under test voltmeter as per procedures. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying voltage - Apply the Reference voltage and record the value displayed on the under test voltmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the voltage source and remove the connecting cables as per procedures. |  |
| Calibrate Ohmmeter | - Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. - Connect the under-test ohmmeter with Reference/Standard Resistance Source at resistance terminals as per SOPs. - Select calibration points on under test ohmmeter as per procedure. - Check zero error by shortening the probes and perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying resistance - Apply the Reference resistance and record the value displayed on the under-test ohmmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the resistance source and remove the connecting cables as per SOPs. |  |
| Calibrate Multimeter | - Select the Reference/Standard according to the multi-meter specifications. - Connect the under test multi-meter with Reference/Standard as per selected parameter. - Select parameter (Voltage AC/DC, Current AC/DC, Resistance, Capacitance) on both Reference and under test equipment one by one as per SOPs. - Check zero error for each parameter and nullify as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying Reference value for each parameter - Apply the Reference value of each parameter and record the value displayed on the under-test Multimeter and Reference. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the Standard Reference and remove the connecting cables as per SOPs. |

Knowledge & Understanding

- Explain Calibration and technical procedure for the calibration of ammeter, voltmeter,

ohmmeter, multi-meter, inductor, capacitor and resistor.

- Differentiate between Reference Standard and (Unit under Test) UUT.

- Explain resolution, standard deviation, and uncertainty.

- Explain difference between precision and accuracy

- Differentiate between fixed and discrete resistor

- Explain calculation method of error off error and uncertainty budget

- What is the coverage factor

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent inthis competency standard:

- Calibrate Standard Inductor as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Calibration Bench Setup | 1 Unit |
| 2. | Standard Calibrated Ammeter (Digital) | 2 Units |
| 3. | Standard Calibrated Voltmeter (Digital) | 2 Units |
| 4. | Precision Ohmmeter | 2 Units |
| 5. | Calibrated Multimeter (Reference Standard) | 2 Units |
| 6. | Function Generator | 1 Unit |
| 7. | Variable Power Supply (0-30V, 5A) | 2 Units |
| 8. | Digital Oscilloscope | 1 Unit |
| 9. | Test Leads with Banana Plugs | 10 Sets |
| 10. | Safety Gloves and Mats | 5 Sets |
| 11. | Tool Kit (Screwdrivers, Wire Cutter, etc.) | 5 Sets |
| 12. | Insulation Resistance Tester | 1 Unit |
| 13. | Work Benches with Electrical Boards | 5 Units |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Marker Pens and Labels | 25 Sets |
| 2. | Electrical Tapes | 10 Rolls |
| 3. | Fuses (Assorted Ratings) | 100 Units |
| 4. | Solder Wire | 500 Grams |
| 5. | Flux Paste | 5 Tins |
| 6. | Cleaning Alcohol (Isopropyl) | 5 Liters |
| 7. | Cotton Swabs & Cloth | 25 Sets |
| 8. | Wiring Cables (Flexible, Multi-core) | 100 Meters |
| 9. | Notebooks and Calibration Log Sheets | 25 Units |
| 10. | Connector Terminals | 200 Pieces |
| 11. | Batteries for Multimeters (9V/AA) | 50 Units |
| 12. | Heat Shrink Sleeves | 50 Pieces |

### 5.6 0713E&E4006 Diagnose Electrical Fault in Generator

Overview:

This Competency Standard covers the skills and knowledge required to inspect and service ignition system, inspect and service alternator, inspect and service display panel, inspect and service governor /Actuator System, inspect and service charging system, inspect and service warning system, to diagnose electric fault (s) in generator.

| Competency Units | Performance Criteria |
| --- | --- |
| Inspect/Service Ignition System | - Identify the tools and equipment as per job requirement. - Check DC power supply of ignition coil and distributor as per SOPs. - Check HT leads as per SOPs. - Check spark plugs as per SOPs. |
| Inspect/Service Alternator | - Identify the tools and equipment as per job requirement. - Check DC output voltage as per SOPs. - Check belt as per SOPs. |
| Inspect/Service Warning System | - Identify tools and equipment as per job requirement. - Check oil sensor as per SOPs. - Check temperature sensor as per SOPs. - Check fuel sensor as per SOPs. - Check over/under load module as per SOPs. |
| Inspect/Service Charging System | - Identify the tools and equipment as per job requirement. - Check battery power leads as per SOPs. - Check charging circuit of alternator as per SOPs. |
| Troubleshoot Wiring | - Identify the tools and equipment for checking of supply. - Check the main supply as per SOPs. - Check the breakers as per SOPs. - Ensure the supply off as per SOPs. - Perform open circuit and short Circuit test with meter as per SOPs. - Identify the faults as per procedures. - Remove the fault as per SOPs. |

Knowledge & Understanding

- Define Ignition coil and Distributor.

- Define High Tension (HT) Leads.

- Functions of Spark Plug.

- Describe DC alternator.

- Knowledge about voltage of Alternator.

- Knowledge about Display Panel.

- Data Screen.

- Types of circuit breakers / Relays.

- Describe Governor / Actuator.

- Describe charging system.

- Describe Warning system.

- Describe open circuit test.

- Describe short circuit test.

- Define fuse, miniature circuit breaker.

- Distinguish between fuse and miniature circuit breaker.

- List the parts of fuse & M.C.B.

- Compare the advantages & disadvantages of fuse & M.C.B.

- Classify cables with respect to insulation, core, voltage grade & current carrying capacity.

- Calculation of cable size.

- Find size of cable for respective load.

- Name components of earthling system.

- Define earth electrode, earth continuity conductor &earthling lead.

- Explain the earth fault current.

- Find size of earth continuity conductor, earthling lead & earth electrodes.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Differentiate between Ignition coil and distributor.

- List functions of High Tension (HT) Leads.

- List functions of Spark Plug.

- List functions of Display Panel / Data Screen.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Digital Multimeter (True RMS) | 5 Units |
| 2. | Analog Multimeter | 3 Units |
| 3. | Clamp Meter | 3 Units |
| 4. | Battery Load Tester | 2 Units |
| 5. | Ignition System Tester | 2 Units |
| 6. | Timing Light | 2 Units |
| 7. | Alternator Test Bench | 1 Unit |
| 8. | Starter Motor Bench Tester | 1 Unit |
| 9. | Auto Electrical Diagnostic Tool | 1 Unit |
| 10. | Insulation Resistance Tester (Megger) | 2 Units |
| 11. | Basic Hand Tool Set (Pliers, Screwdrivers, etc.) | 5 Sets |
| 12. | Wire Stripper & Crimper Tool | 5 Sets |
| 13. | Safety Gloves and Goggles | 10 Sets |
| 14. | Workbenches with Electrical Panels | 5 Units |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
|  | Fuses (Assorted Ratings) | 100 Pieces |
|  | Wiring Harness Samples | 10 Sets |
|  | Terminal Lugs and Connectors | 200 Pieces |
|  | Battery Terminals | 50 Pieces |
|  | Cleaning Spray (Contact Cleaner) | 5 Cans |
|  | Zip Ties | 300 Pieces |
|  | Heat Shrink Tubing | 100 Pieces |
|  | Carbon Brushes (Assorted Sizes) | 30 Sets |
|  | Insulating Sleeves | 50 Meters |
|  | Marker Pens and Cable Tags | 25 Sets |
|  | Notebooks and Fault Logs | 25 Units |

### 5.7 0713E&E4007 Carryout Protection of Distribution and Transmission System

Overview:

This Competency standard deals with the skills and knowledge required to Install the equipment for grounding of Substation/Transmission lines, Categorize and rectify the symmetrical and asymmetrical faults, Install Circuit breaker in a distribution system (Substation/Grid station), Install an isolator at grid station/substation, install appropriate relays for the protection of power system, Carry out Bus Bar protection, Carry out time graded protection of feeder, Install a fuse in a circuit (Transformer and Distribution panels), Supervise Protection of power transformer, Carryout protection arrangement for alternator.

| Competency Units | Performance Criteria |
| --- | --- |
| Install Relay For Protection | - Select relay according to job requirement. - Make connections of relay according to given drawing. - Perform basic settings of relay as per specifications. |
| Perform Operations Of Relay | - Identify type of relay installed. - Interpret operation manual of relay. - Perform advanced setting of relay as per specifications. |
| Perform Troubleshooting Of Relay | - Check connections of relay as per SOPs. - Reset functionality of relay as per SOPs. - Inject current to check healthiness of operation of relay as per SOPs. |
| Carry Out Bus Bar Protection | - Check connection of differential relay for bus bar as per SOPs. - Perform frame leakage protection as per SOPs. - Perform circuiting current protection as per SOPs. |
| Carry Out Protection Of Power Transformer | - Select differential relay as per job requirement. - Make connections of CT with differential relay as per SOPs. - Perform setting of current transformer (CT) as per SOPs. |
| Install Grounding Equipment Of Substation/Trans Mission Lines | - Carryout grounding (Resistance, Reactance, solid) as per instructions. - Supervise the grounding in accordance with WAPDA Standards. - Select copper conductor as per instructions. - Test the resistance of ground using Magger meter. - Carry out the jointing of copper conductor as per SOPs. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Explain Type of faults in power system

- Explain the problems arising due to short circuit on power line

- Describe Necessity of Circuit breaker

- Explain Working principal for fault.

- Explain different types of circuit breaker

- Define different types of relays

- Define the working principal of relays of different type respectively

- Explain the purpose of relays and the need of relays

- Describe the Selection criteria.

- Describe working of frame protection

- Explain concept of time graded protection.

- Define Buss Bar protection

- Describe rating of circuit breaker

- Explain Using principal of an isolator

- Describe Usage of isolator

- Describe Types of isolator

- Describe working principal

- Explain rating parameters

- Explain fuse materials

- Define types of fuse

- Define advantages and disadvantages.

- Define faults on transformer

- Describe Merz-prize system

- Explain protection for different types of connection.

- Explain Alternators faults

- Describe Protection against stator faults

- Explain Balanced earth fault protection

- Explain stator in-turn protection

- Explain Concepts of grounding

- Describe Necessity of grounding

- Describe Types of grounding

- Describe Resistance Requirement for grounding

- Explain WAPDA standards

- Explain types and working principal of reactors.

- Explain Advantages and disadvantages of different types of reactors.

- Define Lightning arrester with respect it’s types according to the requirements

- Define usage of Lightning Arrester

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Carryout protection arrangement for alternator as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Protective Relay Test Set | 2 Units |
| 2. | Digital Multimeter (True RMS) | 5 Units |
| 3. | Clamp Meter | 3 Units |
| 4. | Megger (Insulation Resistance Tester) | 2 Units |
| 5. | Primary Injection Kit | 1 Unit |
| 6. | Secondary Injection Test Set | 1 Unit |
| 7. | CT/PT Analyzer | 1 Unit |
| 8. | Relay Calibration Bench | 1 Unit |
| 9. | Earth Resistance Tester | 2 Units |
| 10. | Safety Helmet and Gloves | 10 Sets |
| 11. | Tool Kit (Pliers, Wrenches, Screwdrivers) | 5 Sets |
| 12. | Portable Grounding and Shorting Equipment | 2 Sets |
| 13. | Substation Layout Board (Demo/Training) | 1 Unit |
| 14. | Bus Bar Assembly Demo Unit | 1 Unit |

| List of Consumable Material |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Insulating Tape (High Voltage) | 15 Rolls |
| 2. | Cable Lugs and Connectors | 200 Pieces |
| 3. | Ferrules and Cable Tags | 250 Pieces |
| 4. | Heat Shrink Tubing | 50 Meters |
| 5. | Grounding Rods (for training setup) | 5 Units |
| 6. | Solder Wire and Flux | 10 Sets |
| 7. | Cable Markers | 100 Pieces |
| 8. | Zip Ties | 300 Pieces |
| 9. | Contact Cleaner Spray | 5 Cans |
| 10. | Electrical Safety Posters/Charts | 5 Sets |
| 11. | Documentation Sheets and Relay Logs | 25 Books |

### 5.8 0713E&E4008 Install Turbine

Overview:

This competency standard covers the skills and knowledge required to verify foundation layout of turbines, assemble hydro turbine, make mechanical coupling, perform alignment and calibration of turbine, perform testing and commissioning, perform inspection and documentation.

| Competency Units | Performance Criteria |
| --- | --- |
| Verify foundation layout | - Check Load-Bearing Capacity of foundation as per SOPs. - Check Soil Suitability of site as per procedures. - Check durability of material as per procedures. - Check Leveling of foundation as per procedures. |
| Assemble hydro turbine | - Position turbine fix/stay vanes as per SOPs. - Position the turbine base onto the foundation as per procedures. - Install the main shaft onto the turbine base as per procedures. - Install and connect necessary systems as per procedures. |
| Perform mechanical couplings | - Align the turbine shaft and generator as per SOPs. - Install the coupling between the turbine shaft and generator shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Perform a test run as per procedures. |
| Perform alignment and calibration of turbine | - Align the turbine components on the foundation as per SOPs. - Verify all components are within the manufacturer's specified tolerances for alignment. - Perform calibration of the control systems as per procedures. - Conduct operational tests of turbine as per procedures. |
| Perform testing and commissioning | - Perform Pre-Commissioning inspection of all turbine components as per SOPs. - Conduct a dry run test to check the mechanical systems as per procedures. - Control penstock gate of the turbine as per procedures. - Verify that the turbine meets design specifications as per procedures. - Calibrate control systems, and make any necessary adjustments as per procedures. |
| Perform inspection and documentation | - Conduct visual inspection of the turbine as per SOPs. - Measure key parameters Using instruments as per procedures. - Record all inspection findings, test results, and any maintenance or adjustments made as per procedures. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- foundation for hydro turbine

- hydro turbine types

- calibration process of hydro turbine

- testing and commissioning of hydro turbine

- inspection criteria

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Draw design diagrams of turbine and generator assembly as per instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Hydraulic Turbine Model (Training Unit) | 1 Unit |
| 2. | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
| 3. | Mechanical Coupling Kit | 2 Sets |
| 4. | Torque Wrench | 3 Units |
| 5. | Foundation Layout Laser Level | 2 Units |
| 6. | Portable Crane / Chain Block | 2 Units |
| 7. | Vernier Caliper / Micrometer Set | 5 Sets |
| 8. | Vibration Analyzer | 1 Unit |
| 9. | Calibration Equipment Set | 1 Set |
| 10. | Testing & Commissioning Panel (Demo Type) | 1 Unit |
| 11. | Inspection Flashlight and Mirror Set | 3 Sets |
| 12. | Safety PPE (Helmet, Gloves, Goggles) | 15 Sets |
| 13. | Tool Kit (Spanners, Screwdrivers, Allen Keys) | 5 Sets |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Foundation Bolts and Anchors | 50 Pieces |
| 2. | Shims and Alignment Plates | 100 Pieces |
| 3. | Thread Lock and Grease | 10 Tubes |
| 4. | Marking Chalks / Paints | 10 Sets |
| 5. | Cable Ties and Clamps | 200 Pieces |
| 6. | Cleaning Rags and Wipes | 100 Pieces |
| 7. | Documentation and Inspection Log Sheets | 25 Books |
| 8. | Calibration Stickers and Labels | 100 Pieces |
| 9. | Gasket Sheets (for mock flange setup) | 5 Sheets |
| 10. | Lubricating Oil for Testing | 10 Liters |

### 5.9 0713E&E4009 Install Generator

Overview:

This competency standard covers the skills and knowledge required to verify foundation layout, assemble synchronous generator, make, perform alignment and calibration of generator, make electrical connection, perform testing and commissioning, perform inspection and documentation.

| Competency Units | Performance Criteria |
| --- | --- |
| Verify foundation layout | - Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. - Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. - Compile report of inspection as per SOPs. |
| CU2. Perform A.C Generator coupling | - Position the generator onto the foundation as per SOPs. - Couple generator and turbine shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Install and connect necessary systems as per SOPs. |
| CU3. Perform alignment and calibration of generator | - Identify and select tools according to the job requirement. - Align the turbine shaft and generator as per SOPs. - Perform a test run to verify that the coupling functions correctly as per SOPs. |
| CU4. Make electrical connections | - Select tools according to the job requirement. - Connect power output terminals with transformer/panel board as per SOPs. - Connect current transformer (CT) and potential transformer (PT) as per SOPs. - Check grounding connections of generator as per SOPs. |
| CU5 Perform testing and commissioning | - Select tools according to job requirement. - Check speed and frequency of generator as per SOPs. - Check voltage and current of generator as per SOPs. - Check vibrations produced by generator as per SOPs. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Understanding of Synchronous generator and Asynchronous generator.

- Knowledge of Cooling and lubrication system of synchronous generator.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform coupling of given generator and turbine as per instructions.

- Determine RPM, frequency and voltage of the given generator according to instructions.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Generator Installation Training Unit | 1 Unit |
| 2. | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
| 3. | Mechanical Coupling Kit (for AC generator) | 2 Sets |
| 4. | Torque Wrench | 3 Units |
| 5. | Foundation Layout Laser Level | 2 Units |
| 6. | Electrical Testing Kit (Multimeter, Clamp Meter) | 5 Sets |
| 7. | Calibration Equipment Set | 1 Set |
| 8. | Electrical Tool Kit (Crimper, Wire Stripper, etc.) | 5 Sets |
| 9. | Lifting Equipment (Chain Block or Hoist) | 2 Units |
| 10. | Insulation Resistance Tester (Megger) | 1 Unit |
| 11. | Safety PPE (Gloves, Helmet, Goggles) | 15 Sets |
| 12. | Vibration Analyzer | 1 Unit |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Foundation Bolts and Grouting Material | 40 Sets |
| 2. | Electrical Connectors (Lugs, Terminals) | 200 Pieces |
| 3. | Cable Marking Tags and Labels | 150 Pieces |
| 4. | Insulation Tape & Heat Shrink Tubes | 30 Rolls |
| 5. | Cable Ties and Clamps | 200 Pieces |
| 6. | Cleaning Rags and Degreaser | 100 Pieces |
| 7. | Marking Chalks / Paint | 10 Sets |
| 8. | Documentation Sheets and Logbooks | 25 Books |
| 9. | Grease / Thread Locker for Coupling | 10 Tubes |
| 10. | Gasket Material for Flange Joints | 5 Sheets |
| 11. | Electrical Cables (For Demo Connections | 30 Meters |

### 5.10 0713E&E4010 Control MHP plant shutdown for emergency standby electrical systems

Overview:

This competency standard is intended for people in a senior position who are responsible for controlling MHP plant shutdown for emergency standby electrical systems. People holding credit for this competency standard are able to: Prepare emergency standby electrical system; shut down and isolate emergency standby electrical system; service emergency standby electrical system; monitor emergency standby electrical system and stabilize transient condition.

| Competency Units | Performance Criteria |
| --- | --- |
| Prepare emergency standby electrical system | - Carry out pre-condition’s preparation for plant as per SOPs. - Prepare plant for service as per SOPs. - Document preparation for plant shut-down as per SOPs. |
| Shut down and isolate emergency standby electrical system | - Carry out pre-condition for shutdown as per SOPs. - Isolate emergency standby electrical system as per SOPs. - Document plant shutdown and isolation as per SOPs. |
| Service emergency standby electrical system | - Apply hazard and risk identification as per SOPs. - Perform servicing of electrical system as per SOPs. - Document servicing activity as per SOPs. |
| Monitor emergency standby electrical system and stabilize transient condition | - Monitor plant operating condition as per SOPs. - Identify and react upon out of normal conditions as per SOPs. - Compare actual output values against expected requirements as per procedures. - Document transient conditions, actions and results. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety requirements; Specifications; Hazard identification.

- Impact of decision on plant operation.

- Pre-condition procedures.

- Shutdown procedure.

- Isolation procedure.

- Documentation process.

- Problem solving process.

- Energy conversion process.

- Mechanical plant component application and interrelation.

- Electrical plant component application and interrelation.

- Function of instrumentation components.

- Documentation process.

- Priority setting.

- Documentation process.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- List steps for preparation for MHP plant shutdown.

- List steps to execute the shutdown process.

- List steps for servicing and maintenance during shutdown.

- Explain system monitoring and safety compliance procedure.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Emergency Standby Generator (Training Purpose) | 1 Unit |
| 2. | Circuit Breaker Testing Kit | 1 Set |
| 3. | Lockout/Tagout Kit | 3 Sets |
| 4. | Electrical Panel Simulator (for emergency system) | 1 Unit |
| 5. | Battery Bank with Inverter (for training use) | 1 Set |
| 6. | Digital Multimeter | 5 Units |
| 7. | Clamp Meter | 3 Units |
| 8. | Electrical Tool Kit (Insulated) | 5 Sets |
| 9. | Phase Rotation Tester | 2 Units |
| 10. | Load Bank (for testing under load conditions) | 1 Unit |
| 11. | Safety PPE Kit (Helmet, Gloves, Boots, Goggles) | 15 Sets |
| 12. | Generator Shutdown Simulator Panel | 1 Unit |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Fuses and Miniature Circuit Breakers (MCBs) | 40 Pcs |
| 2. | Cable Lugs and Connectors | 150 Pcs |
| 3. | Electrical Tape and Insulation Tubes | 30 Rolls |
| 4. | Cleaning Spray for Electrical Contacts | 10 Cans |
| 5. | Wiring Labels and Tags | 100 Pcs |
| 6. | Nuts, Bolts and Fasteners (Electrical) | 200 Pcs |
| 7. | Marking Chalks and Stickers | 10 Sets |
| 8. | Logbooks and Monitoring Sheets | 25 Books |
| 9. | Cable Ties and Mounting Clips | 200 Pcs |
| 10. | Safety Signs and Labels for Emergency System | 10 Sets |
| 11. | Spare Indicator Bulbs/LEDs for Control Panel | 50 Pcs |

### 5.11 0713E&E4011 Analyze faults in MHP plant operation

Overview:

This competency standard is intended for people in a senior position who analyses faults in MHP plant operations. People holding credit for this competency standard are able to: Plan and prepare for fault analysis; test plant and auxiliary equipment operation; analyses plant and auxiliary equipment faults; and record findings.

| Competency Units | Performance Criteria |
| --- | --- |
| Diagnose faults in MHP Plant | - Select tools and equipment according to job requirement. - Adopt safety practices as per SOPs. - Interpret specifications and drawings regarding civil structure. - Diagnose faults in MHP plant as per SOPs. |
| Test plant and auxiliary equipment operation | - Perform tests according to SOPs. - Observe plant and equipment for correct operational response as per procedures. - Take corrective action when response is not in accordance with documentation as per SOPs. - Return plant and equipment to required operation status on completion of test as per procedures. |
| Analyze plant and allied equipment faults | - Analyze technical and operational information. - Determine necessary actions to rectify fault as per SOPs. - Maintain plant integrity and personnel safety as per procedures. - Take action to rectify the fault as per procedures. |
| Prepare documentation of faults diagnosis | - Mention the fault occurred in the logbook as per SOPs. - Prepare final report with findings and recommendations. - Submit report to supervisor as per SOPs. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety requirements; Specifications; Hazard identification.

- Drawing and symbol specifications.

- Tools and equipment and calibration meter.

- Test procedures.

- Dealing with unplanned events.

- Operation of plant components.

- Safe working procedures.

- Analyzing plant faults.

- Monitoring plant operation.

- Safe working procedures.

- Work completion details.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- List steps for fault diagnosis in MHP.

- List steps for inspection & data collection.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | MHP Plant Fault Simulation Kit | 1 Unit |
| 2. | Digital Multimeter | 5 Units |
| 3. | Clamp Meter | 3 Units |
| 4. | Insulation Resistance Tester (Megger) | 2 Units |
| 5. | Thermal Imaging Camera (for hot-spot detection) | 1 Unit |
| 6. | Oscilloscope (for signal diagnostics) | 1 Unit |
| 7. | Vibration Analyzer (for mechanical fault detection) | 1 Unit |
| 8. | Electrical Tool Kit (Insulated) | 5 Sets |
| 9. | Laptop with Diagnostic Software | 2 Units |
| 10. | Whiteboard with Markers (for fault analysis sessions) | 1 Set |
| 11. | Fault Logging & Analysis Charts | 5 Sets |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Fault Report Logbooks | 25 Books |
| 2. | Electrical Contact Cleaner Spray | 10 Cans |
| 3. | Fuses, MCBs and Relays (Assorted) | 50 Pcs |
| 4. | Cable Lugs and Connectors | 100 Pcs |
| 5. | Insulation Tape | 30 Rolls |
| 6. | Tagging Labels for Fault Identification | 100 Pcs |
| 7. | Graph Paper and Analysis Sheets | 100 Sheets |
| 8. | Stickers for Fault Area Marking | 50 Pcs |
| 9. | Printouts of Fault Diagnosis Flowcharts | 25 Sets |
| 10. | Pens, Pencils, Erasers, Rulers | 25 Sets |

### 5.12 0713E&E4012 Carry out preventive maintenance procedures as part of MHP operations

Overview:

This competency standard is intended for those who carry out preventive maintenance as part of MHP operations. ‘Preventive maintenance’ in this context refers to the systematic care and servicing of machinery, equipment and infrastructure by inspection, detection, and correction of early failures either before they occur or before they develop into major defects. People holding credit for this competency standard are able to: Plan and prepare for preventive maintenance; perform daily routine checks; perform preventive maintenance; and complete work.

| Competency Units | Performance Criteria |
| --- | --- |
| Plan For Preventive Maintenance | - Select tools and equipment as per job requirements. - Adopt safety and regulatory practices as per SOPs. - Interpret drawings as per SOPs. |
| Perform Daily Routine Checks | - Check for suspended trash or material at screens as per SOPs. - Check for water leakage or overflow as per SOPs. - Check for sand sedimentation as per SOPs. - Check for deformation or crack as per SOPs. - Check for mechanical malfunction as per SOPs. |
| Perform Preventive Maintenance | - Remove debris as per SOPs. - Flush out sand sedimentation as per procedures. - Remove sand and rocks as per procedures. - Reduce water intake as per SOPs. - Remove/Replace worn or faulty components as per SOPs. - Record maintenance procedures, and report subsequent actions. |
| Perform Documentation of Preventive Maintenance | - Complete work-related documents as per SOPs. - Perform final quality inspection as per procedures. - Clean up and store tools, equipment and materials as per SOPs. |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out tasks covered in this competency standard. This includes the knowledge of:

- Safety requirements; Specifications; Hazard identification.

- Drawings and symbols specifications.

- Tools and equipment and calibration.

- Inspection requirements.

- Facilities and equipment to be checked include but are not limited to:

  - Intake and waterway; Sedimentation basin, headrace, tailrace, fore bay; penstock; turbine; generator; load stabilizer; transformer; transmission and distribution lines.

- Maintenance procedures.

- Hazards and risks associated with maintenance.

- Consequences of not performing preventive maintenance.

- Checklists and reports, and importance.

- Importance of quality.

- Waste disposal procedures.

- Care of tools and equipment.

Critical Evidence(s)

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- List steps for maintenance planning & scheduling.

- List steps for inspection & monitoring.

- List steps for cleaning & lubrication.

Consumables, Tools, Machinery & Equipment

| List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
| 1. | Preventive Maintenance Toolkit (spanners, pliers, etc.) | 5 Sets |
| 2. | Digital Multimeter | 5 Units |
| 3. | Infrared Thermometer | 2 Units |
| 4. | Vibration Analyzer | 1 Unit |
| 5. | Grease Gun | 3 Units |
| 6. | Portable Inspection Lamp | 3 Units |
| 7. | Lubrication System Test Kit | 1 Unit |
| 8. | Laptop/Tablet (for digital logs and checklists) | 2 Units |
| 9. | Safety Helmet with Face Shield | 10 Units |
| 10. | Lockout-Tagout (LOTO) Kit | 2 Sets |

| List of Consumables |  |  |
| --- | --- | --- |
| S. No | Item | Quantity |
| 1. | Maintenance Checklist Sheets | 100 Sheets |
| 2. | Grease and Lubricants | 10 Liters |
| 3. | Cleaning Cloths | 50 Pcs |
| 4. | Cable Ties | 100 Pcs |
| 5. | Dust Masks | 50 Pcs |
| 6. | Safety Gloves | 25 Pairs |
| 7. | Replacement Fuses and Nuts | 50 Pcs |
| 8. | Insulation Tape | 30 Rolls |
| 9. | Documentation Logbooks | 25 Books |
| 10. | Labels for Equipment Tagging | 100 Pcs |

### 5.13 On Job Training

Overview:

The job training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environments. During this phase, students must take on entry level or support roles such as Micro Hydropower Technician, Electrical Maintenance Technician (Micro Hydro), Mechanical Maintenance Technician (Micro Hydro), Plant Maintenance Supervisor, Operations and Maintenance (O&M) Technician and Micro Hydropower System Troubleshooter. These roles span across various hydro power plants that enable learners to contribute in the development of hydro power infrastructures while fulfilling the requirements of qualification.

In case of unavailability of relevant industry for OJT, the following project may be carried out for the fulfilment of OJT requirement.

Install, and Maintain a Micro Hydro Power Plant Training System.

# List of Consolidated Consumables, Tools, Machinery & Equipment

| 6A. List of Consolidated Consumables |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Notebooks / Business Planning Diaries | 25 |
|  | Ballpoint Pens, Highlighters, Markers (Mixed Colors) | 75 Pieces each |
|  | A4 Paper Rim (for reports, proposals) | 10 No’s |
|  | USB Flash Drives (for digital work) | 10 No’s |
|  | Sticky Notes and Index Labels | 100 Pads |
|  | Printed Templates: Business Plans, Financial Sheets | 25 Sets |
|  | Sample Business Cards (Mock-ups for Branding) | 250 No’s |
|  | Safety Signage / Regulatory Posters | 5 Sets |
|  | Online Ad Credit (for social media learning - group) | 1 Account |
|  | Stationery Sets (rulers, sharpeners, erasers, etc.) | 25 Sets |
|  | Oxy-Acetylene Hoses and Tips | 6 Sets |
|  | Welding Electrodes (E6013, E7018, etc.) | 50 Kg |
|  | MIG Wire Spools | 10 Spools |
|  | TIG Electrodes (Tungsten Rods) | 50 Rods |
|  | Submerged Arc Welding Flux | 25 Kg |
|  | Filler Rods for TIG Welding (Aluminum, Steel) | 100 Rods |
|  | Gas Nozzles & Contact Tips (GMAW/TIG) | 20 Sets |
|  | Sand Paper / Grinding Discs | 50 Pieces |
|  | Welding Coupons / Metal Plates (for practice) | 100 Pieces |
|  | Marking Chalk / Soapstone | 50 Pieces |
|  | Anti-Spatter Spray | 5 Bottles |
|  | Welding Cleaning Brush (Steel) | 10 No’s |
|  | Paint / Penetrant for NDT Testing | 10 Sets |
|  | NDT Developer & Cleaner Sprays | 10 Sets |
|  | Hand Cleaner / Degreaser | 5 Bottles |
|  | Hydraulic Oil (Standard Grade) | 40 Liters |
|  | Marking Chalk / Soapstone | 30 Pieces |
|  | Rubber Seals and Gaskets (Assorted sizes) | 50 Pieces |
|  | Teflon Tape | 20 Rolls |
|  | Transparent Tubing (for experiments) | 30 Meters |
|  | Lubricating Oil | 5 Liters |
|  | Thread Sealant | 10 Bottles |
|  | Clean Rags / Wiping Cloths | 100 Pieces |
|  | Hand Gloves (Rubber/Nitrile for fluid handling) | 25 Pairs |
|  | Washers and Small Fittings | 100 Pieces |
|  | Cleaning Spray / Degreaser | 5 Bottles |
|  | Fluid Sample Containers | 25 No’s |
|  | Lab Notebooks / Recording Sheets | 25 No’s |
|  | A4 & A3 Size Drawing Sheets | 300 Sheets |
|  | Graph Papers | 200 Sheets |
|  | Plotter Paper Rolls | 4 Rolls |
|  | Printer Ink Cartridges / Toners | 2 Sets |
|  | Pencils (HB, 2H, 4H) | 100 Pieces |
|  | Drafting Tape | 20 Rolls |
|  | Transparent Plastic Scales (1:50, 1:100) | 25 Sets |
|  | File Folders and Document Holders | 25 Units |
|  | Glue Stick / Adhesives | 20 Pieces |
|  | Earth Sample (for volume estimation practice) | As Required |
|  | Paper Clips and Rubber Bands | 2 Box each |
|  | Insulation Tapes | 10 Rolls |
|  | Fuses (Assorted Ratings) | 100 Units |
|  | Solder Wire | 500 Grams |
|  | Flux Paste | 5 Tins |
|  | Cleaning Alcohol (Isopropyl) | 5 Liters |
|  | Cotton Swabs & Cloth | 25 Sets |
|  | Wiring Cables (Flexible, Multi-core) | 90 Meters each |
|  | Connector Terminals | 200 Pieces |
|  | Batteries for Multimeters (9V) | 50 No’s |
|  | Heat Shrink Sleeves | 50 Pieces |
|  | Fuses (Assorted Ratings) | 100 Pieces |
|  | Wiring Harness Samples | 10 Sets |
|  | Terminal Lugs and Connectors | 200 Pieces |
|  | Battery Terminals | 50 Pieces |
|  | Cleaning Spray (Contact Cleaner) | 5 Cans |
|  | Carbon Brushes (Assorted Sizes) | 30 Sets |
|  | Cable Tags | 25 Sets |
|  | Cable Lugs and Connectors | 200 Pieces |
|  | Ferrules and Cable Tags | 250 Pieces |
|  | Grounding Rods (for training setup) | 5 Units |
|  | Solder Wire and Flux | 10 Sets |
|  | Contact Cleaner Spray | 5 Cans |
|  | Electrical Safety Posters/Charts | 5 Sets |
|  | Documentation Sheets and Relay Logs | 25 Books |
|  | Foundation Bolts and Anchors | 50 Pieces |
|  | Shims and Alignment Plates | 100 Pieces |
|  | Thread Lock and Grease | 10 Tubes |
|  | Cable Ties and Clamps | 200 Pieces |
|  | Calibration Stickers and Labels | 100 Pieces |
|  | Gasket Sheets (for mock flange setup) | 5 Sheets |
|  | Lubricating Oil for Testing | 10 Liters |
|  | Foundation Bolts and Grouting Material | 40 Sets |
|  | Electrical Connectors (Lugs, Terminals) | 200 Pieces |
|  | Cable Marking Tags and Labels | 150 Pieces |
|  | Gasket Material for Flange Joints | 5 Sheets |
|  | Electrical Cables (For Demo Connections) | 30 Meters |
|  | Fuses and Miniature Circuit Breakers (MCBs) | 40 Pcs |
|  | Cable Lugs and Connectors | 150 Pcs |
|  | Nuts, Bolts and Fasteners (Electrical) | 200 Pcs |
|  | Logbooks and Monitoring Sheets | 25 Books |
|  | Safety Signs and Labels for Emergency System | 10 Sets |
|  | Indicator Bulbs/LEDs for Control Panel | 50 Pcs |
|  | Fault Report Logbooks | 25 Books |
|  | Fuses, MCBs and Relays (Assorted) | 50 Pcs |
|  | Tagging Labels for Fault Identification | 100 Pcs |
|  | Stickers for Fault Area Marking | 50 Pcs |
|  | Printouts of Fault Diagnosis Flowcharts | 25 Sets |
|  | Maintenance Checklist Sheets | 100 Sheets |

| 6B. Consolidated List of Tools, Machinery & Equipment |  |  |
| --- | --- | --- |
| S. No | Items | Quantity |
|  | Desktop / Laptop Computers | 5 No’s |
|  | Multimedia Projector with Screen | 1 No’s |
|  | Printer & Scanner Combo | 1 No’s |
|  | Flip Chart Stand with Paper | 1 No’s |
|  | Office Table and Chairs (Group Work Setup) | 5 Sets |
|  | Accounting Calculator / Financial Calculator | 5 No’s |
|  | Digital Camera or Webcam | 2 No’s |
|  | Wi-Fi Internet Connection (Shared) | 1 Setup |
|  | Microphone and Speaker System (for presentations) | 1 Set |
|  | Oxy-Acetylene Gas Welding Set (Torch, Hoses, Regulator, etc.) | 2 Sets |
|  | Oxygen Cylinder | 2 No’s |
|  | Acetylene Cylinder | 2 No’s |
|  | GMAW Welding Machine (MIG) | 2 No’s |
|  | SMAW Welding Machine (Arc) | 2 No’s |
|  | GTAW Welding Machine (TIG) | 2 No’s |
|  | Submerged Arc Welding (SAW) Machine | 1 No’s |
|  | Friction Welding Machine | 1 No’s |
|  | Welding Table with Clamps | 4 No’s |
|  | Angle Grinder | 5 No’s |
|  | Electrode Drying Oven | 1 No’s |
|  | Welding Helmet (Auto Darkening) | 10 No’s |
|  | Welding Aprons & Gloves (Leather) | 15 Sets |
|  | Face Shields & Safety Goggles | 25 No’s |
|  | Bench Vices | 5 No’s |
|  | Welding Curtain / Screen | 3 No’s |
|  | Digital Multimeter (for basic testing) | 3 No’s |
|  | Non-Destructive Test (NDT) Kit (Dye Penetrant, etc.) | 1 Set |
|  | Destructive Testing Kit (Basic Tensile/Hardness Tools) | 1 Set |
|  | Hydraulic Trainer Kit (with actuators, valves, circuit board) | 2 Sets |
|  | Flow Measuring Apparatus (Venturimeter / Orifice Meter) | 2 Sets |
|  | Pressure Gauge Set (with manometers) | 3 Sets |
|  | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) | 2 Sets |
|  | Water Turbine Test Rig (Pelton / Francis / Kaplan) | 2 Sets |
|  | Hydraulic Valve Test Bench | 1 Set |
|  | Measuring Cylinders / Flow Meter | 4 No’s |
|  | Stop Watch | 5 No’s |
|  | Transparent Pipes for Flow Visualization | 3 Sets |
|  | Hydraulic Seals & Valve Cut Section Models | 2 Sets |
|  | Hydraulic Motor Test Kit | 1 Set |
|  | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) | 5 Sets |
|  | AutoCAD Software License (or Drafting Software) | 5 Sets |
|  | Digital Plan Measuring Tool (Scale Master Pro or similar) | 2 Units |
|  | Scientific Calculators | 10 Units |
|  | Steel Tape Measures (30m) | 5 Units |
|  | Total Station or Theodolite (for earthwork estimation) | 1 Unit |
|  | Drawing Boards with T-Square (for manual drafting) | 10 Sets |
|  | Vernier Calipers (for checking samples) | 5 Units |
|  | UPS/Power Backup for computer systems | 1 Unit |
|  | Calibration Bench Setup | 1 Unit |
|  | Standard Calibrated Ammeter (Digital) | 2 Units |
|  | Standard Calibrated Voltmeter (Digital) | 2 Units |
|  | Precision Ohmmeter | 2 Units |
|  | Function Generator | 1 Unit |
|  | Variable Power Supply (0-30V, 5A) | 2 Units |
|  | Digital Oscilloscope | 1 Unit |
|  | Test Leads with Banana Plugs | 10 Sets |
|  | Tool Kit (Screwdrivers, Wire Cutter, etc.) | 5 Sets |
|  | Insulation Resistance Tester | 1 Unit |
|  | Work Benches with Electrical Boards | 5 Units |
|  | Clamp Meter | 3 Units |
|  | Battery Load Tester | 2 Units |
|  | Ignition System Tester | 2 Units |
|  | Timing Light | 2 Units |
|  | Alternator Test Bench | 1 Unit |
|  | Starter Motor Bench Tester | 1 Unit |
|  | Auto Electrical Diagnostic Tool | 1 Unit |
|  | Protective Relay Test Set | 2 Units |
|  | Primary Injection Kit | 1 Unit |
|  | Secondary Injection Test Set | 1 Unit |
|  | CT/PT Analyzer | 1 Unit |
|  | Relay Calibration Bench | 1 Unit |
|  | Earth Resistance Tester | 2 Units |
|  | Portable Grounding and Shorting Equipment | 2 Sets |
|  | Substation Layout Board (Demo/Training) | 1 Unit |
|  | Bus Bar Assembly Demo Unit | 1 Unit |
|  | Hydraulic Turbine Model (Training Unit) | 1 Unit |
|  | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
|  | Mechanical Coupling Kit | 2 Sets |
|  | Torque Wrench | 3 Units |
|  | Foundation Layout Laser Level | 2 Units |
|  | Portable Crane / Chain Block | 2 Units |
|  | Vibration Analyzer | 1 Unit |
|  | Calibration Equipment Set | 1 Set |
|  | Testing & Commissioning Panel (Demo Type) | 1 Unit |
|  | Inspection Flashlight and Mirror Set | 3 Sets |
|  | Generator Installation Training Unit | 1 Unit |
|  | Alignment Tools (Dial Gauge, Feeler Gauge) | 3 Sets |
|  | Mechanical Coupling Kit (for AC generator) | 2 Sets |
|  | Calibration Equipment Set | 1 Set |
|  | Lifting Equipment (Chain Block or Hoist) | 2 Units |
|  | Emergency Standby Generator (Training Purpose) | 1 Unit |
|  | Circuit Breaker Testing Kit | 1 Set |
|  | Lockout/Tagout Kit | 3 Sets |
|  | Electrical Panel Simulator (for emergency system) | 1 Unit |
|  | Battery Bank with Inverter (for training use) | 1 Set |
|  | Phase Rotation Tester | 2 Units |
|  | Load Bank (for testing under load conditions) | 1 Unit |
|  | Generator Shutdown Simulator Panel | 1 Unit |
|  | MHP Plant Fault Simulation Kit | 1 Unit |
|  | Thermal Imaging Camera (for hot-spot detection) | 1 Unit |
|  | Infrared Thermometer | 2 Units |
|  | Grease Gun | 3 Units |
|  | Portable Inspection Lamp | 3 Units |
|  | Lubrication System Test Kit | 1 Unit |
|  | Hydraulic Turbine Model (Training Unit) | 1 Unit |
|  | Mechanical Coupling Kit | 2 Sets |
|  | Foundation Layout Laser Level | 2 Units |
|  | Portable Crane / Chain Block | 2 Units |
|  | Inspection Flashlight and Mirror Set | 3 Sets |

# Members of Qualifications Development Committee

The Qualifications Development Committee consisted of following members:

| S. No | Name | Organization |
| --- | --- | --- |
|  | Abdul Basit Mansoor | DACCUM FACILITATOR |
|  | Qurbat Zahra | Co-DACCUM FACILITATOR |
|  | Engr. Abdul Rehman | P-TEVTA (GSTC Faisalabad) |
|  | Engr. Muhammad Asad | P-TEVTA (GCT Faisalabad) |
|  | Engr. Mubashar Hamid | P-TEVTA (GCT Faisalabad) |
|  | Engr. Zeeshan Ahmad Shakeel | P-TEVTA (GTTI Faisalabad) |
|  | Engr. Shahid Raheem | P-TEVTA (GTTI Gulberg Lahore) |
|  | Engr. Muhammad Ali | P-TEVTA (GCT Gujranwala) |
|  | Engr. Waqas Anjum Khan | P-TEVTA |
|  | Dr. Mahmood Hassan | P-TEVTA |
|  | Engr. Tauseef Hussain Qasmi | Water & Power Department Government of Gilgit-Baltistan |
|  | Mr. Umar Ali Shah | MHRSC Chitral |
|  | Engr. Danial Rahim | AAJSONS (Pvt.) Ltd Upper Chitral |