Curriculum for National Vocational Certificate Level 3 in

Micro Hydro Power Plant Operator

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Micro Hydro Power Plant Operator Level – III. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, Hydro Power Plant Experts, Water & Power Department Government of Gilgit-Baltistan, Punjab Irrigation and Power Department, Government of Punjab, experts from academia KP-TEVTA, Punjab Tevta and Karakoram International University Gilgit work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards need periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1.	Date of development:	4

1.2.	Date of review & validation:	4

1.3.	Minimum Entry requirement:	4

1.4.	Minimum Qualification of Trainer	4

1.5.	Duration of Course	4

2.	Scheme of Studies	4

3.	Daily Contact Hours	5

4.	Details of Modules	5

4.1 0032PSD01 Basic Communication Skills	5

4.2 0713E&E3901 Operate Hydro Electric Power Systems	8

4.3 0713E&E3902 Perform Electrical Installation	9

4.4 0713E&E3903 Interpret Technical Drawings	11

4.5 0713E&E3904 Conduct Power System Protection and Testing	13

4.6 0713E&E3905 Overhaul and Repair Hydro Power Component	14

4.7 0713E&E3906 Supervise On-Site Civil/Structural Works	17

5.	List of Tools and Equipment	18

6.	Members of Qualification Development Committee	22

# Introduction

Hydropower electric generation is a cornerstone of renewable energy, playing a pivotal role in addressing energy shortages and reducing carbon emissions. This sector encompasses a wide range of technical disciplines, including turbine and generator operation, power system monitoring, preventive maintenance, electrical installations, and civil infrastructure management. By establishing these competency standards, NAVTTC ensures the development of a workforce capable of meeting industry demands and contributing to Pakistan’s energy security and economic growth.

The qualification framework for Micro Hydro Power Plant focuses on equipping learners with essential skills and knowledge, ranging from basic turbine and generator operation, power system monitoring, and fault analysis to advanced electrical installations, system protection, and civil infrastructure oversight. Students will gain hands-on experience with industry-standard tools and techniques, enabling them to operate and maintain hydropower systems efficiently. Additionally, the framework includes the development and implementation of hydropower projects, covering aspects such as project planning, site assessment, installation of turbines and generators, and commissioning of power plants.

| - Date of development: | 19th May 2025 – 23rd May 2025 |
| --- | --- |
| - Date of review & validation: | 23rd May, 2026 |
| - Minimum Entry requirement: | Secondary School Certificate or Equivalent and Level-2 |
| - Minimum Qualification of Trainer | Minimum Intermediate with 5 years of hands-on experience in Micro Hydro Power OR Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power |
| - Code of qualification (ISCED) | Code: 0713E&E39 Description: National Vocational Certificate Level-III Micro Hydro Power Plant Operator |
| - Medium of instruction | English |
| - Duration of Course | Total. 60 hours. Theory. 390 hours Practical. 630 hours On Job Training. 180 hours |

# Scheme of Studies

| Module Code | Name of Competency | NVQF Level | Category | Contact Hour |  |  | Credit |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th. | Pr. | Total |  |
| 0032PSD01 | Basic Communication Skills | 3 | Generic | 9 | 42 | 51 | 3 |
| 0713E&E3901 | Operate and Monitor Hydro Power Systems | 3 | Generic | 10 | 60 | 70 | 4 |
| 0713E&E3902 | Perform Electrical Installation | 3 | Functional | 10 | 60 | 70 | 4 |
| 0713E&E3903 | Interpret Technical Drawings | 3 | Technical | 08 | 54 | 62 | 3.5 |
| 0713E&E3904 | Conduct Power System Protection and Testing | 3 | Technical | 09 | 72 | 81 | 4.5 |
| 0713E&E3905 | Overhaul and Repair Hydro Power Components | 3 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E3906 | Supervise On-Site Civil and Structural Works | 3 | Technical | 4 | 42 | 46 | 2.5 |
| 0713E&E3907 | On Job Training |  | Technical |  |  | 180 | 4.5 |
| Total |  |  |  | 60 | 390 | 630 | 30 |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 4.1 0032PSD01 Basic Communication Skills

Objective

This module covers the skills and knowledge require adopting effective listening, developing communications and demonstrating interpersonal skills. It also covers the skills and knowledge required to identify, evaluate, and control hazards arising from the workplace that may impair the health of workers and take remedial measures to deal with the emergencies in a professional manner, minimizing the losses and providing a safe and healthy working environment.

Duration: 51 Hours		                            Theory: 9 Hours				                            Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Adopt effective Listening | - Practice active listening - Ask clarifying questions - Adopt sympathize attitude | - Effective listening - Types of effective listening - Stages in listening process Practical Activity Describe dream vacation for one minute, focusing on aspects like climate, activities, and cuisine without mentioning specific locations. The listened attentively absorbs the details without interruption. After the speaker finishes, the listener summarizes the key points and suggests a potential destination that aligns with the described preferences. | Theory: 2Hr Practical: 9Hrs Total: 11Hrs | - Notebook - Pen | - Classroom |
| LU2. Develop Non-Verbal Communication Skills | - Adopt hand gestures if required - Encourage others to speak openly - Make eye contact with communicator - Make a relaxed, open stance during communication. | - Verbal and Nonverbal Communication - Verbal and non-verbal communications forms - Nonverbal cues - Components of nonverbal communications Practical Activity Engage in a role-play exercise where one student shares a story or experience while the other responds solely through non-verbal cues such as facial expressions, gestures, and posture. | Theory: 2Hr Practical: 12Hrs Total: 15Hrs | - Notebook - Pen | - Classroom |
| LU3. Develop Verbal Communication Skills | - Adopt face to face conversations - Convey your messages clearly and directly - Adopt phrases as simple as demonstrated - Respect others and their ideas | - Introduction of verbal communication - Components of verbal communication - Effective speaking techniques - Active listening and feedback - Respectful communications Practical Activity Engage in a role-play scenario where one student presents an idea or opinion on a given topic, and the other responds with questions or comments. The focus will be on using clear, simple language, maintaining respectful dialogue, and practicing active listening. | Theory: 2Hrs Practical: 9Hrs Total: 11Hrs | - Notebook - Pen | - Classroom |
| LU4. Develop interpersonal Skills | - Express your own opinions - Listen to other’s point of view without interruption - Prepare simple questions about workplace procedures | - Introduction of interpersonal Skills - Components of interpersonal communication - Professional Etiquette in Meetings - Techniques for expressing opinions confidently - Formulating Effective Questions Practical Activity Participation in a team meeting where each member presents their viewpoint on a proposed workplace change. During the discussion, students will practice active listening by refraining from interruptions, expressing their opinions respectfully, and asking clarifying questions about the procedures involved. | Theory: 3Hr Practical: 12Hrs Total 15Hrs | - Notebook - Pen | - Classroom |

## 4.2 0713E&E3901 Operate Hydro Electric Power Systems

Objective:

This module focuses on equipping trainees with the essential skills to operate, monitor, and maintain hydropower systems efficiently. It covers the operation of turbines and generators, including start-up, shutdown, and parameter adjustments, ensuring smooth and safe power generation. Trainees will learn to monitor power generation and balance loads to meet demand, while maintaining accurate records of system performance. The standard also emphasizes fault analysis, enabling trainees to identify, report, and troubleshoot system issues promptly. By mastering these competencies, trainees will contribute to the reliable and sustainable operation of hydropower plants, supporting Pakistan’s energy needs and workforce development.

Duration: 70 Hours				 Theory: 10 Hours					Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Operate turbines and generators | - Perform necessary checks before starting turbine and generator - Start turbine according to SOPs. - Ensure safety protocols during operation - Note down readings/parameters during operations. - Shutdown turbine and generator in case of emergency | - Preoperational checks - Startup procedures - Operational monitoring - Safety protocols - Emergency shutdown procedures Practical Activity Perform pre-startup inspections, initiate startup procedures following SOPs, monitor operational parameters, and execute an emergency shutdown scenario. | Theory: 2Hrs. Practical: 6Hrs. Total: 8Hrs. | - Notebook - Pen - SOPs - Digital multi-meter - Voltage Detector - High-Voltage Gloves and PPE | - Classroom - Workshop |
| LU2. Monitor power generation and load balancing | - Compare generated power with load demand - Adjust power generation according to demand - Report superior/senior if demand is changing abruptly - Monitor warning lights or alarms on the control panel. - Record power generation levels in the logbook every hour. | - Power Generation Monitoring - Techniques of Load Balancing - Operational Adjustments - Alarm and Warning Systems - Document unusual readings and troubleshoot issues. - Documentation and Reporting Practical Activity Monitor power generation systems, adjust outputs to match load demands, respond to simulated alarms, and maintain detailed logbooks. | Theory: 2Hrs. Practical: 6Hrs. Total: 8Hrs. | - Notebook - Pen - Digital multi-meter - Electrical Load Analyzer - Voltage Detector - Circuit Breaker Tester - High-Voltage Gloves and PPE | - Well-equipped classroom |
| LU3. Conduct fault analysis | - Monitor warning lights or alarms that indicate a problem. - Record parameters during fault. - Report faults or malfunctions to the superior/senior immediately. - Perform troubleshooting according to instructions of superior/senior - Record all faults and actions taken in the logbook. | - Procedure to shut down powerplant - Nature of faults - Procedure of Fault diagnosing. - Introduction to report writing. - Record keeping Practical Activity Write a report to the supervisor regarding a fault that you have diagnosed in the turbine of the plant. | Theory: 2Hrs. Practical: 6Hrs. Total: 8 Hrs | - Notebook - Pen - First Aid Kit for Electrical Incidents - Fire Extinguishers (for electrical fires) - Electrical Load Analyzer | - Classroom - Workshop |

## 4.3 0713E&E3902 Perform Electrical Installation

Objective:

This module covers the skill and knowledge required to install power transformer housing/placing on base, Connection with alternator, and connection of the transformer with switchgear/panel board. Also this module covers the knowledge and understanding to install cables and grounding method.

Duration: 70 Hours						Theory:  10 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform Installation of transformers and switchgear | - Identify and select tools and equipment - Placing transformers in the designated area. - Connect cables to transformers as per the wiring diagram. - Tighten transformer bolts - Connect/disconnect switchgear inside power house - Report any issues or defects in transformer to the supervisor. | - Types of cables with respect to transmission/ Distribution - Cable sizes and current rating of cables - Types of cable joints - Types of circuit breaker, relays, and isolators. Practical Activity 1: Connect generator output voltage with the primary of the transformer using all protective and measuring devices as per SOPs Practical Activity 2: Connect transformer output voltage to the distribution lines using all the protective and measuring devices as per SOPs | Theory: 3Hrs Practical: 18Hrs Total: 21Hrs | - Insulation tapes - Nut Bolts - Power transformer - Alternator - protective devices - connectors, wires for transmission lines - insulators | - Classroom - Workshop |
| LU2. Install transmission cable | - Interpret cable routing plan - Lay cables using cable trays/conduits - Connect stripped cables to terminals. - Apply insulation tape/sleeves to exposed cable ends - Test cable connections for continuity | - Cable layout plan - Cable identification with respect to load - Types of wiring - Types of wire joints - Meggar and multi-meter applications Practical Activity: Install conduit wiring system as per given layout (2 Rooms, Kitchen and dining hall). Practical Activity 2: Perform following types of wiring tests as per wiring diagram - Continuity - Short circuit - Polarity - insulation test) | Theory: 3Hrs Practical: 21Hrs Total: 24 Hrs | - Insulation tapes - DB - Sockets, - Switches - wires - Multi-meter - Megger - Circuit breakers - Wires stripper - Cramping tool - screw driver - pliers - Nose pliers’ - Testers. | - Classroom - Workshop |
| LU3. Perform system grounding | - Dig pit for grounding rods - Install grounding rods - Connect grounding rod to the grounding wire. - Tighten all connections to ensure proper contact. - Use a millimeter to check the resistance of the grounding system. - Report any grounding system issues to the supervisor. | - Grounding system - Earthling system - Earthing plates - Earthing Electrodes Practical Activity: Dig a pit for grounding system and connect the electrical appliances as per SOPs. | Theory: 4Hrs Practical: 21Hrs Total: 25 Hrs | - Wires - Grounding Chemical - Earthing plate - Earthing electrode - Continuity wire - Earthing rod - Earthing lead | - Workshop |

## 4.4 0713E&E3903 Interpret Technical Drawings

Objective

This module covers the skill and knowledge required to understand complex electrical system installations in hydro power plants and interpret technical drawings accurately to identify symbols, connections, and key components. Verify dimensions and report any discrepancies found during analysis. Ensure proper alignment with project requirements and safety standards. Seek clarification from supervisors for any unclear or complex details.

Duration: 62 Hours					Theory: 8 Hours				Practice: 54 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Interpret electrical drawings | - Identify basic symbols on electrical drawings. - Follow the wiring diagram to trace connections between components. - Use the schematic to locate components. - Report any discrepancies between the drawing and actual wiring. | - Symbols - Lines - Dimensions - Blueprints reading - Component list - Bill of material Practical Activity Draw single line wiring diagram for 2 bedrooms and kitchen as per given layout. | Theory: 2Hrs Practical: 15Hrs Total: 17Hrs | - drawing sheets - Pencil - Rubber - Set square - T square - Compass - Protector | - Classroom - Workshop |
| LU2. Analyze mechanical system blueprints | - Identify key components - Follow the blueprint to locate parts - Check the blueprint for dimensions - Check the blueprint for specifications of components. - Report any mismatches between the blueprint and actual equipment. | - Components of blueprint - Dimensions - Blueprints reading - Component list - Bill of material Practical Activity: Identify drawing sheet, identify different sections of drawing sheet (list of components, bill of material), and dimensions. | Theory: 3Hrs Practical: 21Hrs Total: 24 Hrs | - drawing sheets - Pencil - Rubber - Set square - T square - Compass - Protector | - Classroom - Workshop |
| LU3. Examine civil engineering layouts | - Identify key structures on the layout. - Use the layout to understand the flow of water. - Check the layout for locations of structures. - Verify dimensions of structures - Report any issues/errors in the layout to the supervisor. | - Architecture Layout Plan - Principle of layout - Elevation and section of structure Practical Activity - Study the layout of hydraulic structure. - Identify key components - Measure the dimensions and proportion of the structure - Sketch a layout and label its parts. | Theory: 3Hrs Practical: 18Hrs Total: 21 Hrs | - drawing sheets - Pencil - Rubber - Set square - T square - Compass - Protector | - Classroom - Workshop |

## 4.5 0713E&E3904 Conduct Power System Protection and Testing

Objective

This module focuses on ensuring the safe and efficient operation of electrical systems in hydropower plants. It covers testing protection relays and breakers, monitoring voltage and frequency to maintain system stability, and enforcing electrical safety measures. By mastering these skills, candidates will contribute to the reliable and safe operation of hydropower systems, ensuring compliance with safety protocols and operational standards. Covers power protection mechanisms and system testing procedures.

Duration: 81 Hours			   Theory: 9 Hours			   Practice: 72 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Test protection relays/breakers | - Use a testing kit to check relays/breakers. - Follow the test procedure provided by the supervisor. - Record test results in the maintenance logbook | - Relays - Circuit breakers - Application of relay and circuit breaker - Troubleshooting in relay circuit breaker. - Report generation Practical Activity 1 Connection of relays and circuit breaker as per circuit diagram Practical Activity 2 Testing of relays and circuit breaker connection. | Theory: 3Hrs. Practical: 24Hrs. Total: 27Hrs. | - wires - tapes - various type of relays - various type of circuit breaker | Well-equipped classroom and workshop. |
| LU2. Monitor voltage/ frequency | - Check voltage readings on the control panel. - Check frequency readings on the control panel. - Adjust the generator output to maintain stable voltage. - Adjust the generator output to maintain a stable frequency. | - Voltmeter - Frequency meter - Multi-meter - Tachometer Practical Activity Connect voltmeter and frequency meter in the panel board. | Theory: 3Hrs. Practical: 24Hrs. Total: 27Hrs. | - Wires - tapes - voltmeter - frequency meter - multi-meter | Well-equipped classroom and workshop. |
| LU3. Enforce electrical safety measures | - Wear personal protective equipment (PPE) like gloves and helmets. - Follow lockout/ tag out procedures before working on electrical systems. - Report any unsafe conditions or practices to the supervisor. | - Types of PPEs - Uses of PPEs - Implement safety rules in the workplace - Report writing Practical Activity Uses of various PPEs and Implement safety measures during the practical as per SOPs. | Theory: 3Hrs. Practical: 24Hrs. Total: 27Hrs | - Safety Helmet (Hard Hat) - Safety Goggles or Glasses - Ear Protection - gloves | Well-equipped workshop |

## 4.6 0713E&E3905 Overhaul and Repair Hydro Power Component

Objective

This module covers in-depth maintenance and repair of mechanical and electrical systems. This competency standard focuses on the maintenance and repair of hydropower turbines, ensuring their efficient and reliable operation. It covers disassembling and inspecting turbine components, repairing or replacing faulty parts, and reassembling and testing turbines post-repair. By mastering these skills, candidates will contribute to the longevity and optimal performance of hydropower systems, ensuring minimal downtime and adherence to operational standards.

Duration: 70 Hours					Theory: 10 Hours					Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Analyze faults in turbine | - Follow instructions to safely disassemble turbine components. - Inspect parts of turbine. - Record findings and report damaged parts to the supervisor. | - Elements of turbine - Vibration analysis - Alignment and balancing - Electrical and instrumentation components - Speed and torque of turbine - Common faults in turbine Practical Activity: Inspect the turbine, detect the faults due to the noise or vibration in turbine and take the necessary action for maintenance. | Theory: 3Hrs Practical: 21Hrs Total: 24Hrs | - Grease - cleaning cloth - mobile oil - WD40 - Torque wrench - cornier calliper - bearing puller - Hydraulic jack - ultrasonic flow detector - circuit breaker tester - vibration analyser - laser shaft alignment tool - Endoscope camera - Oil analysis kit - Cooling system pressure tester - Hand tools | - Classroom - Workshop |
| LU2. Perform overhauling of turbine | - Replace damaged parts with new ones. - Use basic tools to repair minor issues. - Repair damaged parts as per instruction. | - Turbine types and components - Tolerance and clearance - Lubrication system - Tools and equipment for lifting and measuring - Inspection and measurement (dimensional check, non-destructive tests, blade inspection) - Assembly/disassembly procedure Practical Activity 1: Perform pre-overhauling preparation. Practical Activity 2: Perform disassembly or turbine following SOPs and perform cleaning and inspection of turbine components. | Theory: 4Hrs Practical: 21Hrs Total: 24 Hrs | - Grease - cleaning cloth - mobile oil - WD40 - Torque wrench - cornier calliper - bearing puller - Hydraulic jack - ultrasonic flow detector - circuit breaker tester - vibration analyser - laser shaft alignment tool - Endoscope camera - Oil analysis kit - Cooling system pressure tester - Hand tools | - Classroom - Workshop |
| LU3. Conduct reassembly and testing | - Reassemble turbine parts. - Test the turbine to ensure turbine operation. - Record test results. | - Tools and equipment for lifting and measuring - Inspection and measurement (dimensional check, non-destructive tests, blade inspection) - Assembly/disassembly procedure Practical Activity: Perform inspection and test turbine components, and repair/replace the components. | Theory: 3Hrs Practical: 18Hrs Total: 21 Hrs | - Wires, Grounding chemical - Earthing plate - continuity wire, - Earthing rod. | - Workshop |

## 4.7 0713E&E3906 Supervise On-Site Civil/Structural Works

Objective:

This Modules Covers overseeing civil works related to hydropower infrastructure. It also focuses on the inspection and maintenance of critical hydropower infrastructure, including dams, intakes, penstocks, powerhouses, and drainage systems. It covers visual inspections, alignment checks, pressure testing, and reporting of structural or operational issues. By mastering these skills, candidates will ensure the structural integrity and efficient operation of hydropower facilities, contributing to their long-term reliability and safety.

Duration: 46 Hours						Theory: 04 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Monitor intake structures | - Inspect the structures for cracks. - Check for sediment buildup in hydraulic structures. - Record inspection findings in the logbook. | - Concrete Durability, Erosion control Practical Activity: Site visit to a nearby intake structure or observe a lab model to check for blockages, structural damage, and any signs of wear or leakage and record their observations. | Theory: 1Hr Practical: 14 Hrs Total: 15 Hrs | - logbook - Pen - Sediment Sampler Kit - Concrete Crack Detector. - Camera - Ultrasonic Thickness Gauge - Measuring Tape and Calipers | - Site visit - Well-equipped LAB |
| LU2. Oversee penstock installation | - Check the alignment of the penstock. - Install anchor blocks. - Check for leaks in penstock during pressure testing. | - Pipe welding, pressure loss analysis. Practical Activity 1 Identify imbalance, misalignment, and bearing faults in rotating equipment. Practical Activity 2 Inspect the gradient slope, pipe section joint and proper support for penstock installation. | Theory: 2Hr Practical: 14Hrs Total: 16Hrs | - Ppe supports and clamps - Measuring tape Penstock pipe sections - Spirit level - Spanners/wrenches - Bolts and nuts - Safety gear - Penstock Pressure Testing Kit | - Site visit - Well-equipped LAB |
| LU3. Inspect powerhouse and drainage systems | - Inspect the powerhouse for structural damage. - Check drainage system. - Clear blockage if any. - Report any issues to the supervisor for further action. | - Civil engineering material - Flood protection Practical Activity Visit a local powerhouse, Inspect the associated drainage systems, and use the inspection checklist to record their observations. | Theory: 1 Hrs Practical: 14Hrs Total: 15Hrs | - Notebook - Pen - Safety gear - Camera - Water Level Sensor - Drain Inspection Camera - Inspection checklist | - Site visit - Well-equipped LAB |

# List of Tools and Equipment

| 5A. List of Consolidated Consumables |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Items | Specifications | Quantity |
| 1 | Notebook |  | 25 |
| 2 | Board marker |  | 5 |
| 3 | Pen |  | 25 |
| 4 | Sketching pencils |  | 25 |
| 5 | Fire extinguisher |  | 1 |
| 6 | First Aid kit |  | 1 |

| 5B. Consolidated List of Tools, Machinery & Equipment |  |  |  |
| --- | --- | --- | --- |
| S.No | Items | Specifications | Quantity |
| 1 | Projector |  | 1 |
| 2 | Computer |  | 1 |
| 3 | Hydraulic and Manual Cable Pullers |  | 10 |
| 4 | Cable Trays, Conduits, and Supports |  | As required |
| 5 | Digital Multi-meter |  | 25 |
| 6 | Insulation Resistance Tester (Megger) |  | 1 |
| 7 | Circuit Breaker Tester |  | 10 |
| 8 | Voltage Detector |  | 25 |
| 9 | High-Voltage Gloves and PPE |  | As required |
| 10 | Transformer Oil Testing Kit |  | 1 |
| 11 | Grounding Rods and Clamps |  | As required |
| 12 | Earth Resistance Tester |  | 1 |
| 13 | Cable Strippers and Crimping Tools |  | 2 each |
| 14 | Insulation Tape and Heat Shrink Sleeves |  | As required |
| 15 | Cable Jointing and Termination Kit |  | 10 |
| 16 | Torque Wrench for Tightening Bolts |  | 25 |
| 17 | Power Drills and Impact Drivers |  | 25 |
| 18 | Hammer Drills and Core Drills (for grounding) |  | 25 |
| 19 | Measuring Tape and Laser Distance Meter |  | 2 each |
| 20 | Conduit Bender |  | 10 |
| 21 | Tachometer |  | 10 |
| 22 | Communication Devices (Radios, Walkie-Talkies) |  | As required |
| 23 | Safety Signs and Barriers |  | As required |
| 24 | Work Lights and Portable LED Lamps |  | 2 each |
| 25 | Screwdrivers, Pliers, and Wrenches Set |  | 1 |
| 26 | Electrical Load Analyzer |  | 10 |
| 27 | First Aid Kit for Electrical Incidents |  | As required |
| 28 | Fire Extinguishers (for electrical fires) |  | As required |
| 29 | Lockout/Tagout Kit for Electrical Safety |  | 10 |
| 30 | Work Lights and Portable LED Lamps |  | As required |
| 31 | Screwdrivers, Pliers, and Wrenches Set |  | 2 each |
| 32 | Electrical Load Analyzer |  | 1 |
| 33 | First Aid Kit for Electrical Incidents |  | 10 |
| 34 | Electrical Symbol Reference Guide |  | 25 |
| 35 | Circuit Tracer & Wire Identifier |  | 25 |
| 36 | Magnifying Glass or Inspection Lamp |  | 25 |
| 37 | Vernier Calipers & Micrometers |  | 25 |
| 38 | Engineering Scale Ruler |  | 25 |
| 39 | Torque Wrench |  | 25 |
| 40 | Portable Coordinate Measuring Machine (CMM) |  | 10 |
| 41 | Laser Distance Meter |  | 10 |
| 42 | Measuring Tape (3m and 5m) |  | 2 each |
| 43 | Compass and Protractor Set |  | 25 |
| 44 | Drafting Table with Adjustable Stand |  | 25 |
| 45 | Drawing Compass and Dividers |  | 25 |
| 46 | Structural Load Calculator |  | 10 |
| 47 | Light Table for Blueprint Analysis |  | 20 |
| 48 | Mechanical Component Identification Charts |  | 10 |
| 49 | PPE (Safety Glasses, Gloves) |  | As required |
| 50 | Drawing Storage Cabinet |  | 10 |
| 51 | Reference Handbooks on Electrical, Mechanical, and Civil Drawings |  | As required |
| 52 | Relay Testing Kit |  | 10 |
| 53 | Circuit Breaker Analyzer |  | 10 |
| 54 | Digital Multi-meter |  | 25 |
| 55 | Power Quality Analyzer |  | 10 |
| 56 | Frequency Meter |  | 10 |
| 57 | Voltage Regulator |  | 25 |
| 58 | Load Bank (for generator testing) |  | 1 |
| 59 | Oscilloscope |  | 10 |
| 60 | Transformer Turns Ratio Tester |  | 10 |
| 61 | Lockout/Tagout (LOTO) Kit |  | 05 set |
| 62 | Grounding Resistance Tester |  | 5 |
| 63 | Thermal Imaging Camera (for hot spots) |  | 5 |
| 64 | Arc Flash Protective Gear (PPE) |  | As needed |
| 65 | Digital Logbook (Tablet/Laptop) |  | 1 |
| 66 | Earthing Rods and Clamps |  | 1 set |
| 67 | High Voltage Test Kit |  | 1 |
| 68 | Contact Resistance Meter |  | 10 |
| 69 | Remote Monitoring System |  | 10 |
| 70 | Portable Emergency Light |  | 10 |
| 71 | Torque Wrench Set |  | 10 |
| 72 | Dial Indicator (for alignment checks) |  | 20 |
| 73 | Micrometer and Vernier Calipers |  | 20 |
| 74 | Bearing Puller Set |  | 5 |
| 75 | Hydraulic Jack and Lifting Equipment |  | 1 |
| 76 | Ultrasonic Flaw Detector |  | 2 |
| 77 | Digital Multimeter |  | 10 |
| 78 | Insulation Resistance Tester (Megger) |  | 5 |
| 79 | Protection Relay Testing Kit |  | 10 |
| 80 | Welding Machine (TIG/MIG) |  | 5 |
| 81 | Grinding and Machining Tools |  | 5 |
| 82 | Vibration Analyzer |  | 1 |
| 83 | Laser Shaft Alignment Tool |  | 5 |
| 84 | Endoscope Camera (for internal inspection) |  | 1 |
| 85 | Oil Analysis Kit |  | 1 |
| 86 | Cooling System Pressure Tester |  | 1 |
| 87 | Personal Protective Equipment (PPE) Set |  | As needed |
| 88 | Hand Tools (wrenches, screwdrivers, hammers) |  | 1 set |
| 89 | Concrete Crack Detector |  | 1 |
| 90 | Ultrasonic Thickness Gauge |  | 1 |
| 91 | Digital Pressure Gauge |  | 10 |
| 92 | Laser Alignment Tool |  | 10 |
| 93 | Infrared Thermo graphic Camera |  | 1 |
| 94 | Penstock Pressure Testing Kit |  | 10 |
| 95 | Water Level Sensor |  | 2 |
| 96 | Drain Inspection Camera |  | 1 |
| 97 | Personal Protective Equipment (PPE) Set |  | 25 |
| 98 | Measuring Tape and Calipers |  | 25 |
| 99 | Sediment Sampler Kit |  | 5 |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Mr. Zia ur Rehman | Assistant Professor | KP-TEVTA |
|  | Engr. Mateeullah | Lecturer | KP-TEVTA |
|  | Mr. Mubeen Akbar | Assistant Director | PSEB Islamabad |
|  | Engr. Tanveer Ahmad | Lecturer | KP-TEVTA |
|  | Engr. Hafiz Abdul Ghaffar | Instructor Electrical | P-TEVTA |
|  | Engr. Waqas Anjum Khan | Assistant Director | P-TEVTA |
|  | Mr. Muhammad Ali | Instructor Electrical | P-TEVTA |
|  | Engr. Ali Anwaar | Instructor | P-TEVTA |
|  | Engr. Abdur Rehman | HOD | GSTC- Faisalabad |
|  | Mr. Mubashar Hamid | Instructor Electrical | P-TEVTA |
|  | Engr. Mohsin Jahanzeb | Instructor | P-TEVTA |
|  | Engr. Haziq Waheed | Design Engineer | NESPAK |
|  | Mr. Israr Ahmad | Assistant Professor | KP-TEVTA |
|  | Mr. Abdul Basit | DACUM Facilitator | Gujranwala |
|  | Mrs. Qurbat Zahra | Co Daccum | Lahore |
|  | Engr. Navid Ali | Assistant Professor | KP-TEVTA |