Curriculum

For

National Diploma Level 4 in

Micro Hydro Power Plant Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Micro Hydro Power Plant Technician Level-4. This work was made possible with the technical support of the experts.

It may not be prudent to mention here that all the industry experts, and TVET experts of TEVTAs, BTEs, PVTC, and work diligently for making this qualification worthy and error-free for which all credit goes to them. However, NAVTTC accepts responsibility for all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.	Introduction	4

1.1.	Date of Development	4

1.2.	Date of Review and Validation	4

1.3.	Entry Requirement	4

1.4.	Minimum qualification for teachers	4

1.5.	Codes of qualification (ISCED)	4

1.6.	Medium of instruction	4

1.7.	Duration of Course	5

2.	Scheme of Studies	5

3.	Daily Contact Hours	6

4.	Details of Modules	6

4.1 0713E&E4001 Apply Entrepreneurial Skill	6

4.2 0713E&E4002 Perform Advance Welding	10

4.3 0713E&E4003 Operate Hydraulics Machines	18

4.4 0713E&E4004 Perform Quantity Survey/Estimation	23

4.5 0713E&E4005 Calibrate Electrical Equipment	28

4.6 0713E&E4006 Diagnose Electrical Fault in Generator	33

4.7 0713E&E4007 Carryout Protection of Distribution and Transmission System	36

4.8 0713E&E4008 Install Turbine	39

4.9 0713E&E4009 Install Generator	42

4.10 0713E&E4010 Control MHP plant shutdown for emergency standby electrical systems	46

4.11 0713E&E4011 Analyze faults in MHP plant operation	49

4.12 0713E&E4012 Carry out preventive maintenance procedures as part of MHP operations	52

5.	List of Consumables, Tools, Machinery & Equipment	54

6.	Members of Qualification Development Committee	61

# Introduction

The National Vocational and Technical Training Commission (NAVTTC) acknowledge the vital role of vocational and technical education in equipping Pakistan's workforce with the skills and competencies necessary to thrive in emerging industries. To address the increasing demand for skilled professionals in dynamic and innovative sectors, NAVTTC has initiated the development of Competency Standards (CS) for the trade of Micro Hydro Power Plant technician in Pakistan. This initiative underscores NAVTTC’s commitment to workforce development, enhancing employability, and driving Pakistan’s digital transformation while aligning with global industry trends.

Micro Hydro Power Plant Technology is a rapidly growing sector with significant contributions to the global economy, spanning industries such as rural electrification, sustainable energy, agriculture, and industrial applications. This multidisciplinary field demands expertise in hydrodynamics, electrical engineering, turbine design, power generation, and system integration. With the accelerating adoption of renewable energy solutions, the micro hydro industry is witnessing a surge in demand for skilled professionals, creating substantial career opportunities both locally and internationally. By establishing these competency standards, NAVTTC ensures the development of a workforce prepared to meet industry requirements and contribute to Pakistan's economic advancement.

The qualification framework for Micro Hydro Power Plant Technician focuses on equipping learners with essential skills and knowledge, ranging from entrepreneurial skills, Advance welding, Fluid Mechanics & Hydraulics Machines, Quantity Survey/Estimation, Electrical Equipment, Electrical Fault in Generator, Transmission of Electrical Power, Distribution of Electrical Power, Protection of Distribution and Transmission System, Install Turbine, Install Generator, Control MHP plant shutdown for emergency standby electrical systems, Analyze faults in MHP plant operation, preventive maintenance procedures as part of MHPP operations.

| ## Date of Development | 19th – 23rd May, 2025 |
| --- | --- |
| ## Date of Review and Validation | 23rd May, 2025 |
| ## Entry Requirement | Secondary School Certificate or Equivalent and Level 3 |
| ## Minimum qualification for teachers | Minimum DAE with 5 years of hands-on experience in Micro Hydro Power Plant Technician OR Minimum Bachelor’s with 3 years of hands-on experience in Micro Hydro Power Plant Technician |
| ## Codes of qualification (ISCED) | Code: 0713E&E40 Description: National Diploma Level 4 in Electrical Technology “Micro Hydro Power Plant Technician” |
| ## Medium of instruction | English |
| ## Duration of Course | Total. 841 hours. Theory. 79 hours Practical. 522 hours On Job Training. 240 hours |

# Scheme of Studies

| Module code | Name of Competency |  | NVQF Level |  | Category |  | Estimated Contact Hours |  |  |  |  |  | Cr Hr |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Th |  | Pr |  | Total |  |  |  |
| 0713E&E4001 | Apply Entrepreneurial Skill |  | 4 |  | Generic |  | 5 |  | 30 |  | 35 |  | 2 |  |
| 0713E&E4002 | Perform Advance Welding |  | 4 |  | Technical |  | 9 |  | 42 |  | 51 |  | 3 |  |
| 0713E&E4003 Machines | Operate Hydraulics |  | 4 |  | Technical |  | 9 |  | 42 |  | 51 |  | 3 |  |
| 0713E&E4004 | Perform Quantity Survey/Estimation |  | 4 |  | Technical |  | 9 |  | 42 |  | 51 |  | 3 |  |
| 0713E&E4005 | Calibrate Electrical Equipment |  | 4 |  | Technical |  | 3 |  | 24 |  | 27 |  | 1.5 |  |
| 0713E&E4006 | Diagnose Electrical Fault in Generator |  | 4 |  | Technical |  | 8 |  | 54 |  | 62 |  | 3.5 |  |
| 0713E&E4007 | Carryout Protection of Distribution and Transmission System |  | 4 |  | Technical |  | 7 |  | 36 |  | 43 |  | 2.5 |  |
| 0713E&E4008 | Install Turbine |  | 4 |  | Technical |  | 10 |  | 60 |  | 70 |  | 4 |  |
| 0713E&E4009 | Install Generator |  | 4 |  | Technical |  | 6 |  | 48 |  | 54 |  | 3 |  |
| 0713E&E4010 | Control MHP plant shutdown for emergency standby electrical systems | 4 |  | Technical |  | 4 |  | 42 |  | 46 |  | 2.5 |  |
| 0713E&E4011 | Analyze faults in MHP plant operation |  | 4 |  | Technical |  | 5 |  | 60 |  | 65 |  | 3.5 |  |
| 0713E&E4012 | Carry out preventive maintenance procedures as part of MHP operation |  | 4 |  | Technical |  | 4 |  | 42 |  | 46 |  | 2.5 |  |
| 0713E&E4013 | On Job Training |  | 4 |  | Technical |  | - |  | - |  | 240 |  | 6 |  |
| Total |  |  |  |  |  |  | 79 |  | 522 |  | 841 |  | 40 |  |

# Daily Contact Hours

| Daily Contact Hours by Institute | Duration |
| --- | --- |
| 5 | 09 months |
| 4 | 12 months |
| 3 | 15 months |
| 2 | 18 months |
| Note: For Institute offering 6 days a week. The weekend institute may use formula: Credit hours / Daily hours = Months Duration |  |

# Details of Modules

## 4.1 0713E&E4001 Apply Entrepreneurial Skill

Objective:

This module covers skills and knowledge required for a trainee to be competent in developing entrepreneurial skills and business operations within the energy sector. After completing this module, the student will be able to successfully perform all the tasks related to communication, business structuring, financial management, customer engagement, and regulatory compliance in accordance with the essence of the Competency-Based Training (CBT) System.

Duration: 35 Hours    	Theory: 5 Hours	          Practice: 30 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Communicate effectively in a professional environment | - Enlist technical terminology in energy sector - Deliver messages to team members & supervisors as per SOPs. - Demonstrate active listening skills in discussions | - Introduction to 7Cs - Fundamentals of effective oral and written communication in a technical environment Practical Activity Energy Briefing Role-Play: Practice structured communication as per SOPs, and demonstrate active listening skills. | Theory: 1Hr Practical: 3Hrs Total: 4Hrs | - Notebook - Pen - Marker (erasable) - Multi media - Computer system | - Classroom |
| LU2. Prepare reports and documentation | - Prepare daily operation log as per procedures. - Prepare document for maintenance records as per SOPs. - Document troubleshooting reports as per SOPs. - Maintain organized record-keeping system as per procedures. | - Report writing techniques for documentation. Practical Activity Write sample daily operation log/technical report as per instructions. | Theory: 1Hr Practical: 0Hrs Total: 1Hrs | - Notebook - Pen - Marker (erasable) - Multi media - Computer system | - Classroom/workshop |
| LU3. Develop customer relationship and service skills | - Resolve customer concerns related to energy sector services as per procedures. - Educate consumers about energy efficiency and sustainable solutions as per instructions. - Maintain professionalism while interacting with clients and stakeholders. - Build long-term relationships by ensuring customer satisfaction and trust. | - Customer relationship management (CRM) for energy sector professionals. - Business ethics and professionalism in customer interactions and negotiations. Practical Activity Handle a simulated customer complaint resolution as per instructions. | Theory: 1Hr Practical: 3Hrs Total: 4Hrs | - Notebook - Pen | - Classroom/workshop |
| LU4. Analyze business fundamentals in the energy sector | - Identify the basics of energy business models and revenue generation. - Identify key stakeholders involved in energy projects. - Analyze cost and pricing structures for energy distribution. - Evaluate market trends and business opportunities within the energy sector. | - Energy sector regulations related to business operations and compliance. Practical Activity Energy Business Model Simulation: simulate developing a basic business model for a small-scale renewable energy distribution project Each group presents their model. | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |
| LU5. Apply financial management skills | - Prepare cost estimations for energy projects. - Track operational expenses and recommend cost-saving measures. - Identify basic financial terms related to energy businesses. - Develop budgeting strategies to enhance financial sustainability. | - Introduction to Financial management essentials (Trainer/instructor). Practical Activity: You are part of a team planning a small solar mini-grid project for a rural community. Your goal is to estimate a Project Costs that ensures sustainability. | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |
| LU6. Follow entrepreneurial best practices | - Identify market opportunities for energy services. - Develop strategies for business growth and customer acquisition. - Implement risk management techniques for sustainable business operations. - Enlist funding opportunities for energy projects. - Enlist investment opportunities for energy projects. | - Basic principles of entrepreneurship, - risk strategies Practical Activity: Create a mini business launch plan. | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |
| LU7. Implement safety and regulatory compliance | - Enlist to legal and safety requirements for energy operations. - Enlist government policies and licensing requirements. - Enlist occupational health and safety regulations. - Enlist environmental compliance and sustainable energy practices. | - Safety and environmental considerations in energy operations. Practical Activity Prepare safety assessment checklist for an energy facility. | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |
| LU8. Identify business opportunities in the Energy sector | - Conduct market research to identify potential energy business opportunities. - Analyze demand for decentralized energy solutions. - Evaluate the impact of renewable energy trends on energy businesses. - Develop a feasibility | - Introduction to Markit research techniques - Introduction to emerging technologies and trends Practical Activity: Develop a Feasibility Study for a Decentralized Energy Business | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Notebook - Pen | - Classroom/workshop |
| LU9. Develop structure of the new Energy business | - Identify different business models for an energy company. - Establish roles and responsibilities within the energy enterprise. - Design an operational workflow for energy distribution. - Demonstrate compliance with industry standards and regulations. | - Introduction to business plan Practical Activity: You are part of a team setting up a new energy distribution company Your task is to design a basic operational and organizational plan. | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |
| LU10. Develop strategy to attract customers | - Create marketing and outreach campaigns to promote energy services. - Engage with potential customers through digital platforms and local events. - Build partnerships with stakeholders and community leaders. - Develop customer incentives to enhance service adoption. | - Strategies for scaling energy businesses and identifying investment opportunities Practical Activity: Demonstrate professional behavior during role-play scenario as per instructions. | Theory: 1Hr Practical: 3Hrs Total 4Hrs | - Notebook - Pen | - Classroom/workshop |
| LU11. Create portfolios on Facebook, Instagram and Linkedin | - Create a Facebook Page - Upload Portfolio Content on Facebook - Create a Facebook Group - Join already created Facebook groups for freelancers - Create Profile on Instagram - Upload Portfolio Content on Instagram - Create LinkedIn Profile, company page and showcase page - Create LinkedIn group - Join LinkedIn groups for freelancers | - Introduction to use of social media in the context of business. Practical Activity: Create a Facebook Group and Upload Portfolio Content on Facebook | Theory: 0Hr Practical: 3Hrs Total 3Hrs | - Notebook - Pen | - Classroom/workshop |

## 4.2 0713E&E4002 Perform Advance Welding

Objective:

Objective of this module is to apply the skills and knowledge required to Cut Metal by Oxy Acetylene/Oxy-Fuel Flame/Grinding, Perform Gas Metal Arc Welding (GMAW), Perform Shield Metal Arc Welding (SMAW), Perform Gas Tungsten Arc Welding (GTAW), Perform Submerged Arc Welding, Perform Friction Welding, Perform Non-Destructive Welding Tests and Perform Destructive Welding Tests

Duration: 51 Hours	 Theory: 9 Hours	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Cut Metal by Oxy Acetylene/Oxy-Fuel Flame/Grinding | - Select material as per given drawing. - Cut metal by oxyacetylene manually as per given drawing. - Cut metal by oxyacetylene automatically as per given drawing. - Use hammer and anvil to straighten the work piece as per instructions. - Set flame of welding torch in oxidizing flame as per SOPs. - Cut one side of work piece as per procedures. - Maintain standard distance between welding torch nozzle and work piece. - Set cutting torch in Auto Feed machine as per job requirement. - Set Feed Rate of machine as per job requirement. - Set disk grinder on grinding machine as per procedures. - Set RPM of disk grinding machine as per SOPs. - Cut on marked line with disk grinder by hand for manual cutting as per instructions. - Set guide blade of disk grinding machine as per requirement for automatic cutting. - Set feed of disk grinding machine as per SOPs. | - Types of oxyacetylene flame - Metal cutting techniques - Technical drawings for cutting and grinding Practical Activity Perform manual and automatic metal cutting using an oxyacetylene torch as per drawing specifications. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Metal work pieces as per drawing - Grinding discs Marking chalk or pen - Oxyacetylene gas cylinders (Oxygen and Acetylene) Safety equipment (gloves, goggles, apron, helmet) | - Classroom Workshop |
| LU2. Perform Gas Metal Arc Welding (GMAW) | - Select welding materials as per given drawings. - Prepare GMAW welding machine as per SOPs. - Set up welding machine accessories as per procedures. - Connect welding machine to an independent power supply as per procedures. - Set polarity before performing welding operation as per procedures. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Inspect welding joint visually as per SOPs. - Deposit root pass as per job requirement. - Deposit filling pass as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per procedures. - Maintain and store tools/equipment/consumable materials as per SOPs. | - Technical drawings - Welding procedure specifications (WPS). - Operation of GMAW (MIG) welding machines. - Welding machine accessories and their functions. - Welding parameters - Fillet and groove weld techniques Practical Activity Perform fillet and groove welds by GMAW according to requirements, also check all welds for visual defects. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Carbon steel plates - Mig wire (Al, Copper, steel filler material) - Shielding gas (e.g., Argon, CO₂) - Personal protective equipment (PPE) including welding helmet, gloves, apron, safety glasses | - Classroom Workshop |
| LU3. Perform Shield metal Arc Welding (SMAW) | - Identify welding specifications from given drawing. - Prepare SMAW welding machine as per SOPs. - Set welding machine accessories as per SOPs. - Connect welding machine to an independent power supply as per procedures. - Set polarity as per procedures. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per SOPs. - Adjust welding parameters as per job requirement. - Carry out finishing work of welds as per SOPs. - Inspect weld visually and mark any visual defects as per procedures. - Clean work area as per procedures. - Store tools/equipment/consumable materials as per SOPs. | - Shielding gas in SMAW welding. - Principle of SMAW welding. - Factors in SMAW welding - Type and Thickness of the base metal. - Current type and polarity. - Type of shielding gas - Welding parameters. - Safe working practices for SMAW welding. - Inspection of job. - Hazards associated with SMAW welding and remedial measures Practical Activity Perform fillet welds by SMAW according to requirements, also check all welds for visual defects. | Theory: 1Hrs. Practical: 6Hrs. Total: 7 Hrs | - Metal Plates Pipes, Tungsten Electrodes, Filler Rods - First aid kit - Fire Extinguisher | - Classroom Workshop |
| LU4. Perform Gas Tungsten Arc Welding (GTAW) | - Identify welding specifications from given drawing. - Prepare GTAW welding machine as per SOPs. - Set up welding machine accessories and consumables as per SOPs. - Connect welding machine to an independent power supply as per SOPs. - Set polarity indicated as per SOPs. - Adjust welding parameters (current, voltage etc.) as per procedures. - Maintain gap between electrode and base metal as per procedures. - Carry out welding in Flat and Horizontal (1F, 2F) and Flat (1G, 2G) positions as per instructions. - Adjust welding parameters as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per SOPs. - Adjust welding parameters as per SOPs. - Perform groove welding on Carbon Steel Plate as per instructions. - Store tools/equipment/consumable materials as per SOPs. | - GTAW Vs GMAW. - Principles of GATW. - Welding requirements - Welding parameters - Advantages of GTAW. - Applications of GTAW. - Hazards related to TIG & GTAW welding. - Safe working practices for TIG &GTAW welding Practical Activity: Perform groove welds by GTAW according to requirements; also check all welds for visual defects. | Theory: 2Hrs. Practical: 6Hrs. Total: 8 Hrs | - Metal Plates, Pipes Argon, - CO2 Gas | - Classroom Workshop |
| LU5. Perform Submerged Arc Welding | - Identify welding requirements from given drawing. - Prepare SAW welding machine as per SOPs. - Set welding machine accessories and consumables as per SOPs. - Connect welding machine to an independent power supply as per SOPs. - Set polarity indicated as per SOPs. - Adjust welding parameters as per SOPs. - Maintain gap between electrode and base metal as per SOPs. - Carry out welding in 1F and 1G position as per SOPs. - Deposit root pass as per job requirement. - Deposit filling passes as per job requirement. - Deposit capping pass as per job requirement. - Check root, filling and capping passes for any visual discontinuities as per job requirement. - Carry out finishing work of welds as per job requirement. - Inspect weld visually and mark any visual defects as per SOPs. - Clean work area as per SOPs. - Store tools/equipment/consumable materials as per SOPs. | - Submerged Arc Welding (SAW) process. - Principles of Submerged Arc Welding (SAW) - Advantages of Submerged Arc Welding (SAW). - Applications of Submerged Arc Welding (SAW). - Hazards related to SAW. - Safety Equipment and procedures related to SAW Practical Activity: Perform fillet welds by SAW according to requirements, also check all welds for visual defects. | Theory: 1Hrs. Practical: 6Hrs. Total: 7 Hrs | - Electrode Wire, - Metal Plates, - Pipes, - Flux | - Classroom Workshop |
| LU6. Perform Friction Welding | - Prepare given work pieces for smooth square surface for Inertia Friction welding as per job requirement. - Mount one piece on a rotor driven chuck as per SOPs. - Mount other piece in stationary chuck as per SOPs. - Set RPM to rotate mounted work piece as per SOPs. - Apply Low pressure on the stationary work piece as per SOPs. - Apply high pressure force to the stationary work piece and force it toward rotating work piece as per SOPs. - Apply pressure until the plastic forming temperature is achieved. - Stop rotor and apply pressure force increasingly until the whole weld is formed. - Prepare both work pieces for smooth square surface for Linear Friction Welding. - Mount one piece on lateral motion chuck as per SOPs. - Mount other piece in stationary chuck as per SOPs. - Set oscillating speed of lateral motion chuck as per SOPs. - Apply high pressure force to the stationary work piece and force it toward oscillating work piece to generates a high friction force - Apply pressure until the plastic forming temperature is achieved. - Stop rotor and apply pressure force increasingly until the whole weld is formed. | - Principles of friction welding - Surface preparation for friction welding processes. - Pressure application techniques. - Plastic forming temperature - Inspection and quality control - Machine maintenance and safety protocols Practical Activity Perform the complete setup and operation of the Inertia Friction Welding process by preparing both work pieces with smooth square surfaces, mounting one work piece on a rotor-driven chuck and the other in a stationary chuck, setting the appropriate R.P.M. applying low-pressure on the stationary work piece, and then increasing the pressure to generate high friction until the plastic forming temperature is reached. Once achieved, stop the rotor and apply increasing pressure until the weld is fully formed. | Theory: 1Hrs. Practical: 6Hrs. Total: 7 Hrs | - Work pieces (appropriate material for friction welding, such as steel or aluminum) - Lubricants - Cutting tools or abrasives for smoothing the work piece surfaces - Personal protective equipment (PPE) including gloves, goggles, aprons | - Classroom Workshop |
| LU7. Perform Non-Destructive Welding Tests | - Prepare weld joint as per SOPs for Visual Inspection. - Check for cracks, pits, surface pores, undercut, missed joint as per SOPs. - Prepare weld joint as per SOPs for X-Ray test. - Place work piece in x-ray machine as per procedures. - Set x-ray machine as per SOPs. - Expose welded area to x-ray beam as per SOPs. - Produce negative film of welded areas per SOPs. - Mark dark spots on negative film identifying defects as per SOPs. - Prepare weld joint as per SOPs for Magna flux Test. - Sprinkle very small iron particles on welded joint. - Slide magnet underneath the welded joint. - Mark area where iron particles are gathered as per procedures. | - Weld joint preparation standard - Weld defects - Principles of Magna flux testing - Safety procedures Practical Activity Prepare the weld joint according to standards for a visual inspection by checking for cracks, pits, surface pores, undercuts, and missed joints using standard inspection tools. Document any visible defects as per guidelines. | Theory: 1Hrs. Practical: 3Hrs. Total: 4 Hrs | - Welded work piece - Negative film for X-ray test Iron particles for Magna flux test - Magnet for Magna flux test - Personal protective equipment (PPE) including gloves, safety glasses, radiation - protection gear for X-ray test - Inspection tools (magnifying glass, gauges, etc.) | - Classroom Workshop |
| LU8. Perform Destructive Welding Tests | - Prepare weld joint as per SOPs for Tensile Test. - Place work piece on universal testing machine (UTM) as per SOPs. - Mount work piece in jaws of UTM as per SOPs. - Start UTM machine. - Note ultimate tensile strength of welded joint as per SOPs. - Note Poisson’s ratio of welded joint. - Prepare weld joint as per SOPs for Impact Test - Set machine for Load test method as per SOPs. - Prepare and mount work piece for Load test method as per SOPs. - Strike test piece with striker as per procedures. - Note test readings. | - Weld joint preparation standards - Operation of a universal testing machine (UTM) - Tensile properties - Principles and operation of this’d impact test. - Safety protocols Practical Activity: Prepare the weld joint according to standards for a tensile test by placing the work piece in the universal testing machine (UTM), mounting it securely in the jaws, starting the UTM as per standard, and recording the ultimate tensile strength and Poisson’s ratio of the welded joint. | Theory: 1Hrs. Practical: 3Hrs. Total: 4 Hrs | - Mild steel Plates, Pipes | - Classroom Workshop |

## 4.3 0713E&E4003 Operate Hydraulics Machines

Objective:

This Module will provide skills and knowledge required to Categorize fluid mechanics, Illustrate Hydro kinetics, Measure Flow of fluid Through Pipes, Measure fluid pressure through Impact of Jet, Identify and use of Water Turbines, illustrate water Pumps, Categorize Hydraulic Valves and Seals, Classify and use of Hydraulic machines, Illustrate Hydraulic Actuators, Identify Hydraulic Circuits and Accessories and Operate Pneumatic Simple Machines.

Duration: 51 Hours		Theory: 9 Hours		Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Categorize fluid mechanics | - Classify fluids - List properties of fluids. - Illustrate application of fluid mechanics principles. | - Introduction to fluid mechanics and - hydraulics - Types and properties of fluid - Pressure and classification - Pascal law - Fundamental Units and derived units - System of units Practical Activity Categorize different types of fluids (e.g., water, oil, air) based on their viscosity and density, compare their properties, and demonstrate the application of fluid mechanics principles (such as flow rate, pressure, and buoyancy) in a controlled experiment using various fluid types and measurement instruments. | Theory: 0.5Hrs. Practical: 3 Hrs. Total: 3.5 Hrs. | - Markers - Labels/tags - Cleaning cloth - Measuring cylinder - Manometer - Pressure gauge - Flow meter | - Classroom - Workshop |
| LU2. Illustrate Hydro kinetics | - List principles of hydrokinetics. - Calculate velocity and pressure distribution in fluid flow as per instructions. - Interpret impact of external forces on fluid. | - Introduction to Hydro kinetics - Equation of continuity of flow - Bernoulli’s Equation - Flow meter Practical Activity Demonstrate the basic principles of hydrokinetics by measuring and illustrating velocity and pressure distribution in fluid flow through a pipe, derive equations of motion for the fluid, and analyze the impact of external forces (e.g., pressure variations or applied forces) on fluid behavior using lab equipment. | Theory: 0.5Hrs. Practical: 3 Hrs. Total: 3.5 Hrs. | - Markers - Labels/tags - Cleaning cloth - Measuring cylinder - Manometer - Pressure gauge - Flow meter | - Classroom - Workshop |
| LU3. Measure Flow of fluid Through Pipes | - Identify flow measurement devices. - Calibrate measurement device as per SOPs. - Measure flow rate of the given fluid as per instructions. | - Introduction to flow meter - Application and importance of flow meter - Types of flow meters - Introduction to pressure gauge - Uses of pressure gauges - Types of pressure gauge Practical Activity Classify different types of pressure (static, dynamic, and total pressure), identify and use flow measurement devices such as venturi meters or flow sensors, calibrate these devices for accuracy, and measure the flow rate of fluid through pipes, analyzing the relationship between pressure and flow rate using lab equipment | Theory: 1Hrs Practical: 3 Hrs. Total: 4 Hrs | - Markers - Labels/tags - Cleaning cloth - Flow meter - Stopwatch - Measuring tank - Manometer | - Classroom - Workshop |
| LU4. Measure fluid pressure through Impact of Jet | - Test jet impact apparatus as per SOPs. - Calibrate measurement instruments as per SOPs. - Record forces exerted by the jet as per procedures. - Calculate fluid pressure from the force readings. | - Introduction to fluid/water jet and its implication - Types of water jet - Force of Jet normally on fixed plate - Force of Jet normally on inclined plate - Force of Jet normally on moving plate - Force of Jet in series of vanes Practical Activity Test the jet impact apparatus to observe the force exerted by a fluid jet, calibrate the measurement instruments for accuracy, record the forces generated by the jet on a target, and calculate the fluid pressure from the force readings using the relevant equations. | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Markers - Tags/labels - Cleaning cloth - Pressure gauge - Impact of jet apparatus - Measuring scale - Stopwatch | - Classroom - Workshop |
| LU5. Operate Water Turbines | - Categorize types of water turbines. - Select water turbine as per instructions. - Install water turbine system as per SOPs. - Operate water turbine as per SOPs. | - Introduction to water turbines - Application and importance of water turbine - Classification of water turbines - Selection of water turbine on the basis of head and pressure - Impulse Turbines (Pelton wheel) & its Parts - Advantages of hydraulics turbines Practical Activities Categorize different types of water turbines (e.g., Pelton, Francis, Kaplan) based on their design and application, implement their working principles by selecting an appropriate turbine for a specific scenario, install a small-scale water turbine system in the lab, and operate the turbine to observe and analyze its performance | Theory: 1Hrs Practical: 6Hrs. Total: 7 Hrs | - Lubricating oil - Tags/labels - Cleaning cloth - Water turbine setup - Pressure gauge - Flow meter - Tools (spanners, screwdrivers) | - Classroom - Workshop |
| LU6. Operate water Pumps | - List types of water pumps. - Install given water pump as per instructions. - Calculate Suction head, Delivery head and Total lift of the given pump. | - Introduction to pump - Types of pumps - Construction and working of Centrifugal Pumps - Construction and working of reciprocating pump Practical Activity Identify and demonstrate different types of pumps in lab | Theory: 1Hrs Practical: 6 Hrs. Total: 7 Hrs | - Lubricating oil - Tags/labels - Cleaning cloth - Water pump setup - Pressure gauge - Flow meter - Tools (spanners, screwdrivers) | - Classroom - Workshop |
| LU7. Operate Hydraulic Valves and Seals | - List types of hydraulic valves. - Operate given hydraulic valves as per SOPs. - List types of hydraulic seals. - Check leakage of Hydraulic Seals as per SOPs. | - Introduction to hydraulic valves and seals - Application & Importance of hydraulic valves and seals. - Types of Directional control valves, and function - Flow control valves & their types Practical Activity Identify different types of valves and seals in lab | Theory: 1Hrs Practical: 6 Hrs. Total: 7Hrs | - Seals/gaskets - Lubricants - Tags/labels - Cleaning cloth - Hydraulic valves setup - Spanners, screwdrivers - Pressure gauge | - Classroom - Workshop |
| LU8. Calculate the performance of Hydraulic machines | - List types of hydraulic machines. - Operate hydraulic controls as per SOPs. - Calculate efficiency of given hydraulic machine as per instructions. | - Introduction to hydraulic machines - Application & importance of hydraulic machines - Types of simple hydraulic machines - Working principle of hydraulic - press/machine - Mechanical advantage and efficiency of hydraulic press Practical Activity: Identify various types of hydraulic machines available in the lab, illustrate their operation principles by setting up and operating the machines, control the hydraulic systems to perform specific tasks, and calculate the efficiency of each machine by measuring input and output Power. | Theory: 1Hrs Practical: 3 Hrs. Total: 4Hrs | - Markers - Tags/labels - Cleaning cloth - Hydraulic machine setup - Pressure gauge - Flow meter - Tachometer - Stopwatch | - Classroom Workshop |
| LU9. Operate Hydraulic Actuators | - List types of hydraulic actuators. - Install given hydraulic actuators as per SOPs. - Calculate efficiency of given hydraulic actuator as per instructions. | - Introduction to hydraulic actuator - Application & importance of hydraulic - actuators - Working principles and efficiency of hydraulic actuators - Types of hydraulic actuators Practical Activity: Identify and install a hydraulic actuator into a functional circuit, demonstrate its operating principles under load, and calculate its efficiency by measuring input power and output power. | Theory: 1Hrs Practical: 3 Hrs. Total: 4Hrs | - Hydraulic oil - Cleaning cloths - Seals and gaskets - Hydraulic actuator - Hydraulic pump - Hoses and fittings - Pressure gauge - Control valves - Spanners/wrenches | - Classroom Workshop |
| LU10. Identify Hydraulic Circuits and Accessories | - Draw hydraulic circuits as per instructions. - List components in given hydraulic circuit. - Analyze performance of given hydraulic circuit. | - Introduction to hydraulic circuit - Application of hydraulic circuits - Parts/ components of hydraulic circuits - Actuator, Control valve, Reservoir, - Filter, Pump, pressure control valve, - Directional control valve, Hydraulic - pipes and couplings, Flow control Valve - Uses of proximity switches Practical Activity” Recognize the following in lab - Pumps - Valves - Actuators - Flow meters - Reservoir - Hydraulic pipes and coupling | Theory: 1Hrs Practical: 3 Hrs. Total: 4Hrs | - Cleaning cloths - Hydraulic oil - Hydraulic pump - Actuators - Directional Valves, Directional Pressure, Directional flow - Hoses & pipes | - Classroom - Workshop |

## 4.4 0713E&E4004 Perform Quantity Survey/Estimation

Objective:

This Module focuses on skills and knowledge required to prepare rough cost estimate and detailed estimate of a building and other services, BOQ of different type of walls and material statement. Your underpinning knowledge will be sufficient to provide you the basis for your work.

Duration: 51 Hours			Theory: 9 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare rough cost estimates of building | - List types of building drawings. - Select number of units as per procedures. - Calculate unit rate from existing building as per instructions. - Calculate covered area of the building as per instructions. - Calculate cost per square unit from existing buildings as per instructions. - Prepare rough cost estimate of new building as per instructions. | - Estimate and its types - Rough cost estimate of Buildings - Calculation of covered area - Units of measurement - Yard stick for rough cost estimation for building services - General specification of building items Practical activity: - Practice to calculate the covered area of given plans of different category of buildings - Prepare complete rough cost estimate of 5 Marla building. | Theory-1 Hrs Practical-3 Hrs Total- 4 Hrs | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU2. Prepare bill of quantities | - Select type of wall i.e. D-wall, H-Wall, Tee Wall, L-Wall, U-wall and circular wall as per procedures. - Prepare BOQ table as per given specifications. - Take measurements from given plan and section. - Record measurement in BOQ table. | - Item of works and unit of measurements - Quantities of various types of wall shape/sections - Bill of quantities Practical Activity: - Taking out measurements and prepare BOQ for straight wall, T, L, H, U, shaped walls and circular walls according to giving drawing/description. | Theory-2 Hrs. Practical-9 Hrs. Total- 11 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU3. Produce detailed estimate of a single storey building | - Select plan and section as per SOPs. - Draw centre lines in plan s per SOPs. - Sum up lengths of centre lines by centre line method. - Prepare BOQ for quantities of items of work for building as per instructions. - Select MRS/PWD rates of qualities as per given specifications. - Prepare abstract of cost table with help of composite schedule of rates. | - Methods of detailed Estimate - Quantities and Abstract of quantities of various items - Schedule of rates - Abstract of cost - Rules for deduction in different items of work. Practical activity: - Practice of taking out quantities (building portion) for two room quarters. - Consulting schedule of rates and working out cost for above two room, quarter | Theory-2 Hrs. Practical-9Hrs. Total- 11 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU4. Prepare Annual/Special repair estimates | - Identify items of work for Annual/ Special Repair of building / road as per SOPs. - Calculate quantities of items of work for Annual/ Special Repair for building/ road as per SOPs. - Select MRS/PWD rates as per given specification. - Prepare Abstract of Cost for Annual/ Special Repair for building / road as per SOPs. | - Types of repair estimates for building maintenance - Standards/yard sticks for annual and special repair estimation. Practical activity: - Prepare annual and special repair estimate of domestic building | Theory-1 Hrs. Practical-3 Hrs. Total- 4 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU5. Calculate Earth work for Civil Engineering structures | - Select section of road in plain / hilly road as per SOPs. - Select section of irrigation canal as per SOPs. - Select method of calculation of earth work i.e. mean area, mid sectional area and prismoid formula method. - Identify data of NSL, FL and calculate depth of filling. - Calculate x-sectional area at each RD as per selected method. - Calculate volume of earth work filling / cutting as per instructions. | - Introduction to earthwork - Methods of calculation cutting and filling of X-sections - Performa for earth works Practical Activity: - Working out earth work of earthen embankment of given design and data. - Working out earth work of road in plain areas. - Working out earth work of irrigation channel. | Theory-1 Hrs. Practical-6 Hrs. Total- 7 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU6. Prepare material statements | - Select item of work for material statement. - Identify specification for work as per SOPs. - Calculate proportion required for work as per SOPs. - Prepare material statement as per SOPs. | - Detailed specifications of items of works - Material statement for items of building work Practical Activity: - Preparation of material statements of masonry work using given BOQ - Preparation of material statement of concrete and RCC item of works using given BOQ | Theory-1 Hrs. Practical-6 Hrs. Total- 7 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |
| LU7. Analyze rates of items of work for building | - Select unit of quantity for analysis according to value of item work. - Identify relevant specification. - Calculate quantities of items of work. - Calculate cost of material. - Calculate carriage of material. - Calculate labor cost. - Calculate total cost. - Calculate contingencies. - Calculates contractors’ profit. - Calculate total cost and unit cost. | - Prerequisite for analysis of rates - Introduction to Rate analysis of MRS items of work. - Market rates, (Materials, labor, carriage and equipment) Practical Activity: - Rate analysis for items of masonry work - Rate analysis for items of cement concrete of different ratios. | Theory-1 Hrs. Practical-6 Hrs. Total- 7 Hrs. | - Pencil - Eraser - Sharpener - Measuring Tape (100ft) - Calculator - Ruler | - Class Room - workshop |

## 4.5 0713E&E4005 Calibrate Electrical Equipment

Objective:

This Module covers the skills and knowledge required to calibrate ammeter, voltmeter, ohmmeter, multi-meter, capacitor, inductor and 2-wire/4-wire resistor by direct comparison method.

Duration: 27 Hours        	Theory: 3 Hours 	Practice: 24 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Perform Pre Calibration activity | - Perform functional and physical check of under test equipment/UUT (Unit under Test) as per SOPs. - Prepare equipment receipt with specifications and allot unique code. - Keep the equipment in controlled environment for thermal stabilization as per SOPs. - Turn ON the equipment for warm-up as per SOPs. - Record the under-test equipment specifications, environmental condition of laboratory as per procedures. | - Introduction to Electrical measuring instruments. - Types of measuring Instruments. - Applications of measuring instruments. Practical activity Perform Complete check of given measuring instrument. | Theory: 0.5Hrs. Practical: 3Hrs. Total: 3.5Hrs. | - Labels - Pens - Marker - Ammeter - Voltmeter - Ohm meter - \Multimeter | - Classroom - Workshop |

| LU2. Calibrate Ammeter | - Select reference/Standard Current Source as per SOPs. - Connectable on the basis of under test ammeter range as per SOPs. - Connect the under-test ammeter with Reference/Standard Current Source at current terminals as per SOPs. - Select calibration points on under test ammeter as per SOPs. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying current. - Apply the Reference current and record the value displayed on the under-test ammeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. | - Introduction to Ammeter. - Working Principal of Ammeter. - Types of Ammeters - Applications of Ammeter. - Data Recording Procedure of Ammeter Practical activity Connect ampere meter in series with load and record values and compare results with standard equipment. | Theory: 0.5Hrs. Practical: 3Hrs. Total: 3.5Hrs. | - Notebook - Pens - Ammeter - Power Supply - Resistive Load | - Classroom - Workshop |
| --- | --- | --- | --- | --- | --- |
| LU3. Calibrate Voltmeter | - Select the Reference/Standard Voltage Source as per SOPs. - Connect the under-test voltmeter with Reference/Standard Voltage Source at voltage terminals. - Select calibration points on under test voltmeter as per procedures. - Perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying voltage - Apply the Reference voltage and record the value displayed on the under-test voltmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the voltage source and remove the connecting cables as per procedures. | - Introduction to Voltmeter. - Working Principal of Volt Meter - Types of Voltmeters. - Measurement Procedure of Voltmeter. - Applications of Voltmeter. - Data Recording Procedure of volt meter Practical activity Connect Volt meter in parallel and record values and compare results with the standard equipment | Theory: 1Hrs. Practical: 6Hrs. Total: 7 Hrs. | - Notebook - Pens - Voltmeter. - Power Supply - Resistive Load | - Classroom - Workshop |
| LU4. Calibrate Ohmmeter | - Select the Reference/Standard Resistance Source (Fixed/Discrete) as per SOPs. - Connect the under-test ohmmeter with Reference/Standard Resistance Source at resistance terminals as per SOPs. - Select calibration points on under test ohmmeter as per procedure. - Check zero error by shortening the probes and perform zeroing on under test as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying resistance - Apply the Reference resistance and record the value displayed on the under test ohmmeter and Reference. - Change the reference value and observe it on under test equipment. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the resistance source and remove the connecting cables as per SOPs. | - Introduction to Ohm Meter. - Working Principal of Ohm meter. - Measurement Methods. - Applications of Ohm Meter. - Data Recording Procedure of ohm meter Practical activity Connect ohm meter and record values of different types of resistance i.e. Low resistance, medium resistance and High Resistance. | Theory: 0.5Hrs. Practical: 6Hrs. Total: 6.5Hrs | - Notebook - Pens - Ohm meter. - Rheostat | - Classroom - Workshop |
| LU5. Calibrate multimeter | - Select the Reference/Standard according to the multi-meter specifications. - Connect the under test multi-meter with Reference/Standard as per selected parameter. - Select parameter (Voltage AC/DC, Current AC/DC, Resistance, Capacitance) on both Reference and under test equipment one by one as per SOPs. - Check zero error for each parameter and nullify as per SOPs. - Verify the connections are as per connection diagram in the equipment manual before applying Reference value for each parameter - Apply the Reference value of each parameter and record the value displayed on the under test Multimeter and Reference. - Take at least three set of measurement on each calibration point. - Take values in ascending (zero to maximum) order then descending (max to zero) order and again ascending order. - Stop the Standard Reference and remove the connecting cables as per SOPs. | - Introduction to Multi meter. - Working Principal of multimeter. - Types of Multi-meter. - Applications of Multimeter. - Data Recording Procedure of Multimeter Practical activity Measure ampere, voltage & Resistance by using multimeter and record values. | Theory: 0.5Hrs. Practical: 6Hrs. Total: 6.5 Hrs. | - Notebook - Pens - Multimeter - Power Supply - Resistive Load | - Classroom - Workshop |

## 4.6 0713E&E4006 Diagnose Electrical Fault in Generator

Objective:

This Module focus on the skills and knowledge required to inspect and service ignition system, inspect and service alternator, inspect and service display panel, inspect and service governor /Actuator System, inspect and service charging system, inspect and service warning system, to diagnose electric fault (s) in generator.

Duration: 62		                    Theory: 8		Practice: 54

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Inspect/service Ignition system | - Identify the tools and equipment as per job requirement. - Check DC power supply of ignition coil and distributor as per SOPs. - Check HT leads as per SOPs. - Check spark plug as per SOPs. | - Function of ignition systems in generators. - Types of ignition systems - Components of an ignition system Practical activity Inspect ignition system of given generator and remove faults. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Spark plugs - Ignition coil insulation tape - Screwdrivers (flathead, Phillips) - Wrenches/spanners - Multimeter or ignition tester | - Classroom - Workshop |
| LU2. Inspect/service alternator | - Identify the tools and equipment as per job requirement. - Check DC output voltage as per SOPs. - Check belt as per SOPs. | - Function of an alternator in power generation. - Working principle of an alternator (electromagnetic induction). - Types of alternators - Components of an alternator Practical activity Inspect alternator of given generator and remove faults. | Theory: 2 Hrs. Practical: 15 Hrs. Total: 17Hrs. | - Cleaning solvents Lubricating oil or grease - Replacement brushes - Replacement belts (drive belts, if worn or damaged) - Insulation tape - Replacement fuses - Cleaning cloths or wipes - Screwdrivers (flathead, Phillips) - Wrenches/spanners - Multimeter or ignition tester | - Classroom - Workshop |
| LU3. Inspect/service warning system | - Identify tools and equipment as per job requirement. - Check oil sensor as per SOPs. - Check temperature sensor as per SOPs. - Check fuel sensor as per SOPs. - Check over/under load module as per SOPs. | - Warning system in generator operations. - Types of generator warning systems Practical activity Inspect warning system of given generator and remove faults. | Theory: 3 Hrs Practical: 9 Hrs Total: 12 Hrs | - Replacement bulbs/LEDs - Fuses - Batteries - Wiring insulation tape - Connectors and terminals - Cleaning cloths or wipes - Screwdrivers (flathead, Phillips) - Wrenches/spanners - Multimeter or ignition tester | - Classroom - Workshop |
| LU4. Inspect/service charging system | - Identify the tools and equipment as per job requirement. - Check battery power leads as per SOPs. - Check charging circuit of alternator as per SOPs. | - Types of charging systems - Key components of a generator charging system Practical activity Inspect charging system of given generator and remove faults. | Theory: 2 Hrs. Practical: 24 Hrs. Total: 26 Hrs. | - Batteries - Wiring insulation tape - Connectors and terminals - Screwdrivers (flathead, Phillips) - Wrenches/spanners - Multimeter or ignition tester | - Classroom - Workshop |
| LU5. Troubleshoot wiring | - Identify the tools and equipment for checking of supply. - Check the main supply as per SOPs. - Check the breakers as per SOPs. - Ensure the supply off as per SOPs. - Perform open circuit and short Circuit test with meter as per SOPs. - Identify the faults as per procedures. - Remove the fault as per SOPs. | - Principles of electricity: voltage, current, resistance, continuity. - Difference between AC and DC wiring systems. - Function and identification of live, neutral, and ground wires. - Color coding standards for electrical wiring. - Concept of electrical circuits: series, parallel, and combination circuits. Practical activity Troubleshoot wiring of given generator. |  | - Cables - Electrical insulation tape - Screwdrivers (flathead, Phillips) - Wrenches/spanners - Multimeter or ignition tester - Plier | - Classroom - Workshop |

## 4.7 0713E&E4007 Carryout Protection of Distribution and Transmission System

Objective:

This Module deals with the skills and knowledge required to Install the equipment for grounding of Substation/Transmission lines, Categorize and rectify the symmetrical and asymmetrical faults, Install Circuit breaker in a distribution system, Install an isolator at grid station/substation, install appropriate relays for the protection of power system, Carry out Bus Bar protection, Carry out time graded protection of feeder, Install a fuse in a circuit, Supervise Protection of power transformer, Carryout protection arrangement for alternator.

Duration: 43 Hours                                    	Theory: 7 Hours           	                	Practice: 36 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Install relay for protection | - Select relay according to job requirement. - Make connections of relay according to given drawing. - Perform basic settings of relay as per specifications. | - Purpose and function of relays - Types of protection relays - Common protection functions Practical activity Install and Commission an Overcurrent Protection Relay for a Transmission Line | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Electrical insulation tape - Wire connectors / terminals - Cable ties - Solder and flux - Screwdrivers (flathead, Phillips) - Wire strippers and cutters - Crimping tool - Multimeter - Soldering iron and stand - Torque wrench - Relay tester | Classroom Workshop |
| LU2. Perform operations of relay | - Identify type of relay installed. - Interpret operation manual of relay. - Perform advanced setting of relay as per specifications. | - Introduction to relays - Types of relays - Difference between electromechanical, static, and digital/numerical relays. Practical activity Perform setting of given relay as per given specifications | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs. | - Insulation tape - Fuse wire - Tags/labels for marking - Cleaning cloth - Relay testing kit - Screwdrivers and pliers - Safety gloves - Control cables | Classroom Workshop |
| LU3. Perform troubleshooting of relay | - Check connections of relay as per SOPs. - Reset functionality of relay as per SOPs. - Inject current to check healthiness of operation of relay as per SOPs. | - Relay Construction and Components - Operating Principles of Relays Practical activity Test the operation of a control relay | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs | - Insulation tape - Fuse wire - Tags/labels for marking - Cleaning cloth - Relay testing kit - Screwdrivers and pliers - Safety gloves - Control cables | Classroom Workshop |
| LU4. Carry out Bus Bar Protection | - Check connection of differential relay for bus bar as per SOPs. - Perform frame leakage protection as per SOPs. - Perform circuiting current protection as per SOPs. | - Types of Bus Bar Faults - Bus Bar Protection Schemes - Testing and Commissioning Procedures Practical activity Perform testing and commissioning of bus bar differential protection in coordination with transmission line protection. | Theory: 2Hrs. Practical: 6Hrs. Total: 7Hrs . | - Insulation tape - Fuse wire - Tags/labels for marking - Cleaning cloth - Relay testing kit - Screwdrivers and pliers - Safety gloves - Control cables | Classroom Workshop |
| LU5. Carry out Protection of power transformer | - Select differential relay as per job requirement. - Make connections of CT with differential relay as per SOPs. - Perform setting of current transformer (CT) as per SOPs. | - Importance of Power Transformer Protection - Common Transformer Faults - Types of Transformer Protection Schemes Practical activity Test and verify the operation of the transformer differential protection relay to ensure it correctly detects internal faults. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs | - Insulation tape - Contact cleaner - Silica gel - Fuses - Tags/labels - Cleaning cloth - Multimeter / insulation resistance tester - Transformer protection relays - Buchholz relay - Oil testing kit - Safety gloves Spanners, pliers, screwdrivers | Classroom Workshop |
| LU6. Install grounding equipment of Substation/Trans mission lines | - Carryout grounding (Resistance, Reactance, solid) as per instructions. - Supervise the grounding in accordance with WAPDA Standards. - Select copper conductor as per instructions. - Test the resistance of ground using Magger meter. - Carry out the jointing of copper conductor as per SOPs. | - Importance of Grounding Systems - Components of Grounding Systems - Standards and Regulations Practical activity Install temporary grounding equipment on a de-energized transmission line to ensure protection against accidental energization during maintenance. | Theory: 1Hrs. Practical: 6Hrs. Total: 7Hrs | - Grounding conductor/wire - Lugs and connectors - Welding rods/clamps - Insulation tape - Earth resistance tester - Spade/shovel - Crimping tool - Safety gloves | Classroom Workshop |

## 4.8 0713E&E4008 Install Turbine

Objective:

This Module covers the skills and knowledge required to verify foundation layout of turbines, assemble hydro turbine, make mechanical coupling, perform alignment and calibration of turbine, perform testing and commissioning, perform inspection and documentation.

Duration: 70 Hours			Theory: 10 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Verify foundation layout | - Check Load-Bearing Capacity of foundation as per SOPs. - Check Soil Suitability of site as per procedures. - Check durability of material as per procedures. - Check Leveling of foundation as per procedures. | - Turbine Foundation Types - Foundation Defects - Surveying and leveling principles Practical Activity Perform verification of given foundation as per specifications given in layout | Theory: 1Hrs. Practical: 9Hrs. Total: 10Hrs. | Consumable Items: - Marking charts - Paper - Foundation Layout Laser Level | - Well-equipped classroom - Workshop |
| LU2. Assemble hydro turbine | - Position turbine fix/stay vanes as per SOPs. - Position the turbine base onto the foundation as per procedures. - Install the main shaft onto the turbine base as per procedures. - Install and connect necessary systems as per procedures. | - Working principles of hydro turbines - Types of hydro turbines - Torque settings and tightening procedures for bolts and fasteners Practical Activity Assemble given hydro turbine as per given specification | Theory: 3Hrs. Practical: 15Hrs. Total: 18Hrs. | - Shims and Alignment Plates - Hydraulic Turbine Model (Training Unit) - Torque Wrench - Alignment Tools (Dial Gauge, Feeler Gauge) | - Well-equipped classroom - Workshop |
| LU3. Perform mechanical coupling | - Align the turbine shaft and generator as per SOPs. - Install the coupling between the turbine shaft and generator shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Perform a test run as per procedures. | - Hydro Turbine Operation - Types of Hydro Turbines Turbine and Generator Shaft Configuration Practical Activity Perform coupling of hydro turbine with the generator as per given specification. | Theory: 2Hrs. Practical: 12Hrs. Total: 14 Hrs | - Thread Lock and Grease - Cable Ties and Clamps - Hydraulic Turbine Model (Training Unit) - Torque Wrench - Alignment Tools (Dial Gauge, Feeler Gauge) | - Well-equipped classroom - Workshop |
| LU4. Perform alignment and calibration of tur bine | - Align the turbine components on the foundation as per SOPs. - Verify all components are within the manufacturer's specified tolerances for alignment. - Perform calibration of the control systems as per procedures. Conduct operational tests of turbine as per procedures. | - Shaft Alignment Principles - Alignment Tools and Techniques - Types of Misalignments Practical activity Align and Calibrate given hydro turbine as per manufacturer specifications | Theory: 2Hrs. Practical: 12Hrs. Total: 14Hrs | - Shims and Alignment Plates - Alignment Tools (Dial Gauge, Feeler Gauge) - Torque Wrench - Calibration Equipment Set - Tool Kit (Spanners, Screwdrivers, Allen Keys) | - Well-equipped classroom - Workshop |
| LU5. Perform testing and commissioning | - Perform Pre-Commissioning inspection of all turbine components as per SOPs. - Conduct a dry run test to check the mechanical systems as per procedures. - Control penstock gate of the turbine as per procedures. - Verify that the turbine meets design specifications as per procedures. - Calibrate control systems, and make any necessary adjustments as per procedures. | - Mechanical Installation Checks - Procedures for dry and wet commissioning - Use of test equipment - Data Documentation Practical activity Perform Tests in order to check performance of hydro turbine as per Manufacturer specification. | Theory: 1Hrs. Practical: 9Hrs. Total: 10Hrs | - Notebook - Pen - Vibration Analyzer - Testing & Commissioning Panel (Demo Type) | - Well-equipped classroom - Workshop |
| LU6. Perform inspection and documentation | - Conduct visual inspection of the turbine as per SOPs. - Measure key parameters using instruments as per procedures. - Record all inspection findings, test results, and any maintenance or adjustments made as per procedures. | - Inspection Procedures and Checklists - Documentation and Reporting Requirements - Record Keeping and Data Management Practical Activity Inspect turbine generator assembly and document findings as per given checklist | Theory: 1Hrs. Practical: 3Hrs. Total: 4Hrs | - Inspection forms and log sheets - Markers and tags - Thermal camera - Torque wrenches - Inspection tools (calipers, micrometers, borescopes) - Multimeters | - Well-equipped classroom - Workshop |

## 4.9 0713E&E4009 Install Generator

Objective:

This Module covers the skills and knowledge required to verify foundation layout, assemble synchronous generator, make, perform alignment and calibration of generator, make electrical connection, perform testing and commissioning, perform inspection and documentation.

Duration: 54 Hours			Theory: 6 Hours				Practice: 48 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required |  | Learning Place |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| LU1. Verify foundation layout | - Inspect visible cracks, deformation, or signs of wear and tear on the foundation as per procedures. - Inspect the soil or ground around the foundation for any signs of erosion, waterlogging, or instability as per procedures. - Compile report of inspection as per SOPs. | - Foundation Types - Foundation Defects - Surveying and leveling principles Practical Activity Perform verification of given foundation as per specifications given in layout | Theory: 1Hr Practical: 9Hrs Total: 10Hrs |  | - Marking charts - Paper - Foundation Layout Laser Level |  | - Classroom - Workshop |
| LU2. Perform A.C Generator coupling | - Position the generator onto the foundation as per SOPs. - Couple generator and turbine shaft as per procedures. - Tighten the coupling bolts and studs as per SOPs. - Install and connect necessary systems as per SOPs. | - Working principles of A.C. generators. - Types of A.C. generators - Components of A.C. generators - Coupling methods Practical Activity Perform coupling of given generator and tighten all t he bolts properly | Theory: 2Hr Practical: 9Hrs Total: 11Hrs |  | - Foundation Bolts and Anchors - Mechanical Coupling Kit (for AC generator) - Torque Wrench - Generator Installation Training Unit |  | - Classroom - Workshop |
| LU3. Perform alignment and calibration of generator | - Identify and select tools according to the job requirement. - Align the turbine shaft and generator as per SOPs. - Perform a test run to verify that the coupling functions correctly as per SOPs. | - Fundamentals of Generator Operation - Types of Generator Misalignment - Symptoms and Effects of Misalignment - Alignment Procedures Practical Activity Align and calibrate given generator as per given specification | Theory: 1 Hrs Practical: 9Hrs Total: 10Hrs |  | - Shims and Alignment Plates - Alignment Tools (Dial Gauge, Feeler Gauge) - Calibration Equipment Set |  | - Classroom - Workshop |
| LU4. Make electrical connections | - Select tools according to the job requirement. - Connect power output terminals with transformer/panel board as per SOPs. - Connect current transformer (CT) and potential transformer (PT) as per SOPs. - Check grounding connections of generator as per SOPs. | - Types of electrical connections (series, parallel, star, delta) - Measuring Transformers - Transformer Tests Practical Activity Make connections of Transformer and panel board along with CT and PT as per given diagram. | Theory: 1Hr Practical: 12Hrs Total 13 Hrs |  | - Electrical Connectors (Lugs, Terminals) - Cable Marking Tags and Labels - Cable Ties and Clamps - Insulation Tape & Heat Shrink Tubes - Electrical Tool Kit (Crimper, Wire Stripper) |  | - Classroom - Workshop |
| LU5. Perform testing and commissioning | - Select tools according to job requirement. - Check speed and frequency of generator as per SOPs. - Check voltage and current of generator as per SOPs. - Check vibrations produced by generator as per SOPs. | - Polarity and Phase Sequence - No-Load Testing Procedures - Data Documentation Practical Activity Perform Tests in order to check performance of generator as per datasheet. | Theory: 1Hr Practical: 9Hrs Total: 10Hrs |  | - Notebook - Pen - Electrical Testing Kit (Multimeter, Clamp Meter) - Insulation Resistance Tester (Megger) - Vibration Analyzer |  | - Classroom - Workshop |

## 4.10 0713E&E4010 Control MHP plant shutdown for emergency standby electrical systems

Objective:

This Module focus on the skills and knowledge required for controlling MHP plant shutdown for emergency standby electrical systems. People holding credit for this competency standard are able to: Prepare emergency standby electrical system; shut down and isolate emergency standby electrical system; service emergency standby electrical system; monitor emergency standby electrical system and stabilize transient condition.

Duration: 46 Hours                                   	Theory: 4 Hours    	                                	Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Prepare emergency standby electrical system | - Carry out pre-condition’s preparation for plant as per SOPs. - Prepare plant for service as per SOPs. - Document preparation for plant shut-down as per SOPs. | - Types of Emergency Standby Systems - Components of Standby Electrical Systems Practical activity Perform a complete pre-operation check and preparation of the emergency standby generator to ensure it is ready for automatic or manual startup during a power outage. | Theory: 1Hr. Practical: 9 Hrs. Total: 10Hrs. | - Wiring Labels and Tags - Marking Chalks and Stickers - Logbooks and Monitoring Sheets - Lockout/Tagout Kit | - Classroom - Workshop |
| LU2. Shut down and isolate emergency standby electrical system | - Carry out pre-condition for shutdown as per SOPs. - Isolate emergency standby electrical system as per SOPs. - Document plant shutdown and isolation as per SOPs. | - Operation of Standby Generators - Shutdown Procedures Practical activity Perform shut down and isolate the emergency standby generator after use. | Theory: 1 Hr. Practical: 9Hrs. Total: 10 Hrs. | - Tags/labels - Insulation tape - Generator Shutdown Simulator Panel Multimeter - Screwdrivers and spanners - Safety gloves and PPE | - Classroom - Workshop |
| LU3. Service emergency standby electrical system | - Apply hazard and risk identification as per SOPs. - Perform servicing of electrical system as per SOPs. - Document servicing activity as per SOPs. | - System Testing and Maintenance Procedures - Troubleshooting Techniques Practical Activity Perform routine service and maintenance on an emergency standby generator to ensure reliable operation. | Theory: 1 Hr. Practical: 12Hrs. Total: 13Hrs. | - Tags/labels - Insulation tape - Cable Ties and Mounting Clips - Cleaning Spray for Electrical Contacts - Generator Shutdown Simulator Panel - Battery Bank with Inverter - Screwdrivers and spanners - Safety gloves and PPE | - Classroom - Workshop |
| LU4. Monitor emergency stand by electrical system and stabilize transient condition | - Monitor plant operating conditions per SOPs. - Identify and react upon out of normal conditions as per SOPs. - Compare actual output values against expected requirements as per procedures. - Document transient conditions, actions and results. | - Control and Monitoring Systems - Load Management and Prioritization Practical activity Monitor the operation of an emergency standby generator and stabilize transient conditions during load changes. | Theory: 1 Hr. Practical: 12Hrs. Total: 13Hrs. | - Logbook - Indicator Bulbs/LEDs for Control Panel - Multimeter - Clamp Meter - Load tester - Control panel instruments - Phase Rotation Tester | - Classroom - Workshop |

## 4.11 0713E&E4011 Analyze faults in MHP plant operation

Objective:

This module focuses on the skills and knowledge required for analyzing faults in MHP plant operations. People holding credit for this module are able to: Plan and prepare for fault analysis; test plant and auxiliary equipment operation; analyze plant and auxiliary equipment faults; and record findings.

Duration: 65 Hours			Theory: 05 Hours				Practice: 60 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Diagnose faults in MHP Plant | - Select tools and equipment according to job requirement. - Adopt safety practices as per SOPs. - Interpret specifications and drawings regarding civil structure. - Diagnose faults in MHP plant as per SOPs. | - Types of faults in MHP - Fault analysis techniques Practical activity - Diagnose an operational fault in the MHP plant generator system. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Fault Report Logbooks - Graph Paper and Analysis Sheets - Tagging Labels for Fault Identification - Stickers for Fault Area Marking - Digital Multimeter - Clamp Meter - Insulation Resistance Tester (Megger) - Thermal Imaging Camera (for hot-spot detection) | - Classroom - Workshop |
| LU2. Test plant and auxiliary equipment operation | - Perform tests according to SOPs. - Observe plant and equipment for correct operational response as per procedures. - Take corrective action when response is not in accordance with documentation as per SOPs. - Return plant and equipment to required operation status on completion of test as per procedures. | - Bottom of Form Principles of Plant Operation - Types and Functions of Auxiliary Equipment - Pre-Operational Checks and Procedures Practical activity Perform operational testing of auxiliary equipment pumps, valves, and control systems in a plant to verify proper functioning. | Theory: 2Hr. Practical: 15Hrs. Total: 16Hrs. | - Printouts of Fault Diagnosis Flowcharts - Fuses, MCBs and Relays - MHP Plant Fault Simulation Kit - Oscilloscope - Laptop with Diagnostic Software | - Classroom - Workshop |
| LU3. Analyze plant and allied equipment faults | - Analyze technical and operational information. - Determine necessary actions to rectify fault as per SOPs. - Maintain plant integrity and personnel safety as per procedures. - Take action to rectify the fault as per procedures. | - Control Systems and Instrumentation - Safety Devices and Interlocks Practical activity Identify and analyze faults in plant and allied equipment using systematic troubleshooting. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Cable Lugs and Connectors - Vibration Analyzer - Electrical Tool Kit - MHP Plant Fault Simulation Kit | - Classroom - Workshop |
| LU4. Prepare documentation of faults diagnosis | - Mention the fault occurred in the logbook as per SOPs. - Prepare final report with findings and recommendations.Submit report to supervisor as per SOPs | - Data Collection and Logging Procedures - Interpretation of Test Results and Readings Practical activity Document the diagnosis of faults in plant equipment following inspection and testing. | Theory: 1Hr. Practical: 15Hrs. Total: 16Hrs. | - Pens - Pencils - Erasers - Rulers - Printouts of Fault Diagnosis Flowcharts - Fault Logging & Analysis Charts - Laptop with Diagnostic Software | - Classroom - Workshop |

## 4.12 0713E&E4012 Carry out preventive maintenance procedures as part of MHP operations

Objective:

This Module focus on the skills and knowledge required to carry out preventive maintenance as part of MHP operations. ‘Preventive maintenance’ in this context refers to the systematic care and servicing of machinery, equipment and infrastructure by inspection, detection, and correction of early failures either before they occur or before they develop into major defects. People holding credit for this module are able to: Plan and prepare for preventive maintenance; perform daily routine checks; perform preventive maintenance; and complete work.

Duration: 46 Hours			Theory: 4 Hours				Practice: 42 Hours

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU1. Plan for preventive maintenance | - Select tools and equipment as per job requirements. - Adopt safety and regulatory practices as per SOPs. - Interpret drawings as per SOPs. | - Principles of Preventive Maintenance - Types of Maintenance Strategies Practical activity Plan preventive maintenance for a selected machine and preparing documentation. . | Theory: 1Hr. Practical: 9Hrs. Total: 10Hrs. | - Maintenance Checklist Sheets - Dust Masks - Labels for Equipment Tagging - Preventive Maintenance Toolkit (spanners, pliers, etc.) | - Classroom - Workshop |
| LU2. Perform daily routine checks | - Check for suspended trash or material at screens as per SOPs. - Check for water leakage or overflow as per SOPs. - Check for sand sedimentation as per SOPs. - Check for deformation or crack as per SOPs. - Check for mechanical malfunction as per SOPs. | - Purpose and Importance of daily Routine Checks - Types of Equipment and Systems to Be Inspected Practical activity Perform daily routine checks on assigned equipment using a standard checklist, record their observations, and report any issues. | Theory: 1Hrs Practical: 12Hrs Total: 13Hrs | - Cable Ties - Dust Masks - Safety Gloves - Digital Multimeter - Infrared Thermometer - Vibration Analyzer - Portable Inspection Lamp | - Classroom - Workshop |
| LU3. Perform preventive maintenance | - Remove debris as per SOPs. - Flush out sand sedimentation as per procedures. - Remove sand and rocks as per procedures. - Reduce water intake as per SOPs. - Remove/Replace worn or faulty components as per SOPs. - Record maintenance procedures, and report subsequent actions. | - Inspection and Testing Procedures - Maintenance Schedules and Frequency Practical activity Perform preventive maintenance on a selected piece of equipment, following procedures and safety protocols. | Theory: 1Hrs Practical: 12Hrs Total: 13Hrs | - Replacement Fuses and Nuts - Insulation Tape - Grease Gun - Lubrication System Test Kit - Laptop/Tablet (for digital logs and checklists) - Lockout-Tagout (LOTO) Kit | - Classroom - Workshop |
| LU4. Perform documentation of preventive maintenance | - Complete work-related documents as per SOPs. - Perform final quality inspection as per procedures. - Clean up and store tools, equipment and materials as per SOPs. | - Maintenance Checklists and Documentation - Reporting and Record-Keeping Requirements Practical activity Accurately fill out preventive maintenance records after completing maintenance tasks on assigned equipment. | Theory: 1Hrs Practical: 9Hrs Total: 10Hrs | - Documentation Logbooks - Fault Logging & Analysis Charts | - Classroom - Workshop |

# List of Consumables, Tools, Machinery & Equipment

| 5A. List of Consolidated Consumables |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Items | Specifications | Quantity |
| 1 | Notebooks / Business Planning Diaries |  | 25 |
| 2 | Ballpoint Pens, Highlighters, Markers (Mixed Colors) |  | 75 Pieces each |
| 3 | A4 Paper Rim (for reports, proposals) |  | 10 No’s |
| 4 | USB Flash Drives (for digital work) |  | 10 No’s |
| 5 | Sticky Notes and Index Labels |  | 100 Pads |
| 6 | Printed Templates: Business Plans, Financial Sheets |  | 25 Sets |
| 7 | Sample Business Cards (Mock-ups for Branding) |  | 250 No’s |
| 8 | Safety Signage / Regulatory Posters |  | 5 Sets |
| 9 | Online Ad Credit (for social media learning - group) |  | 1 Account |
| 10 | Stationery Sets (rulers, sharpeners, erasers, etc.) |  | 25 Sets |
| 11 | Oxy-Acetylene Hoses and Tips |  | 6 Sets |
| 12 | Welding Electrodes (E6013, E7018, etc.) |  | 50 Kg |
| 13 | MIG Wire Spools |  | 10 Spools |
| 14 | TIG Electrodes (Tungsten Rods) |  | 50 Rods |
| 15 | Submerged Arc Welding Flux |  | 25 Kg |
| 16 | Filler Rods for TIG Welding (Aluminum, Steel) |  | 100 Rods |
| 17 | Gas Nozzles & Contact Tips (GMAW/TIG) |  | 20 Sets |
| 18 | Sand Paper / Grinding Discs |  | 50 Pieces |
| 19 | Welding Coupons / Metal Plates (for practice) |  | 100 Pieces |
| 20 | Marking Chalk / Soapstone |  | 50 Pieces |
| 21 | Anti-Spatter Spray |  | 5 Bottles |
| 22 | Welding Cleaning Brush (Steel) |  | 10 No’s |
| 23 | Paint / Penetrant for NDT Testing |  | 10 Sets |
| 24 | NDT Developer & Cleaner Sprays |  | 10 Sets |
| 25 | Hand Cleaner / Degreaser |  | 5 Bottles |
| 26 | Hydraulic Oil (Standard Grade) |  | 40 Litres |
| 27 | Marking Chalk / Soapstone |  | 30 Pieces |
| 28 | Rubber Seals and Gaskets (Assorted sizes) |  | 50 Pieces |
| 29 | Teflon Tape |  | 20 Rolls |
| 30 | Transparent Tubing (for experiments) |  | 30 Meters |
| 31 | Lubricating Oil |  | 5 Litres |
| 32 | Thread Sealant |  | 10 Bottles |
| 33 | Clean Rags / Wiping Cloths |  | 100 Pieces |
| 34 | Hand Gloves (Rubber/Nitrile for fluid handling) |  | 25 Pairs |
| 35 | Washers and Small Fittings |  | 100 Pieces |
| 36 | Cleaning Spray / Degreaser |  | 5 Bottles |
| 37 | Fluid Sample Containers |  | 25 No’s |
| 38 | Lab Notebooks / Recording Sheets |  | 25 No’s |
| 39 | A4 & A3 Size Drawing Sheets |  | 300 Sheets |
| 40 | Graph Papers |  | 200 Sheets |
| 41 | Plotter Paper Rolls |  | 4 Rolls |
| 42 | Printer Ink Cartridges / Toners |  | 2 Sets |
| 43 | Pencils (HB, 2H, 4H) |  | 100 Pieces |
| 44 | Drafting Tape |  | 20 Rolls |
| 45 | Transparent Plastic Scales (1:50, 1:100) |  | 25 Sets |
| 46 | File Folders and Document Holders |  | 25 Units |
| 47 | Glue Stick / Adhesives |  | 20 Pieces |
| 48 | Earth Sample (for volume estimation practice) |  | As Required |
| 49 | Paper Clips and Rubber Bands |  | 2 Box each |
| 50 | Insulation Tapes |  | 10 Rolls |
| 51 | Fuses (Assorted Ratings) |  | 100 Units |
| 52 | Solder Wire |  | 500 Grams |
| 53 | Flux Paste |  | 5 Tins |
| 54 | Cleaning Alcohol (Isopropyl) |  | 5 Liters |
| 55 | Cotton Swabs & Cloth |  | 25 Sets |
| 56 | Wiring Cables (Flexible, Multi-core) |  | 90 Meters each |
| 57 | Connector Terminals |  | 200 Pieces |
| 58 | Batteries for Multimeters (9V) |  | 50 No’s |
| 59 | Heat Shrink Sleeves |  | 50 Pieces |
| 60 | Fuses (Assorted Ratings) |  | 100 Pieces |
| 61 | Wiring Harness Samples |  | 10 Sets |
| 62 | Terminal Lugs and Connectors |  | 200 Pieces |
| 63 | Battery Terminals |  | 50 Pieces |
| 64 | Cleaning Spray (Contact Cleaner) |  | 5 Cans |
| 65 | Carbon Brushes (Assorted Sizes) |  | 30 Sets |
| 66 | Cable Tags |  | 25 Sets |
| 67 | Cable Lugs and Connectors |  | 200 Pieces |
| 68 | Ferrules and Cable Tags |  | 250 Pieces |
| 69 | Grounding Rods (for training setup) |  | 5 Units |
| 70 | Solder Wire and Flux |  | 10 Sets |
| 71 | Contact Cleaner Spray |  | 5 Cans |
| 72 | Electrical Safety Posters/Charts |  | 5 Sets |
| 73 | Documentation Sheets and Relay Logs |  | 25 Books |
| 74 | Foundation Bolts and Anchors |  | 50 Pieces |
| 75 | Shims and Alignment Plates |  | 100 Pieces |
| 76 | Thread Lock and Grease |  | 10 Tubes |
| 77 | Cable Ties and Clamps |  | 200 Pieces |
| 78 | Calibration Stickers and Labels |  | 100 Pieces |
| 79 | Gasket Sheets (for mock flange setup) |  | 5 Sheets |
| 80 | Lubricating Oil for Testing |  | 10 Liters |
| 81 | Foundation Bolts and Grouting Material |  | 40 Sets |
| 82 | Electrical Connectors (Lugs, Terminals) |  | 200 Pieces |
| 83 | Cable Marking Tags and Labels |  | 150 Pieces |
| 84 | Gasket Material for Flange Joints |  | 5 Sheets |
| 85 | Electrical Cables (For Demo Connections) |  | 30 Meters |
| 86 | Fuses and Miniature Circuit Breakers (MCBs) |  | 40 Pcs |
| 87 | Cable Lugs and Connectors |  | 150 Pcs |
| 88 | Nuts, Bolts and Fasteners (Electrical) |  | 200 Pcs |
| 89 | Logbooks and Monitoring Sheets |  | 25 Books |
| 90 | Safety Signs and Labels for Emergency System |  | 10 Sets |
| 91 | Indicator Bulbs/LEDs for Control Panel |  | 50 Pcs |
| 92 | Fault Report Logbooks |  | 25 Books |
| 93 | Fuses, MCBs and Relays (Assorted) |  | 50 Pcs |
| 94 | Tagging Labels for Fault Identification |  | 100 Pcs |
| 95 | Stickers for Fault Area Marking |  | 50 Pcs |
| 96 | Printouts of Fault Diagnosis Flowcharts |  | 25 Sets |
| 97 | Maintenance Checklist Sheets |  | 100 Sheets |

| 5B. Consolidated List of Tools, Machinery & Equipment |  |  |  |
| --- | --- | --- | --- |
| Sr. # | Items | Specifications | Quantity |
| 1 | Desktop / Laptop Computers |  | 5 No’s |
| 2 | Multimedia Projector with Screen |  | 1 No’s |
| 3 | Printer & Scanner Combo |  | 1 No’s |
| 4 | Flip Chart Stand with Paper |  | 1 No’s |
| 5 | Office Table and Chairs (Group Work Setup) |  | 5 Sets |
| 6 | Accounting Calculator / Financial Calculator |  | 5 No’s |
| 7 | Digital Camera or Webcam |  | 2 No’s |
| 8 | Wi-Fi Internet Connection (Shared) |  | 1 Setup |
| 9 | Microphone and Speaker System (for presentations) |  | 1 Set |
| 10 | Oxy-Acetylene Gas Welding Set (Torch, Hoses, Regulator, etc.) |  | 2 Sets |
| 11 | Oxygen Cylinder |  | 2 No’s |
| 12 | Acetylene Cylinder |  | 2 No’s |
| 13 | GMAW Welding Machine (MIG) |  | 2 No’s |
| 14 | SMAW Welding Machine (Arc) |  | 2 No’s |
| 15 | GTAW Welding Machine (TIG) |  | 2 No’s |
| 16 | Submerged Arc Welding (SAW) Machine |  | 1 No’s |
| 17 | Friction Welding Machine |  | 1 No’s |
| 18 | Welding Table with Clamps |  | 4 No’s |
| 19 | Angle Grinder |  | 5 No’s |
| 20 | Electrode Drying Oven |  | 1 No’s |
| 21 | Welding Helmet (Auto Darkening) |  | 10 No’s |
| 22 | Welding Aprons & Gloves (Leather) |  | 15 Sets |
| 23 | Face Shields & Safety Goggles |  | 25 No’s |
| 24 | Bench Vices |  | 5 No’s |
| 25 | Welding Curtain / Screen |  | 3 No’s |
| 26 | Digital Multimeter (for basic testing) |  | 3 No’s |
| 27 | Non-Destructive Test (NDT) Kit (Dye Penetrant, etc.) |  | 1 Set |
| 28 | Destructive Testing Kit (Basic Tensile/Hardness Tools) |  | 1 Set |
| 29 | Hydraulic Trainer Kit (with actuators, valves, circuit board) |  | 2 Sets |
| 30 | Flow Measuring Apparatus (Venturi meter / Orifice Meter) |  | 2 Sets |
| 31 | Pressure Gauge Set (with manometers) |  | 3 Sets |
| 32 | Hydraulic Pump Test Rig (Centrifugal & Reciprocating) |  | 2 Sets |
| 33 | Water Turbine Test Rig (Pelton / Francis / Kaplan) |  | 2 Sets |
| 34 | Hydraulic Valve Test Bench |  | 1 Set |
| 35 | Measuring Cylinders / Flow Meter |  | 4 No’s |
| 36 | Stop Watch |  | 5 No’s |
| 37 | Transparent Pipes for Flow Visualization |  | 3 Sets |
| 38 | Hydraulic Seals & Valve Cut Section Models |  | 2 Sets |
| 39 | Hydraulic Motor Test Kit |  | 1 Set |
| 40 | Tool Kit (Spanner Set, Screwdrivers, Allen Keys, etc.) |  | 5 Sets |
| 41 | AutoCAD Software License (or Drafting Software) |  | 5 Sets |
| 42 | Digital Plan Measuring Tool (Scale Master Pro or similar) |  | 2 Units |
| 43 | Scientific Calculators |  | 10 Units |
| 44 | Steel Tape Measures (30m) |  | 5 Units |
| 45 | Total Station or Theodolite (for earthwork estimation) |  | 1 Unit |
| 46 | Drawing Boards with T-Square (for manual drafting) |  | 10 Sets |
| 47 | Vernier Calipers (for checking samples) |  | 5 Units |
| 48 | UPS/Power Backup for computer systems |  | 1 Unit |
| 49 | Calibration Bench Setup |  | 1 Unit |
| 50 | Standard Calibrated Ammeter (Digital) |  | 2 Units |
| 51 | Standard Calibrated Voltmeter (Digital) |  | 2 Units |
| 52 | Precision Ohmmeter |  | 2 Units |
| 53 | Function Generator |  | 1 Unit |
| 54 | Variable Power Supply (0-30V, 5A) |  | 2 Units |
| 55 | Digital Oscilloscope |  | 1 Unit |
| 56 | Test Leads with Banana Plugs |  | 10 Sets |
| 57 | Tool Kit (Screwdrivers, Wire Cutter, etc.) |  | 5 Sets |
| 58 | Insulation Resistance Tester |  | 1 Unit |
| 59 | Work Benches with Electrical Boards |  | 5 Units |
| 60 | Clamp Meter |  | 3 Units |
| 61 | Battery Load Tester |  | 2 Units |
| 62 | Ignition System Tester |  | 2 Units |
| 63 | Timing Light |  | 2 Units |
| 64 | Alternator Test Bench |  | 1 Unit |
| 65 | Starter Motor Bench Tester |  | 1 Unit |
| 66 | Auto Electrical Diagnostic Tool |  | 1 Unit |
| 67 | Protective Relay Test Set |  | 2 Units |
| 68 | Primary Injection Kit |  | 1 Unit |
| 69 | Secondary Injection Test Set |  | 1 Unit |
| 70 | CT/PT Analyzer |  | 1 Unit |
| 71 | Relay Calibration Bench |  | 1 Unit |
| 72 | Earth Resistance Tester |  | 2 Units |
| 73 | Portable Grounding and Shorting Equipment |  | 2 Sets |
| 74 | Substation Layout Board (Demo/Training) |  | 1 Unit |
| 75 | Bus Bar Assembly Demo Unit |  | 1 Unit |
| 76 | Hydraulic Turbine Model (Training Unit) |  | 1 Unit |
| 77 | Alignment Tools (Dial Gauge, Feeler Gauge) |  | 3 Sets |
| 78 | Mechanical Coupling Kit |  | 2 Sets |
| 79 | Torque Wrench |  | 3 Units |
| 80 | Foundation Layout Laser Level |  | 2 Units |
| 81 | Portable Crane / Chain Block |  | 2 Units |
| 82 | Vibration Analyzer |  | 1 Unit |
| 83 | Calibration Equipment Set |  | 1 Set |
| 84 | Testing & Commissioning Panel (Demo Type) |  | 1 Unit |
| 85 | Inspection Flashlight and Mirror Set |  | 3 Sets |
| 86 | Generator Installation Training Unit |  | 1 Unit |
| 87 | Alignment Tools (Dial Gauge, Feeler Gauge) |  | 3 Sets |
| 88 | Mechanical Coupling Kit (for AC generator) |  | 2 Sets |
| 89 | Calibration Equipment Set |  | 1 Set |
| 90 | Lifting Equipment (Chain Block or Hoist) |  | 2 Units |
| 91 | Emergency Standby Generator (Training Purpose) |  | 1 Unit |
| 92 | Circuit Breaker Testing Kit |  | 1 Set |
| 93 | Lockout/Tagout Kit |  | 3 Sets |
| 94 | Electrical Panel Simulator (for emergency system) |  | 1 Unit |
| 95 | Battery Bank with Inverter (for training use) |  | 1 Set |
| 96 | Phase Rotation Tester |  | 2 Units |
| 97 | Load Bank (for testing under load conditions) |  | 1 Unit |
| 98 | Generator Shutdown Simulator Panel |  | 1 Unit |
| 99 | MHP Plant Fault Simulation Kit |  | 1 Unit |
| 100 | Thermal Imaging Camera (for hot-spot detection) |  | 1 Unit |
| 101 | Infrared Thermometer |  | 2 Units |
| 102 | Grease Gun |  | 3 Units |
| 103 | Portable Inspection Lamp |  | 3 Units |
| 104 | Lubrication System Test Kit |  | 1 Unit |
| 105 | Hydraulic Turbine Model (Training Unit) |  | 1 Unit |
| 106 | Mechanical Coupling Kit |  | 2 Sets |
| 107 | Foundation Layout Laser Level |  | 2 Units |
| 108 | Portable Crane / Chain Block |  | 2 Units |
| 109 | Inspection Flashlight and Mirror Set |  | 3 Sets |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. # | Name | Designation | Organization |
| --- | --- | --- | --- |
|  | Mr. Zia ur Rehman | Assistant Professor | KP-TEVTA |
|  | Engr. Mateeullah | Lecturer | KP-TEVTA |
|  | Mr. Mubeen Akbar | Assistant Director | PSEB Islamabad |
|  | Engr. Tanveer Ahmad | Lecturer | KP-TEVTA |
|  | Engr. Hafiz Abdul Ghaffar | Instructor Electrical | P-TEVTA |
|  | Engr. Waqas Anjum Khan | Assistant Director | P-TEVTA |
|  | Mr. Muhammad Ali | Instructor Electrical | P-TEVTA |
|  | Engr. Ali Anwaar | Instructor | P-TEVTA |
|  | Engr. Abdur Rehman | HOD | GSTC- Faisalabad |
|  | Mr. Mubashar Hamid | Instructor Electrical | P-TEVTA |
|  | Engr. Mohsin Jahanzeb | Instructor | P-TEVTA |
|  | Engr. Haziq Waheed | Design Engineer | NESPAK |
|  | Mr. Israr Ahmad | Assistant Professor | KP-TEVTA |
|  | Mr. Abdul Basit | DACUM Facilitator | Gujranwala |
|  | Mrs.Qurbat Zahra | Co DACCUM | Lahore |
|  | Engr. Navid Ali | Assistant Professor | KP-TEVTA |