| Panel: Engr. Dr. Mian Khurram Ahsan,Assistant Professor GPI Mardan Engr. Fawad Ahmad Assistant Professor GCT Peshawar Engr. Arshad Iqbal Lecturer GCT Peshawar Engr. Waqas Niaz SDO NTDC Zia ud din, Team Lead (PTCL) PTCL Engr. Umar Hayat ,GCT Railway Road LHR DACUM Facilitator Engr.Abdul Maqsood NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in MicrogridTechnician Level- 4 Formative Assessment - (0713E&E3701:Maintain Safe Working Environment of Microgrid) - (0713E&E3702:Maintain Equipment/ Machines at Microgrid station) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - (0713E&E3701:Maintain Safe Working Environment of Microgrid) - (0713E&E3702:Maintain Equipment/ Machines at Microgrid station) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to - Analyze potential risk from Microgrid System & its requirements - 2. Categorize potential health Risk and safety of the Microgrid working environment 3. Install Safety Systems 4. Monitor Safety Protocols 5. Repair/ Replace faulty components of safety systems 6.Maintain Proper Signage and Warning Labels 7.Perform Regular Inspections of machines 8.Perform Preventive Maintenance 9.Detect the faulty Components/equipmen 10.Perform Corrective Maintenance 11.Carryout Run-Test of the repaired/ replaced Component/ equipment 12.Carry out tagging-in/out of machines/equipment 13.Prepare Maintenance Report Activity: As a microgrid technician, your duty is to perform a routine safety check on the battery bank, inverter, and other safety equipment after repair work has been completed on the microgrid system. Perform the required maintenance and safety checks ensuring that the system is functioning smoothly and safely. Once the checks are completed, prepare a report. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Identify Microgrid Components & Operations - Assess Potential Risks in Microgrid Systems - Evaluate Safety & Compliance Requirements - Follow risk Mitigation Strategies - Identify Health Risks in the Microgrid Working Environment - Comply with Health and Safety Regulations - Categorize potential Risks - Select the required Safety system - Implement Fire and Environmental Safety Measures - Set Up Security and Emergency System - Verify and Test Installed Safety System - Establish Safety Monitoring Procedures - Conduct Routine Safety Inspections - Comply with Safety Regulations - Identify Safety Hazards - Implement Safety Protocols - Inspect the components of faulty system for fault detection - Identify Faulty Components in Safety System - Repair/ Replace the faulty components - Test and Verify System for smooth functioning - Identify Signage and Warning Label Requirements - Assess Existing Signage - Check Hazardous Areas and Equipment for Proper Labeling - Install/ Replace Safety Signs and Labels - Verify Compliance and Employee Awareness - Maintain Signage Records and Updates |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - As a microgrid technician, your duty is to perform a routine safety check on the battery bank, inverter, and other safety equipment after repair work has been completed on the microgrid system. Perform the required maintenance and safety checks ensuring that the system is functioning smoothly and safely. Once the checks are completed, prepare a report. |
| --- | --- |

I can……………….

| Performance Criteria |  | Yes | No |
| --- | --- | --- | --- |
| - dentify Microgrid Components & Operations |  |  |  |
| - Assess Potential Risks in Microgrid Systems |  |  |  |
| - ..Evaluate Safety & Compliance Requirements |  |  |  |
| - Follow risk Mitigation Strategies |  |  |  |
| - Identify Health Risks in the Microgrid Working Environment |  |  |  |
| - Comply with Health and Safety Regulations |  |  |  |
| - Categorize potential Risks |  |  |  |
| - Select the required Safety system |  |  |  |
| - Implement Fire and Environmental Safety Measures |  |  |  |
| - Set Up Security and Emergency System |  |  |  |
| - Verify and Test Installed Safety System |  |  |  |
| - Establish Safety Monitoring Procedures |  |  |  |
| - Conduct Routine Safety Inspections |  |  |  |
| - Comply with Safety Regulations |  |  |  |
| - Identify Safety Hazards |  |  |  |
| - Implement Safety Protocols |  |  |  |
| - Inspect the components of faulty system for fault detection |  |  |  |
| - dentify Faulty Components in Safety System |  |  |  |
| - Repair/ Replace the faulty components |  |  |  |
| - Test and Verify System for smooth functioning |  |  |  |
| - Identify Signage and Warning Label Requirements |  |  |  |
| - Assess Existing Signage |  |  |  |
| - Check Hazardous Areas and Equipment for Proper Labeling |  |  |  |
| - Install/ Replace Safety Signs and Labels |  |  |  |
| - Verify Compliance and Employee Awareness |  |  |  |
| - Maintain Signage Records and Updates |  |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - (0713E&E3701:Maintain Safe Working Environment of Microgrid) - 0713E&E3702:Maintain Equipment/ Machines at Microgrid station) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: As a microgrid technician, your duty is to perform a routine safety check on the battery bank, inverter, and other safety equipment after repair work has been completed on the microgrid system. Perform the required maintenance and safety checks ensuring that the system is functioning smoothly and safely. Once the checks are completed, prepare a report. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Identify Microgrid Components & Operations |  |  |  |  |  |
|  | - Assess Potential Risks in Microgrid Systems |  |  |  |  |  |
|  | - .Evaluate Safety & Compliance Requirements |  |  |  |  |  |
|  | - Follow risk Mitigation Strategies |  |  |  |  |  |
|  | - Identify Health Risks in the Microgrid Working Environment |  |  |  |  |  |
|  | - Comply with Health and Safety Regulations |  |  |  |  |  |
|  | - Categorize potential Risks |  |  |  |  |  |
|  | - Select the required Safety system |  |  |  |  |  |
|  | - Implement Fire and Environmental Safety Measures |  |  |  |  |  |
|  | - Set Up Security and Emergency System |  |  |  |  |  |
|  | - Verify and Test Installed Safety System |  |  |  |  |  |
|  | - Establish Safety Monitoring Procedures |  |  |  |  |  |
|  | - Conduct Routine Safety Inspections |  |  |  |  |  |
|  | - Comply with Safety Regulations |  |  |  |  |  |
|  | - Identify Safety Hazards |  |  |  |  |  |
|  | - Implement Safety Protocols |  |  |  |  |  |
|  | - Inspect the components of faulty system for fault detection |  |  |  |  |  |
|  | - Identify Faulty Components in Safety System |  |  |  |  |  |
|  | - Repair/ Replace the faulty components |  |  |  |  |  |
|  | - Test and Verify System for smooth functioning |  |  |  |  |  |
|  | - Identify Signage and Warning Label Requirements |  |  |  |  |  |
|  | - Assess Existing Signage |  |  |  |  |  |
|  | - Check Hazardous Areas and Equipment for Proper Labeling |  |  |  |  |  |
|  | - Install/ Replace Safety Signs and Labels |  |  |  |  |  |
|  | - Verify Compliance and Employee Awareness |  |  |  |  |  |
|  | - Maintain Signage Records and Updates |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Name one risk mitigation strategy used in microgrid maintenance? |  |  |
| 2 | What personal protective equipment (PPE) is required when work |  |  |
| 3 | How do you categorize potential risks in a microgrid operation? |  |  |
| 4 | What safety systems are essential in a microgrid control room? |  |  |
| 5 | What should be included in an emergency system setup? |  |  |
| 6 | How do you verify the operation of a safety alarm system? |  |  |
| 7 | What are two procedures for conducting a routine safety inspecti |  |  |
| 8 | Why is safety monitoring important during microgrid operations? |  |  |
| 9 | What do you check during a visual inspection of an inverter? |  |  |
| 10 | Q. What is the purpose of performance testing in safety systems? |  |  |
| 11 | Q. What should be done before isolating a faulty component? |  |  |
| 12 | Q. How do you verify functionality after replacing a faulty component? |  |  |
| 13 | Q. What should be included in the run-test report? |  |  |
| 14 | Q. When should tagging-out be performed? |  |  |
| 15 | Q. What does a “Do Not Operate” tag indicate? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________