| Panel: Engr. Dr. Mian Khurram Ahsan,Assistant Professor GPI Mardan Engr. Fawad Ahmad Assistant Professor GCT Peshawar Engr. Arshad Iqbal Lecturer GCT Peshawar Engr. Waqas Niaz SDO NTDC Zia ud din, Team Lead (PTCL) PTCL Engr. Umar Hayat ,GCT Railway Road LHR DACUM Facilitator Engr.Abdul Maqsood NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in MicrogridTechnician Level- 4 Formative Assessment (0713E&E3703: Operate Microgrid in line with the SoPs) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - (0713E&E3703: Operate Microgrid in line with the SoPs) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to - Start Generation system - Shift load on the generator - Maintain frequency of Microgrid for smooth operation - Operate switchgears for shutdown Activity: You are required to draw a simple diagram of hydroelectric power station labelling the main parts to identify basic components of generation system and start a generator in lab, perform load shifting on generator following SOP, adjust generation output of the generator to balance demand and maintain stable frequency and voltages. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Identify operational requirements for power generation based on system demand - Check the availability of energy sources (renewable or hybrid) - Perform pre-startup safety checks and ensure protection systems are active - Start up the Generation system following SOPs and synchronize with the microgrid - Monitor generation parameters - Assess load demand and distribution within the Microgrid - Transfer loads to the generator based on capacity and priority - Perform load shifting provided that it does not cause voltage fluctuations or frequency instability - Coordinate with relevant personnel to ensure smooth transitions - Monitor frequency levels using system indicators and control mechanisms - Adjust generation output to balance demand and maintain stable frequency - Respond to fluctuations caused by load changes or system disturbances - Implement frequency control measures such as load shedding/load management or generator adjustments - Record frequency variations and corrective actions taken - Follow SOPs for shutting down Microgrid components safely - Operate circuit breakers, disconnect switches, and protective devices in sequential order - Confirm system shutdown and communicate with relevant stakeholders - Record documentation of shutdown procedures and system status |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - You are required to draw a simple diagram of hydroelectric power station labelling the main parts to identify basic components of generation system and start a generator in lab, perform load shifting on generator following SOP, adjust generation output of the generator to balance demand and maintain stable frequency and voltages. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify operational requirements for power generation based on system demand |  |  |
| - Check the availability of energy sources (renewable or hybrid) |  |  |
| - Perform pre-startup safety checks and ensure protection systems are active |  |  |
| - Start up the Generation system following SOPs and synchronize with the microgrid |  |  |
| - Monitor generation parameters |  |  |
| - Assess load demand and distribution within the Microgrid |  |  |
| - Transfer loads to the generator based on capacity and priority |  |  |
| - Perform load shifting provided that it does not cause voltage fluctuations or frequency instability |  |  |
| - Coordinate with relevant personnel to ensure smooth transitions |  |  |
| - Monitor frequency levels using system indicators and control mechanisms |  |  |
| - Adjust generation output to balance demand and maintain stable frequency |  |  |
| - Respond to fluctuations caused by load changes or system disturbances |  |  |
| - Implement frequency control measures such as load shedding/load management or generator adjustments |  |  |
| - Record frequency variations and corrective actions taken |  |  |
| - Follow SOPs for shutting down Microgrid components safely |  |  |
| - Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |
| - Confirm system shutdown and communicate with relevant stakeholders |  |  |
| - Record documentation of shutdown procedures and system status |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - (0713E&E3703: Operate Microgrid in line with the SoPs) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: You are required to draw a simple diagram of hydroelectric power station labelling the main parts to identify basic components of generation system and start a generator in lab, perform load shifting on generator following SOP, adjust generation output of the generator to balance demand and maintain stable frequency and voltages. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Identify operational requirements for power generation based on system demand |  |  |  |  |  |
|  | - Check the availability of energy sources (renewable or hybrid) |  |  |  |  |  |
|  | - Perform pre-startup safety checks and ensure protection systems are active |  |  |  |  |  |
|  | - Start up the Generation system following SOPs and synchronize with the microgrid |  |  |  |  |  |
|  | - Monitor generation parameters |  |  |  |  |  |
|  | - Assess load demand and distribution within the Microgrid |  |  |  |  |  |
|  | - Transfer loads to the generator based on capacity and priority |  |  |  |  |  |
|  | - Perform load shifting provided that it does not cause voltage fluctuations or frequency instability |  |  |  |  |  |
|  | - Coordinate with relevant personnel to ensure smooth transitions |  |  |  |  |  |
|  | - Monitor frequency levels using system indicators and control mechanisms |  |  |  |  |  |
|  | - Adjust generation output to balance demand and maintain stable frequency |  |  |  |  |  |
|  | - Respond to fluctuations caused by load changes or system disturbances |  |  |  |  |  |
|  | - Implement frequency control measures such as load shedding/load management or generator adjustments |  |  |  |  |  |
|  | - Record frequency variations and corrective actions taken |  |  |  |  |  |
|  | - Follow SOPs for shutting down Microgrid components safely |  |  |  |  |  |
|  | - Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |  |  |  |
|  | - Confirm system shutdown and communicate with relevant stakeholders |  |  |  |  |  |
|  | - Record documentation of shutdown procedures and system status |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Q. What is the consequence of frequency instability in microgrids? |  |  |
| 2 | Q. Enlist two renewable sources commonly used in microgrids? |  |  |
| 3 | Q. Name the device which is used to control generator output frequency? |  |  |
| 4 | Q. Why is synchronization necessary before connecting a generator to the microgrid? |  |  |
| 5 | Q. Define "load shifting" in microgrid operations? |  |  |
| 6 | Q. What are non-critical loads? Give an example? |  |  |
| 7 | Q. How can a technician respond to sudden frequency drops? |  |  |
| 8 | Q. Enlist two tools used in monitoring microgrid generation parameters? |  |  |
| 9 | Q. State the steps required to shut down a part of the microgrid? |  |  |
| 10 | Q. Describe the role of switchgear in grid safety? |  |  |
| 11 | Q. What is the commonly assigned frequency of microgrids in most countries? |  |  |
| 12 | Q. Why it is necessary to coordinate with personnel during shutdown/start-up? |  |  |
| 13 | Q. How the system protection activation is ensured before generator start? |  |  |
| 14 | Q. State the importance of load forecasting? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________