| Panel: Engr. Dr. Mian Khurram Ahsan,Assistant Professor GPI Mardan Engr. Fawad Ahmad Assistant Professor GCT Peshawar Engr. Arshad Iqbal Lecturer GCT Peshawar Engr. Waqas Niaz SDO NTDC Zia ud din, Team Lead (PTCL) PTCL Engr. Umar Hayat ,GCT Railway Road LHR DACUM Facilitator Engr.Abdul Maqsood NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in MicrogridTechnician Level- 4 Formative Assessment - 0713E&E3704: Control Operation of Microgrid - 0713E&E3705: Perform Data Monitoring of Microgrid) |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3704: Control Operation of Microgrid - 0713E&E3705: Perform Data Monitoring of Microgrid) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to - Forecast load of Microgrid - Check hydrology/ wind speed/ solar Irradiation - Assess load pattern for 24 hours - Plan schedule as per load pattern - Implement the planned schedule - Manage variation in term of load and generation - Check Grid Parameters as per Grid Code/SOPs - Adjust the Grid Parameter Variation - Record Variation in Grid Parameters - Generate Grid Parameters Report. Activity: You are working as microgrid technician. your duties is to forecast load demand using historical data, assess available renewable resources, analyze daily load patterns, and develop a 24-hour energy dispatch schedule. Implement the plan using simulated lab setup, monitor real-time variations, and apply control strategies to maintain load-generation balance. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Analyze historical load data to predict future demand - Check seasonal, daily, and hourly load variations - Analyze solar radiation levels to determine solar energy output - Measure wind speed and direction to assess wind power availability - Evaluate past energy consumption trends over a 24-hour cycle - Adjust energy storage and generation accordingly - Check peak and off-peak demand periods. - Inspect panels for recoding real-time grid data. - Configure monitoring systems. - Manage settings on equipment to match grid parameters. - Document grid data in logs & reports accurately. - Verify the grid data as per standard. - Fix variations by adjusting the system. - Record and report Grid data. - Monitor the grid parameters. - Identify the cause of the grid parameter variation. - Inspect control systems or equipment to adjust the grid parameters. - Modify the settings to bring the grid parameters back within acceptable limits. - Check that the adjustments are working by observing real-time data. - Confirm that the grid parameters are stable and meet required standards. - Identify any variations in the grid parameters that are outside the normal range. - Log the time and details of the variations in a record-keeping system. - Document the type and extent of the variation in an easy-to-read format. - Verify the accuracy of the recorded variation by double-checking the data. - Update the records as needed with any new information about the variations. - Document all grid parameter variations, including any corrective actions taken. - Summarize key findings in the report, highlighting any problems or unusual patterns. - Verify the accuracy of the report by double-checking the data and calculation Create the final report using the proper templates or formats for easy reading and understanding. - Submit the report to the relevant team or manager for review and further action. - Maintain records of the report for future reference or audits. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - You are working as microgrid technician. your duties is to forecast load demand using historical data, assess available renewable resources, analyze daily load patterns, and develop a 24-hour energy dispatch schedule. Implement the plan using simulated lab setup, monitor real-time variations, and apply control strategies to maintain load-generation balance. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Analyze historical load data to predict future demandApply hydrological data to estimate hydroelectric power generation potential |  |  |
| - Check seasonal, daily, and hourly load variations |  |  |
| - Analyze solar radiation levels to determine solar energy output |  |  |
| - Measure wind speed and direction to assess wind power availability |  |  |
| - Evaluate past energy consumption trends over a 24-hour cycle |  |  |
| - Adjust energy storage and generation accordingly |  |  |
| - Check peak and off-peak demand periods. |  |  |
| - Inspect panels for recoding real-time grid data. |  |  |
| - Configure monitoring systems. |  |  |
| - Manage settings on equipment to match grid parameters. |  |  |
| - Document grid data in logs & reports accurately. |  |  |
| - Verify the grid data as per standard. |  |  |
| - Fix variations by adjusting the system. |  |  |
| - Record and report Grid data. |  |  |
| - Monitor the grid parameters. |  |  |
| - Identify the cause of the grid parameter variation. |  |  |
| - Inspect control systems or equipment to adjust the grid parameters. |  |  |
| - Modify the settings to bring the grid parameters back within acceptable limits. |  |  |
| - Check that the adjustments are working by observing real-time data. |  |  |
| - Confirm that the grid parameters are stable and meet required standards. |  |  |
| - Identify any variations in the grid parameters that are outside the normal range. |  |  |
| - Log the time and details of the variations in a record-keeping system. |  |  |
| - Document the type and extent of the variation in an easy-to-read format. |  |  |
| - Verify the accuracy of the recorded variation by double-checking the data. |  |  |
| - Update the records as needed with any new information about the variations. |  |  |
| - Document all grid parameter variations, including any corrective actions taken. |  |  |
| - Summarize key findings in the report, highlighting any problems or unusual patterns. |  |  |
| - Verify the accuracy of the report by double-checking the data and calculation Create the final report using the proper templates or formats for easy reading and understanding. |  |  |
| - Submit the report to the relevant team or manager for review and further action. |  |  |
| - Maintain records of the report for future reference or audits. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3704: Control Operation of Microgrid - 0713E&E3705: Perform Data Monitoring of Microgrid) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: You are working as microgrid technician. your duties is to forecast load demand using historical data, assess available renewable resources, analyze daily load patterns, and develop a 24-hour energy dispatch schedule. Implement the plan using simulated lab setup, monitor real-time variations, and apply control strategies to maintain load-generation balance. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Analyze historical load data to predict future demandApply hydrological data to estimate hydroelectric power generation potential |  |  |  |  |  |
|  | - Check seasonal, daily, and hourly load variations |  |  |  |  |  |
|  | - Analyze solar radiation levels to determine solar energy output |  |  |  |  |  |
|  | - Measure wind speed and direction to assess wind power availability |  |  |  |  |  |
|  | - Evaluate past energy consumption trends over a 24-hour cycle |  |  |  |  |  |
|  | - Adjust energy storage and generation accordingly |  |  |  |  |  |
|  | - Check peak and off-peak demand periods. |  |  |  |  |  |
|  | - Inspect panels for recoding real-time grid data. |  |  |  |  |  |
|  | - Configure monitoring systems. |  |  |  |  |  |
|  | - Manage settings on equipment to match grid parameters. |  |  |  |  |  |
|  | - Document grid data in logs & reports accurately. |  |  |  |  |  |
|  | - Verify the grid data as per standard. |  |  |  |  |  |
|  | - Fix variations by adjusting the system. |  |  |  |  |  |
|  | - Record and report Grid data. |  |  |  |  |  |
|  | - Monitor the grid parameters. |  |  |  |  |  |
|  | - Identify the cause of the grid parameter variation. |  |  |  |  |  |
|  | - Inspect control systems or equipment to adjust the grid parameters. |  |  |  |  |  |
|  | - Modify the settings to bring the grid parameters back within acceptable limits. |  |  |  |  |  |
|  | - Check that the adjustments are working by observing real-time data. |  |  |  |  |  |
|  | - Confirm that the grid parameters are stable and meet required standards. |  |  |  |  |  |
|  | - Identify any variations in the grid parameters that are outside the normal range. |  |  |  |  |  |
|  | - Log the time and details of the variations in a record-keeping system. |  |  |  |  |  |
|  | - Document the type and extent of the variation in an easy-to-read format. |  |  |  |  |  |
|  | - Verify the accuracy of the recorded variation by double-checking the data. |  |  |  |  |  |
|  | - Update the records as needed with any new information about the variations. |  |  |  |  |  |
|  | - Document all grid parameter variations, including any corrective actions taken. |  |  |  |  |  |
|  | - Summarize key findings in the report, highlighting any problems or unusual patterns. |  |  |  |  |  |
|  | - Verify the accuracy of the report by double-checking the data and calculation Create the final report using the proper templates or formats for easy reading and understanding. |  |  |  |  |  |
|  | - Submit the report to the relevant team or manager for review and further action. |  |  |  |  |  |
|  | - Maintain records of the report for future reference or audits. |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Q. List three key factors that influence the load demand of a microgrid? |  |  |
| 2 | Q. Describe one basic method used to forecast energy demand in a microgrid? |  |  |
| 3 | Q. What are two consequences of inaccurate load forecasting in microgrid operations? |  |  |
| 4 | Q. What tool or device is commonly used to record hourly energy consumption data? |  |  |
| 5 | Q. Why is identifying peak demand important for grid planning? |  |  |
| 6 | Q. Explain the difference between residential and industrial load patterns? |  |  |
| 7 | Q. What tool is commonly used to monitor real-time voltage and frequency in a microgrid? |  |  |
| 8 | Q. Name any two causes of sudden fluctuations in microgrid load or generation? |  |  |
| 9 | Q. State one method to stabilize frequency during demand and supply imbalance? |  |  |
| 10 | Q. Explain why it is important to configure alarms in grid monitoring systems? |  |  |
| 11 | Q. Briefly describe the procedure for comparing real-time grid data against standard values? |  |  |
| 12 | Q. What are two actions you must take if a voltage deviation is detected during grid monitoring? |  |  |
| 13 | Q. Explain how real-time data is used to confirm that adjustments to grid parameters are effective? |  |  |
| 14 | Q. What information must be recorded in a grid variation log entry? (List any three items) |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________