| Panel: Engr. Dr. Mian Khurram Ahsan,Assistant Professor GPI Mardan Engr. Fawad Ahmad Assistant Professor GCT Peshawar Engr. Arshad Iqbal Lecturer GCT Peshawar Engr. Waqas Niaz SDO NTDC Zia ud din, Team Lead (PTCL) PTCL Engr. Umar Hayat ,GCT Railway Road LHR DACUM Facilitator Engr.Abdul Maqsood NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in MicrogridTechnician Level- 4 Formative Assessment 0713E&E3706: Manage Power Generation |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3706: Manage Power Generation) |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to Carry out Megawatt Control through water flowShift load on the generator - Carry out Mega watt Control through Solar Radiation - Perform Mega watt Control through wind speed - Perform Mega VAR (MVAR) through Excitation in hydel Power generation System - Perform Mega VAR (MVAR) through in/out filters for solar and wind system - Maintain the desired (50Hz) Frequency Activity: You are supposed to work as the on-site hydel /Solar/Wind microgrid technician. Suddenly you experience fluctuation in the power output. Your duty is to keep stable the frequency of the hydel microgrid through Controlling Power (MW), Reactive Power (MVAR) to bring the system to a stable operational state so that to avoid any unpleasant situation. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Locate the water flow control valve/ solar radiation sensor/wind speed sensor and megawatt controller panel - Check the current water flow rate/current solar radiation levels/ current wind speedand megawatt output readings - Adjust the water flow valve to increase or decrease flow - Adjust the megawatt control settings based on solar radiation levels - Adjust the megawatt control settings based on the wind speed - Monitor the changes in megawatt output - Monitor the changes in megawatt output as wind speed varies - Perform fine-tuning of water flow/ to maintain stable megawatt output - Perform fine-tuning of the megawatt control settings to optimize performance based on solar radiation - Perform fine-tuning of the megawatt control settings to maintain stable output as wind speed fluctuates - Record the final water flow rate /final solar radiation/ final wind speed and megawatt output readings - Locate the excitation control panel and MVAR measurement system - Check the current MVAR levels and excitation system settings - Adjust the excitation control to increase or decrease the MVAR output - Monitor the changes in MVAR output - Perform fine-tuning of the excitation settings to maintain desired MVAR levels - Record the final excitation settings and MVAR output for reference - Identify the in/out filters and MVAR control panel for the solar and wind system - Check the current MVAR levels and filter settings for both solar and wind systems - Adjust the in/out filters to modify the MVAR output based on system requirements - Monitor the MVAR levels and filter performance as adjustments are made - Perform fine-tuning of the filter settings to achieve the desired MVAR output for both solar and wind systems - Record the final filter settings and MVAR output for future reference - Identify the frequency monitoring system and control panel - Check the current system frequency and compare it with the desired 50Hz - Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency - Monitor the frequency continuously to ensure it stays at 50Hz - Perform Fine-tuning of system adjustments if the frequency deviates from 50Hz |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - You are required to draw a simple diagram of hydroelectric power station labelling the main parts to identify basic components of generation system and start a generator in lab, perform load shifting on generator following SOP, adjust generation output of the generator to balance demand and maintain stable frequency and voltages. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Locate the water flow control valve/ solar radiation sensor/wind speed sensor and megawatt controller panel |  |  |
| - Check the current water flow rate/current solar radiation levels/ current wind speedand megawatt output readings |  |  |
| - Adjust the water flow valve to increase or decrease flow |  |  |
| - Adjust the megawatt control settings based on solar radiation levels |  |  |
| - Adjust the megawatt control settings based on the wind speed |  |  |
| - Monitor the changes in megawatt output |  |  |
| - Monitor the changes in megawatt output as wind speed varies |  |  |
| - Perform fine-tuning of water flow/ to maintain stable megawatt output |  |  |
| - Perform fine-tuning of the megawatt control settings to optimize performance based on solar radiation |  |  |
| - Perform fine-tuning of the megawatt control settings to maintain stable output as wind speed fluctuates |  |  |
| - Record the final water flow rate /final solar radiation/ final wind speed and megawatt output readings |  |  |
| - Locate the excitation control panel and MVAR measurement system |  |  |
| - Check the current MVAR levels and excitation system settings |  |  |
| - Adjust the excitation control to increase or decrease the MVAR output |  |  |
| - Monitor the changes in MVAR output |  |  |
| - Perform fine-tuning of the excitation settings to maintain desired MVAR levels |  |  |
| - Record the final excitation settings and MVAR output for reference |  |  |
| - Identify the in/out filters and MVAR control panel for the solar and wind system |  |  |
| - Check the current MVAR levels and filter settings for both solar and wind systems |  |  |
| - Adjust the in/out filters to modify the MVAR output based on system requirements |  |  |
| - Monitor the MVAR levels and filter performance as adjustments are made |  |  |
| - Perform fine-tuning of the filter settings to achieve the desired MVAR output for both solar and wind systems |  |  |
| - Record the final filter settings and MVAR output for future reference |  |  |
| - Identify the frequency monitoring system and control panel |  |  |
| - Check the current system frequency and compare it with the desired 50Hz |  |  |
| - Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |
| - Monitor the frequency continuously to ensure it stays at 50Hz |  |  |
| - Perform Fine-tuning of system adjustments if the frequency deviates from 50Hz |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3706: Manage Power Generation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: You are supposed to work as the on-site hydel /Solar/Wind microgrid technician. Suddenly you experience fluctuation in the power output. Your duty is to keep stable the frequency of the hydel microgrid through Controlling Power (MW), Reactive Power (MVAR) to bring the system to a stable operational state so that to avoid any unpleasant situation. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Locate the water flow control valve/ solar radiation sensor/wind speed sensor and megawatt controller panel |  |  |  |  |  |
|  | - Check the current water flow rate/current solar radiation levels/ current wind speedand megawatt output readings |  |  |  |  |  |
|  | - Adjust the water flow valve to increase or decrease flow |  |  |  |  |  |
|  | - Adjust the megawatt control settings based on solar radiation levels |  |  |  |  |  |
|  | - Adjust the megawatt control settings based on the wind speed |  |  |  |  |  |
|  | - Monitor the changes in megawatt output |  |  |  |  |  |
|  | - Monitor the changes in megawatt output as wind speed varies |  |  |  |  |  |
|  | - Perform fine-tuning of water flow/ to maintain stable megawatt output |  |  |  |  |  |
|  | - Perform fine-tuning of the megawatt control settings to optimize performance based on solar radiation |  |  |  |  |  |
|  | - Perform fine-tuning of the megawatt control settings to maintain stable output as wind speed fluctuates |  |  |  |  |  |
|  | - Record the final water flow rate /final solar radiation/ final wind speed and megawatt output readings |  |  |  |  |  |
|  | - Locate the excitation control panel and MVAR measurement system |  |  |  |  |  |
|  | - Check the current MVAR levels and excitation system settings |  |  |  |  |  |
|  | - Adjust the excitation control to increase or decrease the MVAR output |  |  |  |  |  |
|  | - Monitor the changes in MVAR output |  |  |  |  |  |
|  | - Perform fine-tuning of the excitation settings to maintain desired MVAR levels |  |  |  |  |  |
|  | - Record the final excitation settings and MVAR output for reference |  |  |  |  |  |
|  | - Identify the in/out filters and MVAR control panel for the solar and wind system |  |  |  |  |  |
|  | - Check the current MVAR levels and filter settings for both solar and wind systems |  |  |  |  |  |
|  | - Adjust the in/out filters to modify the MVAR output based on system requirements |  |  |  |  |  |
|  | - Monitor the MVAR levels and filter performance as adjustments are made |  |  |  |  |  |
|  | - Perform fine-tuning of the filter settings to achieve the desired MVAR output for both solar and wind systems |  |  |  |  |  |
|  | - Record the final filter settings and MVAR output for future reference |  |  |  |  |  |
|  | - Identify the frequency monitoring system and control panel |  |  |  |  |  |
|  | - Check the current system frequency and compare it with the desired 50Hz |  |  |  |  |  |
|  | - Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |  |  |  |
|  | - Monitor the frequency continuously to ensure it stays at 50Hz |  |  |  |  |  |
|  | - Perform Fine-tuning of system adjustments if the frequency deviates from 50Hz |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Q. What role does water flow play in hydropower megawatt control? |  |  |
| 2 | Q. How do you stabilize MW output when solar radiation changes? |  |  |
| 3 | Q. Describe how wind speed affects power generation? |  |  |
| 4 | Q.What is the function of the excitation system in MVAR control? |  |  |
| 5 | Q. Explain the purpose of in/out filters in solar/wind systems? |  |  |
| 6 | Q. How do you fine-tune a hydel valve for stable output? |  |  |
| 7 | Q. What steps would you take if the system frequency drops below 50 Hz? |  |  |
| 8 | Q. Why is frequency stability crucial in power systems? |  |  |
| 9 | Q. How does solar radiation affect the inverter’s MW output? |  |  |
| 10 | Q. What does a VAR meter measure, and why is it important? |  |  |
| 11 | Q. What happens if the wind turbine control panel is not tuned properly? |  |  |
| 12 | Answer: AGC automatically adjusts generator outputs to maintain grid frequency and balance between generation and load. |  |  |
| 13 | Q. What tools can be used to simulate solar radiation in a lab? |  |  |
| 14 | Q. Describe the relationship between generator speed and frequency? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________