| Panel: Engr. Dr. Mian Khurram Ahsan,Assistant Professor GPI Mardan Engr. Fawad Ahmad Assistant Professor GCT Peshawar Engr. Arshad Iqbal Lecturer GCT Peshawar Engr. Waqas Niaz SDO NTDC Zia ud din, Team Lead (PTCL) PTCL Engr. Umar Hayat ,GCT Railway Road LHR DACUM Facilitator Engr.Abdul Maqsood NAVTTC conveners Muhammad Ishaq Deputy Director NAVTTC HQ Islamabad Humza Nadeem Assistant. Director | Assessment Evidence Guide For National Diploma Certificate in MicrogridTechnician Level- 4 Formative Assessment - 0713E&E3707: Manage Load dispatching - 0713E&E3708: Manage Load Stability |
| --- | --- |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3707: Manage Load dispatching - 0713E&E3708: Manage Load Stability |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to - Monitor Power Demand & Supply - Optimize Power Distribution - Implement Load management/ Shedding Strategies - Coordinate with Generation Sources - Perform Communication with Operators & Stakeholders. - Monitor Voltage & Frequency Levels - Handle emergency situation of Microgrid - Perform Balancing of Load and Generation. - Integrate Battery Energy Storage Systems (BESS) - Implement Automatic Voltage Regulation (AVR) Activity: You are required to monitor power demand & supply using simulation software,adjust difference between demand & Supply and record your finding.Further,you are also required to frame and Implement load shedding schedule for an area based on your record and establish communication between the stake holders. |
| --- | --- |
| Time | 04 Hours |
| Minimum Evidence Required | During a practical assessment, under observation by an assessor, the candidate (s) is/are required to: - Identify demand requirement with respect to load - Check the generation Capability - Adjust the difference between Demand & Supply - Record difference between Demand & Supply - Check requirements for optimization - Evaluate load distribution - Monitor over-loading of system. - Adjust load variation as per demand. - Analyze excess demand of load - Check distribution load as per system - Select Areas for load shedding based on its importance - Implement load shedding Schedule - Identify Power Generation Sources - Analyze Power Generation Capability - Monitor Power Supply Parameters - Perform Synchronization with Grid in case of multiple generation sources - Communicate Power Stations staff - Handle Power Contingencies - Maintain Coordination Logbook - Check the available sources for communication. - Communicate with the concerned person/Stakeholder. - Interpret signage language at the workplace - Record voltage level at Grid - Record frequency levels - Maintain variation of grid as per standard. - Maintain log-book for grid parameter - Identify the cause of emergency - Identify nature of of emergency - Perform emergency load management if necessary - Report the emergency incident. - Analyze load demand as per generation capacity. - Match demand & supply as per real-time consumption. - Distribute load effectively - Configure battery energy storage systems based on grid demand. - Connect battery energy storage units to Microgrid. - Verify charge cycles for efficiency. - Verify discharge cycles for efficiency - Evaluate AVR settings based on system voltage requirements. - Monitor voltage regulation performance. - Analyze AVR parameters for stable voltage. - Record AVR parameters |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: - You are required to monitor power demand & supply using simulation software,adjust difference between demand & Supply and record your finding.Further,you are also required to frame and Implement load shedding schedule for an area based on your record and establish communication between the stake holders. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify demand requirement with respect to load |  |  |
| - Check the generation Capability |  |  |
| - Adjust the difference between Demand & Supply |  |  |
| - Record difference between Demand & Supply |  |  |
| - Check requirements for optimization |  |  |
| - Evaluate load distribution |  |  |
| - Monitor over-loading of system. |  |  |
| - Adjust load variation as per demand. |  |  |
| - Analyze excess demand of load |  |  |
| - Check distribution load as per system |  |  |
| - Select Areas for load shedding based on its importance |  |  |
| - Implement load shedding Schedule |  |  |
| - Identify Power Generation Sources |  |  |
| - Analyze Power Generation Capability |  |  |
| - Monitor Power Supply Parameters |  |  |
| - Perform Synchronization with Grid in case of multiple generation sources |  |  |
| - Communicate Power Stations staff |  |  |
| - Handle Power Contingencies |  |  |
| - Maintain Coordination Logbook |  |  |
| - Check the available sources for communication. |  |  |
| - Communicate with the concerned person/Stakeholder. |  |  |
| - Interpret signage language at the workplace |  |  |
| - Record voltage level at Grid |  |  |
| - Record frequency levels |  |  |
| - Maintain variation of grid as per standard. |  |  |
| - Maintain log-book for grid parameter |  |  |
| - Identify the cause of emergency |  |  |
| - Identify nature of of emergency |  |  |
| - Perform emergency load management if necessary |  |  |
| - Report the emergency incident. |  |  |
| - Analyze load demand as per generation capacity. |  |  |
| - Match demand & supply as per real-time consumption. |  |  |
| - Distribute load effectively |  |  |
| - Configure battery energy storage systems based on grid demand. |  |  |
| - Connect battery energy storage units to Microgrid. |  |  |
| - Verify charge cycles for efficiency. |  |  |
| - Verify discharge cycles for efficiency |  |  |
| - Evaluate AVR settings based on system voltage requirements. |  |  |
| - Monitor voltage regulation performance. |  |  |
| - Analyze AVR parameters for stable voltage. |  |  |
| - Record AVR parameters |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Microgrid Technician Level-4 |
| --- | --- |
| Competency Standard(s) | - 0713E&E3707: Manage Load dispatching - 0713E&E3708: Manage Load Stability |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: __________________________________________________ Registration Number: ________________________ Signature: __________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor_______________________________________ Assessor’s code: __________________ Signature: _______________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | X |  | X |  |  |
| Knowledge Assessment | X | X |  |  |  |  |  |
| Other Requirement |  |  |  | X |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: You are required to monitor power demand & supply using simulation software,adjust difference between demand & Supply and record your finding.Further,you are also required to frame and Implement load shedding schedule for an area based on your record and establish communication between the stake holders. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Identify demand requirement with respect to load |  |  |  |  |  |
|  | - Check the generation Capability |  |  |  |  |  |
|  | - Adjust the difference between Demand & Supply |  |  |  |  |  |
|  | - Record difference between Demand & Supply |  |  |  |  |  |
|  | - Check requirements for optimization |  |  |  |  |  |
|  | - Evaluate load distribution |  |  |  |  |  |
|  | - Monitor over-loading of system. |  |  |  |  |  |
|  | - Adjust load variation as per demand. |  |  |  |  |  |
|  | - Analyze excess demand of load |  |  |  |  |  |
|  | - Check distribution load as per system |  |  |  |  |  |
|  | - Select Areas for load shedding based on its importance |  |  |  |  |  |
|  | - Implement load shedding Schedule |  |  |  |  |  |
|  | - Identify Power Generation Sources |  |  |  |  |  |
|  | - Analyze Power Generation Capability |  |  |  |  |  |
|  | - Monitor Power Supply Parameters |  |  |  |  |  |
|  | - Perform Synchronization with Grid in case of multiple generation sources |  |  |  |  |  |
|  | - Communicate Power Stations staff |  |  |  |  |  |
|  | - Handle Power Contingencies |  |  |  |  |  |
|  | - Maintain Coordination Logbook |  |  |  |  |  |
|  | - Check the available sources for communication. |  |  |  |  |  |
|  | - Communicate with the concerned person/Stakeholder. |  |  |  |  |  |
|  | - Interpret signage language at the workplace |  |  |  |  |  |
|  | - Record voltage level at Grid |  |  |  |  |  |
|  | - Record frequency levels |  |  |  |  |  |
|  | - Maintain variation of grid as per standard. |  |  |  |  |  |
|  | - Maintain log-book for grid parameter |  |  |  |  |  |
|  | - Identify the cause of emergency |  |  |  |  |  |
|  | - Identify nature of of emergency |  |  |  |  |  |
|  | - Perform emergency load management if necessary |  |  |  |  |  |
|  | - Report the emergency incident. |  |  |  |  |  |
|  | - Analyze load demand as per generation capacity. |  |  |  |  |  |
|  | - Match demand & supply as per real-time consumption. |  |  |  |  |  |
|  | - Distribute load effectively |  |  |  |  |  |
|  | - Configure battery energy storage systems based on grid demand. |  |  |  |  |  |
|  | - Connect battery energy storage units to Microgrid. |  |  |  |  |  |
|  | - Verify charge cycles for efficiency. |  |  |  |  |  |
|  | - Verify discharge cycles for efficiency |  |  |  |  |  |
|  | - Evaluate AVR settings based on system voltage requirements. |  |  |  |  |  |
|  | - Monitor voltage regulation performance. |  |  |  |  |  |
|  | - Analyze AVR parameters for stable voltage. |  |  |  |  |  |
|  | - Record AVR parameters |  |  |  |  |  |
| Competent |  |  | Not yet Competent |  |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | Q. Why is balancing power demand and supply critical in microgrid operations? |  |  |
| 2 | Q. When is load shedding typically implemented in a microgrid? |  |  |
| 3 | Q. Give examples of load prioritized during load shedding? |  |  |
| 4 | Q. How does demand forecasting help in generation planning? |  |  |
| 5 | Q. Who are the key stakeholders that microgrid operators need to communicate with during an outage? |  |  |
| 6 | Q. Why is effective communication important between microgrid operators and external utilities or load dispatch centers? |  |  |
| 7 | Q. Why is it important to maintain frequency levels within standards? |  |  |
| 8 | Q. What is the purpose of maintaining a log-book for grid parameters? |  |  |
| 9 | Q. How can faulty components in the grid be isolated during an emergency? |  |  |
| 10 | Q. What is the purpose of performing an emergency shutdown? |  |  |
| 11 | Q. Why is load demand analysis essential in a microgrid? |  |  |
| 12 | Q. How is demand matched with supply in real-time? |  |  |
| 13 | Q. What methods are used to distribute the load effectively? |  |  |
| 14 |  |  |  |
|  | Q. Define Battery Energy Storage Systems (BESS)? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________