|  | Assessment Evidence Guide For National Vocational Certificate in Micro grid Technician Level - 4 Summative Assessment |
| --- | --- |
|  | Date 30 June 2025 to 4 July 2025 |
|  | National Vocational & Technical Training Commission |

Note: The sections highlighted in yellow should be filled by the respective provincial Board.

Section A:Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level – 4 in Micro grid Technician |
| --- | --- |
| Competency Standards | 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1:Guidance for Candidate

| General Guidance | To meet this assessment, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): Activity: You are, as a micro grid technician, responsible for the uninterrupted and efficient operation of a Hybrid micro grid system supplying a university campus. The microgrid experiencing instability in electric supply and abnormal voltage fluctuation, which has tripped one of the under voltage relay at the grid side. You are required to perform restoration of normal operation of the grid. After restoration, observe and control voltage parameters through VAR compensation of the grid while maintaining compliance with SOPs and safety codes: - Assess safety and restore system integrity - Diagnose and rectify the fault - Optimize energy generation and load dispatch - Monitor and adjust grid parameters - Perform inventory and shift record updates - Communicate with the Authority/client 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Comply with Health and Safety Regulations - Check system conditions - Assess factors influencing load demand - Identify demand requirement with respect to load - Identify symptoms of faults - Identify Signs of Faulty Components/Equipment - Detect the faulty machines / equipment for Tagging - Isolate Faulty Components for Further Examination - Address Potential Issues - Monitor frequency levels using system indicators and control mechanisms - Identify the cause of the grid parameter variation - Allocate power sources based on availability and efficiency - Develop energy dispatch schedule to match demand and generation - Match demand & supply as per real-time consumption - Operate circuit breakers, disconnect switches, and protective devices in sequential order - Verify proper synchronization of Microgrid components - Implement frequency control measures such as load shedding / load management or generator adjustments - Implement load shedding Schedule - Check that the adjustments are working by observing real-time data. - Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency - Identify any remaining issues or inefficiencies in the system - Document findings and corrective measures taken - Maintain logbook for grid parameter |

Section A2:Self-Assessment Checklist

| Assessment Task | Activity: You are, as a micro grid technician, responsible for the uninterrupted and efficient operation of a Hybrid micro grid system supplying a university campus. The microgrid experiencing instability in electric supply and abnormal voltage fluctuation, which has tripped one of the under voltage relay at the grid side. You are required to perform restoration of normal operation of the grid. After restoration, observe and control voltage parameters through VAR compensation of the grid while maintaining compliance with SOPs and safety codes: - Assess safety and restore system integrity - Diagnose and rectify the fault - Optimize energy generation and load dispatch - Monitor and adjust grid parameters - Perform inventory and shift record updates - Communicate with the Authority/client |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Comply with Health and Safety Regulations |  |  |
| Check system conditions |  |  |
| Assess factors influencing load demand |  |  |
| Identify demand requirement with respect to load |  |  |
| Identify symptoms of faults |  |  |
| Identify Signs of Faulty Components/Equipment |  |  |
| Detect the faulty machines / equipment for Tagging |  |  |
| Isolate Faulty Components for Further Examination |  |  |
| Address Potential Issues |  |  |
| Monitor frequency levels using system indicators and control mechanisms |  |  |
| Identify the cause of the grid parameter variation |  |  |
| Allocate power sources based on availability and efficiency |  |  |
| Develop energy dispatch schedule to match demand and generation |  |  |
| Match demand & supply as per real-time consumption |  |  |
| Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |
| Verify proper synchronization of Microgrid components |  |  |
| Implement frequency control measures such as load shedding / load management or generator adjustments |  |  |
| Implement load shedding Schedule |  |  |
| Check that the adjustments are working by observing real-time data. Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |
| Identify any remaining issues or inefficiencies in the system |  |  |
| Document findings and corrective measures taken |  |  |
| Maintain logbook for grid parameter |  |  |

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level – 4 in Micro grid Technician |
| --- | --- |
| Competency Standard | 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ |  |  |  |  |  |  |
| Other Requirement |  |  |  | √ |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: You are, as a micro grid technician, responsible for the uninterrupted and efficient operation of a Hybrid micro grid system supplying a university campus. The microgrid experiencing instability in electric supply and abnormal voltage fluctuation, which has tripped one of the under voltage relay at the grid side. You are required to perform restoration of normal operation of the grid. After restoration, observe and control voltage parameters through VAR compensation of the grid while maintaining compliance with SOPs and safety codes: - Assess safety and restore system integrity - Diagnose and rectify the fault - Optimize energy generation and load dispatch - Monitor and adjust grid parameters - Perform inventory and shift record updates - Communicate with the Authority/client |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Comply with Health and Safety Regulations |  |  |  |  |  |
|  | Check system conditions |  |  |  |  |  |
|  | Assess factors influencing load demand |  |  |  |  |  |
|  | Identify demand requirement with respect to load |  |  |  |  |  |
|  | Identify symptoms of faults |  |  |  |  |  |
|  | Identify Signs of Faulty Components/Equipment |  |  |  |  |  |
|  | Detect the faulty machines / equipment for Tagging |  |  |  |  |  |
|  | Isolate Faulty Components for Further Examination |  |  |  |  |  |
|  | Address Potential Issues |  |  |  |  |  |
|  | Monitor frequency levels using system indicators and control mechanisms |  |  |  |  |  |
|  | Identify the cause of the grid parameter variation |  |  |  |  |  |
|  | Allocate power sources based on availability and efficiency |  |  |  |  |  |
|  | Develop energy dispatch schedule to match demand and generation |  |  |  |  |  |
|  | Match demand & supply as per real-time consumption |  |  |  |  |  |
|  | Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |  |  |  |
|  | Verify proper synchronization of Microgrid components |  |  |  |  |  |
|  | Implement frequency control measures such as load shedding / load management or generator adjustments |  |  |  |  |  |
|  | Implement load shedding Schedule |  |  |  |  |  |
|  | Check that the adjustments are working by observing real-time data. Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |  |  |  |
|  | Identify any remaining issues or inefficiencies in the system |  |  |  |  |  |
|  | Document findings and corrective measures taken |  |  |  |  |  |
|  | Maintain logbook for grid parameter |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions [4] (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What are two procedures for conducting a routine safety inspection? |  |  |
| 2 | How do you schedule preventive maintenance for a microgrid? |  |  |
| 3 | Enlist two renewable sources commonly used in microgrids. |  |  |
| 4 | How can a technician respond to sudden frequency drops? |  |  |
| 5 | What formula is used to calculate the power output from a hydroelectric source? |  |  |
| 6 | State one example of how you can correct low power factor in a microgrid? |  |  |
| 7 | What does a VAR meter measure, and why is it important? |  |  |
| 8 | Describe the relationship between generator speed and frequency? |  |  |
| 9 | What steps are involved in connecting BESS to a microgrid? |  |  |
| 10 | What is the difference between scheduled and emergency load shedding? |  |  |
| 11 | Why must procurement records be regularly updated? |  |  |
| 12 | What is the purpose of maintaining a shift logbook? |  |  |
| 13 | How can you confirm a component is faulty? |  |  |
| 14 | What are the methods to test a faulty component? |  |  |
| 15 | What is meant by ‘power distribution optimization’? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________

Note: The sections highlighted in yellow should be filled by the Instructor / Teacher. Section A is for the trainees and should be provided prior to the Formative Assessments (when required).

Note: The sections highlighted in yellow should be filled by the Instructor / Teacher. Section B is mandatory and should be for conducting Formative Assessments.