|  | Assessment Evidence Guide For National Vocational Certificate in Micro grid Technician Level - 4 Summative Assessment |
| --- | --- |
|  | Date 30 June 2025 to 4 July 2025 |
|  | National Vocational & Technical Training Commission |

Note: The sections highlighted in yellow should be filled by the respective provincial Board.

Section A:Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level – 4 in Micro grid Technician |
| --- | --- |
| Competency Standards | 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1:Guidance for Candidate

| General Guidance | To meet this assessment, you are required to complete the following within 04 Hrs.time frame (for practical demonstration & assessment): Activity: Micro grid system is installed in a hybrid power station with battery energy storage system (BESS). The system serves community with varying loads. Over a 24-hour simulated cycle.Perform monitoring, operation and control to optimize power generation. An earth fault is reported in the micro grid system. You are required to troubleshoot the fault for smooth operation. 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Comply with Health and Safety Regulations - Check system conditions - Assess factors influencing load demand - Identify demand requirement with respect to load - Identify symptoms of faults - Identify Signs of Faulty Components/Equipment - Detect the faulty machines / equipment for Tagging - Isolate Faulty Components for Further Examination - Address Potential Issues - Monitor frequency levels using system indicators and control mechanisms - Identify the cause of the grid parameter variation - Allocate power sources based on availability and efficiency - Develop energy dispatch schedule to match demand and generation - Match demand & supply as per real-time consumption - Operate circuit breakers, disconnect switches, and protective devices in sequential order - Verify proper synchronization of Microgrid components - Implement frequency control measures such as load shedding / load management or generator adjustments - Implement load shedding Schedule - Check that the adjustments are working by observing real-time data. - Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency - Identify any remaining issues or inefficiencies in the system - Document findings and corrective measures taken - Maintain logbook for grid parameter |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity: Micro grid system is installed in a hybrid power station with battery energy storage system (BESS). The system serves community with varying loads. Over a 24-hour simulated cycle, ensure monitoring, operation and control to optimize power generation. An earth fault is reported in the micro grid system. You are required to troubleshoot the fault for smooth operation. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Comply with Health and Safety Regulations |  |  |
| Check system conditions |  |  |
| Assess factors influencing load demand |  |  |
| Identify demand requirement with respect to load |  |  |
| Identify symptoms of faults |  |  |
| Identify Signs of Faulty Components/Equipment |  |  |
| Detect the faulty machines / equipment for Tagging |  |  |
| Isolate Faulty Components for Further Examination |  |  |
| Address Potential Issues |  |  |
| Monitor frequency levels using system indicators and control mechanisms |  |  |
| Identify the cause of the grid parameter variation |  |  |
| Allocate power sources based on availability and efficiency |  |  |
| Develop energy dispatch schedule to match demand and generation |  |  |
| Match demand & supply as per real-time consumption |  |  |
| Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |
| Verify proper synchronization of Microgrid components |  |  |
| Implement frequency control measures such as load shedding / load management or generator adjustments |  |  |
| Implement load shedding Schedule |  |  |
| Check that the adjustments are working by observing real-time data. Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |
| Identify any remaining issues or inefficiencies in the system |  |  |
| Document findings and corrective measures taken |  |  |
| Maintain logbook for grid parameter |  |  |

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level – 4 in Micro grid Technician |
| --- | --- |
| Competency Standard | 0713E&E3701: Maintain Safe Working Environment of Microgrid 0713E&E3702: Maintain Equipment/ Machines at Microgrid station 0713E&E3703: Operate Microgrid in line with the SOP’s 0713E&E3704: Control Operation of Microgrid 0713E&E3705: Perform Data Monitoring of Microgrid 0713E&E3706: Manage Power Generation 0713E&E3707: Manage Load dispatching 0713E&E3708: Manage Load Stability 0713E&E3709: Maintain Inventory of Microgrid System 0713E&E3710: Perform trouble shooting of Microgrid station 0713E&E3711: Develop Entrepreneurship/Business 0713E&E3712: On-Job Training/Project |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YETCOMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ |  |  |  |  |  |  |
| Other Requirement |  |  |  | √ |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity: Micro grid system is installed in a hybrid power station with battery energy storage system (BESS). The system serves community with varying loads. Over a 24-hour simulated cycle, ensure monitoring, operation and control to optimize power generation. An earth fault is reported in the micro grid system. You are required to troubleshoot the fault for smooth operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Comply with Health and Safety Regulations |  |  |  |  |  |
|  | Check system conditions |  |  |  |  |  |
|  | Assess factors influencing load demand |  |  |  |  |  |
|  | Identify demand requirement with respect to load |  |  |  |  |  |
|  | Identify symptoms of faults |  |  |  |  |  |
|  | Identify Signs of Faulty Components/Equipment |  |  |  |  |  |
|  | Detect the faulty machines / equipment for Tagging |  |  |  |  |  |
|  | Isolate Faulty Components for Further Examination |  |  |  |  |  |
|  | Address Potential Issues |  |  |  |  |  |
|  | Monitor frequency levels using system indicators and control mechanisms |  |  |  |  |  |
|  | Identify the cause of the grid parameter variation |  |  |  |  |  |
|  | Allocate power sources based on availability and efficiency |  |  |  |  |  |
|  | Develop energy dispatch schedule to match demand and generation |  |  |  |  |  |
|  | Match demand & supply as per real-time consumption |  |  |  |  |  |
|  | Operate circuit breakers, disconnect switches, and protective devices in sequential order |  |  |  |  |  |
|  | Verify proper synchronization of Microgrid components |  |  |  |  |  |
|  | Implement frequency control measures such as load shedding / load management or generator adjustments |  |  |  |  |  |
|  | Implement load shedding Schedule |  |  |  |  |  |
|  | Check that the adjustments are working by observing real-time data. Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency |  |  |  |  |  |
|  | Identify any remaining issues or inefficiencies in the system |  |  |  |  |  |
|  | Document findings and corrective measures taken |  |  |  |  |  |
|  | Maintain logbook for grid parameter |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment3

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What should be included in an emergency system setup? |  |  |
| 2 | What should be included in the run-test report? |  |  |
| 3 | Name the device which is used to control generator output frequency? |  |  |
| 4 | Describe the role of switchgear in grid safety? |  |  |
| 5 | What are two actions you must take if a voltage deviation is detected during grid monitoring? |  |  |
| 6 | What is a common cause of grid frequency variation in a microgrid system? |  |  |
| 7 | What is the function of the excitation system in MVAR control? |  |  |
| 8 | Describe how wind speed affects power generation? |  |  |
| 9 | What is the primary purpose of monitoring power demand and supply in a microgrid? |  |  |
| 10 | What is the purpose of performing an emergency shutdown? |  |  |
| 11 | Define ‘shift handover’? |  |  |
| 12 | How often should tool condition be checked? |  |  |
| 13 | After replacing a faulty part, what should be tested? |  |  |
| 14 | Give one example of a fault that can occur in a solar system? |  |  |
| 15 | What might happen if a fault is not properly fixed? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________