Trade Registration Form

- Code and Title of the Qualification.

0713E&E37 National Diploma Certificate in Level-4 ( Microgrid Technician) Date of Development:19-23 May 2025.

- Organogram / Pathway / Equivalencies.

| Entry Level | Vocational Qualification | Next Progression |
| --- | --- | --- |
| Middle | Level-2 Electrician | G3/Level-3 |
| Level-2 | Level-3 Electrician | G2/Level-4 |
| Level-3 - General/Indust./Solar PV Electrician -Level-3 Or any other Equivalent qualification. | MicrogridTechnician Level-4 | DAE /Level-5 |
| MicrogridTechnician Level-4 | Microgrid Supervisor Level-5 | Bachelor’s Level- 6 |

- Student Teacher Ratio: 25:1

- Teacher Qualification:

- BSc/BE Engineering (Electrical/ Electronics) with 1- Years’ experience

- B.Tech (Honour)/BS Technology with 1-Years’ experience

(Electrical/ Electronics)

- Diploma of Associate Engineers (DAE in Electrical/ Electronic )with 2 -Years’ experience

- Duration / Credit Hours / Contact Hours

| NVQF Level | Contact/Learning Hours | Credit Hours |
| --- | --- | --- |
| Level-2 | 600 | 30 |
| Level-3 | 600 | 30 |
| Level-4 | 840 | 40 |

- List of Competencies/Modules

| S# | Competency Standards/ Modules |
| --- | --- |
| 0713E&E3701 | - Maintain Safe Working Environment of Microgrid |
| 0713E&E3702 | - Maintain Equipment/ Machines at Microgrid station |
| 0713E&E3703 | - Operate Microgrid in line with the SOP’s |
| 0713E&E3704 | - Control Operation of Microgrid |
| 0713E&E3705 | - Perform Data Monitoring of Microgrid |
| 0713E&E3706 | - Manage Power Generation |
| 0713E&E3707 | - Manage Load dispatching |
| 0713E&E3708 | - Manage Load Stability |
| 0713E&E3709 | - Maintain Inventory of Microgrid System |
| 0713E&E3710 | - Perform trouble shooting of Microgrid station |
| 0713E&E3711 | - Develop Entrepreneurship/Business |
| 0713E&E3712 | - On-Job Training/Project |

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom size | Yes | As per Qualifications Awarding Bodies Standards |
| Workshop/Laboratory size | Yes | As per Qaulifications Awarding Bodies Standards |
| Any other Requirement | NA | NA |

- Machinery / Lab Equipment (with quantity/25 Students)

| S.No | Items | Quantity |
| --- | --- | --- |
| 1 | Personal Protective Equipment’s (PPEs) (Safety Gloves (upto rated 2kV&18kV), Safety Helmets, Safety Glasses, Arc Flash Suit, Safety Shoes, Full Body Harness, Safety Belt, Ear Plugs, Ear Moff, Apron, Safety Jacket) | 25 Sets |
| 2 | Fire Extinguishers (CO2, DCP) | 05 Nos |
| 3 | Fire Hydrants | 02 Nos |
| 4 | Fire Ball Extinguisher | 02 Nos |
| 5 | Fire Blankets | 25 Nos |
| 6 | Sand Buckets | 10 Nos |
| 7 | First Aid Kit | 02 Nos |
| 8 | Safety Mask N95 | 25 Nos |
| 9 | Portable Temporary Ground | 10 Nos |
| 10 | Grounding Rods & Cables | 10 Nos |
| 11 | Lockout/Tagout (LOTO) Kits | 10 Nos |
| 12 | Safety Barriers & Cones | 10 Nos |
| 13 | Smoke & Gas Detectors | 05 Nos |
| 14 | Emergency Alarm Systems | 05 Nos |
| 15 | Digital Multimeter | 10 Nos |
| 16 | DC/AC Clamp Meter | 10 Nos |
| 17 | Power Quality Analyzer | 10 Nos |
| 18 | Infrared Thermometer | 10 Nos |
| 19 | Motor Generator Set | 5 Nos |
| 20 | Fuel Flow Meter (For Diesel Generators) | 10 Nos |
| 22 | Solar Irradiance Meter (For Renewable Systems) | 10 Nos |
| 23 | Lockout/Tagout (LOTO) Kit | 10 Nos |
| 24 | Grounding Rods & Clamps | 10 Nos |
| 25 | Insulation Resistance Tester | 10Nos |
| 26 | Circuit Breaker Analyzer | 10Nos |
| 27 | Synchroscope | 10Nos |
| 28 | Magnetic Contactor 220V | 10Nos |
| 30 | Magnetic Contactor 400V | 10 Nos |
| 31 | On-Off Push Buttons | 10 Nos |
| 32 | Rev-Stop-For Push Button | 10 Nos |
| 33 | Thermal Overload | 10 Nos |
| 34 | Phase Sequence Relay | 10 Nos |
| 35 | Current Transformer (CTs) | 10 Nos |
| 36 | Potential Transformers (PTs) | 10 Nos |
| 37 | Galvanometer | 10 Nos |
| 38 | Exciters | 10 Nos |
| 40 | Automatic Voltage Regulator | 10 Nos |
| 41 | Frequency Meter | 10 Nos |
| 42 | Single Phase Wattmeter | 10 Nos |
| 43 | Three Phase Wattmeter | 10 Nos |
| 44 | DC Wattmeter (100W) | 10 Nos |
| 45 | Digital Lux Meter | 10 Nos |
| 46 | Analog Lux Meter | 10 Nos |
| 47 | Solar Panels (180W, 585W) | 10 Nos each |
| 48 | Inverters (1000W, 2kW, 5kW) | 10 Nos |
| 49 | Controller Trainer | 10 Nos |
| 50 | Charge Controller PWM (20A, 30A) | 10 Nos each |
| 51 | Charge Controller MPPT (40A) | 5 Nos |
| 52 | Battery 100Ah | 10 Nos |
| 53 | Battery 200Ah | 5 Nos |
| 54 | Single Phase Energy meters (Analog and Digital) | 10 Nos each |
| 55 | Three Phase Energy meters (Analog and Digital) | 10 Nos each |
| 56 | Testing Board | 10 Nos |
| 57 | Single Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 58 | Two Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 59 | Three Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 60 | Power Factor meter | 10 Nos |
| 61 | kVAR meter | 10 Nos |
| 62 | Four Pole Circuit Breaker (C6,C13,C63) | 10 Nos |
| 63 | Barcode Scanners (For Equipment Tagging & Tracking) | 10 Nos |
| 64 | RFID Tags & Readers (For Asset Management) | 10 Nos |
| 65 | Handheld Label Printers (For Equipment & Component Labeling) | 10 Nos |
| 66 | Digital Weighing Scales (For Measuring Components & Materials) | 10 Nos |
| 67 | Log Books | 10 Nos |
| 68 | Microsoft Office 2024 | 05 Nos |
| 69 | Computer with Printer | 25 Nos |
| 70 | Telephone Set | 05 Nos |
| 71 | kVARs Meters | 5 Nos |

List of Consumable items Required for the Qualification:

| S. No. | Items | Quantity |
| --- | --- | --- |
|  | Cable (various gauges: 1.5mm², 2.5mm², 4mm², etc.) | 90m per type |
|  | Connectors & terminals (lug connectors, ring terminals) | 1000 pcs |
|  | Fuses (various ratings: 5A, 10A, 15A, 20A) | 100 each |
|  | Circuit breakers (MCB, MCCB, RCD) | 50 each |
|  | Batteries (for meters & analyzers, AA, AAA, 9V, lithium-ion) | 24 each |
|  | Insulation tape (red, black, yellow, green, blue) | 5 roll each |
|  | Heat shrinks tubing (assorted sizes) | 100m |
|  | Cable glands (assorted sizes) | 100 pcs |
|  | Cable lugs & ferrules | 1000 pcs |
|  | Safety gloves (electrical insulated, cut-resistant, nitrile) – | 50 pairs |
|  | Helmets | 50 pcs |
|  | Safety glasses | 50 pcs |
|  | Arc flash suits | 5 sets |
|  | Face masks (N95, surgical) | 300 pcs |
|  | Earplugs | 200 pairs |
|  | Face shields | 10 pcs |
|  | High-visibility vests | 50 pcs |
|  | Respirators | 10 pcs |
|  | Safety shoes (optional if required) | 50 pairs |
|  | Cable ties (various sizes) | 2000 pcs |
|  | Marking labels (self-adhesive, cable labels) | 500 pcs |
|  | Lockout/Tagout tags | 100 pcs |
|  | Industrial-grade lubricants & grease | 20 liters |
|  | Contact cleaner spray | 10 cans |
|  | Rust removers | 5 liters |
|  | Wire strippers & cutters (extra consumable blades) | 10 pcs |
|  | Calibration stickers & logbooks | 10 set |
|  | Ethernet cables (Cat 6, Cat 5e) | 1000m roll |
|  | RJ45 connectors | 500 pcs |
|  | Fiber optic cables | 500m |
|  | Fiber optic connectors (SC, LC, ST) | 100 pcs |
|  | Network switch replacement modules | 5 pcs |
|  | Power strips & surge protectors | 20 pcs |
|  | BNC connectors (for oscilloscopes) | 10 pcs |
|  | Fire extinguishers (CO₂, dry chemical, foam) | 2 pcs |
|  | Fire extinguisher refills | 5 sets |
|  | Fire blankets | 10 pcs |
|  | First aid kits | 10 kits |
|  | Emergency exit sign | 10 pcs |
|  | Emergency lights (batteries included) | 10 pcs |
|  | Eye wash station solution | 5 liters |
|  | Safety cones & barriers | 20 sets |
|  | Multimeter probes & leads | 50 sets |
|  | Clamp meter accessories (flexible CT coils, extra clamps) | 10 sets |
|  | Oscilloscope probes | 20 sets |
|  | Pressure gauge calibration kits | 5 sets |
|  | Infrared thermometer lens cleaning wipes | 50 packs |
|  | Battery analyzer test leads | 20 sets |
|  | Earth tester auxiliary electrodes | 10 sets |
|  | Whiteboard Markers | 50 sets |
|  | Whiteboard Cleaner | 10 bottles |
|  | Projector bulbs | 5 pcs |
|  | Presentation boards & flip charts | 5 pcs |
|  | Printed training manuals & datasheets | 25 copies |
|  | USB flash drives (for software & reports) | 50 pcs |
|  | Ethernet patch cables (for network devices) | 100 pcs |
|  | Barcode labels (for scanner testing) | 500 pcs |