National Competency Standards Level-4 for Microgrid Technician

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

03-07 March, 2025

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level -4 Microgrid Technician. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.1.	Introduction:	4

1.2.	Date of Development:	4

1.3.	Date of Review & Validation:	4

1.4.	Entry requirement:	4

1.5.	Trainer Qualification Requirement	4

1.6.	Codes of Qualification (ISCED)	4

2.	Summary of competencies	5

3.	Qualification Levelling and Packaging	5

4.	Detail of Competency Standards	6

0713E&E3701: Maintain Safe Working Environment of Microgrid	6

0713E&E3702: Maintain Equipment/ Machines at Microgrid station	8

0713E&E3703: Operate Microgrid in line with the SOP’s	11

0713E&E3704: Control Operation of Microgrid	14

0713E&E3705: Perform Data Monitoring of Microgrid	16

0713E&E3706: Manage Power Generation	18

0713E&E3707: Manage Load dispatching	20

0713E&E3708: Manage Load Stability	22

0713E&E3709: Maintain Inventory of Microgrid System	23

0713E&E3710: Perform trouble shooting of Microgrid station	25

0713E&E3711: Develop Entrepreneurship/Business	28

0713E&E3712: On-Job Training/Project	30

5.	List of Tools and Equipment Required for the Qualification:	31

6.	Members of Qualifications Development Committee	35

  - Introduction:

This training course is designed for the occupation of ‘Microgrid Technician’ in the energy sector. A Microgrid Technician is responsible for the installation, operation, maintenance, control and troubleshooting of Microgrid systems, ensuring efficient and reliable energy distribution. The specific duties of a Microgrid Technician depend on the type of Microgrid system and its scale. Technicians are responsible for monitoring and maintaining electrical and control systems, integrating renewable energy sources, managing battery storage, and ensuring compliance with safety and regulatory standards. Their duties also include diagnosing faults, conducting performance assessments, optimizing system efficiency, and coordinating with engineers and other stakeholders. Additionally, they are responsible for training junior technicians and ensuring adherence to operational standards. Microgrid Technicians play a crucial role in maintaining resilient and sustainable energy solutions. To meet the growing demand for skilled professionals in this field, NAVTTC, in collaboration with GIZ, has introduced Competency-Based Training and Assessment (CBT&A) programs, ensuring the development of a competent workforce aligned with industry needs.

| - Date of Development: | 03-07 March, 2025 |
| --- | --- |
| - Date of Review & Validation: | 30th April to 2nd May 2025 |
| - Entry requirement: | - General Electrician -Level-3 - Industrial Electrician- Level-3 - Solar PV Electrician -Level-3 - Or any other Equivalent qualification |
| - Trainer Qualification Requirement | - BS/BSc/BE Engineering (Electrical/ Electronics) - B.Tech (Honour)/BS Technology (Electrical/ Electronics) - Diploma of Associate Engineers (DAE in Electrical/ Electronic )with 2 years’ experience |
| - Codes of Qualification (ISCED) | Code: 0713E&E37 Description: Microgrid Technician |

Summary of competencies

| S.No. | Competency standard | NVQF Level | Category | Estimated contact hours |  |  | Cr. Hr. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Th | Pr | Tot. |  |
| 0713E&E3701 | Maintain Safe Working Environment of Microgrid | 4 | Functional | 5 | 50 | 55 | 3 |
| 0713E&E3702 | Maintain Equipment/Machines at Microgrid station | 4 | Technical | 6 | 68 | 74 | 4 |
| 0713E&E3703 | Operate Microgrid in line with the SoPs | 4 | Technical | 9 | 62 | 71 | 4 |
| 0713E&E3704 | Control Operation of Microgrid | 4 | Technical | 9 | 42 | 51 | 3 |
| 0713E&E3705 | Monitor data of Microgrid | 4 | Technical | 7 | 46 | 53 | 3 |
| 0713E&E3706 | Manage Power Generation | 4 | Technical | 7 | 46 | 53 | 3 |
| 0713E&E3707 | Manage Load Dispatching | 4 | Technical | 9 | 22 | 31 | 2 |
| 0713E&E3708 | Manage Load Stability | 4 | Technical | 8 | 24 | 32 | 2 |
| 0713E&E3709 | Perform Trouble shooting of Microgrid System | 4 | Technical | 9 | 62 | 71 | 4 |
| 0713E&E3710 | Maintain Inventory of Microgrid System | 4 | Technical | 6 | 68 | 74 | 4 |
| 0713E&E3711 | Develop Entrepreneurship/ Business | 4 | Generic | 5 | 30 | 35 | 2 |
|  | Total Cr. Hr. Institute |  |  | 80 | 520 | 600 | 34 |
|  | On job training (OJT) | 4 |  | 240 |  |  | 6 |
|  | G.Total (%) |  |  | 840 |  |  | 40 |

Qualification Levelling and Packaging

| S # | Occupations / Short Course | Modules/CS Codes | Level | Occupation Credit Hours | Training Duration |
| --- | --- | --- | --- | --- | --- |
| 1. | Microgrid Maintenance Technician | 701,702,710 | 3 | (55 + 74 + 74) = 203 | 9 weeks |
| 2. | Microgrid Operator | 703,704,705 | 3 | (71 + 51 + 53) = 175 | 8 weeks |
| 3. | Microgrid Inventory Personnel | 701,709 | 3 | 55 + 71 = 126 | - weeks |

Detail of Competency Standards

- 0713E&E3701: Maintain Safe Working Environment of Microgrid

Overview

This competency standard covers the underpinning knowledge and skills required for a student/trainee to be competent in maintaining a safe working environment for a Microgrid system. After completing this competency standard, the student will be able to perform all the tasks (CU1 to CU6) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Analyze potential risk from Microgrid System & its requirements | - Identify Microgrid Components & Operations - Assess Potential Risks in Microgrid Systems - Evaluate Safety & Compliance Requirements - Follow risk Mitigation Strategies |
| - Categorize potential health Risk and safety of the Microgrid working environment | - Identify Health Risks in the Microgrid Working Environment - Assess Safety Hazards in Microgrid Operations - Comply with Health and Safety Regulations - Categorize potential Risks |
| - Install Safety Systems | - Select the required Safety system - Assess Safety System Requirements - Prepare Safety Equipment - Implement Fire and Environmental Safety Measures - Set Up Security and Emergency System - Verify and Test Installed Safety System |
| - Monitor Safety Protocols | - Establish Safety Monitoring Procedures - Conduct Routine Safety Inspections - Comply with Safety Regulations - Identify Safety Hazards - Report Safety Hazards - Implement Safety Protocols |
| - Repair/ Replace faulty components of safety systems | - Inspect the components of faulty system for fault detection - Identify Faulty Components in Safety System - Evaluate Repair or Replacement Needs - Repair/ Replace the faulty components - Test and Verify System for smooth functioning |
| - Maintain Proper Signage and Warning Labels | - Identify Signage and Warning Label Requirements - Assess Existing Signage - Check Hazardous Areas and Equipment for Proper Labeling - Install/ Replace Safety Signs and Labels - Verify Compliance and Employee Awareness - Maintain Signage Records and Updates |

Knowledge & Understanding

- Understanding of potential risk from Microgrid system.

- Types of potential health risks.

- Safety of the Microgrid working environment.

- Identification of safety equipment and system.

- Installation procedure of safety system.

- Monitoring techniques of safety protocols.

- Repairing/ replacement techniques of safety system and Microgrid.

- Importance of safety system in Microgrid.

- Understanding of preventive and corrective maintenance of system.

- Identification of the personal protective equipment (PPE) used in Microgrid.

- Importance of required personal protective equipment.

- Developing plans for potential risk scenarios.

- Understanding of health risks, noise pollution and heat exposures.

- Understanding of mechanical failure in Microgrid.

- Identification of all required signage and warning labels.

- Installation techniques of signage and warning labels.

- Importance of signage and warning labels.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Identify the key components and their functions in a Microgrid system.

- Assess Potential Risks in Microgrid Systems

- Implement Fire and Environmental Safety Measures

- Set Up Security and Emergency System

- Verify and Test Installed Safety System

- Perform Preventive Maintenance

- Comply with Safety Regulations

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
| 1 | Personal Protective Equipment’s (PPEs) (Safety Gloves (upto rated 2kV&18kV), Safety Helmets, Safety Glasses, Arc Flash Suit, Safety Shoes, Full Body Harness, Safety Belt, Ear Plugs, Ear Moff, Apron, Safety Jacket) | 25 Set |
| 2 | Fire Extinguishers (CO2, DCP) | 05 each |
| 3 | Fire Hydrants | 05 each |
| 4 | Fire Ball Extinguisher | 05 each |
| 5 | Fire Blankets | 05 each |
| 6 | Sand Buckets | 05 each |
| 7 | First Aid Kit | 02 Set |
| 8 | Safety Mask N95 | 25 Nos |
| 9 | Portable Temporary Ground | 05 Nos |
| 10 | Grounding Rods & Cables | 05 Nos |
| 11 | Lockout/Tagout (LOTO) Kits | 25 Sets |
| 12 | Safety Barriers & Cones | 10 Each |
| 13 | Smoke & Gas Detectors | 02 Nos |
| 14 | Emergency Alarm Systems | 02 Nos |

- 0713E&E3702: Maintain Equipment/ Machines at Microgrid station

Overview:

This competency standard covers the under-pinning knowledge and skills required for a student/trainee to be competent in Maintaining equipment/ Machines at Microgrid station. After completing the competency standard, student will be able to perform all the task (CU1 to CU7) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Perform Regular Inspections of machines | - Prepare plan for Machine Inspections - Conduct Visual and Physical Inspection - Test Machine Performance and Safety Systems - Prepare Inspection Notes - Comply with Inspection Standards |
| - Perform Preventive Maintenance | - Plan and Schedule Preventive Maintenance Activities - Conduct Routine Inspection and Servicing - Test System Performance and Calibration - Address Potential Issues - Document Maintenance Activities - Comply with Safety and Operational Standards for Preventive Maintenance |
| - Detect the faulty Components/equipment | - Identify Signs of Faulty Components/Equipment - Apply Diagnostic Tools and Techniques - Analyze System Logs and Error Codes - Isolate Faulty Components for Further Examination - Fix the fault |
| - Perform Corrective Maintenance | - Diagnose Equipment Malfunctions - Plan and Prepare for Corrective Maintenance - Repair/Replace Faulty Components - Test and Verify Restored Equipment Functionality - Document corrective Maintenance Activities - Comply with Safety and Operational Standards for Corrective Maintenance |
| - Carryout Run-Test of the repaired/ replaced Component/ equipment | - Prepare for Run-Test - Conduct Initial Functional Check - Execute Full Load Testing - Analyze Test Results and Identify Issues - Document Run-Test Activities |
| - Carry out tagging-in/out of machines/equipment | - Detect the faulty machines/equipment for Tagging - Perform Tagging-Out for Faulty or Under-Maintenance Equipment - Verify Compliance with Safety Measures - Perform Tagging-In After Maintenance - Document and Communicate Tagging Action |
| - Prepare Maintenance Report | - Collect Maintenance Data - Compile the Maintenance Report - Channelize the Report |

Knowledge & Understanding

- Understand Maintenance and its types

- Identification of tools/equipment/materials used for maintenance

- Importance of functional condition of repairing tools and equipment

- Checking techniques for smooth function of repairing tools and equipment

- Importance of regular inspections on machines and equipment.

- Recognition of symptoms of faulty equipment.

- Understanding the impact of faulty components and equipment.

- Testing and verification of components and equipment

- Importance of conducting run-test of equipment.

- Feedback to the maintenance system of run-test.

- Importance of tagging in/out of equipment

- Importance of maintenance report.

- Compliance procedure of maintenance report.

- Maintaining inventory of tools /equipment

- Taking care of greening at the work place

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Conduct Visual and Physical Inspection

- Test Machine Performance and Safety Systems

- Plan and Schedule Preventive Maintenance Activities

- Apply Diagnostic Tools and Techniques

- Repair/Replace Faulty Components

- Execute Full Load Testing

- Perform Tagging-Out for Faulty or Under-Maintenance Equipment.

- Comply with Safety and Operational Standards

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Electrical Hand Tools Kits | 25 Nos |
|  | Torque Wrench | 25 Nos |
|  | Digital Torque Wrench | 25 Nos |
|  | Bearing Puller Set | 25 Nos |
|  | Grease Gun & Lubrication Systems | 25 Nos |
|  | Hydraulic & Pneumatic Test Kits | 25 Nos |
|  | Vibrometer Multi | 25 Nos |
|  | Hammers | 25 Nos |
|  | Flash lights | 25 Nos |
|  | PV Panel cleaning kits | 25 Nos |
|  | Measuring Tapes 50m | 25 Nos |
|  | Hacksaw set | 25 Nos |
|  | Allen Key Set | 25 Nos |
|  | Spanner Set | 25 Nos |
|  | Mallet | 25 Nos |
|  | Insulated Screw Driver Set | 25 Nos |
|  | Hygrometer | 25 Nos |
|  | Digital Wireless Tachometer | 25 Nos |
|  | Digital Vernier Caliper | 25 Nos |
|  | Micrometer Screw Guage | 25 Nos |
|  | Bearing Induction Heater | 25 Nos |
|  | Drill Machines | 25 Nos |
|  | LT Drill Machines | 25 Nos |
|  | Portable Hand Drill | 25 Nos |
|  | Digital Multimeter | 25 Nos |
|  | AC/DC Digital Clamp meter | 25 Nos |
|  | Scissors | 25 Nos |
|  | Insulation Resistance tester | 25 Nos |
|  | Insulated Ladder | 05 Nos |
|  | Wheel Barrow | 05 Nos |
|  | Trowel | 25 Nos |
|  | Heat Gun | 25 Nos |
|  | Air Blower | 05 Nos |
|  | Wire Stripper | 25 Nos |
|  | Thimble Pressing Machines | 25 Nos |

- 0713E&E3703: Operate Microgrid in line with the SOP’s

Overview:

This competency standard outlines the necessary skills and knowledge required to efficiently operate a Microgrid system while adhering to Standard Operating Procedures (SOPs). It covers system startup, load management, frequency regulation, and shutdown procedures to ensure the reliability, safety, and efficiency of power distribution. After completing the competency standard, student will be able to perform all the task (CU1 to CU4) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Start Generation system | - Identify operational requirements for power generation based on system demand - Check the availability of energy sources (renewable or hybrid) - Perform pre-startup safety checks and ensure protection systems are active - Start up the Generation system following SOPs and synchronize with the microgrid - Monitor generation parameters |
| CU2. Shift load on the generator | - Assess load demand and distribution within the Microgrid - Transfer loads to the generator based on capacity and priority - Perform load shifting provided that it does not cause voltage fluctuations or frequency instability - Coordinate with relevant personnel to ensure smooth transitions |
| CU3. Maintain frequency of Microgrid for smooth operation | - Monitor frequency levels using system indicators and control mechanisms - Adjust generation output to balance demand and maintain stable frequency - Respond to fluctuations caused by load changes or system disturbances - Implement frequency control measures such as load shedding/load management or generator adjustments - Record frequency variations and corrective actions taken |
| CU4. Operate switchgears for shutdown | - Follow SOPs for shutting down Microgrid components safely - Operate circuit breakers, disconnect switches, and protective devices in sequential order - Confirm system shutdown and communicate with relevant stakeholders - Record documentation of shutdown procedures and system status |

Knowledge & Understanding

- Definition, purpose, and benefits of Microgrids

- Types of Microgrids (grid-tied, off-grid, hybrid)

- Key components of a Microgrid (generation sources, energy storage, controllers, switchgear, and loads)

- Types of generation sources used in microgrids (hydel, solar PV, wind, diesel generators, battery storage)

- Importance of Standard Operating Procedures (SOPs) in microgrid operation

- Pre-start inspection requirements for generation systems

- Generator startup procedures (manual and automatic)

- Role of inverters and power converters in renewable energy-based microgrids

- Knowledge of Protection devices (overload, short circuit, earth fault protection)

- Troubleshooting techniques (low voltage, fuel supply issues, battery faults)

- Importance of load demand assessment before starting the generator

- Consequences of improper generator startup (equipment damage, instability, safety hazards)

- Understanding of Automatic control systems manage generation startup procedure

- Understanding of Load characteristics (base load, peak load, intermittent loads)

- Load prioritization strategies (critical vs. non-critical loads)

- Methods for transferring loads smoothly (manual switching, automatic load management)

- Impact of load shifting on generator efficiency and fuel consumption

- Overload protection mechanisms and circuit breaker settings

- Effects of sudden load changes on generator stability

- Relationship between power factor and generator efficiency

- Role of energy management systems (EMS) in automated load balancing

- Risks of overloading and underloading a generator

- Fundamentals of frequency regulation (50Hz or 60Hz) and its importance

- Factors affecting microgrid frequency stability (load variations, generator response time)

- Frequency regulation methods (governor control, droop control, load shedding)

- Role of Automatic Voltage Regulators (AVR) and governor control

- Battery Energy Storage System (BESS) and its role in frequency stabilization

- Introduction of SCADA systems

- Importance of maintaining frequency within acceptable limits to prevent blackouts

- Function and types of switchgear (circuit breakers, disconnect switches, contactors, relays)

- Safe shutdown procedures for microgrid generators and distribution systems

- Lockout/Tagout (LOTO) procedures for isolating electrical equipment

- Sequential shutdown of loads to prevent power surges or instability

- Knowledge of Emergency shutdown procedures in case of faults or abnormal conditions

- Difference between planned and emergency shutdown procedures

- Difference between islanding and reconnecting to the main grid

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Identify Operational Requirements for Power Generation

- Check the Availability of Energy Sources

- Perform Pre-Startup Safety Checks

- Monitor Generation Parameters

- Perform Load Shifting provided that it Does Not Cause Voltage or Frequency Instability

- Adjust Generation Output to Balance Demand

- Implement Frequency Control Measures

- Follow SOPs for Shutting Down Microgrid Components Safely

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S. No | Items | Quantity |
| --- | --- | --- |
|  | Digital Multimeter | 25 Nos |
|  | DC/AC Clamp Meter | 25 Nos |
|  | Power Quality Analyzer | 25 Nos |
|  | Infrared Thermometer | 25 Nos |
|  | Motor Generator Set | 25 Nos |
|  | Fuel Flow Meter (For Diesel Generators) | 25 Nos |
|  | Solar Irradiance Meter (For Renewable Systems) | 25 Nos |
|  | Lockout/Tagout (LOTO) Kit | 25 Nos |
|  | Grounding Rods & Clamps | 25 Nos |
|  | Insulation Resistance Tester | 25 Nos |
|  | Circuit Breaker Analyzer | 25 Nos |
|  | Synchroscope | 25 Nos |
|  | Magnetic Contactor 220V | 25 Nos |
|  | Magnetic Contactor 400V | 25 Nos |
|  | On-Off Push Buttons | 25 Nos |
|  | Rev-Stop-For Push Button | 25 Nos |
|  | Thermal Overload | 25 Nos |
|  | Phase Sequence Relay | 25 Nos |
|  | Current Transformer (CTs) | 25 Nos |
|  | Potential Transformers (PTs) | 25 Nos |
|  | Galvanometer | 25 Nos |
|  | Exciters | 25 Nos |
|  | Automatic Voltage Regulator | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Single Phase Wattmeter | 25 Nos |
|  | Three Phase Wattmeter | 25 Nos |
|  | DC Wattmeter (100W) | 25 Nos |
|  | Digital Lux Meter | 25 Nos |
|  | Analog Lux Meter | 25 Nos |
|  | Solar Panels (180W, 585W) | 25 Nos each |
|  | Inverters (1000W, 2kW, 5kW) | 25 Nos |
|  | Controller Trainer | 25 Nos |
|  | Charge Controller PWM (20A, 30A) | 25 Nos each |
|  | Charge Controller MPPT (40A) | 25 Nos |
|  | Battery 100Ah | 25 Nos |
|  | Battery 200Ah | 25 Nos |
|  | Single Phase Energy meters (Analog and Digital) | 25 Nos each |
|  | Three Phase Energy meters (Analog and Digital) | 25 Nos each |
|  | Testing Board | 25 Nos |
|  | Single Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Two Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Three Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Power Factor meter | 25 Nos |
|  | kVAR meter | 25 Nos |
|  | Four Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |

- 0713E&E3704: Control Operation of Microgrid

Overview:

This competency standard outlines the essential skills and knowledge required to control operation of a Microgrid effectively. It covers real-time monitoring, forecasting energy demand, assessing renewable energy availability, scheduling operations, and managing variations in load and generation. The goal is to ensure stable, efficient, and safe Microgrid operation while optimizing energy use. After completing the competency standard, student will be able to perform all the task (CU1 to CU6) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Forecast load of Microgrid | - Analyze historical load data to predict future demand - Check seasonal, daily, and hourly load variations - Assess factors influencing load demand (weather, industrial use, etc.) |
| - Check hydrology/ wind speed/ solar Irradiation | - Monitor weather conditions affecting renewable energy sources - Apply hydrological data to estimate hydroelectric power generation potential - Measure wind speed and direction to assess wind power availability - Analyze solar radiation levels to determine solar energy output |
| - Assess load pattern for 24 hours | - Collect data regarding past energy consumption - Evaluate past energy consumption trends over a 24-hour cycle - Check peak and off-peak demand periods. - Assess Grid stability based on demand fluctuations - Adjust energy storage and generation accordingly |
| - Plan schedule as per load pattern | - Develop energy dispatch schedule to match demand and generation - Allocate power sources based on availability and efficiency - Confirm backup power availability for emergency scenarios - Coordinate with stakeholders for schedule approval and execution |
| - Implement the planned schedule | - Execute power distribution and generation as per the approved plan - Monitor deviations in real-time. - Verify smooth transition during load shifting - Document system performance for future improvements |
| CU6. Manage variation in term of load and generation | - Respond to unexpected fluctuations in demand and supply. - Implement load-shedding if required. - Optimize the use of energy storage systems (batteries, pumped storage, etc.). - Maintain communication with grid operators and stakeholders for coordinated adjustments |

Knowledge & Understanding

- Definition and purpose of Microgrid control systems

- Key Components of Microgrid control systems (generation sources, loads, energy storage and switchgear)

- Understanding of load forecasting and its methods

- Identification of factors affecting load demand such as: time of day (peak vs. off-peak), weather conditions and seasonal variations, Industrial, commercial, and residential consumption trends.

- Importance of accurate forecasting helps prevent system overload or underutilization.

- Understand weather conditions influence electricity demand.

- Impacts of inaccurate forecasting on power generation efficiency and operational costs

- Differentiate between residential, commercial, and industrial consumers.

- Track variations in energy demand due to weather changes, industrial shifts, or unexpected events.

- Knowledge of renewable energy availability aligns with the load pattern.

- Understand energy demand fluctuates throughout the day.

- Factor in maintenance schedules for power generation equipment.

- Understanding of proper scheduling reduces energy waste and lowers costs.

- Use load control devices and automation to manage demand efficiently.

- The role of automated control systems in executing the schedule.

- Causes of load variations (weather, sudden demand spikes, equipment failure).

- Use grid frequency regulation techniques (automatic voltage regulation, reactive power compensation).

- Adjustment techniques of power supply by, Increasing/decreasing generator output, activating energy storage systems., switching power sources dynamically.

- Emergency response protocols to handle power instability.

- Identification of frequency and voltage regulation critical for a stable grid.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Analyze Historical Load Data to Predict Future Demand

- Assess Factors Influencing Load Demand (Weather, Industrial Use, etc.)

- Monitor Weather Conditions Affecting Renewable Energy Sources

- Respond to Unexpected Fluctuations in Demand and Supply

- Optimize the Use of Energy Storage Systems

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Computer System with Printer | 25 Nos |
|  | Handheld Anemometer | 25 Nos |
|  | Solar Irradiance Meter | 25 Nos |
|  | Rain Guage | 25 Nos |
|  | Water Flow meter | 25 Nos |
|  | Water level Sensors | 25 Nos |

- 0713E&E3705: Perform Data Monitoring of Microgrid

Overview:

Monitoring a Microgrid is about keeping an eye on how much power is being made and used, as well as checking the energy storage levels, voltage, and frequency. This helps make sure everything is running smoothly. Technicians use special tools to track this data in real time, looking for any problems like power surges or low energy levels. If something goes wrong, they can fix it right away. Automated alerts also help warn them if something isn’t working properly, ensuring the system stays stable and provides reliable energy. After completing the competency standard, the student will be able to perform all the task (CU1 to CU4) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Check Grid Parameters as per Grid Code/SOPs | P1: Inspect panels for recoding real-time grid data. P2: Configure monitoring systems. P3: Manage settings on equipment to match grid parameters. P4: Document grid data in logs & reports accurately. P5: Verify the grid data as per standard. P6: Fix variations by adjusting the system. P7: Record and report Grid data. |
| - Adjust the Grid Parameter Variation | P1: Monitor the grid parameters. P2: Identify the cause of the grid parameter variation. P3: Inspect control systems or equipment to adjust the grid parameters. P4: Modify the settings to bring the grid parameters back within acceptable limits. P5: Check that the adjustments are working by observing real-time data. P6: Confirm that the grid parameters are stable and meet required standards. |
| - Record Variation in Grid Parameters | P1: Identify any variations in the grid parameters that are outside the normal range. P2: Log the time and details of the variations in a record-keeping system. P3: Document the type and extent of the variation in an easy-to-read format. P4: Verify the accuracy of the recorded variation by double-checking the data. P5: Update the records as needed with any new information about the variations. |
| - Generate Grid Parameters Report. | P1: Document all grid parameter variations, including any corrective actions taken. P2: Summarize key findings in the report, highlighting any problems or unusual patterns. P3: Verify the accuracy of the report by double-checking the data and calculations. P4: Create the final report using the proper templates or formats for easy reading and understanding. P5: Submit the report to the relevant team or manager for review and further action. P6: Maintain records of the report for future reference or audits. |

Knowledge & Understanding

- Understanding of why monitoring Microgrid data is important for efficiency, stability and system requirements.

- Explanation of key data points to monitor in a Microgrid, like power generation, load, voltage, frequency, and energy storage.

- Introduction of monitoring tools (SCADA, sensors, software) to collect real-time data from microgrid components.

- Evaluation of microgrid performance based on data, checking if it's within expected parameters or needs corrections.

- Understanding of Grid parameters (voltage, frequency, power factor) that need to be monitored according to grid code/SOP.

- Knowledge of grid code/SOP requirements, including acceptable limits for parameters to ensure compliance and stability.

- Understanding how variations in grid parameters affect stability, performance, and efficiency.

- Understanding of causes for grid parameter changes (e.g., load shifts, generation changes) to decide on needed adjustments.

- Knowledge of the significance of recorded variations to determine if corrective actions are needed.

- Understanding the importance of recording grid parameter changes for troubleshooting, analysis, and stability.

- Use of tools or systems (e.g., logs, databases) to record grid parameter changes accurately and keep data reliable.

- Analysis of recorded variations to spot patterns, recurring issues, or potential failures needing investigation.

- Evaluation of the significance of recorded variations to determine if corrective actions are needed.

- Creation of protocols for consistent recording and reviewing of grid parameter variations for future reference.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Check real-time Grid Parameters as per Grid Code

- Identify any variations in the grid parameters that are outside the normal range.

- Fix variations by adjusting the system.

- Modify the settings to bring the grid parameters back within acceptable limits.

- Test the system after adjustments for proper operation.

- Document the type and extent of the variation for future reference or audits.

- Verify the accuracy of the recorded variation by double-checking the data.

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Computer with Printer | 25 Nos |
|  | Digital Multimeter | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Voltmeter | 25 Nos |
|  | Telephone Set | 05 Nos |
|  | Single Phase Energy meter | 25 Nos |
|  | Three Phase Energy meter | 25 Nos |
|  | Anemometer | 25 Nos |
|  | Solar Irradiance meter | 25 Nos |

- 0713E&E3706: Manage Power Generation

Overview:

Managing power generation means ensuring enough electricity is produced to meet demand by balancing sources like solar, wind, and generators. Technicians monitor energy use, adjust output, and maintain system stability. They quickly address issues like power drops or equipment failures to prevent disruptions. After completing the competency standard, the student will be able to perform all the task (CU1 to CU6) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Carry out Mega watt Control through water flow | P1: Locate the water flow control valve and megawatt controller panel. P2: Check the current water flow rate and megawatt output readings. P3: Adjust the water flow valve to increase or decrease flow. P4: Monitor the changes in megawatt output. P5: Perform fine-tuning of water flow to maintain stable megawatt output. P6: Record the final water flow rate and megawatt output readings. |
| - Carry out Mega watt Control through Solar Radiation | P1: Identify the solar radiation sensor and megawatt control panel. P2: Check the current solar radiation levels and megawatt output. P3: Adjust the megawatt control settings based on solar radiation levels. P4: Monitor the changes in megawatt output as solar radiation fluctuation. P5: Perform fine-tuning of the megawatt control settings to optimize performance based on solar radiation. P6: Record the final solar radiation and megawatt output readings for reference. |
| - Perform Mega watt Control through wind speed | P1: Locate the wind speed sensor and megawatt control panel. P2: Check the current wind speed and megawatt output readings. P3: Adjust the megawatt control settings based on the wind speed. P4: Monitor the changes in megawatt output as wind speed varies. P5: Perform fine-tuning of the megawatt control settings to maintain stable output as wind speed fluctuates. P6: Record the final wind speed and megawatt output readings. |
| - Perform Mega VAR (MVAR) through Excitation in hydel Power generation System | P1: Locate the excitation control panel and MVAR measurement system. P2: Check the current MVAR levels and excitation system settings. P3: Adjust the excitation control to increase or decrease the MVAR output. P4: Monitor the changes in MVAR output. 5: Perform fine-tuning of the excitation settings to maintain desired MVAR levels. P6: Record the final excitation settings and MVAR output for reference. |
| - Perform Mega VAR (MVAR) through in/out filters for solar and wind system | P1: Identify the in/out filters and MVAR control panel for the solar and wind system. P2: Check the current MVAR levels and filter settings for both solar and wind systems. P3: Adjust the in/out filters to modify the MVAR output based on system requirements. P4: Monitor the MVAR levels and filter performance as adjustments are made. P5: Perform fine-tuning of the filter settings to achieve the desired MVAR output for both solar and wind systems. P6: Record the final filter settings and MVAR output for future reference. |
| - Maintain the desired (50Hz) Frequency | P1: Identify the frequency monitoring system and control panel. P2: Check the current system frequency and compare it with the desired 50Hz. P3: Adjust the system settings (e.g., generator load or input) to maintain the 50Hz frequency. P4: Monitor the frequency continuously to ensure it stays at 50Hz. P5: Perform Fine-tuning of system adjustments if the frequency deviates from 50Hz. |

Knowledge & Understanding

- Electrical Power and its types

- Effect of MW and MVAR on frequency and voltages in Hydel System

- Definition of Power Factor

- Conversion ratio of water flow into MWs

- Conversion of wind speed into MWs

- Conversion of solar radiation into MWs

- Knowledge of MVAR compensation through use of RLC filters and excitation

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Check current water flow rate and megawatt output readings.

- Perform fine-tuning of water flow to maintain stable megawatt output.

- Check the current solar radiation levels and megawatt output.

- Adjust the megawatt control settings based on wind speed.

- Check the current MVAR levels and excitation system settings.

- Adjust the excitation control to increase or decrease the MVAR output.

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Computer with Printer | 25 Nos |
|  | Digital Multimeter | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Voltmeter | 25 Nos |
|  | Telephone Set | 05 Nos |
|  | Single Phase Energy meter | 25 Nos |
|  | Three Phase Energy meter | 25 Nos |
|  | Anemometer | 25 Nos |
|  | Solar Irradiance meter | 25 Nos |
|  | Wattmeters | 25 Nos |
|  | kVARs Meter | 25 Nos |

- 0713E&E3707: Manage Load dispatching

Overview:

This competency standard covers the under-pinning knowledge and skills required for a student/trainee to be competent in monitoring, implement load shedding strategies and communication. After completing the competency standard, the student will be able to perform all the task (CU1 to CU5) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Monitor Power Demand & Supply | - Identify demand requirement with respect to load - Check the generation Capability - Adjust the difference between Demand & Supply - Record difference between Demand & Supply - Report recorded data. |
| - Optimize Power Distribution | - Check requirements for optimization - Evaluate load distribution - Monitor over-loading of system. - Adjust load variation as per demand. |
| - Implement Load management/ Shedding Strategies | - Analyze excess demand of load - Check distribution load as per system - Select Areas for load shedding based on its importance - Implement load shedding Schedule |
| - Coordinate with Generation Sources | - Identify Power Generation Sources - Analyze Power Generation Capability - Monitor Power Supply Parameters - Perform Synchronization with Grid in case of multiple generation sources - Communicate with Power Station’s staff - Handle Power Contingencies - Maintain Coordination Logbook |
| - Perform Communication with Operators & Stakeholders. | - Identify the cause of faults - Check the available sources for communication. - Communicate with the concerned person/Stakeholder. - Maintain information clarity at the floor - Interpret signage language at the workplace |

Knowledge & Understanding

- Understanding the use of meters and knowledge of power consumption trends.

- Knowledge of different generation sources (thermal, hydro, renewable) and their capacity to meet varying demand levels.

- Understanding of phase load distribution,

- Knowledge of frequency regulation methods such as Automatic Generation Control (AGC), reactive power management, and voltage stabilization.

- Awareness of automated alerts, and real-time communication protocols for operators and consumers during power fluctuations.

- Understanding of SOPs of industry standards.

- Identification of communication source.

- Recognition of signage language at the work place

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Identify meters and other monitoring tools.

- Analyze Power Generation Capability

- Manage load shedding strategies

- Monitor over-loading of the system

- Adjust load variation as per demand

- Maintain power system stability, including frequency regulation logs, voltage stabilization reports, or reactive power compensation strategies.

- Perform effective communication with grid operators, power plants, and consumers

- Interpret signage language at the work place

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Computer with Printer | 25 Nos |
|  | Digital Multimeter | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Voltmeter | 25 Nos |
|  | Telephone Set | 05 Nos |
|  | Single Phase Energy meter | 25 Nos |
|  | Three Phase Energy meter | 25 Nos |
|  | Anemometer | 25 Nos |
|  | Solar Irradiance meter | 25 Nos |
|  | Wattmeter | 25 Nos |
|  | kVARs Meter | 25 Nos |

- 0713E&E3708: Manage Load Stability

Overview:

This competency standard covers the under-pinning knowledge and skills required for a student/trainee to be competent in monitor voltage frequency level, handle emergency level. Balance load and generation, implement AVR. After completing the competency standard, the student will be able to perform all the task (CU1 to CU6) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Monitor Voltage & Frequency Levels | - Record voltage level at Grid - Record frequency levels - Maintain variation of grid as per standard. - Maintain log-book for grid parameter |
| - Handle emergency situation of Microgrid | - Locate emergency fault - Identify nature of fault - Isolate emergency faulty component/equipment in grid - Perform emergency shutdown for fault clearance - Report the emergency incident. - Replace Faulty component in Grid - Test operation of grid after fault rectification |
| - Perform Balancing of Load and Generation. | - Analyze load demand as per generation capacity. - Match demand & supply as per real-time consumption. - Distribute load effectively. |
| - Integrate Battery Energy Storage Systems (BESS) | P1. Configure battery energy storage systems based on grid demand. P2. Connect battery energy storage units to Microgrid. P3. Verify charge cycles for efficiency. P4. Verify discharge cycles for efficiency. |
| - Implement Automatic Voltage Regulation (AVR) | P1. Evaluate AVR settings based on system voltage requirements. P2. Monitor voltage regulation performance. P3. Analyze AVR parameters for stable voltage. P4. Record AVR parameters |

Knowledge & Understanding

- Knowledge of voltage and frequency control principles in Microgrid operations.

- Understanding of emergency handling procedures in Microgrid failures.

- Knowledge of load balancing techniques to prevent grid instability.

- Familiarity with battery energy storage systems

- Knowledge of Automatic Voltage Regulation (AVR) principles and its role in grid stability.

- Knowledge of grid communication systems for real-time monitoring.

- Awareness of regulatory standards and safety protocols in Microgrid operations.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Record voltage and frequency level at Grid

- Identify nature of fault

- Isolate faulty component

- Match demand & supply as per real-time consumption

- Adjust AVR settings based on system voltage requirements.

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Computer with Printer | 25 Nos |
|  | Digital Multimeters | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Voltmeters | 25 Nos |
|  | Telephone Set | 05 Nos |
|  | Single Phase Energy meter | 25 Nos |
|  | Three Phase Energy meter | 25 Nos |
|  | Anemometer | 25 Nos |
|  | Solar Irradiance meter | 25 Nos |
|  | Wattmeters | 25 Nos |
|  | kVARs Meters | 25 Nos |
|  | Battery 100Ah | 25 Nos |
|  | Battery 200Ah | 25 Nos |

- 0713E&E3709: Maintain Inventory of Microgrid System

Overview:

This competency standard covers the underpinning knowledge and skills required for a student/trainee to be competent in Maintaining Inventory of Microgrid System. After completing the competency standard, the student will be able to perform all the tasks (CU1 to CU7) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Maintain Tools, Equipment & spares Inventory | - Identify the tool/Equipment required for Microgrid. - Categorize the equipment/tools - Place / store all the tools/equipment at designated place. - Record the regular cleaning /sharpening /lubricating of the equipment/tools - Apply software tool for inventory management - Check smooth functioning of the tools/ equipment - Update Equipment Records Regularly - Generate Reports on Tools & Equipment Inventory as per SoP. |
| - Maintain Faults Record | - Enlist the number of Faults - Categorize the nature/intensity of faults - Follow Tracking System for each fault - Update Faults Records Regularly - Generate Reports on faults Inventory |
| - Maintain Shift Record | - Maintain human resource record - Check generation & Transmission log book - Check system conditions - Identify low stock items - Record materials used - Maintain inventory storage of safety, labeling, and organizational standards. - Perform Handing / Taking over the shifts |
| - Maintain Supplier and Procurement Records | - Enlist the items received - Enlist the items consumed - Ensure that the faulty or damaged parts are dumped at designated places - Apply Green (Environmental friendly) practices in waste disposal and management process - Update the procurement inventory |
| - Implement Barcode/ RFID System | - Assess Barcode/RFID System Requirements - Plan Barcode/RIPD Implementation - Prepare Barcode/RIPD Implementation - Tag Inventory with Barcodes/RFID - Configure the System - Test the System - Monitor System Performance and Optimize Usage |

Knowledge & Understanding

- Understand the Principles of equipment categorization based on function, type, and operational requirements.

- Importance of maintaining up-to-date inventory records and generating reports for asset management.

- Techniques for identifying, listing, and tracking spare parts and consumables.

- Understanding of inventory control systems and best practices for monitoring stock levels.

- Understanding of software tool for inventory management

- Recognition of barcode/RFID system.

- Techniques for labeling, tagging, configuring, and testing barcode/RFID systems.

- Inspection and auditing procedure.

- Knowledge of best practices for conducting on-site inspections, documenting findings, and identifying issues.

- Explain the Techniques for organizing storage areas to enhance accessibility and efficiency.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Identify required tool/Equipment for Microgrid

- Place / store all the tools/equipment at designated place

- Identify software tool for inventory management

- Check functionality of tool and equipment before placing at their designated place

- Prepare assessment report detailing barcode/RFID system requirements.

- Prepare on-site inspection report.

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Barcode Scanners (For Equipment Tagging & Tracking) | 25 Nos |
|  | RFID Tags & Readers (For Asset Management) | 25 Nos |
|  | Handheld Label Printers (For Equipment & Component Labeling) | 25 Nos |
|  | Digital Weighing Scales (For Measuring Components & Materials) | 25 Nos |
|  | Log Books | 25 Nos |
|  | Microsoft Office 2024 | 05 Nos |

- 0713E&E3710: Perform trouble shooting of Microgrid station

Overview:

This competency standard covers the under-pinning knowledge and skills required for a student/trainee to be competent to Perform trouble shooting of Microgrid station After completing the competency standard the student will be able to perform all the task (CU1 to CU6) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Diagnose Faults | - identify symptoms of faults - Identify the required diagnostic tools and techniques - Interpret system data, logs, and alarms to locate faults - Apply troubleshooting procedures based on system design - Document diagnostic process, findings, and recommended actions |
| CU2.Isolate Faulty Components | - Select necessary tool and equipment to isolate the faulty component - Follow standard procedures to safely isolate the faulty component - Handle the faulty component as per SOPs |
| CU3. Test Faulty Components | - Conduct functional and electrical tests to confirm the fault - Record the diagnosed fault - Recommend necessary repairs or replacements based on findings |
| CU4. Rectify the Fault | - Follow standard procedures and manufacturer guidelines - Rectify fault using the desired tools and equipment - Test the repaired or replaced component for functionality - Verify system stability after rectification - Restore the Microgrid to normal operation |
| CU5. Analyze power quality and load behavior after rectification | - Assess load behavior under different operating conditions - Identify any remaining issues or inefficiencies in the system - Verify proper synchronization of Microgrid components - Analyze system response to varying loads and demand changes - Document findings and corrective measures taken - Recommend further adjustments or optimizations if needed |
| CU6. Prepare report | - Collect relevant data from diagnostics, testing, and rectification - Organize and summarize information in a clear and structured format - Maintain proper documentation for reference and compliance |

Knowledge & Understanding

- Understanding of system’s normal operation and components.

- Types of common failure modes/ faults within the system.

- Identification of relevant diagnostic tools and equipment

- Faults removal technique

- Understanding the difference between hard and intermittent faults.

- Identify faulty components in the Microgrid system

- Techniques for Isolating the defective component to prevent further system failure

- Conducting diagnostic tests using specialized tools and equipment

- Replacement or repair techniques for faulty components

- Understanding of technical fault reports

- Importance of functionality test after repairs & replacement

- Importance of Comparison post-rectification data with baseline measurement

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Interpret of technical fault reports

- Identify symptoms of faults

- Apply fault rectification procedures

- Identify the required diagnostic tools and techniques

- Interpret system data, logs, and alarms to locate faults

- Isolate faulty components to prevent further system failure

- Rectify fault using the desired tools and equipment

- Test the repaired or replaced component for functionality

- Verify system stability after rectification

- Restore the Microgrid to normal operation

- Document the fault rectification

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Digital Multimeter | 25 Nos |
|  | DC/AC Clamp Meter | 25 Nos |
|  | Power Quality Analyzer | 25 Nos |
|  | Infrared Thermometer | 25 Nos |
|  | Motor Generator Set | 25 Nos |
|  | Fuel Flow Meter (For Diesel Generators) | 25 Nos |
|  | Solar Irradiance Meter (For Renewable Systems) | 25 Nos |
|  | Lockout/Tagout (LOTO) Kit | 25 Nos |
|  | Grounding Rods & Clamps | 25 Nos |
|  | Insulation Resistance Tester | 25 Nos |
|  | Circuit Breaker Analyzer | 25 Nos |
|  | Synchroscope | 25 Nos |
|  | Magnetic Contactor 220V | 25 Nos |
|  | Magnetic Contactor 400V | 25 Nos |
|  | On-Off Push Buttons | 25 Nos |
|  | Rev-Stop-For Push Button | 25 Nos |
|  | Thermal Overload | 25 Nos |
|  | Phase Sequence Relay | 25 Nos |
|  | Current Transformer (CTs) | 25 Nos |
|  | Potential Transformers (PTs) | 25 Nos |
|  | Galvanometer | 25 Nos |
|  | Exciters | 25 Nos |
|  | Automatic Voltage Regulator | 25 Nos |
|  | Frequency Meter | 25 Nos |
|  | Single Phase Wattmeter | 25 Nos |
|  | Three Phase Wattmeter | 25 Nos |
|  | DC Wattmeter (100W) | 25 Nos |
|  | Digital Lux Meter | 25 Nos |
|  | Analog Lux Meter | 25 Nos |
|  | Solar Panels (180W, 585W) | 25 Nos each |
|  | Inverters (1000W, 2kW, 5kW) | 25 Nos |
|  | Controller Trainer | 25 Nos |
|  | Charge Controller PWM (20A, 30A) | 25 Nos each |
|  | Charge Controller MPPT (40A) | 25 Nos |
|  | Battery 100Ah | 25 Nos |
|  | Battery 200Ah | 25 Nos |
|  | Single Phase Energy meters (Analog and Digital) | 25 Nos each |
|  | Three Phase Energy meters (Analog and Digital) | 25 Nos each |
|  | Testing Board | 25 Nos |
|  | Single Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Two Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Three Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |
|  | Power Factor meter | 25 Nos |
|  | kVAR meter | 25 Nos |
|  | Four Pole Circuit Breaker (C6,C13,C63) | 25 Nos each |

- 0713E&E3711: Develop Entrepreneurship/Business

Overview:

This competency standard covers the underpinning knowledge and skills required for a student/trainee to be competent in developing entrepreneurial skills and business operations within the energy sector. After completing this competency standard, the Trainee/student will be able to successfully perform all the tasks related to communication, business structuring, financial management, customer engagement, and regulatory compliance in accordance with the essence of the Competency-Based Training System. After completing the competency standard, the student will be able to perform all the tasks (CU1 to CU11) in accordance with the essence of the Competency-Based Training System.

| Competency Units | Performance Criteria |
| --- | --- |
| - Communicate effectively in a professional environment | - Enlist appropriate technical terminology in energy sector. - Deliver clear and concise messages to team members &supervisors. - Demonstrate active listening skills in discussions. - Deliver communication style based on the audience |
| - Prepare reports and documentation | - Prepare daily operation log - Prepare document for maintenance records - Document the troubleshooting reports. - Maintain organized record-keeping system. |
| - Develop customer relationship and service skills | - Address and resolve customer concerns related to energy sector services. - Educate consumers about energy efficiency and sustainable solutions. - Maintain professionalism while interacting with clients and stakeholders. - Build long-term relationships by ensuring customer satisfaction and trust. |
| - Analyse business fundamentals in the energy sector | - Identify the basics of energy business models and revenue generation. - Identify key stakeholders involved in energy projects. - Analyze cost and pricing structures for energy distribution. - Evaluate market trends and business opportunities within the energy sector. |
| - Apply financial management skills | - Prepare cost estimations for energy projects. - Track operational expenses and recommend cost-saving measures. - Identify basic financial terms related to energy businesses. - Develop budgeting strategies to enhance financial sustainability. |
| - Follow entrepreneurial best practices | - Identify market opportunities for energy services. - Develop strategies for business growth and customer acquisition. - Implement risk management techniques for sustainable business operations. - Enlist funding opportunities for energy projects. - Enlist investment opportunities for energy projects. |
| - Implement safety and regulatory compliance | - Enlist the legal and safety requirements for energy operations. - Enlist government policies and licensing requirements. - Enlist occupational health and safety regulations. - Enlist environmental compliance and sustainable energy practices. |
| - Identify business opportunities in the Energy sector | - Conduct market research to identify potential energy business opportunities. - Analyze demand for decentralized energy solutions. - Evaluate the impact of renewable energy trends on energy businesses. - Develop a feasibility study for launching an energy service. |
| - Develop structure of the new Energy business | - Identify different business models for an energy company. - Establish roles and responsibilities within the energy enterprise. - Design an operational workflow for energy distribution. - Demonstrate compliance with industry standards and regulations. |
| - Develop strategy to attract customers | - Create marketing and outreach campaigns to promote energy services. - Engage with potential customers through digital platforms and local events. - Build partnerships with stakeholders and community leaders. - Develop customer incentives to enhance service adoption. |
| - Create portfolios on Facebook, Instagram and Linkedin | - Create a Facebook Page - Upload Portfolio Content on Facebook - Create a Facebook Group - Join already created Facebook groups for freelancers - Create Profile on Instagram - Upload Portfolio Content on Instagram - Create LinkedIn Profile, company page and showcase page - Create LinkedIn group - Join LinkedIn groups for freelancers |

Knowledge & Understanding

- Fundamentals of effective oral and written communication in a technical environment.

- Report writing techniques for documentation, maintenance logs, and incident reports.

- Customer relationship management (CRM) for energy sector professionals.

- Basic principles of entrepreneurship, including market analysis, financial planning, and risk assessment.

- Energy sector regulations related to business operations and compliance.

- Business ethics and professionalism in customer interactions and negotiations.

- Financial management essentials such as cost estimation, budgeting, and revenue tracking.

- Safety and environmental considerations in energy operations.

- Strategies for scaling energy businesses and identifying investment opportunities.

- Methods to attract and retain customers in the energy sector.

- Understanding of market research, business structuring, and promotional strategies in the energy sector.

Critical Evidence(s) Required

The candidate needs to produce the following critical evidence(s) to be declared competent in this competency standard:

- Write and submit a sample daily operation log or technical report.

- Demonstrate oral communication in a team discussion or customer meeting simulation.

- Prepare a basic financial plan for an energy project.

- Identify market opportunities through a brief business proposal or case study.

- Develop a structured business model for energy services.

- Handle a simulated customer complaint resolution.

- Demonstrate professional behavior during role-play scenarios.

- Present marketing and outreach strategies for energy services.

- Identify legal and compliance aspects for an energy operation.

- Complete a safety assessment checklist for an energy facility.

- Comply with energy sector standards and policies.

Tools and equipment Required

The tools and equipment required for this competency standard are given below:

| S.No | Items | Quantity |
| --- | --- | --- |
|  | Directories of existing businesses | 25 |
|  | Examples of business plans | 25 |
|  | Sample of financial plans | 25 |
|  | Business planner templates | 25 |
|  | Start-up-costs estimator | 25 |

- 0713E&E3712: On-Job Training/Project

Overview:

The on-job training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environment. During this phase, students must take on entry level or support roles such as microgrid technician. This role span across diverse industries including hydel, wind, and solar power generation systems or any other relevant industry that enable learners to contribute to power generation while fulfilling the requirements of the qualifications.

As alternate arrangement, in case of non-availability of the concerned industry, the trainees may fulfill requirements of the qualification through conduct of project on the pattern of final year students of Diploma of Associate Engineers (DAEs) or Engineering Universities. This would, no doubt, cover industrial aspect of the qualification.

- List of Tools and Equipment Required for the Qualification:

| S.No | Items | Quantity |
| --- | --- | --- |
| 1 | Personal Protective Equipment’s (PPEs) (Safety Gloves (upto rated 2kV&18kV), Safety Helmets, Safety Glasses, Arc Flash Suit, Safety Shoes, Full Body Harness, Safety Belt, Ear Plugs, Ear Moff, Apron, Safety Jacket) | 25 Sets |
| 2 | Fire Extinguishers (CO2, DCP) | 05 Nos |
| 3 | Fire Hydrants | 02 Nos |
| 4 | Fire Ball Extinguisher | 02 Nos |
| 5 | Fire Blankets | 25 Nos |
| 6 | Sand Buckets | 10 Nos |
| 7 | First Aid Kit | 02 Nos |
| 8 | Safety Mask N95 | 25 Nos |
| 9 | Portable Temporary Ground | 10 Nos |
| 10 | Grounding Rods & Cables | 10 Nos |
| 11 | Lockout/Tagout (LOTO) Kits | 10 Nos |
| 12 | Safety Barriers & Cones | 10 Nos |
| 13 | Smoke & Gas Detectors | 05 Nos |
| 14 | Emergency Alarm Systems | 05 Nos |
| 15 | Digital Multimeter | 10 Nos |
| 16 | DC/AC Clamp Meter | 10 Nos |
| 17 | Power Quality Analyzer | 10 Nos |
| 18 | Infrared Thermometer | 10 Nos |
| 19 | Motor Generator Set | 5 Nos |
| 20 | Fuel Flow Meter (For Diesel Generators) | 10 Nos |
| 22 | Solar Irradiance Meter (For Renewable Systems) | 10 Nos |
| 23 | Lockout/Tagout (LOTO) Kit | 10 Nos |
| 24 | Grounding Rods & Clamps | 10 Nos |
| 25 | Insulation Resistance Tester | 10Nos |
| 26 | Circuit Breaker Analyzer | 10Nos |
| 27 | Synchroscope | 10Nos |
| 28 | Magnetic Contactor 220V | 10Nos |
| 30 | Magnetic Contactor 400V | 10 Nos |
| 31 | On-Off Push Buttons | 10 Nos |
| 32 | Rev-Stop-For Push Button | 10 Nos |
| 33 | Thermal Overload | 10 Nos |
| 34 | Phase Sequence Relay | 10 Nos |
| 35 | Current Transformer (CTs) | 10 Nos |
| 36 | Potential Transformers (PTs) | 10 Nos |
| 37 | Galvanometer | 10 Nos |
| 38 | Exciters | 10 Nos |
| 40 | Automatic Voltage Regulator | 10 Nos |
| 41 | Frequency Meter | 10 Nos |
| 42 | Single Phase Wattmeter | 10 Nos |
| 43 | Three Phase Wattmeter | 10 Nos |
| 44 | DC Wattmeter (100W) | 10 Nos |
| 45 | Digital Lux Meter | 10 Nos |
| 46 | Analog Lux Meter | 10 Nos |
| 47 | Solar Panels (180W, 585W) | 10 Nos each |
| 48 | Inverters (1000W, 2kW, 5kW) | 10 Nos |
| 49 | Controller Trainer | 10 Nos |
| 50 | Charge Controller PWM (20A, 30A) | 10 Nos each |
| 51 | Charge Controller MPPT (40A) | 5 Nos |
| 52 | Battery 100Ah | 10 Nos |
| 53 | Battery 200Ah | 5 Nos |
| 54 | Single Phase Energy meters (Analog and Digital) | 10 Nos each |
| 55 | Three Phase Energy meters (Analog and Digital) | 10 Nos each |
| 56 | Testing Board | 10 Nos |
| 57 | Single Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 58 | Two Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 59 | Three Pole Circuit Breaker (C6,C13,C63) | 10 Nos each |
| 60 | Power Factor meter | 10 Nos |
| 61 | kVAR meter | 10 Nos |
| 62 | Four Pole Circuit Breaker (C6,C13,C63) | 10 Nos |
| 63 | Barcode Scanners (For Equipment Tagging & Tracking) | 10 Nos |
| 64 | RFID Tags & Readers (For Asset Management) | 10 Nos |
| 65 | Handheld Label Printers (For Equipment & Component Labeling) | 10 Nos |
| 66 | Digital Weighing Scales (For Measuring Components & Materials) | 10 Nos |
| 67 | Log Books | 10 Nos |
| 68 | Microsoft Office 2024 | 05 Nos |
| 69 | Computer with Printer | 25 Nos |
| 70 | Telephone Set | 05 Nos |
| 71 | kVARs Meters | 5 Nos |

- List of Consumable items Required for the Qualification:

| S. No. | Items | Quantity |
| --- | --- | --- |
|  | Cable (various gauges: 1.5mm², 2.5mm², 4mm², etc.) | 90m per type |
|  | Connectors & terminals (lug connectors, ring terminals) | 1000 pcs |
|  | Fuses (various ratings: 5A, 10A, 15A, 20A) | 100 each |
|  | Circuit breakers (MCB, MCCB, RCD) | 50 each |
|  | Batteries (for meters & analyzers, AA, AAA, 9V, lithium-ion) | 24 each |
|  | Insulation tape (red, black, yellow, green, blue) | 5 roll each |
|  | Heat shrinks tubing (assorted sizes) | 100m |
|  | Cable glands (assorted sizes) | 100 pcs |
|  | Cable lugs & ferrules | 1000 pcs |
|  | Safety gloves (electrical insulated, cut-resistant, nitrile) – | 50 pairs |
|  | Helmets | 50 pcs |
|  | Safety glasses | 50 pcs |
|  | Arc flash suits | 5 sets |
|  | Face masks (N95, surgical) | 300 pcs |
|  | Earplugs | 200 pairs |
|  | Face shields | 10 pcs |
|  | High-visibility vests | 50 pcs |
|  | Respirators | 10 pcs |
|  | Safety shoes (optional if required) | 50 pairs |
|  | Cable ties (various sizes) | 2000 pcs |
|  | Marking labels (self-adhesive, cable labels) | 500 pcs |
|  | Lockout/Tagout tags | 100 pcs |
|  | Industrial-grade lubricants & grease | 20 liters |
|  | Contact cleaner spray | 10 cans |
|  | Rust removers | 5 liters |
|  | Wire strippers & cutters (extra consumable blades) | 10 pcs |
|  | Calibration stickers & logbooks | 10 set |
|  | Ethernet cables (Cat 6, Cat 5e) | 1000m roll |
|  | RJ45 connectors | 500 pcs |
|  | Fiber optic cables | 500m |
|  | Fiber optic connectors (SC, LC, ST) | 100 pcs |
|  | Network switch replacement modules | 5 pcs |
|  | Power strips & surge protectors | 20 pcs |
|  | BNC connectors (for oscilloscopes) | 10 pcs |
|  | Fire extinguishers (CO₂, dry chemical, foam) | 2 pcs |
|  | Fire extinguisher refills | 5 sets |
|  | Fire blankets | 10 pcs |
|  | First aid kits | 10 kits |
|  | Emergency exit sign | 10 pcs |
|  | Emergency lights (batteries included) | 10 pcs |
|  | Eye wash station solution | 5 liters |
|  | Safety cones & barriers | 20 sets |
|  | Multimeter probes & leads | 50 sets |
|  | Clamp meter accessories (flexible CT coils, extra clamps) | 10 sets |
|  | Oscilloscope probes | 20 sets |
|  | Pressure gauge calibration kits | 5 sets |
|  | Infrared thermometer lens cleaning wipes | 50 packs |
|  | Battery analyzer test leads | 20 sets |
|  | Earth tester auxiliary electrodes | 10 sets |
|  | Whiteboard Markers | 50 sets |
|  | Whiteboard Cleaner | 10 bottles |
|  | Projector bulbs | 5 pcs |
|  | Presentation boards & flip charts | 5 pcs |
|  | Printed training manuals & datasheets | 25 copies |
|  | USB flash drives (for software & reports) | 50 pcs |
|  | Ethernet patch cables (for network devices) | 100 pcs |
|  | Barcode labels (for scanner testing) | 500 pcs |

Members of Qualifications Development Committee

The following members participated in the qualification’s development and validation process:

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| S. No. | Name |  | Organization |
|  |  | Engr. Dr. Mian Khurram Ahsan | Assistant Professor GPI Mardan |
|  |  | Engr. Fawad Ahmad | Assistant Professor GCT Peshawar |
|  |  | Engr. Arshad Iqbal | Lecturer GCT Peshawar |
|  |  | Engr. Waqas Niaz | SDO NTDC |
|  |  | Miss. Ayesha Sumer Usmani | Lab Assistant NFC Multan |
|  |  | Zia ud din | Team Lead (PTCL) PTCL |
|  |  | Engr. Umar Hayat | Instructor (ET) GCT Railway Road LHR |
|  |  | Ms. Zunaira Naeem | Assistant Director (Electrical Tarbela Station) |
|  |  | Engr. Abdul Maqsood | DACUM Facilitator KP-TEVTA |
|  |  | Mr. Atif Bashir | ERP Consultant GNS Solutions PVT CO-DACUM Coordinators: |
| Qualification Review & Development Committee |  |  |  |
|  |  | Engr. Waqas Niaz | SDO NTDC |
|  |  | Engr. Umar Hayat | Instructor (ET) GCT Lahore |
|  |  | Engr. Muhammad Jehangir Khan | Assistant Professor, GCT Nowshera |
|  |  | Engr. Hafiz Muhammad Asad | A. E.E, Tarbela Dam |
|  |  | Engr. Zain ul Abidin, | Asstt. Dy. Dir, NPCC Islamabad |
|  |  | Engr. Ahmad Wisal | A.E.E,Tarbela Dam |
|  |  | Engr. Abdul Maqsood | DACUM Facilitator (KP-TEVTA) |