| DACUM Panel - Engr. Dr. Mian Khurram Ahsan AP GPI Mardan - Engr. Fawad Ahmad AP GCT Peshawar - Engr. Arshad Iqbal Lecturer GCT Peshawar - Engr. Waqas Niaz SDO NTDC - Engr. Umar Hayat Instructor (ET) GCT Lhr - Miss. Ayesha Sumer Usmani Lab Assistant NFC Multan - Zia ud Din Team Lead (PTCL) - Zunaira Naeem Assistant Director (Electrical Tarbela Station) - Engr. Abdul Maqsood DACUM Facilitator: (KP-TEVTA) - Mr. Atif Bashir ERP Consultant GNS Solutions PVT CO-DACUM Coordinators: Muhammad Asim Dy.Director NAVTTC H/Q,s Islamaabad Muhammad Ishaq Dy.Director NAVTTC H/Q,s isalmabad Reviewed/Validated by: - Engr. Waqas Niaz SDO NTDC - Engr. Umar Hayat Instructor (ET) GCT Lhr - Engr.Muhammad Jehangir Khan,AP,GCT Nowshera - Engr.Hafiz Muhammad Asad,A.E.E,Tarbela Dam - Engr.Zain ul Abidin,Asstt.Dy.Dir,NPCC Islamabad - Engr.Ahmad Wisal,A.E.E,Tarbela Dam - Engr. Abdul Maqsood DACUM Facilitator: (KP-TEVTA) | Occupational Profile Chart Of “Micro Grid Technician” (Energy Sector) Level-4 |
| --- | --- |
|  | Date 03-07th March, 2025 |
|  | Lahore, |
|  | National Vocational & Technical Training Commission |

Level-4 “Micro Grid Technician”

| DUTIES and TASKS |  |  |  |
| --- | --- | --- | --- |
| - Maintain Safe Working Environment of Micro Grid |  |  |  |
| A1. Analyze potential risk from Microgrid System & its requirements. | A2. Categorize potential health Risk and safety of the Microgrid working environment | A3. Install Safety Systems. | A4. Monitor Safety Protocols. |
| A5. Repair/Replace faulty components of safety systems. | A6. Maintain Proper Signage and Warning Labels. |  |  |
| - Maintain Equipment/Machines at Micro Grid station |  |  |  |
| B1. Perform Regular Inspections of machines. | B2. Perform Preventive Maintenance. | B3. Detect the faulty Components/equipment. | B4. Perform Corrective Maintenance. |
| B5. Carryout Run-Test of the repaired/ replaced Component/equipment for accurate functioning. | B6. Perform tagging-in/out of machines/equipment.. | B7. Prepare Maintenance Report. |  |
| - Operate Micro Grid in line with the SOPs |  |  |  |
| C1. Start generation system. | C2. Shift load on the generator. | C3. Maintain frequency of Micro Grid for smooth operation. | C4. Operate switch gear for shutdown. |
| - Control Operation of Microgrid |  |  |  |
| D1. Forecast load of Micro Grid. | D2. Check hydrology/ wind speed/solar Radiation. | D3. Assess load pattern for 24 hours. | D4. Plan schedule as per load pattern. |
| D5. Implement the planned schedule. | D6. Manage variation in terms of load and generation. |  |  |
| - Perform Data Monitoring of Microgrid |  |  |  |
| E1. Check Grid Parameters as per Grid Code/SOP. | E2. Adjust the Grid Parameters variation. | E3. Record variation in Grid parameters. | E4. Generate Grid parameters Report. |
| - Manage Power Generation |  |  |  |
| F1. Carry out Mega watt Control through water flow. | F2. Carry out Mega watt Control through Solar Radiation. | F3. Perform Mega watt Control through wind speed. | F4. Perform Mega VAR (MVAR) through Excitation in Hydel Power generation system. |
| F5. Perform Mega VAR (MVAR) through in/out filters for solar and wind system. | F6. Maintain the desired (50Hz) Frequency. |  |  |
| - Manage Load dispatching |  |  |  |
| G1. Monitor Power Demand and Supply. | G2. Optimize Power Distribution. | G3. Implement Load management/shedding strategies. | G4. Coordinate with Generation sources. |
| G5. Perform Communication with Operators & Stakeholders. |  |  |  |
| - Manage Load Stability |  |  |  |
| H1. Monitor Voltage and Frequency Levels. | H2. Handle emergency situation of micro grid. | H3. Perform Balancing of Load and Generation. | H4. Integrate Battery Energy Storage Systems (BESS). |
| H5. Implement Automatic Voltage Regulation (AVR). |  |  |  |
| - Maintain Inventory of Micro Grid System |  |  |  |
| I1. Maintain Tools, equipment & spares Inventory. | I2. Maintain faults Record. | I3. Maintain Shift Record. | I4. Maintain Supplier and Procurement Records |
| I5. Implement Barcode or RFID System. |  |  |  |
| - Perform Trouble shooting of Micro Grid System |  |  |  |
| J1. Diagnose Faults. | J2. Isolate faulty components. | J3. Test faulty components. | J4. Rectify the Fault. |
| J5. Analyze power quality and load behavior after rectification. | J6. Prepare report. |  |  |
| - Develop Entrepreneurship/Business |  |  |  |
| L1. Communicate effectively in a professional environment. | L2. Prepare reports and documentation. | L3. Develop customer relationship and service skills. | L4. Analyze business fundamentals in the energy sector. |
| L5. Apply financial management skills. | L6. Follow entrepreneurial best practices. | L7. Implement safety and regulatory compliance. | L8. Identify business opportunities in the Energy sector. |
| L9. Develop structure of the new Energy business. | L10. Develop strategy to attract customers. | L11. Create portfolios on Facebook, Instagram and Linkedin. |  |

| Tools and Equipment - Personal Protective Equipment’s (PPEs) (Safety Gloves (upto rated 2kV&18kV), Safety Helmets, Safety Glasses, Arc Flash Suit, Safety Shoes, Full Body Harness, Safety Belt, Ear Plugs, Ear Moff, Apron, Safety Jacket) - Fire Extinguishers (CO2, DCP) - Fire Hydrants - Fire Ball Extinguisher - Fire Blankets - Sand Buckets - First Aid Kit - Safety Mask N95 - Portable Temporary Ground - Grounding Rods & Cables - Lockout/Tagout (LOTO) Kits - Safety Barriers & Cones - Smoke & Gas Detectors - Emergency Alarm Systems - Digital Multimeter - DC/AC Clamp Meter - Power Quality Analyzer - Infrared Thermometer - Motor Generator Set - Fuel Flow Meter (For Diesel Generators) - Solar Irradiance Meter (For Renewable Systems) - Lockout/Tagout (LOTO) Kit - Grounding Rods & Clamps - Insulation Resistance Tester - Circuit Breaker Analyzer - Synchroscope - Magnetic Contactor 220V - Magnetic Contactor 400V - On-Off Push Buttons - Rev-Stop-For Push Button - Thermal Overload - Phase Sequence Relay - Current Transformer (CTs) - Potential Transformers (PTs) - Galvanometer - Exciters - Automatic Voltage Regulator - Frequency Meter - Single Phase Wattmeter - Three Phase Wattmeter - DC Wattmeter (100W) - Digital Lux Meter - Analog Lux Meter - Solar Panels (180W, 585W) - Inverters (1000W, 2kW, 5kW) - Controller Trainer - Charge Controller PWM (20A, 30A) - Charge Controller MPPT (40A) - Battery 100Ah - Battery 200Ah - Single Phase Energy meters (Analog and Digital) - Three Phase Energy meters (Analog and Digital) - Testing Board - Single Pole Circuit Breaker (C6,C13,C63) - Two Pole Circuit Breaker (C6,C13,C63) - Three Pole Circuit Breaker (C6,C13,C63) - Power Factor meter - kVAR meter - Four Pole Circuit Breaker (C6,C13,C63) - Barcode Scanners (For Equipment Tagging & Tracking) - RFID Tags & Readers (For Asset Management) - Handheld Label Printers (For Equipment & Component Labeling) - Digital Weighing Scales (For Measuring Components & Materials) - Log Books - Microsoft Office 2024 - Computer with Printer - Telephone Set - kVARs Meters | Entry Requirements - General Electrician -Level-3 - Industrial Electrician- Level-3 - Solar PV Electrician -Level-3 - Or any other Equivalent qualification | Duration of Training Required: The proposed duration of training for Microgrid Technician (level 4} is 40 Credit Hours (840 Contact Hrs ) Theory:80 Practical:520 OJT:240 | Career Paths: Microgrid Supervisor (level -5) |
| --- | --- | --- | --- |