|  | Assessment Evidence Guide For National Vocational Certificate in Solar PV System Senior Technician Level-3 Formative Assessment 0713E&E3505 CS5: Carry out installation of batteries 0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3505 CS5: Carry out installation of batteries 0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform Batteries Fixing - Make Series Connections of Batteries - Make Parallel Connections of Batteries - Interpret BESS (Battery and Energy Storage System) - Drill Holes and fix support structure - Arrange LV panel or DB (Distribution Board) at designated location - Perform LV Panel Fixing - Connect circuit breaker, isolator and surge protection devices etc. - Perform Wiring Tests Activity 1: Perform Fixing of LV Panels/ Power Distribution Boards Activity 2: Perform Installation of Batteries _____________________________________________________________ |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Follow all Installation Steps - Make photos of Installation stages - Ensure compliance of Safety checklists - Perform Electrical Tests Activity 2 - Perform Batteries Fixing - Make Series Connections of Batteries - Make Parallel Connections of Batteries - Make Test of Voltage of Battery - Make Test of Current of Battery - Interpret BESS (Battery and Energy Storage System) |

Section A2: Self-Assessment Checklist

| Assessment Task | - Perform Batteries Fixing - Make Series Connections of Batteries - Make Parallel Connections of Batteries - Interpret BESS (Best Battery and Energy Storage System) - Drill Holes and fix support structure - Arrange LV panel or DB (Distribution Board) at designated location - Perform LV Panel Fixing - Connect circuit breaker, isolator and surge protection devices etc. - Perform Wiring Tests - Activity 1: Perform Fixing of LV Panels/ Power Distribution Boards - Activity 2: Perform Installation of Batteries |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Follow all Installation Steps |  |  |
| - Make photos of Installation stages |  |  |
| - Ensure compliance of Safety checklists |  |  |
| - Perform Electrical Tests |  |  |
| Activity 2 |  |  |
| - Perform Batteries Fixing |  |  |
| - Make Series Connections of Batteries |  |  |
| - Make Parallel Connections of Batteries |  |  |
| - Make Test of Voltage of Battery |  |  |
| - Make Test of Current of Battery |  |  |
| - Interpret BESS (Battery and Energy Storage System) |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3505 CS5: Carry out installation of batteries 0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | - Activity 1: Perform Fixing of LV Panels/ Power Distribution Boards - Activity 2: Perform Installation of Batteries |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
|  | Followed all Installation Steps |  |  |  |  |  |
|  | Made photos of Installation stages |  |  |  |  |  |
|  | Ensured compliance of Safety checklists |  |  |  |  |  |
|  | Performed Electrical Tests |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Performed Batteries Fixing |  |  |  |  |  |
| 2. | Made Series Connections of Batteries |  |  |  |  |  |
| 3. | Made Parallel Connections of Batteries |  |  |  |  |  |
| 4. | Made Test of Voltage of Battery |  |  |  |  |  |
|  | Made Test of Current of Battery |  |  |  |  |  |
|  | Interpret BESS (Battery and Energy Storage System) |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the primary function of batteries in a solar energy system? |  |  |
|  | What factors should be considered when selecting batteries for a solar PV system? |  |  |
|  | What happens to voltage and capacity when batteries are connected in series? |  |  |
|  | Why must the DB be installed at a designated location? |  |  |
|  | Explain the difference between a single-phase and a three-phase power system |  |  |
| 6 | Define the terms: voltage, current, power, and power factor. |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________