|  | Assessment Evidence Guide For National Vocational Certificate in Solar PV System Senior Technician Level-3 Formative Assessment 0713E&E3507 CS7: Lay A.C Wiring of Solar PV System 0713E&E3508 CS8: Lay D.C Wiring of Solar PV System |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3507 CS7: Lay A.C Wiring of Solar PV System 0713E&E3508 CS8: Lay D.C Wiring of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform Wiring of A.C. Circuits (Inverters, AC Breakers, AC SPD etc.) - Perform wiring tests of A.C Circuits - Perform Wiring of D.C. Circuits (Solar Panels etc.) - Perform wiring tests of DC Circuits Activity 1: Perform AC Wiring Installation Activity 2: Perform DC Wiring Installation _____________________________________________________________ |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Draw wiring layout and installation document - Perform compliance to the standard - Perform test of AC Wiring Activity 2 - Draw wiring layout and installation document - Perform compliance to the standard - Perform test of DC Wiring |

Section A2: Self-Assessment Checklist

| Assessment Task | - Perform Wiring of A.C. Circuits (Inverters, AC Breakers, AC SPD etc.) - Perform wiring tests of A.C Circuits - Perform Wiring of D.C. Circuits (Solar Panels etc.) - Perform wiring tests of DC Circuits Activity 1: Perform AC Wiring Installation Activity 2: Perform DC Wiring Installation |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Draw wiring layout and installation document |  |  |
| - Perform compliance to the standard |  |  |
| - Perform test of AC Wiring |  |  |
| Activity 2 |  |  |
| - Draw wiring layout and installation document |  |  |
| - Perform compliance to the standard |  |  |
| - Perform test of DC Wiring |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3507 CS7: Lay A.C Wiring of Solar PV System 0713E&E3508 CS8: Lay D.C Wiring of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1: Perform AC Wiring Installation Activity 2: Perform DC Wiring Installation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
| 1 | Drawn wiring layout and installation document |  |  |  |  |  |
|  | Performed compliance to the standard |  |  |  |  |  |
|  | Performed test of AC Wiring |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Drawn wiring layout and installation document |  |  |  |  |  |
| 2. | Performed compliance to the standard |  |  |  |  |  |
| 3. | Performed test of DC Wiring |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Which type of cable is used for AC wiring from Inverter to distribution panel in Solar PV System? |  |  |
|  | What is difference between AC and DC Wiring? |  |  |
|  | Which tests are performed after laying AC Wiring? |  |  |
|  | Which type of cable is used for DC Wiring in Solar PV System? |  |  |
|  | What is purpose of Charge Controller in DC Wiring? |  |  |
| 6 | Why the polarity is checked in DC Wiring? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________