|  | Assessment Evidence Guide For National Vocational Certificate in Solar PV System Senior Technician Level-3 Formative Assessment 0713E&E3509 CS9: Install Earthing System 0713E&E3510 CS10: Perform connection of Complete Solar PV system |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3509 CS9: Install Earthing System 0713E&E3510 CS10: Perform connection of Complete Solar PV system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Interpret Boring - Interpret Pouring of Earthing Material - Interpret Fixing of earth Electrodes - Perform Laying of Earth Cable - Connect distribution board - Connect AC Earth cables - Connect DC Earth cables - Install Protective Devices - Perform Earth Resistance Test - Connect Panel with Invertors - Connect Invertor with Battery - Connect Invertor With safety equipment - Connect Invertor with Grid Load - Connect Whole Solar PV system with meter - Prepare Solar PV System for Testing Activity 1: Perform Earthing of Solar PV System Activity 2: Install Complete Solar PV System _____________________________________________________________ |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Perform soil assessment - Perform soil resistivity report - Perform Earthing according to the steps - Make connection of earthing cables - Perform Earth resistance test Activity 2 - Prepare System Design - Make Electrical Wiring Connections - Perform Tests |

Section A2: Self-Assessment Checklist

| Assessment Task | - Interpret Boring - Interpret Pouring of Earthing Material - Interpret Fixing of earth Electrodes - Perform Laying of Earth Cable - Connect distribution board - Connect AC Earth cables - Connect DC Earth cables - Install Protective Devices - Perform Earth Resistance Test - Connect Panel with Invertors - Connect Invertor with Battery - Connect Invertor With safety equipment - Connect Invertor with Grid Load - Connect Whole Solar PV system with meter - Prepare Solar PV System for Testing Activity 1: Perform Earthing of Solar PV System Activity 2: Install Complete Solar PV System |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Perform soil assessment |  |  |
| - Perform soil resistivity report |  |  |
| - Perform Earthing according to the steps |  |  |
| - Make connection of earthing cables |  |  |
| - Perform Earth resistance test |  |  |
| Activity 2 |  |  |
| - Prepare System Design |  |  |
| - Make Electrical Wiring Connections |  |  |
| - Perform Tests |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | 0713E&E3509 CS9: Install Earthing System 0713E&E3510 CS10: Perform connection of Complete Solar PV system |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1: Perform Earthing of Solar PV System Activity 2: Install Complete Solar PV System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
|  | Performed soil assessment |  |  |  |  |  |
|  | Performed soil resistivity report |  |  |  |  |  |
|  | Performed Earthing according to the steps |  |  |  |  |  |
|  | Made connection of earthing cables |  |  |  |  |  |
|  | Performed Earth resistance test |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Prepared System Design |  |  |  |  |  |
| 2. | Made Electrical Wiring Connections |  |  |  |  |  |
| 3. | Performed Tests |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | Why earthing is necessary in Solar PV Installation? |  |  |
|  | What are main components in Earthing System for Solar PV System? |  |  |
|  | What is the purpose of lightening arrester? |  |  |
|  | What is function of Solar Inverter? |  |  |
|  | What are main steps in installing a complete Solar PV System? |  |  |
| 6 | Why is it necessary to perform polarity test on DC System? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________