|  | Assessment Evidence Guide For National Vocational Certificate in Solar PV System Supervisor Level-4 Formative Assessment 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System |
| --- | --- |
|  | Date 30 June-to-04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) |
| --- | --- |
| Competency Standard | 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Make pre preparation for identification of Faults - Identify Nature of Faults - Diagnose the fault - Rectify the faults Activity 1: Perform Routine Maintenance Checklist of Solar Panels OR Activity 2: Perform Troubleshooting of Solar PV System |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1 - Make Visual Inspection Records - Make Cleaning Records - Check Electrical Connection - Record Performance Monitoring Data - Verify Maintenance Checklist Activity 2 - Prepare Fault Diagnosis Record - Prepare Fault Rectification Record - Perform Post Rectification Testing - Make Troubleshooting Process Logs |

Section A2: Self-Assessment Checklist

| Assessment Task | - Make pre preparation for identification of Faults - Identify Nature of Faults - Diagnose the fault - Rectify the faults Activity 1: Perform Routine Maintenance Checklist of Solar Panels Activity 2: Perform Troubleshooting of Solar PV System |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| Activity 1 |  |  |
| - Make Visual Inspection Records |  |  |
| - Make Cleaning Records |  |  |
| - Check Electrical Connection |  |  |
| - Record Performance Monitoring Data |  |  |
| - Verify Maintenance Checklist |  |  |
| Activity 2 |  |  |
| - Prepare Fault Diagnosis Record |  |  |
| - Prepare Fault Rectification Record |  |  |
| - Perform Post Rectification Testing |  |  |
| - Make Troubleshooting Process Logs |  |  |
| - Make pre preparation for identification of Faults |  |  |
| - Identify Nature of Faults |  |  |
| - Diagnose the fault |  |  |
| - Rectify the faults |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) |
| --- | --- |
| Competency Standard | 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity 1: Perform Routine Maintenance Checklist of Solar Panels Activity 2: Perform Troubleshooting of Solar PV System |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Activity 1 |  |  |  |  |  |
|  | Made Visual Inspection Records |  |  |  |  |  |
|  | Made Cleaning Records |  |  |  |  |  |
|  | Checked Electrical Connection |  |  |  |  |  |
|  | Recorded Performance Monitoring Data |  |  |  |  |  |
|  | Verified Maintenance Checklist |  |  |  |  |  |
|  | Activity 2 |  |  |  |  |  |
| 1. | Prepared Fault Diagnosis Record |  |  |  |  |  |
| 2. | Prepared Fault Rectification Record |  |  |  |  |  |
| 3. | Performed Post Rectification Testing |  |  |  |  |  |
| 4. | Made Troubleshooting Process Logs |  |  |  |  |  |
| 5. | Made pre preparation for identification of Faults |  |  |  |  |  |
|  | Identified Nature of Faults |  |  |  |  |  |
|  | Diagnosed the fault |  |  |  |  |  |
|  | Rectified the faults |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | How do you identify the nature of faults in a solar PV system? |  |  |
|  | What is the process to diagnose faults in solar PV systems? |  |  |
|  | What types of faults commonly occur in solar PV systems? |  |  |
|  | How does inverter user interface software assist troubleshooting process? |  |  |
|  | By which method faults are rectified in solar PV systems? |  |  |
| 6 | What is the importance of following standard operating procedures in troubleshooting? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________