|  | Assessment Evidence Guide For Solar PV System Senior Technician Level-3 Summative Assessment |
| --- | --- |
|  | Date: 30June -to -04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standards | Module-0713E&E3501 CS1: Prepare Site for Solar PV System (Small Scale) Module-0713E&E3502 CS2: Carryout Installation Structure of Solar PV mountain structure Module-0713E&E3503 CS3: Perform Installation Solar PV modules Module-0713E&E3504 CS4: Perform fixing of solar inverters Module-0713E&E3505 CS5: Carry out installation of batteries Module-0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board Module-0713E&E3507 CS7: Lay A.C Wiring of Solar PV System Module-0713E&E3508 CS8: Lay D.C Wiring of Solar PV System Module-0713E&E3509 CS9: Install Earthing System Module-0713E&E3510 CS10: Perform connection of complete solar PV system Module-0713E&E3511 CS11: Carryout Troubleshooting of Solar PV System Module-0713E&E3512 CS12: Analyze Electricity Bill and Smart Meter |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this assessment, you are required to complete the following within 05 Hrs. time frame (for practical demonstration & assessment): Scenario: You are a Solar PV System Sr. Technician (Level III) working on a 10 kW three-phase Off-Grid solar PV system installed. The system includes a solar inverter, a three-phase distribution board, and Hybrid Inverter. Your task is to install, mount and troubleshoot the complete Solar PV System. You are also required to document all steps and results in a formal commissioning report. Activity 1: Perform Installation and Mounting of 10 Kw Off-Grid Solar PV System OR Activity 2: Perform testing, commissioning and troubleshooting of 10 Kw Off-Grid Solar PV System |
| --- | --- |
| Time: 05 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1: Perform Installation and Mounting of 10 Kw Off-Grid Solar PV System - Ensure all safety measures - Perform Installation by following all steps - Make photographic evidences - Perform Electrical Testing - Make Grounding and Earthing tests - Make Insulation and continuity tests Activity 2: Perform testing, commissioning and troubleshooting of 10 Kw Off-Grid Solar PV System - Make Visual Inspection records - Perform Electrical Tests - Make functional testing logs - Make troubleshooting documentation record |

Section A2: Self-Assessment Checklist

| Assessment Task 1 | Activity 1: : Perform Installation and Mounting of 10 Kw Off-Grid Solar PV System |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Ensure all safety measures |  |  |
| - Perform Installation by following all steps |  |  |
| - Make photographic evidences |  |  |
| - Perform Electrical Testing |  |  |
| - Make Grounding and Earthing tests |  |  |
| - Make Insulation and Continuity tests |  |  |

| Assessment Task 2 | Activity 2: Perform Analysis of Electricity Consumption using Smart meter and Bill Data |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Make Visual Inspection records |  |  |
| - Perform Electrical Tests |  |  |
| - Make functional testing logs |  |  |
| - Make troubleshooting documentation record |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |
| --- | --- |
| Competency Standard | Module-0713E&E3501 CS1: Prepare Site for Solar PV System (Small Scale) Module-0713E&E3502 CS2: Carryout Installation Structure of Solar PV mountain structure Module-0713E&E3503 CS3: Perform Installation Solar PV modules Module-0713E&E3504 CS4: Perform fixing of solar inverters Module-0713E&E3505 CS5: Carry out installation of batteries Module-0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board Module-0713E&E3507 CS7: Lay A.C Wiring of Solar PV System Module-0713E&E3508 CS8: Lay D.C Wiring of Solar PV System Module-0713E&E3509 CS9: Install Earthing System Module-0713E&E3510 CS10: Perform connection of complete solar PV system Module-0713E&E3511 CS11: Carryout Troubleshooting of Solar PV System Module-0713E&E3512 CS12: Analyze Electricity Bill and Smart Meter |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Perform Installation, Testing and Commissioning of DB(Distribution Board), VFD and Solar PV Inverter |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Ensured all safety measures |  |  |  |  |  |
|  | Performed Installation by following all steps |  |  |  |  |  |
|  | Made photographic evidences |  |  |  |  |  |
|  | Performed Electrical Testing |  |  |  |  |  |
|  | Made Grounding and Earthing tests |  |  |  |  |  |
|  | Made Insulation and Continuity tests |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: Perform Analysis of Electricity Consumption using Smart meter and Bill Data |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Made Visual Inspection records |  |  |  |  |  |
|  | Performed Electrical Tests |  |  |  |  |  |
|  | Made functional testing logs |  |  |  |  |  |
|  | Made troubleshooting documentation record |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What are common causes of low or zero output in solar pv system and how it is identified in troubleshooting? |  |  |
|  | How do you verify correct wiring polarity in installation of three phase solar pv system? |  |  |
|  | What steps should be taken to safely reset and restart solar pv inverter showing error codes? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________