|  | Assessment Evidence Guide For Solar PV System Supervisor Level-4 Summative Assessment |
| --- | --- |
|  | Date: 30June -to -04 July 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | National Vocational Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) |
| --- | --- |
| Competency Standards | Module-0713E&E3601 CS1 Perform Solar Site Assessment Module-0713E&E3602 CS2 Design Solar PV System Module-0713E&E3603 CS3 Test Solar PV System As Per Design Module-0713E&E3604 CS4 Configure Solar PV System Module-0713E&E3605 CS5 Prepare Completion Report of Solar PV System Module-0713E&E3606 CS6 Perform Troubleshooting of Solar PV System Module-0713E&E3607 CS7 Inspect Solar PV System Module-0713E&E3608 CS8 Perform Maintenance of Solar PV System Module-0713E&E3609 CS9 Develop Entrepreneurship Skills |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |

Section A1: Guidance for Candidate

| General Guidance | To meet this assessment, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): Scenario: : You are a Solar PV System Supervisor (Level IV) working upto 20 kW three-phase OFF-Grid solar PV system installed. The system includes about 36-50 panels (400-550 W each), three phase Hybrid Inverter and Lithium Ion Battery. Your task is to design, install and commission upto 20 kw OFF Grid Solar PV system. You are also required to document all steps and results in a formal commissioning report. Activity 1: Design and prepare a high-performance solar PV system site of up to 20 kW OR Activity 2: Install, commission, and document a reliable and efficient solar PV system up to 20 kW, ensuring full compliance and optimal performance. |
| --- | --- |
| Time: 04 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | Activity 1: Design and prepare a high-performance solar PV system site of up to 20 kW - Perform detail site assessment - Design Solar PV system Layout - Select Solar PV System Components - Prepare site for Solar PV system Installation Activity 2: Install, commission, and document a reliable and efficient solar PV system up to 20 kW, ensuring full compliance and optimal performance. - Install Mounting Structure/ Solar Panels - Lay wire of PV Modules into string - Commission Solar PV system - Conduct system performance testing of Solar PV modules - Prepare a comprehensive completion report |

Section A2: Self-Assessment Checklist

| Assessment Task 1 | Activity: Design and prepare a high-performance solar PV system site of up to 20 kW |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Perform detail site assessment |  |  |
| - Design Solar PV system Layout |  |  |
| - Select Solar PV System Components |  |  |
| - Prepare site for Solar PV system Installation |  |  |

| Assessment Task 2 | Activity: Install, commission, and document a reliable and efficient solar PV system up to 20 kW, ensuring full compliance and optimal performance. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Install Mounting Structure/ Solar Panels |  |  |
| - Lay wire of PV Modules into string |  |  |
| - Commission Solar PV system |  |  |
| - Conduct system performance testing of Solar PV modules |  |  |
| - Prepare a comprehensive completion report |  |  |

Candidate’s Signature______________ Assessor’s Signature______________ Date__________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | National Vocational Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) |
| --- | --- |
| Competency Standard | Module-0713E&E3601 CS1 Perform Solar Site Assessment Module-0713E&E3602 CS2 Design Solar PV System Module-0713E&E3603 CS3 Test Solar PV System As Per Design Module-0713E&E3604 CS4 Configure Solar PV System Module-0713E&E3605 CS5 Prepare Completion Report of Solar PV System Module-0713E&E3606 CS6 Perform Troubleshooting of Solar PV System Module-0713E&E3607 CS7 Inspect Solar PV System Module-0713E&E3608 CS8 Perform Maintenance of Solar PV System Module-0713E&E3609 CS9 Develop Entrepreneurship Skills |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name: ______________________________________________________________ Registration/Roll Number: ______________________ Signature: _______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ____________________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  | √ |  |  |  |  |
| Knowledge Assessment | √ | √ |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task 1 |  | Activity: Design and prepare a high-performance solar PV system site of up to 20 kW |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Performed detail site assessment |  |  |  |  |  |
|  | Designed Solar PV system Layout |  |  |  |  |  |
|  | Selected Solar PV System Components |  |  |  |  |  |
|  | Prepared site for Solar PV system Installation |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

| Assessment Task 2 |  | Activity: Install, commission, and document a reliable and efficient solar PV system up to 20 kW, ensuring full compliance and optimal performance. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, the candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Installed Mounting Structure/ Solar Panels |  |  |  |  |  |
|  | Laid wire of PV Modules into string |  |  |  |  |  |
|  | Commissioned Solar PV system |  |  |  |  |  |
|  | Conducted system performance testing of Solar PV modules |  |  |  |  |  |
|  | Prepared a comprehensive completion report |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is the purpose of conducting a solar site survey? |  |  |
|  | How can the operation of a solar PV system be monitored digitally? |  |  |
|  | What is the purpose of the handing-over process in solar PV projects? |  |  |
|  | What equipment is used for troubleshooting solar PV systems? |  |  |
|  | What abnormalities indicate urgent faults in a PV system? |  |  |
| 6 | How is solar PV system performance evaluated? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature _________________