Trade Registration Form

- Code and Title of the Qualification

- 0713E&E34 – National Vocational Certificate Level 2 (Solar PV System Technician)

- Pathway / Equivalencies

| Entry Level | Vocational Qualification | Equivalence | Next Progression |
| --- | --- | --- | --- |
| - Minimum have Middle/ preferably Matric | Nil | N/A | - Solar PV System Sr. Technician - Solar PV System Supervisor |

- Student Teacher Ratio

25:1

- Teacher Qualification

  - B.Sc. Engineering and 2 years of relevant work experience

OR

  - B-Tech and 3 years of relevant work experience

OR

  - Diploma Associate Engineer (DAE) and 5 years relevant work experience

OR

  - Minimum having Certificate as Solar PV Technician Level-2 with 8 years relevant work experience

- Duration / Credit Hours / Contact Hours

| Credit Hours | Duration |
| --- | --- |
| 60 | 6 Months |

- List of Competencies/Modules

| Code | Competency standard | NVQF Level | Category |
| --- | --- | --- | --- |
| 0713E&E3401 | Follow Occupational Health and Safety Practices | L-2 | Generic |
| 0713E&E3402 | Demonstrate Basic Communication Skills | L-2 | Generic |
| 0713E&E3403 | Apply Basic Electricity Concept | L-2 | Technical |
| 0713E&E3404 | Perform Single phase/three phase Electrical Wiring System | L-2 | Technical |
| 0713E&E3405 | Introduction to Solar PV System | L-2 | Technical |
| 0713E&E3406 | Design of Solar PV System | L-2 | Technical |
| 0713E&E3407 | Installation of Solar PV System | L-2 | Technical |
| 0713E&E3408 | Maintenance of Solar PV System | L-2 | Technical |
| 0713E&E3409 | Operation of Solar PV System | L-2 | Technical |
| 0713E&E3410 | Soft Skills | L-2 | Technical |

- Class / Workshop Size/ Dimension (25 Students Capacity)

|  | Requirement | Size/Dimensions(feet) |
| --- | --- | --- |
| Classroom | Yes | 25x30 / As per Standard Requirement of affiliation Body |
| Workshop/Laboratory | Yes | 40x40 / As per Standard Requirement of affiliation Body |
| Any other Requirement | No | No |

- Machinery / Lab Equipment (with quantity/25 Students)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 |
|  | Fire Extinguisher (Different Types & standard sizes) | 1 |
|  | Fire Blanket | 1 |
|  | Fire Bucket | 1 |
|  | Safety goggles | 5 |
|  | Safety shoes | 1 |
|  | Safety Helmet (White + Yellow) | 1 |
|  | Safety Harness | 1 |
|  | AVO Meter | 1 |
|  | Combination Plier. | 1 |
|  | Nose plier. | 1 |
|  | Wire Stripper | 1 |
|  | Soldering Iron | 1 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 1 |
|  | Tacho Meter-Digital | 1 |
|  | Earth resistance tester (Digital) | 1 |
|  | Continuity & Insulation tester | 1 |
|  | IR Temperature Gun | 1 |
|  | Digital Multimeter | 1 |
|  | Cable Knife | 2 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 2 |
|  | Hacksaw cutter | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | Digital Oscilloscope | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Inverter 1500-watt sine wave | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 2 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module Mono PERC Half Cut P-Type, 580 W | 1 |
|  | Solar PV Module Mono PERC Half Cut N-Type, 580 W | 1 |
|  | Solar panel monocrystalline | 1 |
|  | Solar panel thin film | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 1 |
|  | Solar PV Tester | 1 |
|  | Three Phase Induction Motor | 1 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multimeter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Safety gloves with leather upper cover (pair) | 2 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Level | 1 |

- Consumable (with quantity/25 Students)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 50-Gram |
| 2 | Soldering paste | 2 |
| 3 | PVC Pipe/Duct. | 10 ft |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 |
| 6 | Distribution Box-PVC | 2 |
| 7 | AC MCB 2P 63A | 1 |
| 8 | AC MCB 1P 16A | 1 |
| 9 | AC MCB 1P 10A | 1 |
| 10 | Rotary Box | 1 |
| 11 | DC Wire 4mm XLPE | 1 coils |
| 12 | DC Wire 6mm XLPE | 1 coils |
| 13 | DC Wire 10mm XLPE | 1 coil |
| 14 | DC Wire 25mm XLPE | 10 ft |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 |
| 24 | Push Button (3H) | 1 |
| 25 | Flexible Pipe 3/4” | 5 ft |
| 26 | Flexible Pipe 1” | 5 ft |
| 27 | Duct Putty 40x40 | 2 |
| 28 | Duct Putty 60x60 | 2 |
| 29 | Rawal Plug | 5 |
| 30 | Panel indicators | 5 |
| 31 | Intermediate Switch | 2 |
| 32 | Screw 1.5” | As Per requirement |
| 33 | Single pole switch. | 1 |
| 34 | Lamp holder | 1 |
| 35 | Lamp AC/DC | 1 |
| 36 | PVC Connector Strip | 1 |
| 37 | Hacksaw Blade | 1 |
| 38 | Drill bits | 1 |
| 39 | Electrical PVC tapes | 2 |
| 40 | Two-way switch | 2 |
| 41 | Two pole switches | 2 |
| 42 | Junction Box | 2 |
| 44 | PVC Cable Ties | 01 Pkt |
| 47 | PVC Distribution Box Casing for breaker | 1 |
| 48 | Connector MC-4 1500V (set) | 5 |
| 49 | PVC Flexible -2 Core Cable -40/0.0076 | 1 Coils |
| 50 | Connector/Tumble -6mm(100nos ) | 1 Pkt |
| 51 | Connector/Tumble -25mm (100 Nos ) | 1 Pkt |
| 52 | Battery Terminals (set) | 2 |
| 53 | Battery Tonic | 2 |
| 54 | Rawal Bolt -13mm | 50 |
| 55 | Lightning Arrester Complete Set (Copper) | 1 |
| 56 | PVC Pipe ¾” | 500 ft |
| 57 | Two Pin Socket | 4 |
| 58 | Lamp Holder | 4 |
| 59 | Junction Box ¾” | 2 |
| 60 | PVC Boards 4”x4” | 6 |
| 61 | DC MCB 2P 63A & 125A | 1 |
| 62 | AC MCCB 3P 40A | 1 |
| 63 | DC SPD 2P 40KA 1500V & 1000V | 1 |
| 64 | AC SPD 2P 40KA 500V | 1 |
| 65 | AC SPD 4P 40KA 1000V | 1 |
| 66 | V+A Protector 2P 80A | 1 |
| 67 | Magnetic Contactors 2+2 | 2 |
| 68 | Phase Failure Relay | 1 |
| 69 | Drawing Charts | 2 |
| 70 | Exercise Board (800x1200 mm) | 2 |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Field | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |