| DACUM Panel - Engr. Shahbaz Hussain (ADG, PSDA) - Engr. Hammad Rafique (Director, PSDA) - Engr. Khalid Mehmood (Assistant Director, NAVTTC) - Bilal Ahmad (Principal, Mubarak Bilal Technical Institute, Gujranwala) - Muhammad Rehan Qureshi (Sr. Instructor, GTTI Gulberg, Lahore) - Engr. Muhammad Saeed (Sr. Instructor, GTTI Gulberg, Lahore) - Zeeshan Ali (Instructor, GVTI, Muzaffarabad) - Engr. Umair Javed (Sales Engineer (Solar), EHome Technologies Pvt. Ltd. Lahore) - Engr. Syed Waqas Hashmi, Assistant Director, P-TEVTA - Muhammad Aasim, Deputy Director, NAVTTC - Muhammad Ishaq, Deputy Director, NAVTTC - Mr. Shams Shahbaz, Assistant Director, P-TEVTA DACUM Facilitator: Dr. Nasir Khan | Occupational Profile Chart of “Solar PV System Technician Level 2 |
| --- | --- |
|  | Date 22-27 July, 2024 |
|  | NAVTTC HQ, Islamabad, Pakistan |
|  | National Vocational & Technical Training Commission |

| DUTIES and TASKS |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Follow Occupational Health and Safety practices |  |  |  |  |
| A1. Ensure use of personal protective equipment (PPE) | A2. Maintain First-aid Box |  | A3. Operate Fire Extinguisher | A4. Adopt professional procedures |
| A5. Attain Health & safety training sessions | A6. Prepare for emergencies |  | A7. Respond to emergencies |  |
| - Demonstrate Basic Communication Skills |  |  |  |  |
| B1. Work in Team | B2. Deal with Clients |  | B3. Demonstrate Basic IT |  |
| - Apply Basic Electricity: |  |  |  |  |
| C1. Interpret Basic Electricity | C2. Interpret Ohm’s Law |  | C3. Make Electric circuits | C4- Perform Series Circuit |
| C5. Perform Parallel Circuit | C6 Perform series-parallel circuits |  | C7. Perform Measurement of Electrical Energy in circuits | C8 Perform real power, apparent power and reactive power Measurements |
| - Perform Single phase/three phase Electrical Wiring System |  |  |  |  |
| D1. Maintain Tools & Equipment for Single Phase Wiring | D2. Make Cable/Wire Joints for Single Phase Wiring |  | D3. Prepare and Install Distribution Boards for Single Phase | D4 Lay cables |
| D5. Practice single phase electrical circuit | D6 Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation, ) |  | D7 Install 3-phase motor connection ON -OFF by Magnetic contactor. | D8 Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator. |
| - Introduction to Solar PV System |  |  |  |  |
| E1. Interpret Renewable Energy Recourses | E2. Interpret Solar System Parts |  | E3. Calculate Panel Size | E4. Calculate Solar Array Size |
| E5. Use of different types of Charge Controllers | E6. Differentiate Types of Solar Panels |  | E7 Classify the types of Inverters | E8. Classify the different types of Batteries |
| E9. Classify the types of Cables / Wires | E10. Use of Earthing and Lighting Arrestors in solar PV system |  |  |  |
| - Design Solar PV system |  |  |  |  |
| F1 Calculate load for solar PV system design |  | F2 Examine working schedule of load | F3 Select Panels | F4 Assess backup time |
| F5 Draw basic design of solar PV System |  |  |  |  |
| - Installation of Solar PV system |  |  |  |  |
| G1. Arrange required tools and equipment |  | G2. Perform PV test | G3. Erect the mounting structure | G4. Fix PV modules as per circuit design |
| G5. Install Off grid and hybrid inverters |  | G6. Install Battery Bank | G7. Connect the PV modules as per circuit design | G8. Installation of energy meters for solar system |
| G9. Perform Test after installation of PV solar System |  |  |  |  |
| - Maintenance of Solar PV system |  |  |  |  |
| H1. Diagnose the fault |  | H2. Repair as per faults | H3. Rectify the faults | H4. Carryout post rectification function test |
| H5. Perform wiring tests |  |  |  |  |
| - Operation of Solar PV System |  |  |  |  |
| I1. Prepare check list for maintenance. |  | I2. Maintenance log sheet | I3. Maintain Solar PV modules | I4. Maintain invertor / Charge controller / Protection circuits |
| I5 Maintain battery bank |  | I6. Perform post verification function of the system |  |  |
| - Soft Skills (Annexed) |  |  |  |  |