National Competency Standards

for “National Vocational Certificate Level 2 in Electrical Technology (Solar PV System Technician)”

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Certificate Level 2 in Electrical Technology (Solar PV System Technician). This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of PSDA, TEVTAs, BTEs and PVTC work diligently to make this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.1.	Introduction 	4

1.2.	Date of development:	5

1.3.	Date of review & validation:	5

1.4.	Entry requirement:	5

2.	Codes of qualification	5

Summary of Competencies……………………………………………………………………...5

0713E&E3401 CS1: Follow Occupational Health and Safety practices ……………….……..6

0713E&E3402 CS2: Demonstrate Basic Communication Skills ………………………………8

0713E&E3403 CS3: Apply Basic Electricity Concept ………………………………………….10

0713E&E3404 CS4: Perform Single phase/three phase Electrical Wiring System …………14

0713E&E3405 CS5: Introduction to Solar PV System………………………………………….18

0713E&E3406 CS6: Design of Solar of PV System…………………………………………….20

0713E&E3407 CS7: Installation of Solar PV System …………………………………………..22

0713E&E3408 CS8: Maintenance of Solar System……………………………………………..25

0713E&E3409 CS9: Operation of Solar System………………………………………………...27

0713E&E3410:  Soft Skills

4.	Tools, Equipment Required	29

5.	Members of Qualification Development & Review Committee	33

# Introduction

Solar energy converts energy from sunlight into electricity directly using photovoltaics (PV) Source: The use of solar energy has been significant growth across the world in the recent years due to reduction in the cost of electricity, related equipment & it also supports green skills. Solar PV system is now becoming financially competitive with conventional forms of power generation. According to the International Renewable Energy Agency (IRENA), Pakistan's total solar installed capacity was 1,244 megawatts as of 2023, an increase of 17% compared to 2021. Due to the falling cost of solar modules and the number of upcoming projects, the utility sector will likely be the most significant part of the Pakistani solar energy market over the next few years. Through the Alternative Energy Development Board, the government is attempting to construct solar power facilities     nationwide. In September 2022, the Pakistani government approved the National Solar Energy Initiative to produce 10,000 megawatts (MW) of electricity through solar energy projects. Hence, with government support, these projects are expected to make the utility sector the dominant force in Pakistan's solar energy industry in the coming years. The increased use of solar energy has maximized the demand of Solar PV Technician having the skills to install, maintain & operate solar photovoltaic systems, thus, meeting the ever-growing demand of industry. This course has been designed and developed to achieve its objectives of providing appropriate skills.

| # Date of development: | # 22-27 July, 2024 |
| --- | --- |
| # Date of review &validation: | # 27 July, 2026 |
| # Entry requirement: | # Minimum must have Middle/ preferably Matric |

# Code of Qualification

The International Standard Classification of Education (ISCED) is a framework for assembling, compiling and analyzing cross-nationally comparable statistics on education and training. ISCED code for this qualification is assigned as follows:

| 0713-E&E34 | National Vocational Certificate Level 2 in Electrical Technology (Solar PV System Technician) |
| --- | --- |

# Summary of competencies

| Competency Standards | NVQF | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level |  | Th | Pr | Total |  |
| 0713E&E3401 CS1: Follow Occupational Health and Safety practices | 2 | Functional | 8 | 32 | 40 | 4 |
| 0713E&E3402 CS2: Demonstrate Basic Communication Skills | 2 | Generic | 10 | 38 | 48 | 4.8 |
| 0713E&E3403 CS3: Apply Basic Electricity Concept | 2 | Technical | 12 | 68 | 80 | 8 |
| 0713E&E3404 CS4: Perform Single phase/three phase Electrical Wiring System | 2 | Technical | 20 | 100 | 120 | 12 |
| 0713E&E3405 CS5: Introduction to Solar PV System | 2 | Technical | 10 | 56 | 66 | 6.6 |
| 0713E&E3406 CS6: Design of Solar PV System | 2 | Technical | 12 | 44 | 56 | 5.6 |
| 0713E&E3407 CS7: Installation of Solar PV System | 2 | Technical | 14 | 78 | 92 | 9.2 |
| 0713E&E3408 CS8: Maintenance of Solar PV System | 2 | Technical | 12 | 38 | 50 | 5 |
| 0713E&E3409 CS9: Operation of Solar PV System | 2 | Technical | 12 | 26 | 38 | 3.8 |
| Soft Skills (Annexed) | - | - | 10 | - | 10 | 1 |
| Total |  |  | 120 | 480 | 600 | 60 |

### 0713E&E3401 CS1 Follow Occupational Health and Safety Practices

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment. The learner will also be able to practice green skills and become more environmentally friendly.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Ensure use of personal protective equipment (PPE) | P1. Arrange the required personal protective equipment P2. Check functional condition of PPE’s P3. Wear personal protective equipment P4. Store PPE at appropriate place after use. |
| CU2. Maintain First-aid Box | P1. Ensure availability of first aid box P2. Check requisite first aid box for emergency P3. Check expiry of medicines P4. Perform first aid treatment against electric shocks P5. Perform first aid treatment/bandages against minor injuries. P7. Develop a waste management plan for first aid supplies, including proper disposal hazardous materials. P8. Promote the use of recyclable materials in the procurement of first-aid box. |
| CU3. Operate Fire Extinguisher | P1. Asses the fire situation. P2. Select the fire extinguisher based on the type and size of the fire. P3. Verify the working condition of the fire extinguisher, ensuring it is properly pressurized and has a valid inspection tag or seal. P4. Apply appropriate fire extinguishing technique such as using the PASS method (Pull, Aim, Squeeze, Sweep) for extinguishing the small fire P5. Check expiry of fire extinguisher P6. Operate fire extinguisher |
| CU4. Adopt professional procedures | P1. Ensure company’s safety policy P2. Adopt company safety procedure P3. Advocate worker with company safety policy P4. Implement Safety sign board as per standard |
| CU5. Attain health & safety training | P1. Take required health and safety training P2. Implement work hazardous material information system (WHMIS) P3. Adopt first aid cardio respiratory, resuscitation and CPR |
| CU6. Prepare for emergencies | P1. Take emergency response training P2. Ensure practice of emergency exercises P3. Check the emergency alarms P4. Ensure regular practice of gathering the workers in assembly area during the emergency. |
| CU7. Respond to emergencies | P1. Follow emergency plan P2. Communicate instructions to co workers P3. Assess risk and determine course of action P4. Operate emergency equipment and supplies P5. Ensure that the ambulance is at standby (for emergency) |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out tasks covered in this competency standards. This includes the knowledge of:

- Factors affecting Health & Safety in the workplace.

- Personal Protective Equipment (PPE)

- First-Aid-Box.

- Emergency medicines and expiry

- Methods of treatment against electric shock

- Methods of treatment against minor injuries

- Types of Fire Extinguisher

- Explain of Fire Extinguisher

- Safety measures

- Types of work site Hazards

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Types of hazards that are most likely to cause harm to health and safety

- Health and safety signs and precautions

- Techniques and methods to identify the risks of hazards at workplace

- Safety reporting procedures and documentation

- Describe fire-fighting methods

- Demonstrate use of appropriate Personal Protective Equipment (PPE) for the assigned job

- Demonstrate removal and disposal of PPE.

Tools and Equipment

| S/NO | Tools and Equipment |
| --- | --- |
| 1 | Protection suite |
| 2 | Safety shoes |
| 3 | Safety goggles |
| 4 | Hearing protection |
| 5 | Respiratory mask |
| 6 | First Aid Box |
| 7 | First Aid Kit |
| 8 | Stretcher |
| 9 | Fire Buckets |
| 10 | Fire Extinguisher |
| 11 | Emergency Alarm/Bell |
| 12 | Emergency response Plan |
| 13 | Fall Protection Plan |

### 0713E&E3402 CS2 Demonstrate Basic Communication Skills

Overview:

This Competency Standard cover the competencies required to apply communication skills at workplace in accordance with the organization’s guidelines and procedures. You are expected to work in a team to achieve common organizational goals and avoid conflicts. This competency standard would also enable you to use basic computer skills to communicate effectively and prepare work related documents and reports. This module also focuses on establishing a green environment by adopting paperless communication medium and emphasis more on digital skills.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Work in Team | P1. Treat team members with respect and maintain Positive relationships to achieve common organizational goals. P2. Note the instruction. P3. Comply with the Instructions. P4. Identify interrelated work activities to avoid confusion P5. Adopt communication skills appropriate to work activities and company procedures P6. Identify problems and resolve them through discussion and mutual agreement. |
| CU2. Deal with Clients | P1. Collect Demand from clients. using appropriate communication procedures P2. Negotiate with client regarding wages, time, labor requirements. P3. Develop consensus with the Client. |
| CU3. Demonstrate Basic IT | P1. Create files and folder in Microsoft Word P2. Demonstrate major commands of operating system/windows P3. Create document P4. Edit document P5. Create tables in Microsoft Word P6. Insert header and footer, footnotes, and page number etc. P7. Create table of contents P8. Print document P9. Use appropriate e-media internet for sending/receiving emails |

Knowledge & Understanding

The candidate must be able to demonstrate fundamental knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Principles of effective and interactive communication 7Cs of communication and their importance.

- Cultural and organizational practices for effective communication Effective negotiation skills.

- Role of team members and functionality of the teams Team dynamics and stages of team development Conflict resolution strategies.

- Negotiation Skills.

- Basic architecture of computer system.

- Input/output devices of computer and their functions.

- Basic computer skills using MS Word, MS Excel, use of internet, sending and receiving emails etc.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competed in this competency standard:

- Communicate effectively with colleagues and clients.

- Develop a job completion report for the work using computer technology

### 0713E&E3403 CS3:        Apply Basic Electricity Concept:

Overview:

After this Competency Standard, the trainee will be able to develop skill and competence required to maintain the knowledge , skill about basic Electricity units, electrical quantity in Series Circuit, Parallel Circuit, series-parallel circuits, electrical power  Electrical Energy, different ratio for real power, apparent power and reactive power for Developing & design  the circuit ,making the connections , estimation of load, rectification of faults in domestic , commercial & industrial wiring.  This competency Standard also basic needs & requirement to design the parameters of Solar PV system.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Interpret Basic Electricity units | P1. Measure Voltage in electrical circuit P2. Measure current in electrical circuit. P3. Measure resistance in electrical circuit P4. Measure Power in electrical circuit P5. Measure Power factor in electrical circuit |
| CU2. Interpret Ohm’s Law | P1. Draw the circuit diagram of Ohm’s Law P2. Measure Voltage in electrical circuit P3. Measure current in electrical circuit. P4. Measure resistance in electrical circuit P5. Verify & compare the electrical quantity V. I & R by reading of meter and Calculation method |
| CU3. Make and solve electric circuits | P1. Verify the Open Circuit by using Multimeter P2. Verify the Short Circuit by using Multimeter P3. Verify the closed Circuit by using Multimeter P4. Verify the Series Circuit by using Multimeter P5. Verify the Parallel Circuit by using Multimeter P6. Draw the circuit diagram of Open/Closed/ Parallel/Series Circuit s |
| CU4. Perform Series Circuit | P1. Draw Series Circuit P2. Measure Current in Series circuit by Ampere meter P3. Measure voltage in series circuit by Voltmeter P4. Measure total series resistance of circuit by Ohm Meter P5. Verify the values of meters taking by direct meter reading. P6. Calculate electrical quantity in series-parallel circuits |
| CU5. Perform Parallel Circuit | P1. Draw Parallel Circuit P2. Measure Current in Parallel circuit P3. Measure voltage in Parallel circuit. P4. Measure total resistance in Parallel circuit P5. Verify the values of meters taking by direct meter reading. P6. Calculate electrical quantity in series-parallel circuits |
| CU6. Perform series-parallel circuits | P1. Draw Series-Parallel Circuit P2. Measure Current in Series-Parallel circuits P3. Measure voltage Series Parallel P4. Measure total series-Parallel resistance P5. Verify the values of meters taking by direct meter reading. P6. Calculate electrical quantity in series-parallel circuits |
| CU7. Perform Electrical Energy in circuits | P1. Measure Voltage in electrical circuit P2. Measure current in electrical circuit. P3. Measure the onload time P4. Measure energy (kwh) in electrical circuit. P5. Verify the values of meters taking by direct meter reading (KWh) and indirect method of meter reading. P6. Calculate Electrical energy in electrical circuit |
| CU8. Perform real power, apparent power and reactive power | P1. Draw power triangle for electrical circuit. P2. Measure real power (Watts) using watt meter P3. Measure apparent power (VA) using Volt meter & Ampere meter P4. Measure reactive power (VAR) using VAR meter P5. Measure Power factor using power factor meter P6. Verify the values of meters taking by direct meter reading and indirect method of reading |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Describe Basic Electricity and units

- Explain Ohm S Law

- Understand the Electric circuits

- Understand the Series Circuit

- Explain the Parallel   Circuit

- Knowledge of series-parallel circuits

- Explain Electrical Energy in circuits

- Explain and calculate the different ratio for real power, apparent power and reactive power

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Series Circuit

- Perform measurement of Electric circuits

- Perform measurement of Electrical Energy in circuits

- Measurement of the electrical quantity’s Volt-Ampere, Resistance by using of different meters

- Measurement of real power, apparent power and reactive power

Tools and Equipment

| S/NO | Tools and Equipment |
| --- | --- |
| 1 | Electrician toolkit complete |
| 2 | AVO Meter |
| 3 | Digital Voltmeter |
| 4 | Digital Ampere Meter |
| 5 | Digital Watt meter |
| 6 | Digital Power Factor meter |
| 7 | Energy Meter |
| 8 | Multimeter |
| 9 | Variable Resistor |
| 10 | Variable Power Supply |
| 11 | VAR Meter |

### 0713E&E3404 CS4 Perform Single Phase/three phase Electrical Wiring System.

This competency standard covers the competencies required to install single phase domestic wiring according to the client’s demand. The trainee will be able to Maintain Tools & Equipment for Single Phase Wiring, Make Cable/Wire Joints for Single Phase Wiring, Prepare and Install Distribution Boards for Single Phase, lay cables, practice single phase electrical circuits and perform single phase electrical domestic wiring. This Competency Standard covers the skills and knowledge required to Make and Install a 3-phase motor connection Reverse/ forward by Magnetic contactor

| Competency Units Uni | Performa Performance Criteria |
| --- | --- |
| CU1. Maintain Tools & Equipment for Single Phase Wiring | - Identify tools and equipment - Arrange Tools and Equipment - Interpret job card - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment - Maintain Tool Box |

| CU2. Make Cable/Wire Joints for Single Phase Wiring | - Select the cable. - Strip the wire according to 50mm. - Make Cross/Twist joint - Make Straight/Married joint - Make T-Joint - Make Rat tail joint - Make Britannia joint |
| --- | --- |
| CU3. Prepare and Install Distribution Boards for Single Phase s for Single Phase | - Identify location of distribution boards as per drawing - Select size of distribution board (DB) as per requirement - Install Distribution Board - Define concept of voltage drop |
| CU4. Lay cables | P1. Select cables as per calculation according to color code P2. Verify quality and size of cables P3. Lay cables according to drawing P4. Insulate the joints with insulation tape |
| CU5. Practice of single phase electrical circuit | - Draw wiring diagram of single-phase circuit. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| CU6. Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation) | - Draw wiring diagram for single phase. - Draw Current path diagram for single phase. - Draw layout diagram for single phase. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply |
| CU7. Install 3-phase motor connection ON -OFF by Magnetic contactor. | P1. Draw layout diagram of circuit. P2. Draw control diagram of circuit. P3. Draw power diagram of circuit. P4. Draw wiring diagram of circuit. P5. Install ON-OFF circuit by Magnetic contactor. P6. Make exercise on exercise board according to installation/ layout diagram along with accessories. P7. Lay wires in duct/pipe according to layout diagram. P8. Make connections according to wiring diagram. P9. Check the circuit before connect the main supply and connect the motor. P10. Make connection with main supply. P11. Check the control circuit, power circuit and motor connection P12. Check the function of circuit after connect the main supply |
| CU8.Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator. by Magnetic contactor with indicator. | P1. Draw layout diagram of circuit. P2. Draw control diagram of circuit. P3. Draw power diagram of circuit. P4. Draw wiring diagram of circuit. P5. Install Reverse/forward circuit by Magnetic contactor. P6. Make exercise on exercise board according to installation/ layout diagram along with accessories. P7. Lay wires in duct/pipe according to layout diagram. P8. Make connections according to wiring diagram. P9. Check the circuit before connect the main supply and connect the motor. P10. Make connection with main supply. P11. Check the control circuit, power circuit and motor connection P12. Check the function of circuit after connect the main supply |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain Various tools and equipment and their functions

- Differentiate between cable and wire.

- Differentiate between stripping and insulation removing.

- Describe the procedure of jointing & soldering.

- Define distribution board.

- Define wiring accessories

- Three phase connections

- Types of connections

- Types of wiring tests

- Describe various wiring test

- Distinguish between different wiring systems Uses of each type of wiring.

- Single pole switch circuit and its use.

- Explain single pole switch socket circuit and its use.

- Explain two-way switch circuit and its use.

- Explain intermediate switch circuit and its use.

- Define Three-phase supply.

- Define installation diagram.

- Describe types of Three-phase motor.

- Describe types of Three-phase motor connection

- Explain reverse/forward circuit and its uses.

- Explain reverse/forward circuit and its uses.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform single phase electrical circuit LAMP-Single Pole Switch

- Perform single phase electrical Two-Way Switch Circuit

- Perform single phase Intermediated (4-Way) Switch circuit

- Perform single phase domestic wiring of Kitchen Installation,

- Perform single phase domestic wiring of Hall Installation

- Perform domestic wiring of 3 rooms with single DB

- Install a 3-phase motor connection ON-OFF by Magnetic

- Install a 3-phase motor connection Reverse/ forward by Magnetic contactor

Tools and Equipment

| S/NO | Tools and Equipment |
| --- | --- |
| 1 | Electrician Tool kit. |
| 2 | Analog Ampere Meter |
| 3 | Analog Volt Meter |
| 4 | Analog Watt Meter |
| 5 | Analog Meggar |
| 6 | Digital Insulation Tester |
| 7 | Analog Multimeter |
| 8 | Digital Multimeter |
| 9 | Digital Clamp-On Meter |
| 10 | Circuit Breaker. |
| 11 | AVO meter. |
| 12 | Test Indicator. |
| 13 | Electrical drills machine with hammering |
| 14 | Distribution Box different sizes |
| 15 | MCB 2P 63A |
| 16 | RCCB 2P 63A 30mA |
| 17 | MCB 1P 16A |
| 18 | MCB 1P 10A |
| 19 | Rotary Change Over 2P 50A |
| 20 | Rotary Change Over 4P 100A |
| 21 | Indicator Lights for Panel |
| 22 | Intermediate Switch |
| 23 | Phase Sequence Meter |
| 24 | 3 Phase induction motor |
| 25 | Push Button with indicator (3H) |
| 26 | MCCB 3P 40A |
| 27 | Electronic Relay |
| 28 | Magnetic Contactor |
| 29 | Phase Failure Relay |

### 0713E&E3405 CS5        Introduction to Solar PV System.

Overview:

This competency standard covers the skills and knowledge, Understand the importance of Renewable Energy Recourse, Identify Solar System Parts, Use of different types of Charge Controllers, Differentiate Types of Solar Panels, Classify the types of Invertors, Classify the different types of Batteries, Classify the types of Cables / Wires, Use of Earthing and Lighting Arrestors in solar system

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Interpret Renewable Energy Recourses | - Describe the importance of environmental benefits of Renewable Energy Recourses. - Types of Renewable Energy Resources |
| CU2. Interpret Solar System Parts | - Identify Solar Panels (Photovoltaic Modules): - Identify Inverters: - Identify Mounting and Racking Systems P4. Identify Battery Storage (if applicable) |
| CU3. Differentiate Types of Solar Panels | - Identify N Type, P-type Panel and bifacial panel. - Identify Mono facial & Bifacial Panel - Identify Flexible and Solid Solar Panel - Define Array of solar panels P5. Define String of solar panels |
| CU4. Classify the types of Invertors | P1. Recognize Off grid inverter P2. Recognize On grid inverter P3. Recognize Hybrid inverter P4. Define String inverter P5. Define Micro inverter |
| CU5. Classify the different types of Batteries | P1. Identify the types of Lead acid Battery based on acid medium P2. Identify the types of Lead acid Battery based on plate design P3. Define Lithium-ion battery P4. Connect Battery Banks |
| CU6. Classify the types of Cables / Wires | P1. Identify the types of wires/cables according to Sizes (Guage)/ Ampacity P2. Identify the types of wires/cables according to core P3. Identify Stranded and solid cables P4. Identify the types of cables according to insulation/voltage rating |
| CU7. Use of Earthing and Lighting Arrestors in solar system | - Introduction the Type of earthing - Classify the part of earthing system |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Understand the importance of Renewable Energy Recourses

- Identify Solar System Parts

- Explain the use of different types of Charge Controllers

- Differentiate Types of Solar Panels

- Types of Invertors

- Types of Batteries

- Types of Cables / Wires

- Explain the uses of earthing and lighting arrestors in solar system

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Identify Solar System Parts

- Calculate Panel Size

- Calculate Solar Array Size

- Use of different types of Charge Controllers

- Classify the types of Invertors

- Classify the different types of Batteries

Tools and Equipment

| S.NO | Tools and Equipment |
| --- | --- |
| 1 | Solar Inverters |
| 2 | Batteries |
| 3 | Mounting Structure |
| 4 | Charge Controllers |
| 5 | Megger |
| 6 | Solar PV Panels |
| 7 | Cable Chart |
| 8 | SWG (standard wire guage) |
| 9 | Multi core cables |
| 10 | Earthing kit complete with all accessories |
| 11 | Lightening Arrestor |
| 12 | Earh Rod |
| 13 | Grounding Conductor |
| 14 | SPDs |
| 15 | Electrician Tool Kit complete |
| 16 | Drawing Papers |
| 17 | Drawing Tools |

### 0713E&E3406 CS6          Design of Solar PV system

Overview:

This competency standard covers the skills and knowledge required to calculate

load, select panels, determine backup time, assess working schedule of load and

workout of capacity of devices

| Competency Units | Perform Performance Criteria |
| --- | --- |
| CU1. Load Assessment for solar PV system Design | P1. Perform Electrical Load calculation P2. Calculate connected electrical load for solar PV system design P3. Measure the PV system load in case of existing system |
| CU2. Selection of inverter | P1. Interpret assess load P2. Determine the type of solar inverter (on/off grid hybrid) |
| CU3. Selection of Solar Panels | P1. Select the Type (Mono/Bi-Facial) and Wattage of PV Panel P2. Select the required number of PV Panels as per Technical Data (Max. DC Input Power) of Inverter P3. Perform Site Visit for determination of Solar Panel Area (Roof/Land) P4. Selection of Mounting Structure as per Solar Panel Area Survey P5. Determination of Strings and Arrays of Solar Panels as per Technical Data (PV Input Voltage Range & PV Input Current) of Inverter |
| CU4. Selection of Battery Bank | P1. Estimate the required backup time of load P2. Estimate the capacity of battery bank P3. Select the types of batteries for backup |
| CU5. Selection of Cables and Earthing System | P1. Selection of Cables as per Designed Load and System Voltage P2. Selection of Earthing System Type P3. Selection of Earthing System Parts (AC/DC SPD) |
| CU6. Draw Basic design and BOQ of solar PV system | P1. Sketch a diagram as per Design P2. Prepare BOQ of designed solar system P3. Get the design approved by the client |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- To Calculate the load to design the solar PV system.

- Explain assess working schedule of load.

- Types Solar Panels in different seniors (domestic, commercial, industries).

- Explain the backup time of different batteries uses in the solar system

- Explain the uses different solar panel, batteries, investors in different seniors (domestic, commercial, industries).

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Calculate the load for a given electric appliances

- Calculate daily power consumption based on design

- Calculate no. of solar panels for a given load

- Calculate battery bank for given backup time

Tools and Equipment

| S/No | Tools |
| --- | --- |
| 1 | Multimeter |
| 2 | Clamp-On Meter |
| 3 | Solar Inverters |
| 4 | Solar PV Panels |
| 5 | Batteries |
| 6 | Multi Core Cables |
| 7 | Earthing kit complete with all accessories |
| 8 | Lightening Arrestor |
| 9 | Earh Rod |
| 10 | Grounding Conductor |
| 11 | SPDs |
| 12 | Electrician toolkit complete |

### 0713E&E3407 CS7                Installation of Solar PV system

Overview:

This competency standard covers the skills and knowledge required to arrange

required tools and equipment, perform PV test, erect the mounting structure, fix PV modules, connect the PV modules as per circuit diagram, Install Off grid and hybrid inverters, Installation of energy meters for solar system

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Arrange required tools and equipment | P1. Collect required tools and equipment P2. Check physical status of tools and equipment P3. Perform transportation of tools and equipment P4. Manage safe storing of tools and equipment |
| CU2. Perform PV test | P1. Conduct short circuit current test P2. Conduct open circuit voltage test |
| CU3. Erect the mounting structure | P1. Assemble the structure parts P2. Fix mounting structure P3. Adjust angles of the mounting structure |
| CU4. Fix PV modules as per circuit design | P1. Install PV module on the mounting structure P2. Verify angle of the PV module with the help of angle finder/meter P3. Ensure shadow overlapping |
| CU5. Connect the PV modules as per circuit design | P1. Make strings as per circuit design P2. Make arrays as per circuit diagrams P3. Connect arrays with junction boxes |
| CU6. Installation of Inverters | P1. Installation of off-grid, on-grid, and hybrid inverters P2. Installation of circuit breaker/SPD for AC/DC connection with inverters P3. Make the connection of inverter with PV panel, battery & load according to diagram P4. Check the parameters of off-grid, on-grid & hybrid inverters before making the onload condition |
| CU7. Installation of Battery Bank | P1. Arrange batteries with accessories as per requirements P2. Fix battery bank in the racks P3. Make parallel series strings for batteries, as per circuit design |
| CU8. Illustrate the Earthing System | P1. Testing of Resistance of Earthing System P2. Installation of Earthing System Parts as per Drawings |
| CU9. Illustration of connections of energy meter (Green Meter) for solar system | P1. Illustrate Energy meter P2. Check the Parameters of Energy Meter in on-load Condition P3. Describe Net Metering Rules and Regulations |
| CU10. Perform Test after installation of PV solar System | P1. Physically verify the Interconnection of Invertors/battery/PV panels according to the wiring diagram P2. Perform Test after installation of PV solar System in off-load condition P3. Perform Test after installation of PV solar System in on-load condition P4. Check the Parameters of the installed inverter in on-load condition |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Interpret the installation related tools and equipment

- Explain the types of PV panels

- Explain the Mounting materials

- Explain the types of mounting

- Explain the uses of installation tools

- How to Effect of shadows on PV Panels

- How to Effect of dust and moisture on PV Panels

- Define the Types of solar PV systems (On/off grid, with and without back up, stand-alone)

- Demonstration of Net metering (Smart meters)

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Assemble the mounting structure

- Install PV panel on the mounting structure

- Fix the mounting structure for maximum output power

- Demonstration the battery bank as per requirement

- Demonstration the battery bank, PV module and utility with invertor for a desired

output load

- Configure the invertor according to the given job

- Interpret the circuit diagram

Tools and Equipment

| S/No | Tools |
| --- | --- |
| 1 | Electrician toolkit complete |
| 2 | Digital Clamp-On Meter |
| 3 | PV Tester Meter MPPT |
| 4 | Solar PV Mounting Structure |
| 5 | Solar PV Modules |
| 6 | Solar PV Inverters |
| 7 | Batteries |
| 8 | Earthing kit complete with all accessories |
| 9 | Lightening Arrestor |
| 10 | Earh Rod |
| 11 | Grounding Conductor |
| 12 | SPDs |
| 13 | Energy Meter (Bi-directional) |

### 0713E&E3408 CS8  Maintenance of Solar PV system

Overview:

This competency standard covers the skills and knowledge required to perform maintenance and identification of fault, solution of the faults, rectify the faults, as per procedure.

| Competency Units nits | Performance Criteria |
| --- | --- |
| CU1. Diagnose the fault | P1. Check invertor for fault code P2. Verify safety circuits P3. Check status of wiring P4. Verify status of battery P5. Check status of PV Panels P6. Repair the fault |
| CU2. Repair as per faults | P1. Trace out solution of fault code with the help of manual P2. Estimate cost of rectification P3. Report the fault to the concerned persons |
| CU3. Rectify the faults | P1. Reset the software for rectification P2. Arrange the required tools and equipment P3. Arrange the required material and components P4. Repair faulty component / equipment P5. Replace faulty component / equipment P6. Refer irreplaceable faulty components to the concerned lab |
| CU4. Carryout post rectification function test | P1. Connect the system with the load P2. Verify function of the system on full load P3. Document the services as per instructions P4. Clean and pack the store as per SOPs |
| CU5. Perform wiring test | P1. Perform continuity test P2. Perform polarity test P3. Perform earth test P4. Rectify the problem |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain the types and uses of various testing equipment

- Diagnostic Procedures

- Use of manual

- Costing of rectification

- Use of invertor user interface software

- Types of faults in Solar PV system

- Various diagnostic tests and techniques

- Standard operating procedure for troubleshooting

Tools and Equipment

| S/No | Tools |
| --- | --- |
| 1 | Multi-meter |
| 2 | Earth resistance tester |
| 3 | Tool Kit (Complete) |
| 4 | Insulation Tester / Megger |
| 5 | PV Panels |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform one of the following tests as per instruction of assessor

  - Continuity test

  - Earth test

  - Polarity test

- Identify faulty module in array

- Sort out fault from a given fault code with the help of manual

- Replace the faulty protective devices

### 0713E&E3409 CS9                    Operation of Solar PV system

Overview:

This competency standard covers the skills and knowledge required to prepare

check list for maintenance, follow routine maintenance log sheet, maintain Solar PV

modules and perform post verification function of the system.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Prepare check list for maintenance | P1. Prepare list of tools and instruments for maintenance P2. Prepare list of materials for maintenance P3. Prepare list of activities for maintenance invertor / Charge controller / Protection circuits / Battery |
| CU2. Prepare log sheet | P1. Collect maintenance log sheet P2. Arrange required tools / instruments for maintenance P3. Perform activities as per schedule P4. Place equipment after maintenance as per SOPs |
| CU3. Inspect Solar PV modules | P1. Arrange cleaning materials P2. Wash the panels as per instructions (Avoid washing during peak sun hours). P3. Check connections and joints of solar PV modules P4. Check the physical and mechanical health of modules as per standard P5. Adjust the seasonal tilt angle |
| CU4. Inspect invertor/Charge controller/ Protection circuits | P1. Arrange servicing equipment P2. Check the status of cooling fans P3. Check input output terminals of invertors P4. Perform servicing with electrical blower P5. Maintain connection status as per standards |
| CU5. Inspect battery banks | P1. Clean terminals of battery with sand paper P2. Maintain level of electrolytes P3. Maintain gravity of electrolytes P4. Maintain battery connections P5. Apply grease to terminal to avoid corrosion / sulphation P6. Verify the operations of battery bank |
| CU6. Perform post verification function of the system | P1. Switch on the system P2. Observe display reading of inverter / charge controller P3. Perform full load test P4. Prepare the report of maintenance activities performed |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and

understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Procedure of inspection

- Service procedures

- Panel washing techniques

- Uses of washing materials

- Appropriate timings of service

- Types of corrosions

- Procedure of battery maintenance and level of electrolyte

- Types of batteries and their maintenance processes

- Difference of service materials

- Use of testing instruments

- Maintenance techniques of invertor / charge controller.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Prepare a maintenance schedule as per standard

- Determine the level and gravity of electrolyte solution in battery bank

- Perform cleaning procedure of solar PV modules

- Perform cleaning procedure for invertor

Tools and Equipment

| Sr. No | Tools |
| --- | --- |
| 1 | Multi-meter |
| 2 | Earth resistance tester |
| 3 | Megger |
| 4 | Tool Kit (Complete) |

# Tools, Equipment Required

The tools and equipment required for this competency standard are provided below:

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 |
|  | Fire Extinguisher (Different Types & standard sizes) | 1 |
|  | Fire Blanket | 1 |
|  | Fire Bucket | 1 |
|  | Safety goggles | 5 |
|  | Safety shoes | 1 |
|  | Safety Helmet (White + Yellow) | 1 |
|  | Safety Harness | 1 |
|  | AVO Meter | 1 |
|  | Combination Plier. | 1 |
|  | Nose plier. | 1 |
|  | Wire Stripper | 1 |
|  | Soldering Iron | 1 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 1 |
|  | Tacho Meter-Digital | 1 |
|  | Earth resistance tester (Digital) | 1 |
|  | Continuity & Insulation tester | 1 |
|  | IR Temperature Gun | 1 |
|  | Digital Multimeter | 1 |
|  | Cable Knife | 2 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 2 |
|  | Hacksaw cutter | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | Digital Oscilloscope | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Inverter 1500-watt sine wave | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 2 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module Mono PERC Half Cut P-Type, 580 W | 1 |
|  | Solar PV Module Mono PERC Half Cut N-Type, 580 W | 1 |
|  | Solar panel monocrystalline | 1 |
|  | Solar panel thin film | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 1 |
|  | Solar PV Tester | 1 |
|  | Three Phase Induction Motor | 1 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multimeter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Safety gloves with leather upper cover (pair) | 2 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Level | 1 |

- Consumable (with quantity/25 Students)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 50-Gram |
| 2 | Soldering paste | 2 |
| 3 | PVC Pipe/Duct. | 10 ft |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 |
| 6 | Distribution Box-PVC | 2 |
| 7 | AC MCB 2P 63A | 1 |
| 8 | AC MCB 1P 16A | 1 |
| 9 | AC MCB 1P 10A | 1 |
| 10 | Rotary Box | 1 |
| 11 | DC Wire 4mm XLPE | 1 coils |
| 12 | DC Wire 6mm XLPE | 1 coils |
| 13 | DC Wire 10mm XLPE | 1 coil |
| 14 | DC Wire 25mm XLPE | 10 ft |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 |
| 24 | Push Button (3H) | 1 |
| 25 | Flexible Pipe 3/4” | 5 ft |
| 26 | Flexible Pipe 1” | 5 ft |
| 27 | Duct Putty 40x40 | 2 |
| 28 | Duct Putty 60x60 | 2 |
| 29 | Rawal Plug | 5 |
| 30 | Panel indicators | 5 |
| 31 | Intermediate Switch | 2 |
| 32 | Screw 1.5” | As Per requirement |
| 33 | Single pole switch. | 1 |
| 34 | Lamp holder | 1 |
| 35 | Lamp AC/DC | 1 |
| 36 | PVC Connector Strip | 1 |
| 37 | Hacksaw Blade | 1 |
| 38 | Drill bits | 1 |
| 39 | Electrical PVC tapes | 2 |
| 40 | Two-way switch | 2 |
| 41 | Two pole switches | 2 |
| 42 | Junction Box | 2 |
| 44 | PVC Cable Ties | 01 Pkt |
| 47 | PVC Distribution Box Casing for breaker | 1 |
| 48 | Connector MC-4 1500V (set) | 5 |
| 49 | PVC Flexible -2 Core Cable -40/0.0076 | 1 Coils |
| 50 | Connector/Tumble -6mm(100nos ) | 1 Pkt |
| 51 | Connector/Tumble -25mm (100 Nos ) | 1 Pkt |
| 52 | Battery Terminals (set) | 2 |
| 53 | Battery Tonic | 2 |
| 54 | Rawal Bolt -13mm | 50 |
| 55 | Lightning Arrester Complete Set (Copper) | 1 |
| 56 | PVC Pipe ¾” | 500 ft |
| 57 | Two Pin Socket | 4 |
| 58 | Lamp Holder | 4 |
| 59 | Junction Box ¾” | 2 |
| 60 | PVC Boards 4”x4” | 6 |
| 61 | DC MCB 2P 63A & 125A | 1 |
| 62 | AC MCCB 3P 40A | 1 |
| 63 | DC SPD 2P 40KA 1500V & 1000V | 1 |
| 64 | AC SPD 2P 40KA 500V | 1 |
| 65 | AC SPD 4P 40KA 1000V | 1 |
| 66 | V+A Protector 2P 80A | 1 |
| 67 | Magnetic Contactors 2+2 | 2 |
| 68 | Phase Failure Relay | 1 |
| 69 | Drawing Charts | 2 |
| 70 | Exercise Board (800x1200 mm) | 2 |

# Members of Qualification Development & Review Committee

The following members participated in the qualification development and review process:

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| S. No. | Name |  | Organization |
|  |  | Dr. Nasir Khan | DACUM Facilitator |
|  |  | Engr. Iftikhar Razaq | Instructor Electrical GTTI Jalalpur Pirwala |
|  |  | Mr. Fahad Farooq Cheema | Instructor Electrical GTTI Gujranwala |
|  |  | Engr. Mr. Muhammad Saeed | Sr. Instructor Electrical GTTI Gulberg Lahore |
|  |  | Muhammad Rehan Qureshi | Sr. Instructor Electrical GTTI Gulberg Lahore |
|  |  | Azhar Hussain Chishti | Sr. Instructor Electrical GTTI DG Khan |
|  |  | Mr. Ali Abbas | SDO MES Sargodha |
|  |  | Engr. Ahsan Sadaqat | Assistant Engineer LESCO |
|  |  | Engr. M. Umer Shahzad | Principal GVTC Sanghar |
| Qualification Review & Development Committee |  |  |  |
|  |  | Engr. Shahbaz Hussain | ADG (R&QA) |
|  |  | Engr. Hammad Rafique | Director (Registration) |
|  |  | Engr. Muhammad Wameq Ayaz | DACUM Facilitator, NAVTTC Islamabad, PVTC Rawalpindi |
|  |  | Engr. Dr. Waqas Abdul Salaam | Assistant Director, Govt. Centre of Excellence for T & D (GSTC) Mughalpura Lahore |
|  |  | Engr. Muhammad Khalid | Assistant Director |
|  |  | Mr. Rehan Qureshi | Sr. Instructor GTTI |
|  |  | Engr. Muhammad Saeed | Senior Instructor, GTTI |
|  |  | Mr. Muhammad Nasir Khan | DACUM Facilitator |
|  |  | Bilal Ahmad | Principal |
|  |  | Zeeshan Ali | Instructor GVTI |
|  |  | Engr. Umair Javed | Sales Engineer (Solar) |