Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | - 0713E&E35 – National Vocational Certificate Level 3 (Solar PV System Sr. Technician) |
| --- | --- |
| ## Date of development | 3rd – 7th March 2025 |
| ## Entry requirement | Matric /Level 2 in Solar PV / Electrician certificate |
| ## Minimum qualification for teachers / instructors | BS. Tech/ BSc. Engr./ B.E/ B.Tech (Hon) (Electrical/ Electronics) with 2 years’ experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years’ experience in relevant field |
| ## Medium of instruction | English |
| ## Duration of course | Total: 630 Hours Theory: 60 Hours Practical: 390 Hours On Job Training: 180 Hours |

- List of Competencies/Modules

| Module Code | Name of Competency | Competency level | Category |
| --- | --- | --- | --- |
| 0713E&E3501 | Prepare Site for Solar PV System (Small Scale) | L-3 | Technical |
| 0713E&E3502 | Carryout Installation Structure of Solar PV mountain structure | L-3 | Technical |
| 0713E&E3503 | Perform Installation Solar PV modules | L-3 | Technical |
| 0713E&E3504 | Perform Inverter configuration | L-3 | Technical |
| 0713E&E3505 | Carry out installation of batteries | L-3 | Technical |
| 0713E&E3506 | Fix LV Panels/ Power Distribution Board | L-3 | Technical |
| 0713E&E3507 | Lay A.C Wiring of Solar PV System | L-3 | Technical |
| 0713E&E3508 | Lay D.C Wiring of Solar PV System | L-3 | Technical |
| 0713E&E3509 | Install Earthing System | L-3 | Technical |
| 0713E&E3510 | Perform connection of complete solar PV system | L-3 | Technical |
| 0713E&E3511 | Carryout Troubleshooting of Solar PV System | L-3 | Technical |
| 0713E&E3512 | Analyse Electricity Bill and Smart Meter | L-3 | Technical |
| 0713E&E3513 | On Job Training (OJT) | L-3 | Technical |

- Class / Workshop Size/ Dimension (Trainee Capacity: 25) Awarding

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom size | Yes | 25x30 /(As Per Requirement) |
| Workshop/Laboratory size | Yes | 25x30 /(As Per Requirement) |
| Any other Requirement | As prescribed by the respective Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity / 25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 Nos |
|  | Fire Extinguisher (Different Types & standard sizes) | 2 Nos |
|  | Fire Blanket | 1 Nos |
|  | Fire Bucket | 1 Nos |
|  | Safety goggles | 5 |
|  | Safety shoes | 5 |
|  | Safety Helmet (White + Yellow) | 25 |
|  | Safety Harness | 5 |
|  | AVO Meter | 01 |
|  | Combination Plier. | 5 |
|  | Nose plier. | 5 |
|  | Wire Stripper | 5 |
|  | Soldering Iron | 5 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 2 |
|  | Techno Meter-Digital | 2 |
|  | Earth resistance tester (Digital) Spike Type, Clamp Type) | 2 |
|  | Continuity & Insulation tester | 4 |
|  | IR Temperature Gun | 2 |
|  | Digital Multi-meter | 1 |
|  | Cable Knife | 1 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer(digital) | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 1 |
|  | Hacksaw Frames | 1 |
|  | Cordless Impact Wrench with Kit | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 1 |
|  | Solar OFF-Grid Inverter 3KW- (Single Phase) | 1 |
|  | Solar ON-Grid Inverter 10 KW--(Three Phase) | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 1 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module N-Type, Monoficial 585 W | 1 |
|  | Solar PV Module N-Type Bifacial TOPCON, 585 W | 1 |
|  | Solar PV Module Mono (P-Type), 585 W | 1 |
|  | Solar PV Module P-Type Hetro Junction Technology, 585W | 1 |
|  | Solar PV Module P-Type Back Contact, 585 W | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 5 |
|  | Solar PV Tester | 2 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multi-meter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Spirit Level | 1 |

- Consumable (with quantity/25 Students)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 5 No |
| 3 | PVC Pipe/ Duct. | 5 ft. |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 No. |
| 6 | Distribution Box-PVC | 2No. |
| 7 | AC MCB 2P 63A | 1 No. |
| 8 | AC MCB 1P 16A | 1 No. |
| 9 | AC MCB 1P 10A | 1 No. |
| 10 | Rotary Box | 1 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 1 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 1 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 10 ft. |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 No. |
| 24 | Push Button (3H) | 1 No. |
| 25 | Flexible Pipe 3/4” | 5 ft. |
| 26 | Flexible Pipe 1” | 2 ft. |
| 27 | Duct Putty 40x40 | 2 No. |
| 28 | Duct Putty 60x60 | 2 No. |
| 29 | Rawal Plug | 2 No. |
| 30 | Panel indicators | 2 No. |
| 31 | Intermediate Switch | 2 No. |
| 32 | Screw 1.5” | 1 No |
| 33 | Single pole switch. | 5 No. |
| 34 | Lamp holder | 2 No. |
| 35 | Lamp AC/DC | 2 No. |
| 36 | PVC Connector Strip | 2 No. |
| 37 | Drill bits | 2 No. |
| 38 | Electrical PVC tapes (Multi colors) | 2 No. |
| 39 | Two-way switch | 2 No. |
| 40 | Two pole switches | 2 No. |
| 41 | Junction Box | 2 No. |
| 42 | Photo Copy Paper -A4 | 1 Rims |
| 43 | PVC Cable Ties | 5 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 5 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 5 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 5 No. |
| 47 | Connector MC-4 1500V (set) | 10 No. |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 2 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 2 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |