| DACUM Panel - Dr. Syed Iftikhar Hussain Shah - Engr.Dr. Waqas Abdul Salaam (Assistant Director, GSTC Mughal Pura Lahore ) - Engr. Faiz Bhutta (CEO Techfa Consulting) - Engr.Syed Faizan Ali (Energy Consultant) - Bilal Ahmad (Hajaris Co Pvt,Ltd Gujranwala) - Muhammad Rehan Qureshi (Sr. Instructor, GTTI Gulberg, Lahore) - Engr. Muhammad Saeed (Sr. Instructor, GTTI Gulberg, Lahore) - Engr. Muhammad Sharjeel (Nanx Engineering ISB - Engr. Ali Abbas)(MES) - Muhammad Aasim, Deputy Director, NAVTTC - Muhammad Ishaq, Deputy Director, NAVTTC - Mujahid Islam, CEO, SIMKA Solar Gilgit. - Engr. Muhammad Saeed, Director, Perfekt Energy Islamabad - Engr. Muhammad Rashid Mansoor, IT University Lahore DACUM Facilitator: 1-Muhammad Nasir Khan | Occupational Profile Chart of “Solar PV System Senior Technician Level -3 |
| --- | --- |
|  | Date 03 to 07- March, 2025 |
|  | NAVTTC HQ, Islamabad, Pakistan |
|  | National Vocational & Technical Training Commission |

| DUTIES and TASKS |  |  |  |  |
| --- | --- | --- | --- | --- |
| - Prepare Site for Solar PV System (Small Scale) |  |  |  |  |
| A1. Perform Site Layout | A2. Perform Nails Fixing |  | A3. Check Dimension as per Drawing | A4. Make concrete pads or foundation |
| - Carryout Installation of solar PV mountain structure |  |  |  |  |
| B1. Perform Structure Fixing | B2. Align Structures for uniformity and aesthetics appeal |  | B3. Lay structure at proper Orientation and tilt angle |  |
| - Perform Installation of Solar PV modules |  |  |  |  |
| C1. Perform Solar Panel Fixing | C2. Perform Mounting of Solar PV Module |  | C3. Align Solar PV Module | C4. Perform series fixing of Solar PV Module |
| C5. Perform parallel fixing of Solar PV Module |  |  |  |  |
| - Perform Inverter configuration |  |  |  |  |
| D1 Interpret inverter specification. | D2 Interpret inverter configuration |  | D3 Configure basic inverter operation parameter | D4 Set PV array and MPPT parameter |
| D5 Configure battery charging setting | D6 Configure grid and Load management parameter |  | D7. Conduct Pre Installation Preparation of Inverter | D8. Hang Inverter As per Procedure |
| - Carry out Installation of Batteries |  |  |  |  |
| E1. Perform Batteries Fixing | E2. Make Series Connections of Batteries |  | E3. Make Parallel Connections of Batteries | E4. Interpret BESS (Battery and Energy Storage System) |
| - Fix LV Panels /Power distribution Board |  |  |  |  |
| F1. Drill Holes and fix support structure | F2. Arrange LV panel/DB at designated location |  | F3. Perform LV Panel Fixing | F4. Connect circuit breaker, isolator and surge protection devices etc |
| F5. Perform Wiring Tests |  |  |  |  |
| - Lay AC Wiring of Solar PV System |  |  |  |  |
| G1. Perform Wiring of A.C. Circuits (Inverters, AC Breakers, AC SPD etc.) | G2. Perform Wiring tests of A.C Circuits |  |  |  |
| - Lay DC Wiring of Solar PV System |  |  |  |  |
| H1. Perform Wiring of D.C Circuits (DC Breakers, DC SPD etc.) | H2. Perform Wiring tests of D.C. Circuits |  |  |  |
| - Install Earthing System |  |  |  |  |
| I1. Interpret Boring |  | I2. Interpret Pouring of Earthing Material | I3. Interpret Fixing of earth Electrodes | I4. Perform Laying of Earth Cable |
| I5. Connect distribution board |  | I6. Connect AC Earth cables | I7. Connect DC Earth cables | I8. Install Protective Devices |
| I9. Perform Earth Resistance Test |  |  |  |  |
| - Perform connection of complete Solar PV System |  |  |  |  |
| J1. Connect Panel with Invertors |  | J2. Connect Invertor with Battery | J3. Connect Invertor With safety equipment | J4. Connect Invertor with Grid Load |
| J5. Connect Whole Solar PV system with meter |  | J6. Prepare Solar PV System for Testing |  |  |
| - Carryout Trouble shooting of Solar PV System |  |  |  |  |
| K1. Identify the faults |  | K2. Diagnose the nature of faults | K3. Rectification of faults |  |
| - Analyze Electricity Bill and Smart Meter |  |  |  |  |  |
| L1. Interpret Import and Export units |  |  | L2. Check MDI reading | L3. Check Bill Amount with taxes |  |