National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior

Technician)

(Competency Standards)

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician). This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of PSDA, TEVTAs, BTEs and PVTC work diligently to make this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.1 Introduction……………………………………………………………………………………………..4

1.2 Date of Development…………………………………………………………………………………..4

1.3 Date of Review & Validation………………………………………………………………………….4

1.4 Entry Requirement…………………….……………………………………………………………….4

1.5 Trainer Qualification Requirement …………………………………….……….…………4

1.6 Codes of Qualification………………………………………………………………………….……..4

2. Summary of Competencies……………………………………………………………..…...5

3. Qualification Levelling & Packaging……………………………………………………… 6

4. Detail of Competency Standards………………………………….………………………..6

0713E&E3501 CS1: Prepare Site for Solar PV System (Small Scale) ……………….……..6

0713E&E3502 CS2: Carryout Installation of solar PV mountain structure ……..…..………8

0713E&E3503 CS3: Perform Installation of  Solar PV modules …………..………….…….11

0713E&E3504 CS4:- Perform Inverter configuration ……..……………… ……………...…14

0713E&E3505 CS5: Carry out Installation of Batteries …………………………..………….16

0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board…..…………………………18

0713E&E3507 CS7: Lay AC Wiring of Solar PV System……………………………..…….20

0713E&E3508 CS8: Lay DC Wiring of Solar PV System…………………………….…......21

0713E&E3509 CS9: Install Earthing System…………………………………………………22

0713E&E3510 CS10: Perform connection of complete Solar PV System …………….....25

0713E&E3511 CS11: Carryout Trouble shooting of Solar PV System …………………...27

0713E&E3512 CS12: Analyze Electricity Bill and Smart Meter………………………………28

5.	Tools, Equipment Required	29

6.	Members of Qualification Development & Review Committee	34

# Introduction

Solar energy converts energy from sunlight into electricity directly by the process of Photo Voltaic Conversion. The conventional sources of energy like Oil, Coal and gas are costly are depleting rapidly. These resources are polluting environment badly. Switching to Solar PV System is the need of an hour. The use of solar energy has been significantly grown across the world in the recent years due to reduction in the cost of electricity, related equipment & it also supports green skills. The Solar PV System Senior Technician (Level 3) course is designed to build on foundational knowledge from Level 2, equipping technicians with advanced skills in the installation, maintenance, troubleshooting, and system optimization of solar photovoltaic (PV) systems. The Level 3 course focuses on enhancing technical expertise, safety standards, and regulatory compliance while preparing technicians for leadership roles in solar PV system projects. It covers both theoretical and practical aspects of solar energy systems, ensuring technicians can handle complex installations and high-capacity solar power systems. This course has been designed and developed to achieve its objectives of providing appropriate skills.

| # Date of development: | # March, 2025 |
| --- | --- |
| # 1.3 Date of review &validation: | # May, 2027 |
| # 1.4 Entry requirement: | # Matric /Level 2 in Solar PV / Electrician certificate |
| # Trainer Qualification Requirement | BS. Tech/ BSc. Engr./ B.E/ B.Tech (Hon) (Electrical/ Electronics) with 2 years’ experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years’ experience in relevant field |
| # Codes of qualification (ISCED) | # Code: 0713-E&E35 # Description: National Vocational # Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) |

# Summary of competencies

| Competency Standards | NVQF | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level |  | Th | Pr | Total |  |
| 0713E&E3501 CS1: Prepare Site for Solar PV System (Small Scale) | 3 | Technical | 5 | 20 | 25 | 1.5 |
| 0713E&E3502 CS2: Carryout Installation Structure of Solar PV mountain structure | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3503 CS3: Perform Installation Solar PV modules | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3504 CS4: Perform Inverter configuration | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3505 CS5: Carry out installation of batteries | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3507 CS7: Lay A.C Wiring of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3508 CS8: Lay D.C Wiring of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3509 CS9: Install Earthing System | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3510 CS10: Perform connection of complete solar PV system | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3511 CS11: Carryout Troubleshooting of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3512 CS12: Analyze Electricity Bill and Smart Meter | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3513 : On Job Training (OJT) | 3 | Technical |  |  | 180 | 4.5 |
| Total |  |  | 60 | 390 | 630 | 30 |

# Qualification Levelling and Packaging

| ## S # | ## Occupation/ Short Course | ## Modules/ CS Codes | ## Level | ## Occupation Credit Hours | ## Training duration |
| --- | --- | --- | --- | --- | --- |
| ## 1. | # National Vocational # Certificate Level 3 in Electrical Technology (Solar PV System Senior Technician) | ## 0713E&E3501 CS1 | ## 3 | ## 1.5 | ## 06 Months |
|  |  | ## 0713E&E3502 CS2 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3503 CS3 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3504 CS4 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3505 CS5 | ## 3 | ## 2.5 |  |
|  |  | ## 0713E&E3506 CS6 | ## 3 | ## 2.5 |  |
|  |  | ## 0713E&E3507 CS7 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3508 CS8 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3509 CS9 | ## 3 | ## 2.5 |  |
|  |  | ## 0713E&E3510 CS10 | ## 3 | ## 2.5 |  |
|  |  | ## 0713E&E3511 CS11 | ## 3 | ## 2 |  |
|  |  | ## 0713E&E3512 CS12 | ## 3 | ## 2 |  |

# Detail of Competency Standards

### 0713E&E3501 CS1 Prepare Site for Solar PV System (Small Scale)

Overview:

After this Competency Standard, the Trainee will be able to develop skill and competence required to prepare site for the installation of Solar PV System. Site preparation is a crucial step in the installation of a solar photovoltaic (PV) system. It ensures the system is installed safely, efficiently, and in compliance with industry standards. The learner will also be able to implement green skills effectively.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Site Marking | P1. Mark the site Solar PV System according to the design plans P2. Mark according to layout plan for solar panels, inverters, and other system components P3. Mark Cable Routing P4. Mark Connection Points |
| CU2. Perform Nails Fixing | P1. Make preparation for Nails Fixing P2. Perform Nails Fixing P3. Ensure Structural Integrity P4. Check Safety with Compliance as per layout |
| CU3. Check Dimension as per Drawing | P1. Conduct preparation for Measurements P2. Conduct Measurements P3. Ensure Comparison with Drawing Specifications P4. Check Quality and Compliance as per Drawing |
| CU4. Make Concrete Pads or Foundation | P1. Conduct preparation of Concrete Work P2. Mix of the Concrete Material P3. Pouring of the Concrete Material P4. Perform Finishing of the process |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out tasks covered in this competency standards. This includes the knowledge of:

- Site Assessment and Survey

- Review of Technical Drawings and Layouts

- Preparation of Site for the Installation of Solar PV System

- Safety Precautions and Risk Assessment

- Compliance with Regulations and Permit

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Accurate Site Marking on the location of PV Structure Installation

- Structure Fixation according to the drawing of Solar PV system

- Demonstrate verification of Dimensions on site as per specifications in the drawing

- Demonstrate Positioning and Alignment of Solar PV System Components

- Demonstrate Panel Spacing, Tilt angle and Orientation

- Demonstrate Panel Arrangement, Inverter Placement and Cable Routing

Tools and Equipment required for CS:

| S/NO | Items | Quantity |
| --- | --- | --- |
| 1 | Multimeter | 05 |
| 2 | Clamp Meter | 05 |
| 3 | Earth Resistance Tester | 05 |
| 4 | Spirit Level | 05 |
| 5 | Compass | 05 |
| 6 | Laser Level Machine | 05 |
| 7 | Measuring Tape | 25 |
| 8 | Safety harness | 10 |
| 9 | Safety helmet | 30 |
| 10 | Drill Machine Set | 02 |
| 11 | Safety Goggles | 25 |
| 12 | Safety shoes | 25 |
| 13 | Fire Extinguisher | 05 |
| 14 | First Aid Box | 02 |
| 15 | Solar Pathfinder | 02 |

0713E&E3502 CS2   Carryout Installation Structure of Solar PV mountain structure

Overview:

This Competency Standard cover the competencies required to ensure safe, efficient, and compliant installation. It includes preparation for installation, setting up mounting structure, types of mounting structure and fixing techniques. This module also focuses on reliable, accurate and efficient Solar PV Structure:

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Structure Fixing | P1. Conduct Preparation of Solar PV Structure P2. Fix Solar PV Structure Ensure that the structure is stable and securely fixed in place. P3. Ensure the Fixing and Securing the Structure P4. Ensure that the structure is stable and securely fixed in place. |
| CU2. Align Structures for uniformity and aesthetics appeal | P1. Align PV Mounting Structure according to design specifications P2. Ensure aesthetically pleasant and uniform structure of solar panels |
| CU3. Lay structure at proper Orientation and tilt angle | P1. Mount the Solar PV Structure P2. Set the orientation P3. Adjust the tilt angle P4. Check Quality and Compliance |

Knowledge & Understanding

The candidate must be able to demonstrate fundamental knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Various solar panel mounting structures (e.g., ground mounts, roof mounts) and installation methods.

- Load-bearing capacity and structural safety standards.

- Design principles related to solar PV systems and their visual and functional layout.

- Alignment methods to ensure uniformity and neatness of panel rows.

- Solar orientation and tilt angle principles for optimal energy capture based on geographic location and sun path.

- How tilt and orientation affect solar system efficiency and energy production.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

Competent in this competency standard:

- Demonstrate Positioning and Alignment of Solar PV System Components

- Demonstrate Panel Spacing, Tilt angle and Orientation

- Demonstrate Panel Arrangement, Inverter Placement and Cable Routing

Tools and Equipment required for CS:

| Sr. No | Items | Quantity |
| --- | --- | --- |
| 1 | Hammer | 10 |
| 2 | Utility Knife | 25 |
| 3 | Needle nose pliers | 25 |
| 4 | Combination Pliers | 25 |
| 5 | Disk Grinder machine | 02 |
| 6 | Torque drill machine | 02 |
| 7 | Safety Gloves | 25 |
| 8 | Safety Goggles | 25 |
| 9 | Spirit Level | 05 |

### 0713E&E3503 CS3:        Perform Installation Solar PV modules

Overview:

After this Competency Standard, the trainee will be able to develop skill and competence required to install solar PV system ensuring efficient energy conversion and long term performance. The operation ensure optimal energy efficiency, durability, stability and system longevity. This competency Standard also covers basic needs & requirement to install Solar Panels.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Solar Panel Fixing | P1. Perform Pre-fixing Preparation of Solar Panel P2. Positioning Solar Panels P3. Aligning Solar Panels P4. Tightening the Solar Panels |
| CU2 Perform Mounting of Solar PV Module | P1. Perform Pre-Mounting Preparation of Solar PV Module P2. Perform Positioning of Solar PV Module Mounting P3. Perform Alignment of Solar PV Module Mounting P4. Fix the Solar PV Module Mounting P5. Ensure Grounding and Safety Compliance |
| CU3. Align Solar PV Module | P1. Perform Pre-Alignment Preparation of Solar PV Module P2. Align PV Structure horizontally and vertically P3. Ensure Correct orientation and Tilt Angle P4. Perform Final Testing of Series Connection of Solar Plates P5. Perform Final Testing of Parallel Connection of Solar Plates |
| CU4. Perform series fixing of Solar PV Module | P1. Perform pre fixing preparation of Series Fixing of Solar PV Module P2. Perform Series Connection of Solar PV Panels P3. Measure total series resistance of circuit by Ohm Meter P4. Verify the values of current and voltage by direct meter reading. P5. Calculate Power in the series circuits |
| CU5. Perform parallel fixing of Solar PV Module | P1. Perform pre fixing preparation of Parallel Fixing of Solar PV Module P2. Perform Parallel Connection of Solar PV Panels P3. Measure total parallel resistance of circuit by Ohm Meter P4. Verify the values of current and voltage by direct meter reading. P5. Calculate power in the parallel circuits |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Basic Principles of Solar PV System

- Site Preparation and Installation Requirements

- Solar Panel Installation Process

- Solar Inverter Installation Process

- Testing, Commissioning and Troubleshooting Process

- Safety Considerations

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Series Circuit

- Perform measurement of Electric circuits

- Perform measurement of Electrical Energy in circuits

- Measurement of the electrical quantity’s Volt-Ampere, Resistance by using of different meters

- Measurement of real power, apparent power and reactive power

- Perform Series fixing of Solar PV Module

- Perform parallel fixing of Solar PV Module

Tools and Equipment required for CS:

| S/NO | Items | Quantity |
| --- | --- | --- |
| 1 | DC power Supply | 05 |
| 2 | AVO Meter | 05 |
| 3 | Digital Voltmeter | 05 |
| 4 | Digital Ampere Meter | 05 |
| 5 | Digital Watt meter | 05 |
| 6 | Digital Power Factor meter | 02 |
| 7 | Energy Meter | 03 |
| 8 | Multimeter | 05 |
| 9 | VAR Meter | 05 |
| 10 | Sprit Level | 05 |

0713E&E3504 CS4    Perform Inverter configuration

This competency standard covers the competencies required to install an inverter. The installation of an inverter is a crucial step in a solar PV system, as it converts DC electricity from solar panels into usable AC power. Proper installation ensures efficiency, safety, and longevity of the system. The process begins with selecting a suitable location, ensuring adequate ventilation and protection from harsh weather. Mounting the inverter securely on a wall or rack follows, considering proximity to the battery bank or grid connection. Electrical wiring, including DC input from solar panels and AC output to the load or grid, must be carefully connected. Safety measures such as grounding and circuit protection are essential. System configuration and testing are then performed to verify performance. A well-installed inverter maximizes solar energy utilization and ensures reliable operation. This Competency Standard covers the skills and knowledge required to Make and Install a Solar Inverter.

| Competency Units Uni | Performa Performance Criteria |
| --- | --- |
| CU1. Interpret inverter specification. | P1. Review inverter technical manuals and datasheets P2. Identify inverter type (on-grid, off-grid, hybrid) and rating P3. Interpret system design parameters P4. Confirm compatibility of inverter with PV modules and batteries P5. Verify applicable electrical codes and safety requirements |
| CU2. Interpret inverter configuration | P1. Inspect inverter physical condition and accessories P2. Ensure correct mounting, ventilation, and environmental conditions P3. Isolate power sources following lock-out/tag-out procedures P4. Select appropriate tools, test instruments, and PPE |
| CU3. Configure basic inverter operation parameter | P1. Power up inverter according to manufacturer procedures P2. Set system date, time, and language options P3. Configure nominal voltage, frequency, and power ratings P4. Select operating mode. P5. Save and confirm basic system setting |
| CU4. Set PV array and MPPT parameter | P1. Configure PV input voltage and current limits P2. Set MPPT operating range and startup voltage P3. Adjust string configuration settings as per system design P4. Verify polarity and PV input readings P5. Confirm stable MPPT operation |
| CU5. Configure battery charging setting | P1. Select battery type (lead-acid, AGM, gel, lithium) P2. Set battery capacity, charge current, and voltage limits P3. Configure charging stages and cut-off thresholds P4. Adjust depth of discharge and protection limits P5. Validate battery communication (if applicable) |
| CU6. Configure grid and Load management parameter | P1. Set grid voltage and frequency limits P2. Configure export/import and anti-islanding settings P3. Adjust load priority and energy management options P4. Program backup and emergency supply parameters P5. Verify compliance with utility interconnection requirement |
| CU7. Conduct Pre I Conduct Pre Installation Preparation of Inverter of Inverter | - Perform Site Assessment for the hang of Inverter - Verification of the electrical parameters of Inverter - Arrange necessary tools and equipment for installation of Inverter - Perform Pre-installation inspection and testing |

| CU8. Hang Inverter as Per Procedure | - Install Inverter in a location that is accessible for maintenance - Install Inverter in a location that is protected from weather and environmental impacts - Follow manufacturer’s guidelines for Inverter Installation ensuring proper mounting and ventilation - Ensure Inverter is fastened properly - Make necessary electrical connection between inverter, solar panels, grid adhering to local electrical codes - Test Inverter after installation to ensure proper functionality and communication with solar panels and grid |
| --- | --- |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Solar panel mounting methods and fixtures.

- Solar panel securing techniques (e.g., clamps, bolts) to prevent movement

- Different mounting systems (e.g., ground mounts, roof mounts) and their installation requirements.

- Structural integrity and load-bearing capacity.

- Alignment methods to ensure panels are positioned correctly for maximum energy production.

- Understanding of solar panel orientation, tilt, and spacing requirements based on geographical location.

- Electrical principles for series and parallel configurations (e.g., voltage, current, power).

- How to wire solar panels in series or parallel for different voltage and current outputs. Maintenance techniques of invertor / charge controller.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform Pre-Inverter Installation preparation

- Perform Mounting and Positioning of Solar Inverter

- Perform electrical wiring and connections

- Perform Parameters Setting of Inverter

- Perform safety and compliance checks for installation of Inverter

Tools and Equipment required for CS:

| S/NO | Items | Quantity |
| --- | --- | --- |
| 1 | Analog Ampere Meter | 05 |
| 2 | Analog Volt Meter | 05 |
| 3 | Analog Watt Meter | 05 |
| 4 | Solar Inverter (Hybrid Inverter) | 04 |
| 5 | Analog Multimeter | 05 |
| 6 | Digital Multimeter | 05 |
| 7 | Digital Clamp-On Meter | 05 |

### 0713E&E3505 CS5        Carry out installation of batteries

Overview:

This competency standard covers the skills and knowledge of battery installation. Battery installation in a solar PV system is a critical process that ensures energy storage for backup power and off-grid applications. Proper installation enhances system efficiency, safety, and longevity. The process involves selecting the appropriate battery type (lead-acid, lithium-ion, etc.), preparing the installation site, and following correct wiring procedures to integrate the battery with the inverter and charge controller. Key steps include positioning the battery bank, making secure electrical connections, implementing safety measures, and conducting performance tests. A well-installed battery system enables reliable power storage and optimal operation of solar PV system.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Batteries Fixing | - Perform Pre-installation preparation of battery fixing - Perform mounting of battery - Perform positioning of battery - Perform electrical wiring - Perform testing |
| CU2. Make Series Connections of Batteries | P1. Pre-Connection preparation of Parallel Connection of Batteries P2. Perform proper wiring of parallel connection P3. Measure Voltage in parallel connection of batteries P4. Measure Current in parallel connection of batteries |
| CU3. Make Parallel Connections of Batteries | P1. Pre-Connection preparation of Parallel Connection of Batteries P2. Perform proper wiring of parallel connection P3. Measure Voltage in parallel connection of batteries P4. Measure Current in parallel connection of batteries |
| CU4. Interpret BESS (Best Battery and Energy Storage System) | - Interpret BESS (Battery Energy Storage System) - Analyze BESS components - Analyze BESS Configuration - Evaluate battery efficiency |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Understand the basics of Batteries

- Battery Selection and System Design

- Explain the use of different types of Batteries

- Stages of Charging of batteries

- Batteries Installation Process

- Types of Batteries

- Explain the concept of Battery Energy Storage System

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Make Series Connection of batteries

- Make Parallel Connection of batteries

- Measure current and voltages with multi-meter in series connection of batteries

- Measure current and voltages with multi-meter in parallel connection of batteries

- Make connections of batteries with Inverter

- Measure current and voltage at point of connection of batteries with Inverter

Tools and Equipment required for CS:

| S.NO | Items | Quantity |
| --- | --- | --- |
| 1 | Solar Inverters (Hybrid Inverter) | 04 |
| 2 | Batteries | 12 |
| 3 | Digital Multimeter | 05 |
| 4 | Screw drivers | 25 |
| 5 | Spanner set | 03 |
| 6 | Pliers | 25 |
| 7 | Lithium Battery-48V-100AH with smart BMS System BMS System for all around protection overload,short circuit,over voltage | 02 |
| 8 | Lithium Battery Nominal Capacity 100Ah Nominal Voltage 25.6 V | 02 |
| 9 | Lithium Battery Cell -2 V 100AH | 24 |

### 0713E&E3506 CS6         Fix LV Panels/ Power Distribution Boards

Overview:

This competency standard focuses on the essential skills and knowledge required for testing of wiring. It includes tasks such as verifying the integrity of electrical installation ensuring correct operation of distribution board and other equipments confirming compliance with relevant standards and regulations. The process ensures that system is fully operational, safe and capable of handling expected electrical load.

| Competency Units | Perform Performance Criteria |
| --- | --- |
| CU1. Drill Holes and fix support structure | P1. Perform pre-drilling preparation P2. Perform drilling P3. Fix the support structure |
| CU2. Arrange LV panel or DB (Distribution Board) at designated location | P1. Perform Pre Installation preparation of LV Panel or DD P2. Perform Mounting of installation of LV Panel or DB P3. Perform Positioning of LV Panel or DB |
| CU3. Perform LV Panel Fixing | P1. Perform Pre Fixing Preparation of LV Panels P2. Perform Mounting of LV Panel P3. Make wiring of LV Panels |
| CU4. Connect circuit breaker, isolator and surge protection devices etc. | P1. Perform pre connection preparation P2. Connect circuit breaker, Isolator and Surge Protection Devices |
| CU5. Perform Wiring Tests | P1. Perform pre testing preparation P2. Perform testing of wiring (3-phase wiring) P3. Perform Testing of Distribution Board P4. Perform Testing of VFD/ Inverter |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Basic Concept of single phase and three phase

- Key differences in voltage, current and power distribution

- Safety Standards, local regulation and codes

- System performance parameters like voltage current, power and power factor

- Motor performance in 3 phase system

- Variable Frequency Drive (VFD)

- Safety considerations for testing VFD and Motors

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

Competent in this competency standard:

- Prepare a distribution board for three phase wiring systems

- Installation of distribution board for three phase wiring system

- Installation of VFD

- Prepare report of testing and commissioning

- Calculate battery bank for given backup time

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Multimeter | 05 |
| 2 | Clamp on meter | 05 |
| 3 | Energy meter digital (3-Phase) | 02 |
| 4 | Phase Sequence Tester | 04 |
| 5 | VFD | 04 |
| 6 | Power Analyzer | 05 |

### 0713E&E3507 CS7               Lay A.C wiring of Solar PV System

Overview:

This competency standard covers the skills and knowledge required to lay AC wiring of Solar PV System. It includes laying and connections of AC wiring of Solar PV System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Wiring of A.C. Circuits (Inverters, AC Breakers, AC SPD etc.) | P1. Perform pre wiring preparation of A.C Circuits P2. Perform Routing of A.C wiring P3. Perform installation of AC wiring P4. Make connections of AC components |
| CU3. Perform wiring tests of AC Circuits | P1. Perform Pre-testing preparation of A.C Wiring tests P2. Perform Continuity Test P3. Perform Insulation Resistance Test P4. Perform Polarity Test P5. Perform Grounding Test P6. Perform Load Test |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain functions of A.C Circuit Breakers

- Explain functions of A.C SPD (Surge Protection Devices)

- Demonstration about different types of wiring tests

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Installation of A.C Circuit Breaker in distribution board

- Installation of A.C SPD in distribution board

- Testing of distribution board

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Earth Tester | 05 |
| 2 | Clamp-On Meter | 05 |
| 3 | IR Temperature Gun | 05 |
| 4 | Multimeter | 05 |
| 5 | Insulation tester | 04 |

### 0713E&E3508 CS8               Lay DC wiring of Solar PV System

Overview:

This competency standard covers the skills and knowledge required to lay DC wiring of Solar PV System. It includes laying and connections of DC wiring of Solar PV System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Wiring of D.C. Circuits (Solar Panels etc.) | P1 Perform pre wiring preparation of D.C Circuits P2. Perform Routing of D.C wiring P3. Perform installation of D.C wiring P4. Make connections of D.C components |
| CU4. Perform wiring tests of DC Circuits | P1. Perform Pre-testing preparation of D.C Wiring tests P2. Perform Continuity Test P3. Perform Insulation Resistance Test P4. Perform Polarity Test P5. Perform Grounding Test P6. Perform Load Test |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain functions of D.C Circuit Breakers

- Explain functions of DC SPD

- Demonstration about different types of wiring tests

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Installation of D.C Breakers in Distribution Board

- Installation of D.C SPD in Distribution Board

- Testing of Distribution Board

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Earth Tester | 05 |
| 2 | Clamp-On Meter | 05 |
| 3 | IR Temperature Gun | 05 |
| 4 | Multimeter | 05 |
| 5 | Insulation tester | 04 |

### 0713E&E3509 CS9  Install Earthing System

Overview:

This competency standard covers the skills and knowledge required to perform the installation process of earthing system as per procedure.

| Competency Units nits | Performance Criteria |
| --- | --- |
| CU1. Interpret Boring | P1. Check invertor for fault code P2. Verify safety circuits P3. Check status of wiring P4. Verify status of battery P5. Check status of PV Panels P6. Repair the fault |
| CU2. Interpret Pouring of Earthing Material | P1. Trace out solution of fault code with the help of manual P2. Estimate cost of rectification P3. Report the fault to the concerned persons |
| CU3. Interpret Fixing of earth Electrodes | P1. Reset the software for rectification P2. Arrange the required tools and equipment P3. Arrange the required material and components P4. Repair faulty component / equipment P5. Replace faulty component / equipment P6. Refer irreplaceable faulty components to the concerned lab |
| CU4. Perform Laying of Earth Cable | P1. Connect the system with the load P2. Verify function of the system on full load P3. Document the services as per instructions P4. Clean and pack the store as per SOPs |
| CU5. Connect distribution board | P1. Perform continuity test P2. Perform polarity test P3. Perform earth test P4. Rectify the problem |
| CU6. Connect AC Earth cables | P1. Perform Connection Preparation of AC Earth Cable P2. Installation of AC earth cable P3. Perform Installation of earth pit for AC earthing P4. Perform Grounding Electrode Connection P5. Perform testing of A.C earthing as per procedure |
| CU7. Connect DC Earth cables | P1. Perform Connection Preparation of DC Earth Cable P2. Installation of DC earth cable P3. Perform Installation of earth pit for DC earthing P4. Perform Grounding Electrode Connection P5. Perform testing of D.C earthing as per procedure |
| CU8. Install Protective Devices | P1. Perform pre installation preparation of protective devices P2. Installation of A.C Protective devices P3. Installation of D.C Protective devices |
| CU9. Perform Earth Resistance Test | P1. Perform pretesting preparation of testing earth resistance of system P2. Perform test of earth resistance P3. Measure resistance of earthing system |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain the Earthing Process

- Different types of earthing

- Protective Devices

- Difference between AC earthing and DC earthing

- Measurement of Earth Resistance

- Standards of earthing

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Earth Tester | 05 |
| 2 | Clamp-On Meter | 05 |
| 3 | IR Temperature Gun | 05 |
| 4 | Multimeter | 05 |
| 5 | Insulation tester | 04 |

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform the following test on earthing as per instruction of assessor

  - Earth resistance test

### 0713E&E3510 CS10                    Perform connection of complete solar PV system

Overview:

This competency standard covers the skills and knowledge required to install complete solar system. It includes combining of all components like Solar Panels, Inverter,  Batteries, Distribution board containing AC, DC Breakers, AC, DC SPD etc.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Connect Panel with Invertors | P1. Perform pre-preparation of panel connection with inverter P2. Connect panel with inverter according to drawing |
| CU2. Connect Invertor with Battery | P1. Perform pre-preparation of battery connection with inverter P2. Connect battery with inverter according to drawing |
| CU3. Connect Invertor With safety equipment | P1. Perform pre-preparation of Safety equipment connection with inverter P2. Perform connection of AC SPD with Inverter P3. Perform connection of DC SPD with Inverter P4. Perform connection of AC Breaker with Inverter P5. Perform connection of DC Breaker with Inverter |
| CU4. Connect Invertor with Grid Load | P1. Perform pre-preparation of Inverter connection with Grid Load P2. Perform connection of Inverter with Grid Load |
| CU5. Connect Whole Solar PV system with meter | P1. Make all components ready for installtion P2. Connect all components of Solar PV System P3. Verify the operations of battery bank |
| CU6. Prepare Solar PV System for Testing | P1. Perform preparation of whole solar PV system for testing P2. Perform Testing of whole solar PV system |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and

understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Inverter Connection with battery

- Inverter Connection with Solar Panels

- Inverter Connection with safety devices

- Testing of Solar PV System

.

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform Installation of complete Solar PV system

- Test the Solar PV System as per design specifications

Tools and Equipment required for CS:

| Sr. No | Items | Quantity |
| --- | --- | --- |
| 1 | Multi-meter | 05 |
| 2 | Solar PV Panels | 56 |
| 3 | Batteries | 12 |
| 4 | Solar Inverter (Hybrid Inverter) | 04 |

### 0713E&E3511 CS11                    Carryout Troubleshooting of Solar PV System

Overview:

This competency standard covers the skills and knowledge required to perform troubleshooting of Solar PV System. It includes identification of faults and rectification.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify the faults | P1. Perform pre-fault identification preparation P2. Perform identification of faults in system |
| CU2. Diagnose the nature of faults | P1. Perform pre-preparation to diagnose nature of faults P2. Diagnose the nature of faults |
| CU3. Rectification of faults | P1. Make necessary arrangements for rectification of faults P2. Perform rectification of fauts |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and

understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Different Types of Faults

- Fault Tracing

- Rectification process

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

Perform Troubleshooting of Solar Inverter on following parameters

- Error Code

- Priority Setting

- Verification of Running Electrical parameters like Incoming voltage and current to inverter with real values

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Earth Tester | 05 |
| 2 | Clamp-On Meter | 05 |
| 3 | IR Temperature Gun | 05 |
| 4 | Multimeter | 05 |
| 5 | Insulation tester | 04 |
| 6 | I-V Curve Tracer | 05 |
| 7 | Polarity Tester | 05 |

### 0713E&E3512 CS12                    Analyze Electricity Bill & Smart Meter

Overview:

This competency standard covers the skills and knowledge required to analyze the electricity bill. It include the interpretation of different parameters of smart meter.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Interpret Import and Export units | P1. Interpret Import Units P2. Interpret Export Units |
| CU2. Check MDI reading | P1. Interpret MDI Reading P2. Analyze MDI Reading P3. Perform documentation of MDI reading |
| CU3. Check Bill Amount with taxes | P1. Perform verification of energy charges P2. Check Tax Collection P3. Perform crosschecking of MDI reading on meter with bill P4. Perform Crosschecking of discounts and Incentives |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and

understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Smart Meter

- MDI Reading

- Import & Export Units calculations

- Tax calculations

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Demonstration on the Import & Export Units Reading of Smart Meter

- Demonstration on MDI Reading of smart meter

- Comparison of Real time meter reading with bill reading

Tools and Equipment required for CS:

| Sr. No | Items | Quantity |
| --- | --- | --- |
| 1 | Multi-meter | 05 |
| 2 | Smart Meter | 02 |
| 3 | Power Analyzer | 05 |
| 4 | Calculator | 02 |

# Tools, Equipment Required for Qualification

The tools and equipment required for this competency standard are provided below:

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 Nos |
|  | Fire Extinguisher (Different Types & standard sizes) | 2 Nos |
|  | Fire Blanket | 1 Nos |
|  | Fire Bucket | 1 Nos |
|  | Safety goggles | 5 |
|  | Safety shoes | 5 |
|  | Safety Helmet (White + Yellow) | As Per Required |
|  | Safety Harness | As Per Required |
|  | AVO Meter | 01 |
|  | Combination Plier. | 5 |
|  | Nose plier. | 5 |
|  | Wire Stripper | 5 |
|  | Soldering Iron | 5 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 2 |
|  | Techno Meter-Digital | 2 |
|  | Earth resistance tester (Digital) Spike Type, Clamp Type) | 2 |
|  | Continuity & Insulation tester | 4 |
|  | IR Temperature Gun | 2 |
|  | Digital Multi-meter | 1 |
|  | Cable Knife | 1 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer(digital) | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 1 |
|  | Hacksaw Frames | 1 |
|  | Cordless Impact Wrench with Kit | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 1 |
|  | Solar OFF-Grid Inverter 3KW- (Single Phase) | 1 |
|  | Solar ON-Grid Inverter 10 KW--(Three Phase) | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 1 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module N-Type, Monoficial 585 W | 1 |
|  | Solar PV Module N-Type Bifacial TOPCON, 585 W | 1 |
|  | Solar PV Module Mono (P-Type), 585 W | 1 |
|  | Solar PV Module P-Type Hetro Junction Technology, 585W | 1 |
|  | Solar PV Module P-Type Back Contact, 585 W | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 5 |
|  | Solar PV Tester | 2 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multi-meter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Spirit Level | 1 |

Consumables Required for Qualification

The consumables required for this competency standard are provided below:

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 5 No |
| 3 | PVC Pipe/ Duct. | 5 ft. |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 No. |
| 6 | Distribution Box-PVC | 2No. |
| 7 | AC MCB 2P 63A | 1 No. |
| 8 | AC MCB 1P 16A | 1 No. |
| 9 | AC MCB 1P 10A | 1 No. |
| 10 | Rotary Box | 1 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 1 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 1 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 10 ft. |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 No. |
| 24 | Push Button (3H) | 1 No. |
| 25 | Flexible Pipe 3/4” | 5 ft. |
| 26 | Flexible Pipe 1” | 2 ft. |
| 27 | Duct Putty 40x40 | 2 No. |
| 28 | Duct Putty 60x60 | 2 No. |
| 29 | Rawal Plug | 2 No. |
| 30 | Panel indicators | 2 No. |
| 31 | Intermediate Switch | 2 No. |
| 32 | Screw 1.5” | 1 No |
| 33 | Single pole switch. | 5 No. |
| 34 | Lamp holder | 2 No. |
| 35 | Lamp AC/DC | 2 No. |
| 36 | PVC Connector Strip | 2 No. |
| 37 | Drill bits | 2 No. |
| 38 | Electrical PVC tapes (Multi colors) | 2 No. |
| 39 | Two-way switch | 2 No. |
| 40 | Two pole switches | 2 No. |
| 41 | Junction Box | 2 No. |
| 42 | Photo Copy Paper -A4 | 1 Rims |
| 43 | PVC Cable Ties | 5 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 5 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 5 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 5 No. |
| 47 | Connector MC-4 1500V (set) | 10 No. |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 2 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 2 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |

# Members of Qualification Development & Review Committee

The following members participated in the qualification development and review process:

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| S. No. | Name |  | Organization |
|  |  | Muhammad Nasir Khan | DACUM Facilitator, EX DD, VT SS & C Wing, NAVTTC |
|  |  | Dr. Syed Iftikhar Hussain Shah | Additional Director General (TEVTA Punjab) Co-DACUM Facilitator |
|  |  | Engr. Dr. Waqas Abdul Salaam | Assistant Director, Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
|  |  | Engr. Faiz Bhutta | Solar PV Expert, CEO TECHFA Consulting, Lahore (Member Project Steering Committee KFW Project) |
|  |  | Engr. Syed Faizan Ali | Sr. Energy Consultant, Lahore (Member Project Steering Committee KFW Project) |
|  |  | Muhammad Saeed | Director Perfekt Energy, Islamabad. |
|  |  | Bilal Ahmad | Hajaris Co Pvt. Ltd Gujranwala |
|  |  | Muhammad Rehan Qureshi | Sr. Instructor, GTTI Gulberg, Lahore |
|  |  | Engr. Muhammad Saeed | Sr. Instructor, GTTI Gulberg, Lahore |
|  |  | Engr. Muhammad Sharjeel | Nanex Engineering ISB (Islamabad) |
|  |  | Engr. Ali Abbas | MES, Sagodha |
|  |  | Muhammad Aasim | Deputy Director, NAVTTC |
|  |  | Muhammad Ishaq | Deputy Director, NAVTTC |
|  |  | Mujahid Islam | CEO SIMKA Solar Gilgit. |
|  |  | Engr. Muhammad Rashid Mansoor | IT University Lahore |
|  |  | Khurram Hameed | Manager Integration, Creative Electronics Pvt. Ltd. |
|  |  | Hasnat Ahmed Khan | Director - Ningbo Green Light Energy, St. Vice Chairman - PSA |

| Qualification Review & Development Committee |  |  |
| --- | --- | --- |
| Sr. No. | Name | Organization |
| 01. | Engr. Muhammad Wameq Ayaz | DACUM Facilitator, NAVTTC Islamabad, PVTC Rawalpindi |
| 02. | Dr. Syed Iftikhar Hussain Shah | Additional Director General (TEVTA Punjab) Co-DACUM Facilitator |
| 03. | Engr. Dr. Waqas Abdul Salaam | Assistant Director, Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
| 04. | Engr. Faiz Bhutta | Solar PV Expert, CEO TECHFA Consulting, Lahore (Member Project Steering Committee KFW Project) |
| 05. | Engr. Syed Faizan Ali | Sr. Energy Consultant, Lahore (Member Project Steering Committee KFW Project) |
| 06. | Muhammad Saeed | Director Perfekt Energy, Islamabad. |
| 07. | Muhammad Rehan Qureshi | Sr. Instructor, GTTI Gulberg, Lahore |
| 08. | Engr. Muhammad Saeed | Sr. Instructor, GTTI Gulberg, Lahore |
| 09. | Engr. Khushbakht Munir Bhatti | Women In Energy Pakistan |
| 10. | Engr. Junaid Khalid | CEO, AVA Green Solar, Sialkot |

## Note:-

The On Job Training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environment. During this phase, student must take on entry level or support roles such as Solar PV System Sr. Technician. This role span across diverse industries including Solar Power Generation System or any other relevant industry that enable learners to contribute to power generation while fulfilling the requirements of the qualification to conduct of project on the pattern of final year students of Diploma of Associate Engineers (DAE) or engineering universities by the approval competent authority. This would no doubt cover industrial aspects of the qualification.