Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E36 – National Vocational Certificate Level 4 (Solar PV System Supervisor) |
| --- | --- |
| ## Date of development | 3rd – 7th March 2025 |
| ## Entry requirement | Level 3 solar PV Sr. Technician/ Electrician |
| ## Minimum qualification for teachers / instructors | BS. Tech/ BSc. Engineering./ B.E/ B.Tech (Hon) (Electrical/ Electronics) with 2 years’ experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years’ experience in relevant field or G-II (two years Certificate) |
| ## Medium of instruction | English |
| ## Duration of course | Total: 840 Hours Theory: 80 Hours Practical: 520Hours On Job Training: 240 Hours |

- List of Competencies/Modules

| Module Code | Name of Competency | Competency level | Category |
| --- | --- | --- | --- |
| 0713E&E3601 | Perform Solar Site Assessment | L-4 | Technical |
| 0713E&E3602 | Design Solar PV System | L-4 | Technical |
| 0713E&E3603 | Test Solar PV System As Per Design | L-4 | Technical |
| 0713E&E3604 | Configure Solar PV System | L-4 | Technical |
| 0713E&E3605 | Prepare Completion Report of Solar PV System | L-4 | Technical |
| 0713E&E3606 | Perform Troubleshooting of Solar PV System | L-4 | Technical |
| 0713E&E3607 | Inspect Solar PV System | L-4 | Technical |
| 0713E&E3608 | Perform Maintenance of Solar PV System | L-4 | Technical |
| 0713E&E3609 | Develop Entrepreneurship Skills | L-4 | Generic |
| 0713E&E3610 | OJT | L-4 | Technical |

- Class / Workshop Size/ Dimension (Trainee Capacity: 25) Awarding

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom size | Yes | 25x30 /(As Per Requirement) |
| Workshop/Laboratory size | Yes | 25x30 /(As Per Requirement) |
| Any other Requirement | As prescribed by the respective Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity / 25 Trainees)

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1Nos |
|  | Fire Extinguisher (Different Types & standard sizes) | 1 Nos |
|  | Fire Blanket | 1 Nos |
|  | Fire Bucket | 1 Nos |
|  | Safety goggles | 5 Nos |
|  | Safety shoes | As per requirement |
|  | Safety Helmet (White + Yellow) | 5 |
|  | Safety Harness | 1 |
|  | AVO Meter | 1. |
|  | Combination Plier. | 1 |
|  | Nose plier. | 1 |
|  | Wire Stripper | 1 |
|  | Soldering Iron | 1 |
|  | Set of Screw Drivers (ASTM) | 1 |
|  | Ring Spanner Set | 1 |
|  | Tacho Meter-Digital | 1 |
|  | Earth resistance tester (Digital) | 1 |
|  | Continuity & Insulation tester | 1 |
|  | Laser Temperature Gun | 1 |
|  | Digital Multimeter | 1 |
|  | Cable Knife Shielder | 1 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1. |
|  | Hydrometer(digital) | 1. |
|  | Hammer | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1. |
|  | Chisel | 1 |
|  | Digital Oscilloscope | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller MPPT 100 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 1 |
|  | Solar OFF-Grid Inverter 3KW- (Single Phase) | 1 |
|  | Solar ON-Grid Inverter 10 KW--(Three Phase) | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module N-Type, Monoficial 585 W | 1 |
|  | Solar PV Module N-Type Bifacial TOPCON, 585 W | 1 |
|  | Solar PV Module Mono (P-Type), 585 W | 2 |
|  | Solar PV Module P-Type Hetro Junction Technology, 585W | 1 |
|  | Solar PV Module P-Type Back Contact, 585 W | 2 |
|  | DC power Supply 12-to-24-volt | 2 |
|  | Solar PV Tester | 1. |
|  | Voltmeter (Analog & Digital) | 1. |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Power Quality Analyzer | 1 |
|  | Analog Multimeter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Spirit Level | 1. |
|  | Screw Driver Set Cardless (Battery Operated) | 1 |
|  | Rotary Change Over 4-P 100A | 1 |
|  | Electronic Relay 0-20Amp | 1 |
|  | Automatic Solar Panel cleaning equipment | 1 |
|  | Design software (Solar PV syst, PV Sol, Helioscope, PV sketch)-Registered version | 1 |
|  | Irradiance Meter | 1 |
|  | Lithium Ion Battery 1-C 48V, 100 AH | 1 |
|  | Safety Gloves with Niproin Coating | 12 |
|  | Radiation measuring meter (Solar Irradiance meter) | 1 |
|  | Pyranometer (For Solar irradiance) | 1 |
|  | Thermal Infrared Sensor / Imager | 1 |
|  | IV Curve tracer | 1 |
|  | Thermal Infrared Sensor / Imager | 1 |
|  | Compass | 1 |
|  | Solar cleaning brush | 1 |
|  | Pressure washer for cleaning | 1 |
|  | Solar Pathfinder | 1 |
|  | Lithium Battery- 48V- 100AH with smart BMS system for all around protection overload, short circuit, over voltage | 1 |
|  | Lithium Battery Nominal Capacity-100Ah Nominal Voltage 25.6V | 1 |
|  | Lithium Battery-cell -2V 100AH | 2 |
|  | Solarimeters | 1 |

- Consumable (with quantity/25 Students)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 100-Gram |
| 2 | Soldering paste | 1 No. |
| 3 | PVC Pipe/ Duct. | 50 ft |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 2 No. |
| 6 | Distribution Box-PVC | 1 No. |
| 7 | AC MCB 2P 63A | 1 No. |
| 8 | AC MCB 1P 16A | 1 No. |
| 9 | AC MCB 1P 10A | 1 No. |
| 10 | Rotary Box | 1 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 1 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 1 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 10 ft |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 No. |
| 24 | Push Button (3H) | 1 No. |
| 25 | Flexible Pipe 3/4” | 2 ft |
| 26 | Flexible Pipe 1” | 2 ft |
| 27 | Duct Putty 40x40 | 1 No. |
| 28 | Duct Putty 60x60 | 1 No. |
| 29 | Rawal Plug | 10 No. |
| 30 | Panel indicators | 1 No. |
| 31 | Intermediate Switch | 1 No. |
| 32 | Screw 1.5” | 2 boxes |
| 33 | Single pole switch. | 5 No. |
| 34 | Lamp holder | 2 No. |
| 35 | Lamp AC/DC | 2 No. |
| 36 | PVC Connector Strip | 2 No. |
| 37 | Drill bits | 2 No. |
| 38 | Electrical PVC tapes (Multi colors) | 2 No. |
| 39 | Two-way switch | 2 No. |
| 40 | Two pole switches | 2 No. |
| 41 | Junction Box | 2 No. |
| 43 | PVC Cable Ties | 01 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 01 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 01 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 1 No. |
| 47 | Connector MC-4 1500V (set) | 5 No. |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 1Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | Battery Terminals (set) | 2 |
| 52 | Battery Water (Distilled Water) | 05 Bottles |
| 53 | Rawal Bolt with Washers | 5 No. |
| 54 | Lightning Arrester Complete Set (Copper) Medium Size | 01 |
| 55 | PVC Pipe ¾” | 50 ft |
| 56 | Two Pin Socket | 3 No. |
| 57 | Lamp Holder | 3 No. |
| 58 | Junction Box ¾” | 2 No. |
| 59 | PVC Boards 4”x4” | 6 No. |
| 60 | DC MCB 2P 63A & 125A | 2 No. |
| 61 | AC MCCB 3P 40A | 2 No. |
| 62 | DC SPD 2P 40KA 1500V & 1000V | 2 No. |
| 63 | AC SPD 2P 40KA 500V | 2 No. |
| 64 | AC SPD 4P 40KA 1000V | 2 No. |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes |
| Industry linkage | Yes |
| Teacher training | Yes |