National Diploma Solar PV system Supervisor (Level-4)

(Competency Standards)

National Vocational and Technical Training Commission (NAVTTC),

Government of Pakistan

FOREWORD

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Diploma Level 4 in Electrical Technology (Solar PV System Supervisor). This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of PSDA, TEVTAs, BTEs and PVTC work diligently to make this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

Table of Contents

1.1.	Introduction 	4

1.2.	Date of development:………………………………………………………………….4

1.3.	Date of review & validation:	4

1.4.	Entry requirement:	4

1.5. Trainer Qualification Requirement…………………………………………………..4

1.6.	Codes of qualification	4

2.   Summary of Competencies………………………………………………………..5

3. Qualification Levelling and Packaging…………………………………………….5

4. Detail of Competency Standards…………………………………………………….6

0713E&E3601 CS1 Perform Solar Site Survey …………………….…………………………..6

0713E&E3602 CS2 Design Solar PV System ………………………………………...…………9

0713E&E3603 CS3 Test Solar PV System As Per Design …………………………………….11

0713E&E3604 CS4 Configure Solar PV System …………………………………………….…12

0713E&E3605 CS5 Prepare Completion Report of Solar PV System …………………….…14

0713E&E3606 CS6 Perform Troubleshooting of Solar PV System ……………………….….15

0713E&E3607 CS7 Inspect Solar PV System ………………………………………………..17

0713E&E3608 CS8 Perform Maintenance of Solar PV System ………………………….…..19

0713E&E3609 CS9 Develop Entrepreneurship Skills…………………………………………….21

OJT

Soft Skills

5.	Tools, Equipment Required	23

6.	Members of Qualification Development & Review Committee	28

# Introduction

Solar energy harnesses sunlight to generate electricity directly through photovoltaic (PV) systems. In recent years, Pakistan has experienced a remarkable surge in solar energy adoption, driven by decreasing costs of solar equipment and a growing emphasis on sustainable energy solutions. This trend aligns with the global shift towards renewable energy, supporting the development of green skills and contributing to environmental sustainability. Pakistan has rapidly increased its solar power installations, with estimates suggesting around 12 gigawatts (GW) of solar power already installed (across all sectors), compared to 43 GW of on-grid power capacity. The country is expected to add at least 10-15 GW of solar power over the period of next 10 years.

Pakistan has become one of the world's largest importers of solar panels, purchasing an incredible 13 GW in just the first half of 2024. This surge positions Pakistan as the sixth-largest installer of solar panels globally in 2024. Through the Alternative Energy Development Board (now PPIB), the government is attempting to construct solar power facilities on its public buildings as well as other installations.

The rapid expansion of solar energy infrastructure has led to an increased demand for skilled Solar PV Technicians capable of installing, maintaining, and operating solar photovoltaic systems. This surge in demand presents significant opportunities for professionals equipped with the appropriate skills to contribute to and benefit from the growing solar energy sector. This course has been designed and developed to achieve its objectives of providing appropriate skills in the field of solar PV system.

| # 1.2 Date of development: | # March, 2025 |
| --- | --- |
| # 1.3 Date of review &validation: | # May, 2025 |
| # 1.4 Entry requirement: | # Matric + Solar PV System Technician Level 3 |
| # 1.5 Trainer Qualification # Requirement | # BS. Tech/ Bsc. Engg./ B.E/B.Tech (Electrical/ Electronics) with 2 years experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years experience in relevant field |
| # 1.6 Codes of qualification # (ISCED) | # Code: 0713-E&E36 # Description: National Vocational # Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) |

# Summary of competencies

| Competency Standards | NVQF | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level |  | Th | Pr | Total |  |
| 0713E&E3601 CS1 Perform Solar Site Assessment | 4 | Technical | 3 | 20 | 23 | 1.3 |
| 0713E&E3602 CS2 Design Solar PV System | 4 | Technical | 20 | 130 | 150 | 8.5 |
| 0713E&E3603 CS3 Test Solar PV System As Per Design | 4 | Technical | 9 | 60 | 69 | 3.9 |
| 0713E&E3604 CS4 Configure Solar PV System | 4 | Technical | 3 | 20 | 23 | 1.3 |
| 0713E&E3605 CS5 Prepare Completion Report of Solar PV System | 4 | Technical | 5 | 33 | 38 | 2.15 |
| 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System | 4 | Technical | 9 | 60 | 69 | 3.9 |
| 0713E&E3607 CS7 Inspect Solar PV System | 4 | Technical | 9 | 60 | 69 | 3.9 |
| 0713E&E3608 CS8 Perform Maintenance of Solar PV System | 4 | Technical | 13 | 115 | 128 | 7 |
| 0713E&E3609 CS9 Develop Entrepreneurship Skills | 4 | Generic | 9 | 22 | 31 | 2 |
| OJT | 4 | Technical |  |  | 240 | 6 |
| Total |  |  | 80 | 520 | 840 | 40 |

# 3.    Qualification Levelling and Packaging

| S # | Occupation/ Short Course | Modules/ CS Codes | Level | Occupation Credit Hours | Training duration |
| --- | --- | --- | --- | --- | --- |
| 1. | # National Vocational # Certificate Level 4 in Electrical Technology (Solar PV System Supervisor) | 0713E&E3601 CS1 | 4 | 1.3 | 06 Months |
|  |  | 0713E&E3602 CS2 | 4 | 8.5 |  |
|  |  | 0713E&E3603 CS3 | 4 | 3.9 |  |
|  |  | 0713E&E3604 CS4 | 4 | 1.3 |  |
|  |  | 0713E&E3605 CS5 | 4 | 2.15 |  |
|  |  | 0713E&E3606 CS6 | 4 | 3.9 |  |
|  |  | 0713E&E3607 CS7 | 4 | 3.9 |  |
|  |  | 0713E&E3608 CS8 | 4 | 7 |  |
|  |  | 0713E&E3609 CS9 | 4 | 2 |  |

# 4.   Detail of Competency Standards

### 0713E&E3601 CS1:        Perform Solar Site Survey

Overview:

This competency standard covers knowledge and skills about how to conduct survey of the site and to prepare assessment report including use of survey tools and equipment and activities like preparation of survey form, collecting weather data, measuring and calculating site data, Load, and energy requirement, shading data, Power sources.

.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Conduct Survey | P1. Prepare survey Form P2. Measure dimensions of Site P3. Record any nearby shadings P4. Check power sources P5. Check load profiles / Electric bill P6. Use compass to check orientation of the site P7. Check installation place of Inverter P8. Measure distance from inverter to panels and inverter to injection point P9. Check suitable place for earthing and lightning arrestor P10. Fill Survey form |
| CU2. Interpret Solar Irradiance | P1. Set meter for measurement P2. Measure radiation density and energy (W/m2 and Wh/m2) P3. Record solar irradiance |
| CU3. Interpret weather pattern | P1. Check weather station website P2. Measure site temperature P3. Measure Wind speed P4. Measure humidity P5. Record all weather parameters |
| CU4. Interpret Shading Analysis | P1. Check whole day shading level P2. Check shading from building P3. Check Shading from nearby trees P4. Assess Shading at site |
| CU5. Interpret Topography of Solar Site | P1. Check topography of site P2. Monitor topography of site P3 Identify proper direction for Solar site |
| CU6. Prepare Assessment Report | P1. Prepare report format P2. Fill the report format P3. Submit the report |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard. This includes the knowledge of:

- Preparation of survey form.

- Filling of survey form

- Calculation of power and energy requirement

- How to gather weather data

- Identification of shading sources

- Calculation shading and its impact

- Measurements of site dimensions

- Explain Topography

- Integrate data in report

- Prepare complete survey and assessment report

- Report Submission

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Prepare survey form

- Fill survey form

- Calculate power and energy requirement

- Use tools and equipment

- Measure site dimensions and distances

- Prepare survey and assessment report

- Submit survey and assessment report

Tools and Equipment required for CS:

| S/NO | Items | Quantity |
| --- | --- | --- |
| 1 | Safety shoes with metal guards | 25 No. |
| 2 | Safety goggles/ Glasses | 25 No. |
| 3 | Safety Helmet (White + Yellow) | (5 + 25) No. |
| 4 | Safety Harness with life line | 10 No. |
| 5 | First Aid Box | 02 No. |
| 6 | Fire Extinguisher (Different Types & standard sizes) | 05 No. |
| 7 | AVO Meter | 05 No. |
| 8 | Combination Plier. | 25 No. |
| 9 | Nose plier. | 25 No. |
| 10 | Soldering Iron | 05 No. |
| 11 | Spirit Level | 05 No. |
| 12 | Compass | 05 No. |

### 0713E&E3602 CS2 Design Solar PV System

This competency standard covers the competencies required to design the off-grid, hybrid and on-grid solar PV systems. It also covers the use of the formulas for design and use of design software/tools to generate reports and prepare BOQs/ drawings.

| Competency Units Uni | Performa Performance Criteria |
| --- | --- |
| CU1. Prepare design of Off-Grid System | - Measure the load - Calculate the energy required - Size PV modules - Size Batteries - Size Inverters - Size cables - Prepare BoQ - Prepare drawings |

| CU2. Prepare design of ON-Grid System | - Measure space - calculate total PV watts - Calculate the energy required - Size PV modules - Size Inverters - Size cables - Prepare BoQ - Prepare drawings |
| --- | --- |
| CU3. Prepare design of Hybrid System le Phase | - Measure the load - Calculate the energy required - Size PV modules - Size Batteries - Size Inverters - Size cables - Prepare BoQ - Prepare drawings |
| CU4. Prepare design of Solar PV System on Software (PVSYST, PVSOL,HELIOSCOPE etc.) | P1. Configure parameters in software P2. Run simulation in software P3. Generate Report |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Understand the use of each type of equipment/tool

- Explain system Design process and methodology

- Explain off-grid, hybrid and on-grid solar PV systems

- Use formulas for design of solar systems

- Use design software/tools for design of solar systems

- Make SLD ( single line diagram)

- Make drawings of solar systems

- Make BOQs

- Generate and understand simulation reports

- Prepare design document

- Understand data sheets of PV components

.

`Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Interpret Specifications of each component of PV system

- Design off-grid Solar PV System

- Design hybrid Solar PV System

- Design on-grid Solar PV system

- Prepare SLD

- Prepare BOQ

- Prepare drawings

- Prepare Simulation reports

- Prepare Design document

Tools and Equipment required for CS:

| S/NO | Items | Quantity |
| --- | --- | --- |
| 01 | Design software (Solar PV syst, PV Sol, Helioscope, PV sketch)-Registered version | 01 each |
| 02 | calculator (Scientific) | 02 No. |
| 03 | Watt Meter (Analog & Digital) | 05 No. |
| 04 | Analog Multimeter | 05 No. |

### 0713E&E3603 CS3        Test Solar PV System As Per Design

Overview:

This competency standard covers the skills and knowledge about compliance of design as per the contract through testing. Knowledge about startup, Test and commissioning procedures and how to conduct the startup, testing and commissioning of the solar PV System.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Start-up of Solar PV System (Pre- Commissioning Checks) | - Check Solar Panels string voltage and current - Check Inverter - Check protection devices - Check batteries - Check DC earthing - Check AC earthing |
| CU2. Perform testing of Solar PV system | - Measure Voc of solar PV arrays - Measure earth resistance - Measure grid voltage - Measure frequency - Measure power factor - Measure battery voltage - Measure state of charge - Measure IV curve via analyzer |
| CU3. Perform Commissioning of Solar PV system | - Energize the system - Observe any abnormality - Conduct trial run |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Understand the start-up, test and commissioning procedures

- Conduct the startup of the system

- Explain DC and AC earthing

- Explain DC and AC protective devices.

- Conduct testing of the system

- Use of tools required for test and commissioning

- Record the results of testing

- Understand the nature of faults and abnormalities in the system.

- Prepare commissioning report

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate start-up as per procedure

- Demonstrate testing as per procedure

- Conduct commissioning as per procedure

- Apply tools and equipment

- Prepare commissioning report

Tools and Equipment required for CS:

| S.NO | Tools and Equipment | Quantity |
| --- | --- | --- |
| 01. | Voltmeter (Analog & Digital) | 05 No. |
| 02. | Ampere Meter (Analog & Digital) | 05 No. |
| 03. | Watt Meter (Analog & Digital) | 05 No. |
| 04. | VAR Meter | 05 No. |
| 05. | Clamp-On Meter (AC &DC) | 05 No. |

### 0713E&E36 CS4         Configure Solar PV System

Overview:

This competency standard covers the skills and knowledge required to set parameters and configure the whole solar PV system enabling it to display at digital device and platforms. This competency standard shall enable the participant to ensure that the solar PV system is configured and ready for safe operations.

| Competency Units | Perform Performance Criteria |
| --- | --- |
| CU1. Perform Parameters setting of Solar Inverter | P1. Set voltage setting of inverter P2. Set frequency setting of inverter P3. Set grid code settings P4. Set Battery parameters in the inverter P5. Set power factor parameter of the inverter P6. Configure communication settings of the inverter P7. Configure remote monitoring application |
| CU2. Monitor the operation via Software on digital platforms | P1. Interpret energy consumption P2. Interpret generation P3. Interpret alerts P4. Interpret warnings P5. Interpret faults P6. Interpret string current P7. Interpret String voltage P8. Interpret energy import P9. Interpret energy export P10. Interpret trends of power P11. Interpret trends of energy |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain the parameters to set for each component of the solar system.

- Explain communication channels

- Explain how to load and run application software required for configuration.

- Describe the method for configuration of solar PV system

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform Setting of Inverter on following parameters

- Priority Setting

- Maximum Charging Current Setting

- AC input voltage range setting

- Output Frequency Setting

- Maximum Utility Charging Current Setting

- Operate application software required for configuration

- Display data at mobile / PC or any digital platform

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 01. | Charge Controller MPPT 100 amp | 05 No. |
| 02. | Solar Hybrid Inverter 4KW MPPT | 02 No. |
| 03. | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 02 No. |
| 04. | Solar OFF-Grid Inverter 3KW- (Single Phase) | 02 No. |
| 05. | Solar ON-Grid Inverter 10 KW--(Three Phase) | 02 No. |
| 06. | Tall tubular Battery -12 V, 180AH | 02 N0. |
| 07. | Lithium Ion Battery 1-C 48V, 100 AH | 04 No. |

### 0713E&E3605 CS5                Prepare Completion Report of Solar PV System

Overview:

This competency standard covers the skills and knowledge required to report the solar PV system installations findings and prepare completion report.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform preparation of completion report | P1. Prepare format of the report P2. Fill the report P3. Submit the report |
| CU2. Enlist each part of equipment Installed | P1. Record model of each equipment P2. Record serial number of each equipment installed P3. Record warranty of each equipment |
| CU3. Make Photograph of Installation for evidence | P1. Take photograph of each equipment installed P2. Record photograph of each equipment installed |
| CU4. Make record of Test Results | P1. Check test results P2. Record test results |
| CU5. Perform Handing Over/ Taking Over Process | P1. Prepare handing over /taking over format P2. Analyse and address customer comments P3. Get signed P4. Record signed handing over certificate |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Procedure for making report format

- Procedure of filling of report

- Explain reading and recording of serial numbers and label of the equipment

- Explain warranty of each component

- Explain how to record photographs

- Explain documentation of test results

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Demonstrate preparation of format of the report

- Demonstrate filling of the report

- Interpret the serial numbers and labelling of the equipment

- Interpret warranty card of the equipment

- Demonstrate ability to record photographs

- Perform tests

- Prepare completion certificate

Tools and Equipment required for CS:

| S/No | Items | Quantity |
| --- | --- | --- |
| 1 | Digital Camera | 01 |
| 2 | Printer | 01 |
| 3 | Air surveillance Camera | 01 |
| 4 | Laptop | 01 |

### 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System

Overview:

This competency standard covers the skills and knowledge required to perform identification of fault, solution of the faults, rectify the faults (trouble shooting), as per procedure.

| Competency Units nits | Performance Criteria |
| --- | --- |
| CU1. Identify Nature of Faults | P1. Check status of PV Panels P2. Check invertor for fault code P3. Check status of wiring P4. Verify status of battery P5. Verify protection devices P6. Check earthing status |
| CU2. Diagnose the fault | P1. Make solution of fault code P2. Estimate cost of rectification P3. Report the fault to the concerned person |
| CU3. Rectify the faults | P1. Reset the software for rectification P2. Arrange the required tools/ equipment P3. Arrange the required material P4. Repair faulty component / equipment P5. Replace faulty component / equipment P6. Refer irreplaceable faulty components to the concerned lab |

Knowledge & Understanding

The student must be able to demonstrate knowledge and understanding required to carry out task covered in this competency standard. This includes the knowledge of

- Explain different types and nature of faults

- Explain the types and uses of various testing, diagnostic and repairing equipment

- Explain Diagnostic Procedures

- Use of manual

- Explain rectification process

- Use of invertor user interface software

- Standard operating procedure for troubleshooting

Critical Evidence(s) Required

The student needs to produce following critical evidence(s) in order to be competent in this competency standard:

- Perform identification of fault

- Perform testing on the system

- Perform diagnosis of fault

- Perform rectification of fault

- Demonstrate use of invertor software

Tools and Equipment required for CS:

| S.NO | Items | Quantity |
| --- | --- | --- |
| 01. | Operation Monitoring Device (LED Screen or Tablet) | 02 No. |
| 02. | Solar PV Tester | 05 No. |
| 03. | Voltmeter (Analog & Digital) | 05 No. |
| 04. | Ampere Meter (Analog & Digital) | 05 No. |
| 05. | Watt Meter (Analog & Digital) | 05 No. |
| 06. | VAR Meter | 05 No. |
| 07. | Digital Power Factor Meter | 02 No. |
| 08. | Power Quality Analyzer | 02 No. |
| 09. | Analog Multimeter | 05 No. |
| 10. | Spirit level | 05 No. |
| 11. | Clamp on meter | 05 No. |
| 12. | AVO Meter | 05 N0. |

### 0713E&E3607 CS7                   Inspect Solar PV system

Overview:

This competency standard covers the skills and knowledge required to prepare

check list for inspection (visual and measurement based) and conduct the inspection and identify any abnormality and recommend interventions to solutions and  record it in the report.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Perform Inspection as per checklist | P1. Prepare list of tools for inspection P2. Prepare list of materials for inspection P3. Prepare list of activities for inspection of invertor P4. Prepare list of activities for inspection of Panels P5. Prepare list of activities for inspection of Batteries P6. Perform visual inspection |
| CU2. Perform Monitoring during operation | P1. Collect log sheet P2. Observe log sheet P2. Arrange required tools for monitoring P3. Prepare Monitoring schedule P4. Perform activities as per schedule P5. Record findings of monitoring activities |
| CU3. Identify faults | P1. Record any abnormality in operations P2. Analyze the location of fault P3. Analyze the level of fault |
| CU4. Rectify faults as per procedure | P1. Prepare list of tools for rectification of fault P2. Prepare list of materials for rectification of fault P3. Prepare list of activities for rectification of faulty components |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and

understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Use of tools

- Understand the materials required for inspection

- Preparation of checklist / monitoring schedule

- Understand methods for visual inspection of each equipment

- Record findings

- Understand the abnormality and its levels

- Understand recommendations

- Understand preparation of report

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform preparation of inspection checklist / schedule as per standard

- Demonstrate the recommendation

- Perform the selection of appropriate tools for rectification

- Diagnose abnormalities in the system and its levels

- Rectify the fault

Tools and Equipment required for CS:

| S.NO | Items | Quantity |
| --- | --- | --- |
| 1. | Combination Plier. | 25 No. |
| 2. | Nose plier. | 25 No. |
| 3. | Set of Screw Drivers (ASTM) | 25 No. |
| 4. | Ring Spanner Set | 02 No. |
| 5. | Earth resistance tester (Digital) | 04 No. |
| 6. | Continuity & Insulation tester | 04 No. |
| 7. | Laser Temperature Gun | 05 No. |
| 8. | Phase Sequence Meter | 04 No. |
| 9. | Battery Tester | 02 No. |
| 10. | Micro Meter mm | 05 No. |
| 11. | 3- Phase energy meter (Green Meter) | 02 No. |
| 12. | Energy meter Digital Single Phase | 03 No. |

### 0713E&E3608 CS8                    Perform maintenance of Solar System

Overview:

This competency standard covers the skills and knowledge required to understand the predictive, preventive and corrective maintenance along with prepare check list for maintenance, follow routine maintenance log sheet, maintain Solar PV modules and perform post verification function of the system.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Clean Solar PV Modules | P1. Prepare washing schedule P2. Arrange cleaning equipment P3. Wash the panels as per instructions (Avoid washing during peak sun hours). |
| CU2. Implement Monitoring Schedule for preventive maintenance | P1. Prepare preventive maintenance schedule P2. Collect maintenance log sheet P2. Arrange required tools / instruments for maintenance P3. Perform activities as per schedule P5. Record findings |
| CU3. Perform maintenance of Solar PV system as per schedule | P1. Prepare maintenance schedule P2. Inspect for any faults P2. Rectification of fault P3. Record findings |
| CU4. Check Performance of Solar PV system | P1. Note design performance P2. Calculate actual performance P2. Analyze design performance with actual performance P3. Identify gaps and fill gaps P4. Document performance of solar PV system |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Procedure for cleaning of solar PV modules

- Cleaning tools and equipment

- Understand preventive maintenance implementation

- Understand identification of fault

- Understand rectification of faults

- Understand the performance of solar PV system with performance parameters

- Understand calculation of design performance and actual performance

- Understand recommending improvements in performance

- Understand degradation of PV modules

- Understand documenting the performance parameters

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Perform washing of Solar Modules

- Perform preventive maintenance as per schedule

- Perform fault identification

- Perform fault rectification

- Perform preparation of report

- Perform calculation of solar PV system performance

- Check actual solar PV performance

Tools and Equipment required for CS:

| S.NO | Items | Quantity |
| --- | --- | --- |
| 1. | Solar Panel cleaning material | 01 No. |
| 2. | Combination Plier. | 25 No. |
| 3. | Nose plier. | 25 No. |
| 4. | Set of Screw Drivers (ASTM) | 25 No. |
| 5. | Ring Spanner Set | 02 No. |
| 6. | Earth resistance tester (Digital) | 04 No. |
| 7. | Continuity & Insulation tester | 04 No. |
| 8. | Laser Temperature Gun | 05 No. |
| 9. | Phase Sequence Meter | 04 No. |
| 10. | Battery Tester | 02 No. |
| 11. | Micro Meter mm | 05 No. |

### 0713E&E3609 CS9          Develop   Entrepreneurship Skills

Overview:

This competency standard covers the essential skills and knowledge required to conduct business in the Solar PV industry. It includes understanding solar technology, system design, financial viability, regulatory compliance, and market dynamics. Additionally, it covers procurement, installation standards, and after-sales services to ensure sustainable and profitable solar PV ventures.

| Competency Units | Performance Criteria |
| --- | --- |
| CU1. Identify Solar PV Market and Business Opportunities | P1. Prepare market segmentation P2. Identify major products P3. Propose Solutions P3. Identify target customers |
| CU2. Plan Solar PV Business | P1. Identify a potential product P2. Promote the products to customers P3. Determine suitable pricing of the product P4. Determine size of business |
| CU3. Set up an enterprise of solar PV | P1. Register enterprise P2. Set office P3. Recruit human resource P4. Develop procedures for business operation P5. Run the enterprise |
| CU4. Manage Solar PV business | P1. Do Costing and Price setting of the product and solutions P2. Make list of expenses P3. Perform control of expenditure P3. Calculate the profitability of the business P4. Develop business strategy P5. Review the business performance |

Knowledge & Understanding

The candidate must be able to demonstrate underpinning knowledge and understanding required to carry out the tasks covered in this competency standard.

This includes the knowledge of:

- Understanding of the Solar PV market

- Understanding of Solar products

- Understanding of competitors

- Understanding of customer and its requirements

- Interpret rules and regulations

- Understanding strategies for product, pricing, promotion and distribution

- Knowledge about registration and setting up of enterprise

- Understanding the costing, pricing, expenses, profits of business

- Understanding hiring process

- Understanding review and corrective measures for business

Critical Evidence(s) Required

The candidate needs to produce following critical evidence(s) in order to be

competent in this competency standard:

- Demonstrate business plan

- Demonstrate procedures of setting up a business

- Demonstrate rules and regulations

- Analyze business profitability

Tools and Equipment required for CS:

| S.NO | Tools and Equipment | Quantity |
| --- | --- | --- |
| 1 | Business development guidelines manuals | 25 No. |
| 2. | Laptop | 01 No. |
| 3. | Computer | 01 No. |
| 4. | Financial Software | 01 No. |
| 5. | Solar PV software(s) | 01 No. |

# 5. Tools, Equipment Required for Qualification

The tools and equipment required for this competency standard are provided below:

| SR. NO | NAME OF TOOL EQUIPMENT’S AND MACHINERY | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Safety shoes with metal guards | 25 No. |
| 2 | Safety goggles/ Glasses | 25 No. |
| 3 | Safety Helmet (White + Yellow) | (5 + 25) No. |
| 4 | Safety Harness with life line | 10 No. |
| 5 | First Aid Box | 02 No. |
| 6 | Fire Extinguisher (Different Types & standard sizes) | 05 No. |
| 7 | AVO Meter | 05 No. |
| 8 | Combination Plier. | 25 No. |
| 9 | Nose plier. | 25 No. |
| 10 | Wire Stripper | 25 No. |
| 11 | Soldering Iron | 05 No. |
| 12 | Set of Screw Drivers (ASTM) | 25 No. |
| 13 | Ring Spanner Set | 02 No. |
| 14 | Tacho Meter-Digital | 05 No. |
| 15 | Earth resistance tester (Digital) | 04 No. |
| 16 | Continuity & Insulation tester | 04 No. |
| 17 | Laser Temperature Gun | 05 No. |
| 18 | Digital Multimeter | 05 No. |
| 19 | Cable Knife Shielder | 25 No. |
| 20 | Phase Sequence Meter | 04 No. |
| 21 | Clamp-On Meter (AC &DC) | 05 No. |
| 22 | Lux Meter | 02 No. |
| 23 | Lugs Punching Machine (Hydraulic and Manual) | 02 No. |
| 24 | Battery Tester | 02 No. |
| 25 | Micro Meter mm | 05 No. |
| 26 | Hydrometer(digital) | 05 No. |
| 27 | Hammer | 10 No. |
| 28 | Battery Charger | 05 No. |
| 29 | Bench Vice | 02 No. |
| 30 | Chisel | 02 No. |
| 31 | Digital Oscilloscope | 01 No. |
| 32 | 3- Phase energy meter (Green Meter) | 02 No. |
| 33 | Energy meter Digital Single Phase | 03 No. |
| 34 | Charge Controller MPPT 100 amp | 05 No. |
| 35 | Solar Hybrid Inverter 4KW MPPT | 02 No. |
| 36 | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 02 No. |
| 37 | Solar OFF-Grid Inverter 3KW- (Single Phase) | 02 No. |
| 38 | Solar ON-Grid Inverter 10 KW--(Three Phase) | 02 No. |
| 39 | Tall tubular Battery -12 V, 180AH | 02 N0. |
| 40 | Solar PV Module N-Type, Monoficial 585 W | 25 No. |
| 41 | Solar PV Module N-Type Bifacial TOPCON, 585 W | 25 No. |
| 42 | Solar PV Module Mono (P-Type), 585 W | 02 No. |
| 43 | Solar PV Module P-Type Hetro Junction Technology, 585W | 02 No. |
| 44 | Solar PV Module P-Type Back Contact, 585 W | 02 No. |
| 45 | DC power Supply 12-to-24-volt | 05 No. |
| 46 | Solar PV Tester | 05 No. |
| 47 | Voltmeter (Analog & Digital) | 05 No. |
| 48 | Ampere Meter (Analog & Digital) | 05 No. |
| 49 | Watt Meter (Analog & Digital) | 05 No. |
| 50 | VAR Meter | 05 No. |
| 51 | Digital Power Factor Meter | 02 No. |
| 52 | Power Quality Analyzer | 02 No. |
| 53 | Analog Multimeter | 05 No. |
| 54 | Energy meter Digital- Three phase | 05 No. |
| 55 | Spirit Level | 05 No. |
| 56 | Screw Driver Set Cardless (Battery Operated) | 01 No. |
| 57 | Printer Laser | 01 No. |
| 58 | # Computer Dell OptiPlex Tower Plus Intel Core i7 14700 32-GB DDR5 4TB SSD with IPS 2K QHD LED WQHD (2560x1440) IPS 27" LED | 03 No. |
| 59 | Multimedia Projector | 01 No. |
| 60 | Rotary Change Over 4-P 100A | 02 No. |
| 61 | Electronic Relay 0-20Amp | 04 No. |
| 62 | Stop Watch | 02 No. |
| 63 | Laptop 13th Gen Core i7 Processor 32-GB 2TB SSD 4-GB NVIDIA screen size -16 | 02 No. |
| 64 | Operation Monitoring Device (LED Screen or Tablet) | 02 No. |
| 65 | Power Sensor/Zero Export device / Compatible with each brand | 02 No. |
| 66 | Laser Distance Meter | 05 No. |
| 67 | VFD (Variable Frequency Drive)-(Different Brands)-7-11KW -400V | 04 No. |
| 68 | calculator (Scientific) | 02 No. |
| 69 | Photovoltaic Solar Energy Simulator | 02 No. |
| 70 | Compass | 05 No. |
| 71 | Soldering gun | 02 No. |
| 72 | Automatic Solar Panel cleaning equipment | 02 No. |
| 73 | Design software (Solar PV syst, PV Sol, Helioscope, PV sketch)-Registered version | 01 each |
| 74 | Irradiance Meter | 05 No. |
| 75 | Lithium Ion Battery 1-C 48V, 100 AH | 04 No. |
| 76 | Safety Gloves with Niproin Coating | 12 No. |
| 77. |  |  |

Consumables Required for Qualification

The consumables required for this competency standard are provided below:

| SR.NO | ITEMS | QTY. |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 |
| 3 | PVC Pipe/Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 72 |
| 6 | Distribution Box-PVC | 10 |
| 7 | AC MCB 2P 63A | 06 |
| 8 | AC MCB 1P 16A | 10 |
| 9 | AC MCB 1P 10A | 10 |
| 10 | Rotary Box | 4 |
| 11 | DC Wire 4mm XLPE | 2 coils |
| 12 | DC Wire 6mm XLPE | 2 coils |
| 13 | DC Wire 10mm XLPE | 1 coil |
| 14 | DC Wire 25mm XLPE | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 4 |
| 24 | Push Button (3H) | 4 |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 4 |
| 28 | Duct Putty 60x60 | 4 |
| 29 | Rawal Plug | 100 |
| 30 | Panel indicators | 12 |
| 31 | Intermediate Switch | 5 |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 |
| 34 | Lamp holder | 25 |
| 35 | Lamp AC/DC | 25 |
| 36 | PVC Connector Strip | 25 |
| 37 | Hacksaw Blade | 10 |
| 38 | Drill bits | 10 |
| 39 | Electrical PVC tapes | 25 |
| 40 | Two-way switch | 25 |
| 41 | Two pole switches | 25 |
| 42 | Junction Box | 25 |
| 43 | Photo Copy Paper -A4 | 12 Ream |
| 44 | PVC Cable Ties | 02 Pkt |
| 45 | PVC Elbow -3/4" (Packet -100-No) | 02 Pkt |
| 46 | PVC Saddle -3/4" (Packet -100-No) | 02 Pkt |
| 47 | PVC Distribution Box Casing for breaker | 12 |
| 48 | Connector MC-4 1500V (set) | 50 |
| 49 | PVC Flexible -2 Core Cable -40/0.0076 | 3 Coils |
| 50 | Connector/Tumble -6mm(100nos ) | 1 Pkt |
| 51 | Connector/Tumble -25mm (100 Nos ) | 1 Pkt |
| 52 | Battery Terminals (set) | 24 |
| 53 | Battery Tonic | 05 |
| 54 | Rawal Bolt -13mm | 50 |
| 55 | Lightning Arrester Complete Set (Copper) | 03 |
| 56 | PVC Pipe ¾” | 500 ft |
| 57 | Two Pin Socket | 36 |
| 58 | Lamp Holder | 36 |
| 59 | Junction Box ¾” | 20 |
| 60 | PVC Boards 4”x4” | 60 |
| 61 | DC MCB 2P 63A & 125A | 2 |
| 62 | AC MCCB 3P 40A | 2 |
| 63 | DC SPD 2P 40KA 1500V & 1000V | 2 |
| 64 | AC SPD 2P 40KA 500V | 5 |
| 65 | AC SPD 4P 40KA 1000V | 2 |
| 66 | V+A Protector 2P 80A | 2 |
| 67 | Magnetic Contactors 2+2 | 20 |
| 68 | Phase Failure Relay | 2 |
| 69 | Drawing Charts | 25 |
| 70 | Exercise Board (800x1200 mm) | 12 |
| 71 | Cable (4-core) 10-mm | 03 |

# 6.   Members of Qualification Development & Review Committee

The following members participated in the qualification development and review process:

| Qualification Development Committee |  |  |  |
| --- | --- | --- | --- |
| S. No. | Name |  | Organization |
|  |  | Muhammad Nasir Khan | DACUM Facilitator, EX DD, VT SS & C Wing, NAVTTC |
|  |  | Dr. Syed Iftikhar Hussain Shah | Additional Director General (TEVTA Punjab) Co-DACUM Facilitator |
|  |  | Engr. Dr. Waqas Abdul Salaam | Assistant Director, Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
|  |  | Engr. Faiz Bhutta | Solar PV Expert, CEO TECHFA Consulting, Lahore (Member Project Steering Committee KFW Project) |
|  |  | Engr. Syed Faizan Ali | Sr. Energy Consultant, Lahore (Member Project Steering Committee KFW Project) |
|  |  | Muhammad Saeed | Director Perfekt Energy, Islamabad. |
|  |  | Bilal Ahmad | Hajaris Co Pvt. Ltd Gujranwala |
|  |  | Muhammad Rehan Qureshi | Sr. Instructor, GTTI Gulberg, Lahore |
|  |  | Engr. Muhammad Saeed | Sr. Instructor, GTTI Gulberg, Lahore |
|  |  | Engr. Muhammad Sharjeel | Nanex Engineering ISB (Islamabad) |
|  |  | Engr. Ali Abbas | MES, Sagodha |
|  |  | Muhammad Aasim | Deputy Director, NAVTTC |
|  |  | Muhammad Ishaq | Deputy Director, NAVTTC |
|  |  | Mujahid Islam | CEO SIMKA Solar Gilgit. |
|  |  | Engr. Muhammad Rashid Mansoor | IT University Lahore |
|  |  | Khurram Hameed | Manager Integration, Creative Electronics Pvt. Ltd. |
|  |  | Hasnat Ahmed Khan | Director - Ningbo Green Light Energy, St. Vice Chairman - PSA |

| Qualification Review & Development Committee |  |  |
| --- | --- | --- |
| Sr. No. | Name | Organization |
| 01. | Engr. Muhammad Wameq Ayaz | DACUM Facilitator, NAVTTC Islamabad, PVTC Rawalpindi |
| 02. | Dr. Syed Iftikhar Hussain Shah | Additional Director General (TEVTA Punjab) Co-DACUM Facilitator |
| 03. | Engr. Dr. Waqas Abdul Salaam | Assistant Director, Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
| 04. | Engr. Faiz Bhutta | Solar PV Expert, CEO TECHFA Consulting, Lahore (Member Project Steering Committee KFW Project) |
| 05. | Engr. Syed Faizan Ali | Sr. Energy Consultant, Lahore (Member Project Steering Committee KFW Project) |
| 06. | Muhammad Saeed | Director Perfekt Energy, Islamabad. |
| 07. | Muhammad Rehan Qureshi | Sr. Instructor, GTTI Gulberg, Lahore |
| 08. | Engr. Muhammad Saeed | Sr. Instructor, GTTI Gulberg, Lahore |
| 09. | Engr. Khushbakht Munir Bhatti | Women In Energy Pakistan |
| 10. | Engr. Junaid Khalid | CEO, AVA Green Solar, Sialkot |

## Note:-

The On Job Training component of this qualification provides learners with the opportunity to apply their acquired skills and knowledge in real world environment. During this phase, student must take on entry level or support roles such as Solar PV System Supervisor. This role span across diverse industries including Solar Power Generation System or any other relevant industry that enable learners to contribute to power generation while fulfilling the requirements of the qualification to conduct of project on the pattern of final year students of Diploma of Associate Engineers (DAE) or engineering universities by the approval of competent authority. This would no doubt cover industrial aspects of the qualification.