National Vocational Qualification Level -2 “Solar PV System Technician” (6 Months)

National and Technical Training Commission, Islamabad

Government of Pakistan

FOREWORDS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level-2 “Solar PV System Technician”. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

TABLE OF CONTENTS

Contents

1.	Introduction	4

2.	Purpose of training program	4

3.	Overall objectives of the training course	5

4.	Competencies to be gained after completion of course	5

5.	Job opportunities available immediately and in the future	6

6.	Trainee entry level	6

7.	Minimum qualification of trainer	6

8.	Recommended trainer trainee ratio	6

9.	Medium of instruction	6

10.	Curriculum development committee	7

11.	Summary of competency standards	8

12.	Summary – overview of the curriculum	8

Module 01 – 0713E&E3401: FOLLOW OCCUPATIONAL HEALTH AND SAFETY PRACTICES	12

Module 02 – 0713E&E3402: DEMONSTRATE BASIC COMMUNICATION SKILLS	16

Module 003 – 0713E&E3403: APPLY BASIC ELECTRICITY CONCEPT	20

Module 04 – 0713E&E3404: PERFORM SINGLE PHASE/THREE PHASE ELECTRICAL WIRING SYSTEM	26

Module 05 – 0713E&E3405 - INTRODUCTION TO SOLAR PV SYSTEM	36

Module 06 – 0713E&E3406 - DESIGN OF SOLAR PV SYSTEM	42

Module 07 – 0713E&E3407 - INSTALLATION OF SOLAR PV SYSTEM	46

Module 08 – 0713E&E3408 - MAINTENANCE OF SOLAR PV SYSTEM	54

Module 09 -0713E&E3409 – OPERATION OF SOLAR PV SYSTEM	58

Module 10 – 0713E&E3410. SOFT SKILLS	63

# Introduction

Solar energy converts energy from sunlight into electricity directly using photovoltaics (PV) Source: The use of solar energy has been significant growth across the world in the recent years due to reduction in the cost of electricity, related equipment & it also supports green skills. Solar PV system is now becoming financially competitive with conventional forms of power generation.

According to the International Renewable Energy Agency (IRENA), Pakistan's total solar installed capacity was 1,244 megawatts as of 2023, an increase of 17% compared to 2021. Due to the falling cost of solar modules and the number of upcoming projects, the utility sector will likely be the most significant part of the Pakistani solar energy market over the next few years. Through the Alternative Energy Development Board, the government is attempting to construct solar power facilities nationwide. In September 2022, the Pakistani government approved the National Solar Energy Initiative to produce 10,000 megawatts (MW) of electricity through solar energy projects. Hence, with government support, these projects are expected to make the utility sector the dominant force in Pakistan's solar energy industry in the coming years.

The increased use of solar energy has maximized the demand of Solar PV Technician having the skills to install and maintain solar photovoltaic systems, thus, meeting the ever-growing demand of industry. This course has been designed and developed to achieve its objectives of providing appropriate skills.

# Purpose of training program

The purpose of this training program is to give a thorough understanding and skills of the Solar sector with special reference to Solar PV system technician in six-months training program to the trainee. The Solar industry needs skilled labor for meeting the national and international standards. This qualification is in line with the vision of Pakistan’s National Skills Strategy (NSS), National TVET Policy and National Vocational Qualification Framework (NVQF) based on demand of respective employers. This provides policy directions, support and an enabling environment to the public and private sectors to impart training for skills development to enhance social and economic profile. The National Competency Standards could be used as a referral document for the development of curricula and Assessment Packages to be used by training institutions and Qualification Awarding Bodies respectively.

The purpose of the training is to provide the relevant skills to the trainees in the field of Solar PV system, which is acceptable as a skilled graduate for his / her vertical career progression in accordance with the National Vocational Qualification Framework.

Upon successful completion of this course, the trainee should be able to:

  - Core elements and the development of the in the solar PV System

  - Give an account of essentials solar industry and the future of this industry

  - Demonstrate an understanding of different solar PV System traits.

  - Point out industry stakeholders & their roles in driving innovation in solar management

  - Improve the professional competence of the trainees in Solar field

  - Provide opportunities for recognition of skills attained through non-formal or informal pathways

  - Improve the quality and effectiveness of training and assessment for solar industry skilled labor

  - Enhance solar industry activities at regional/provincial/national levels through a better approach.

# Overall objectives of the training course

The primary objective of this training program is to provide the trainees with up-to-date knowledge and skills required by the Solar   Sector in six -months training programmed in a comprehensive way to cope with the challenges of the Solar Industry. After qualifying for the course Solar PV System Technician (Level 2), the trainees will be able to get job in solar industry as a Solar PV System Technician and able to perform as entrepreneurs. The contents of the course are specifically designed in such a way that it covers all the major areas of Solar Sector in Pakistan.

The overall objectives of developing this qualification are to:

  - Improve the overall quality of training delivery and set national benchmarks for training of Solar PV System Technician (Level-2) in the country

  - Provide flexible and progressive learning opportunities for trainees to receive relevant and up-to-date skills in the Solar industry

  - Provide basis for competency-based assessment which is recognized and accepted by employers in modern days

  - Establish standardized and sustainable training in consultation with the Solar Industry.

# Competencies to be gained after completion of course

After completing this course, the trainee will be capable of performing different activities in Solar industry especially Solar PV System Technician. Furthermore, this skilled training program enables the trainee to develop multispectral competencies such as creative thinking, problem solving, research skills, personal and group management, presentation and communication skills, technical and professional negotiations related to Solar industry. The below listed competencies imprinted by this training program are quite prominent to the trainees’ profile to enhance their employability in their career in Solar industry:

  - Knowledge and concepts of supervision and management in the Solar industry

  - Creative thinking and troubleshooting skills in the solar industry

  - Potential to translate theoretical knowledge into Practice: in the solar industry

  - Develop strategies to maintain the quality and safety of the workplace in in the solar industry

  - Time management, working in teams and conflict handling among co-workers in the solar industry

  - Safe and secure use of workplace tools, techniques and materials at worksites

  - Follow Occupational Health and Safety Practices in solar PV system

  - Apply Basic Electricity Concept in solar PV system

  - Interpret Drawings of Electrical Wiring and Solar PV system.

  - Perform Single phase/three phase Electrical Wiring System

  - Design Solar PV System for domestic commercial and industrial environment

  - Install Solar System in domestic commercial and industrial environment

  - Perform Maintenance and Repair of Solar PV System

# Job opportunities available immediately and in the future

The successful pass out of this course may avail entrepreneurial opportunities and/ or fetch job/ employment in Solar Sectors as Solar PV System Technician Level-2

# Trainee entry level

Entry requirements for this qualification are Minimum Middle/Preferably Matric

# Minimum qualification of trainer

  - B.Sc. Engineering and 2 years of relevant work experience; or

  - B-Tech and 3 years of relevant work experience; or

  - Diploma Associate Engineer (DAE) and 5 years relevant work experience; or

  - Certificate as Solar PV Technician Level-2 with 8 years relevant work experience

# Recommended trainer trainee ratio

The recommended trainer and trainee ratio per class is 1:25

# Medium of instruction

Urdu, English or Local Language

# Curriculum development committee

The following members participated in the Curriculum development workshop from 02 Sep to 07 Sep 2024, in Lahore:

| Sr. No | Name | Designation &Organization |
| --- | --- | --- |
| 1. | Engr. Shahbaz Hussain | ADG (R&QA) PSDA, Lahore |
| 2. | Mr. Muhammad Wameq Ayaz | DACUM Facilitator |
| 3. | Mr. Fahad Farooq Cheema | Instructor Electrical GTTI Gujranwala |
| 4. | Engr. Iftikhar Razaq | Instructor Electrical GTTI Jalalpur Pirwala |
| 5. | Engr. Mr. Muhammad Saeed | Sr. Instructor Electrical GTTI Gulberg Lahore |
| 6. | Mr. Muhammad Rehan Qureshi | Sr. Instructor Electrical GTTI Gulberg Lahore |
| 7. | Mr. Azhar Hussain Chishti | Sr. Instructor Electrical GTTI DG Khan |
| 8. | Mr. Ali Abbas | SDO MES Sargodha |
| 9. | Engr. Ahsan Sadaqat | Assistant Engineer LESCO |
| 10. | Engr. M. Umer Shahzad | Principal GVTC Sanghar |

| Module. | Competency Standards | Theory Hours | Practical Hours | Total Contact Hours | Credit Hours |
| --- | --- | --- | --- | --- | --- |
| Module 01 | Follow Occupational Health and Safety Practices | 8 | 32 | 40 | 4 |
| Module 02 | Demonstrate Basic Communication Skills | 10 | 38 | 48 | 4.8 |
| Module 03 | Apply Basic Electricity Concept | 12 | 68 | 80 | 8 |
| Module 04 | Perform Single phase/three phase Electrical Wiring System | 20 | 100 | 120 | 12 |
| Module 05 | Introduction to Solar PV System | 10 | 56 | 66 | 6.6 |
| Module 06 | Design of Solar PV System | 12 | 44 | 56 | 5.6 |
| Module 07 | Installation of Solar PV System | 14 | 78 | 92 | 9.2 |
| Module 08 | Maintenance of Solar PV System | 12 | 38 | 50 | 5 |
| Module 09 | Operation of Solar PV System | 12 | 26 | 38 | 3.8 |
| Module 10 | Soft Skills (Annexed) | 10 | - | 10 | 1 |
|  | Total | 120 | 480 | 600 | 60 |

# Summary of competency standards

The proposed curriculum is composed of 10 modules that will be covered in 600 hours. This course should be delivered in a six- month period. The distributions of contact hours (practical & theory) are:

  - Theory: (20%) Practical (80%)

  - Theory: 120 hours

  - Practical: 480 hours

  - Total: 600 hours

# Summary – overview of the curriculum

| Module Title | Learning Units | Theory Days/hours | Workplace Days/hours | Total Timeframe of modules |  |
| --- | --- | --- | --- | --- | --- |
| Module 01. 0713E&E3401: Follow Occupational Health and Safety Practices | LU-1. Ensure use of personal protective equipment (PPE) LU-2. Maintain First-aid Box LU-3. Operate Fire Extinguisher LU-4. Adopt professional procedures LU-5. Attain health & safety training LU-6. Prepare for emergencies LU-7. Respond to emergencies | 8 | 32 | 40 |  |
| Module 02. 0713E&E3402: Demonstrate Basic Communication Skills |  | LU-1. Work in Team LU-2. Deal with Clients LU-3. Demonstrate Basic IT | 10 | 38 | 48 |  |
| Module 03. 0713E&E3403: Apply Basic Electricity Concept |  | LU-1. Interpret Basic Electricity units LU-2. Interpret Ohm’s Law LU-3. Make Electric circuits LU-4. Perform Series Circuit LU-5. Perform Parallel Circuit LU-6. Perform series-parallel circuits LU-7. Perform measurement of Electrical Energy in circuits LU-8. Perform measurement of real power, apparent power and reactive power | 12 | 68 | 80 |  |
| Module 04. 0713E&E3404: Perform Single phase/three phase Electrical Wiring System |  | LU-1. Maintain Tools & Equipment for Single Phase Wiring LU-2. Make Cable/Wire Joints for Single Phase Wiring LU-3. Prepare and Install Distribution Boards for Single Phase LU-4. Lay cables LU-5. Practice: single phase electrical circuit LU-6. Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation,) LU-7. Install 3-phase motor connection ON -OFF by Magnetic contactor LU-8. Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator | 20 | 100 | 120 |  |
| Module 05. 0713E&E3405: Introduction to Solar PV System |  | LU-1. Interpret Renewable Energy Recourses LU-2. Interpret Solar System Parts LU-3. Differentiate Types of Solar Panels LU-4. Classify the types of Invertors LU-5. Classify the different types of Batteries LU-6. Classify the types of Cables / Wires LU-7. Use of Earthing and Lighting Arrestors in solar PV System | 12 | 96 | 108 |  |
| Module 06. 0713E&E3406: Design of Solar PV System |  | LU-1. Load Assessment for solar PV system design LU-2. Selection of Inverter LU-3. Selection of Solar Panels LU-4. Selection of Battery Bank LU-5. Selection of Cables and Earthing System LU-6. Draw basic design and BOQ of solar PV System | 12 | 44 | 56 |  |
| Module 07. 0713E&E3407: Installation of Solar PV System |  | LU-1. Arrange required tools and equipment LU-2. Perform PV test LU-3. Erect the mounting structure LU-4. Fix PV modules as per circuit design LU-5. Connect the PV Modules as per Circuit Design LU-6. Installation of inverters LU-7. Installation of Battery Bank LU-8. Installation of Earthing System LU-9. Installation of energy meters for solar system LU-10.Perform Test after installation of Solar PV System | 12 | 38 | 50 |
| Module 08. 0713E&E3408: Maintenance of Solar PV System |  | LU-1. Diagnose the fault LU-2. Repair as per faults LU-3. Rectify the faults LU-4. Carryout post rectification function test LU-5. Perform wiring tests | 12 | 38 | 50 |
| Module 09. 0713E&E3409: Operation of Solar PV System |  | LU-1. Prepare check list for maintenance LU-2. Prepare log sheet LU-3. Inspect Solar PV modules LU-4. Inspect Inverter / Charge controller / Protection circuits LU-5. Inspect battery bank LU-6. Perform post verification function of the system | 12 | 26 | 38 |
| Module 10. 0713E&E3410: Soft Skills |  | Annexed. | 10 | - | - |
| Total Hours |  |  | 120 | 480 | 600 |

# Module 01 - 0713-E&E3401: FOLLOW OCCUPATIONAL HEALTH AND SAFETY PRACTICES

Objectives:

After completion of this module learner will be able to develop skill and competence required to maintain Occupational Health and Safety and take remedial measures to deal with the emergencies in a professional manner, thus minimizing the losses and providing a safe and healthy working environment. The learner will also be able to Practice: green skills and become more environmentally friendly.

| Duration: 40 Hours | Practical: 32 Hours | Theory: 08 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Ensure use of personal protective equipment (PPE) | - Arrange the required personal protective equipment | - Define the term ‘personal protective equipment and clothing’ | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Fire extinguisher - Fire blanket - Fire bucket - Safety signage - Personal protective equipment and clothing - Teaching aids - Flip charts Computer | Class Room and workshop |
| LU-2. Maintain First-aid Box | - Coordinate required resources with appropriate personnel based on quantity of work - Acquire required resources as per work requirements - Inspect acquired work resources based on estimated quantities and specification |  | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. |  | Class Room and workshop |
| LU-3. Operate Fire Extinguisher | - Transport acquired resources in accordance with handling procedures - Inspect transported resources for damages and functionality based on specifications and schedules - Secure transported resources in accordance with company standard operating procedures - (SOPs) |  | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. |  | Class Room and workshop |
| LU-4. Adopt professional procedures | - Ensure company’s safety policy - Adopt company’s safety procedure - Advocate worker with company safety policy - Implement Safety sign boardas per standard |  | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. |  |  |
| LU-5. Attain health & safety training | - Take required health and safety training - Implement work hazardous material information system (WHMIS) - Adopt first aid cardio respiratory, resuscitation and CPR |  | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. |  |  |
| LU-6. Prepare for emergencies | - Take emergency response training - Ensure Practice of emergency exercises - Check the emergency alarms - Ensure regular Practice: of - gathering the - workers in assembly area during the emergency. |  | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. |  |  |
| LU-7. Respond to emergencies | - Follow emergency plan - Communicate instructions to co workers - Assess risk and determine course of action - Operate emergency equipment and supplies - Ensure that the ambulance is at stand by (for emergency) |  | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. |  |  |

# Module 02 – 0713E&E3402: DEMONSTRATE BASIC COMMUNICATION SKILLS

Objectives:

After completion of this module the learner will be able to apply communication skills at workplace in accordance with the organization’s guidelines and procedures. You are expected to work in a team to achieve common organizational goals and avoid conflicts. This competency standard would also enable you to use basic computer skills to communicate effectively and prepare work related documents and reports. This module also focuses on establishing a green environment by adopting paperless communication medium and emphasis more on digital skills.

| Duration: 48 Hours | Practical: 38 Hours | Theory: 10 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Work in Team | - Treat team members with respect and maintain Positive - Relationships to achieve common Organizational goals. - Note the instruction. - Comply with the Instructions - identify interrelated work activities to avoid Confusion - Adopt communication skills appropriate to work activities and company procedures - Identify problems and resolve them through discussion and mutual agreement. | - Definition of Team - Importance and Benefits of working in Team - Role of team members and functionality of the teams - Team dynamics and stages of team development - Negotiation techniques - Conflict resolution strategies Practice: - Make a team of 5 students, check the wiring of class room and lab. Discuss the problems in team. Make a report for the in-charge Maintenance | Theory: 10 Hrs. Practical: 18 Hrs. Total: 28 Hrs. | - Fire extinguisher - Fire blanket - Fire bucket - Safety signage - Personal protective equipment and clothing - Teaching aids - Flip charts Computer | Class Room and workshop |
| LU-2. Deal with Clients | - Collect Demand from clients. - using appropriate communication procedures - Negotiate with Client regarding wages, time, labor requirements. - Develop consensus with the Clint. | - Client, Value of Client. - Principles of effective and interactive communication - 7 Cs of communication and their importance - Cultural and organizational Practices for effective communication - Effective negotiation skills - Conflict resolution strategies - Negotiation techniques - Basic computer skills using MS Word, MS Excel, use of internet, sending and receiving emails etc. - Preparing relevant documents and reports Practice: - Make a team of five members, two of them are service provider and rest three are clients. Client requires some wiring in his office. Service provider should discuss about the types of cable, cost and quality. Service provider and client should negotiate on the cost | Theory: 4 Hrs. Practical: 21 Hrs. Total: 25 Hrs. |  | Class Room and workshop |
| LU-3. Demonstrate Basic IT | - Create folders and files and learn major commands of operating system/windows - Type text and use major commands such as printing, editing, creating tables, header footer, footnotes, table of contents and page number etc. - Make the document as per work - specifications and client’s requirement - Generate reports for clients using appropriate computer applications - Use internet for sending/receiving emails and connecting through social or other media | - Basic architecture of computer system - Input / output devices of computer and their functions - Basic computer skills using MS Word, MS Excel, use of internet, sending and receiving emails etc. - Preparing relevant documents and reports Practical Activities - Client has demanded some electrical work through email from you. Make a Detail invoice for client and send it to him along with your company profile made in Power point, by email as per following instructions. - Invoice should be saved in separate folder in your PC for further work. - Prepare invoice in excel and word both formats. - Send a small presentation (Power Point) of your company along with this invoice. | Theory: 4 Hrs. Practical: 21 Hrs. Total: 25 Hrs. | - Computers, - Multimedia, - Internet Connection | Class Room and workshop |

# Module 003 – 0713E&E3403: APPLY BASIC ELECTRICITY CONCEPT

Objectives:

After completion of this module, the learner will be able to develop skill and competence required to maintain the knowledge, skill about basic Electricity units, electrical quantity in Series Circuit, Parallel Circuit, series-parallel circuits, electrical power Electrical Energy, different ratio for real power, apparent power and reactive power for Developing & design the circuit, making the connections estimation of load, rectification of faults in domestic, commercial & industrial wiring. This competency Standard also basic needs & requirement to design the parameters of Solar PV system.

| Duration: 80 Hours | Practical: 68 Hours | Theory: 12 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Interpret Basic Electricity Units | - Measure Voltage in electrical circuit - Measure current in electrical circuit. - Measure resistance in electrical circuit - Measure Power in electrical circuit - Measure Power factor in electrical circuit | - Describe Basic Electricity and units (voltage, current, resistance, power, electrical energy, power factor) Practice: - Measurement of the electrical quantity’s Volt- Ampere, Resistance, Power and Power Factor by use of different meters | Theory: 2 Hrs. Practical: 3 Hrs. Total: 5 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Watt Meter - Power Factor Meter - Energy Meter | Class Room and workshop |
| LU-2. Interpret Ohm’s Law | - Draw the circuit diagram of Ohms Law - Measure - Voltage in electrical circuit - Measure current in electrical circuit. - Measure resistance in electrical circuit. - Verify & compare the electrical quantity V. I and R by reading of meter and Calculation method | - Define Ohm’s Law - Elaborate relationship among Voltage, Current and Resistance Practice: - Perform single phase electric circuit using variable resistor and observe the values of voltage and current by changing the values of resistance. | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter - Variable Resistor - Variable Power Supply | Class Room and workshop |
| LU-3. Make and Solve Electric circuits | - Verify the Open Circuit by using Multimeter - Verify the Short Circuit by using Multimeter - Verify the closed Circuit by using Multimeter - Verify the Series Circuit by using - Multimeter - Verify the Parallel Circuit by using Multimeter - Draw the circuit diagram of Open/Closed / Parallel Series Circuit | - Define Electric circuit and its parts (source, control, load, line) - Describe types of electric circuit - Open Circuit - Short Circuit - Closed Circuit Practice: - Draw the circuit diagrams of open circuit, short circuit, closed circuit etc. - Measurement of Voltage in open Circuit. - Measurement of current in closed circuit. | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter | Class Room and workshop |
| LU-4. Perform Series Circuit | - Draw Series Circuit - Measure Current in Series circuit by Ampere Meter - Measure voltage in series circuit by voltmeter - Measures total series resistance of circuit by Ohm Meter - Verify the values of meters taking by direct meter reading - Calculate electrical quantity in series | - Define concept of series circuit - Describe characteristics of series circuit (total voltage, current, total resistance, total power etc.) Practice: - Make the connection of two resistors in series with the electrical supply - Measure the values of voltage in each resistor - Measure the value of current in series circuit - Measure the value of total resistance of the circuit | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter | Class Room and workshop |

| LU-5. Perform Parallel Circuit | - Draw Parallel Circuit. - Measure Current in Parallel circuit - Measure voltage in Parallel circuit. - Measure total resistance in Parallel Circuit - Verify the values of meters taking by direct meter reading - Calculate electrical quantity in parallel - circuits | - Define concept of parallel circuit - Describe characteristics of parallel circuit (total voltage, current, total resistance, total power etc.) Practice: - Make the connection of three resistors in parallel with the electrical supply - Measure the values of voltage in all resistors - Measure the values of current of all resistors in parallel circuit - Measure the value of total resistance of circuit | Theory: 1 Hrs. Practical: 9 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter | Class Room and workshop |
| --- | --- | --- | --- | --- | --- |
| LU-6. Perform series-parallel circuits | - Draw series- Parallel Circuit. - Measure Current in series- Parallel Circuit - Measure voltage in Parallel circuit. - Measure total resistance in series- Parallel circuit - Verify the values of meters taking by direct meter reading - Calculate electrical quantity in series / parallel circuits | - Define concept of parallel circuit - Describe characteristics of parallel circuit (total voltage, current, total resistance, total power etc.) Practice: - Make the connection of two resistors in series and two resistors in series separately and connect these in parallel with the electrical supply - Measure the values of voltage in series-parallel circuit - Measure the values of current in each branch of series-parallel circuit. - Measure the values of resistance in each branch and complete circuit. | Theory: 1 Hrs. Practical: 12 Hrs. Total: 13 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter | Class Room and workshop |
| LU-7. Perform measurement of Electrical Energy in circuits | - Measure Voltage in electrical circuit Measure current in electrical circuit. - Measure the time of Load is ON. - Measure energy (kwh) in electrical circuit. - Verify the values of meters taking by direct meter reading (KWh) and indirect method of meter reading. Calculate Electrical energy in electrical circuit | - Define Electrical Energy - Describe the unit and measuring instrument of Electrical Energy - Calculate the Value of Electric Energy (E=P*t) kwh/units Practice: - Perform measurement of electrical energy in circuit using energy meter - Measure electrical energy using indirect method by measuring voltage, current and time of load is ON. | Theory: 2 Hrs. Practical: 12 Hrs. Total: 14 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multimeter - Energy Meter | Class Room and workshop |
| LU-8. Perform measurement of real power, apparent power and reactive power | - Draw power triangle for electrical circuit. - Measure real power (Watts) using watt meter - Measure apparent power (VA) using Volt meter and Ampere meter - Measure reactive power (VAR) using VAR meter. - Measure Power factor using power factor meter - Verify the values of meters taking by direct meter reading and indirect method of reading | - Describe Real, Apparent & Reactive Power. - Elaborate Power Triangle - Differentiate the Real, Apparent & Reactive Power Practice: - Measure the value of Real Power in electric circuit using watt meter. - Perform the measurement of Apparent Power in electric circuit using volt meter and ampere meter. - Measure the value of Reactive Power in electric circuit using VAR meter | Theory: 2 Hrs. Practical: 12 Hrs. Total: 14 Hrs. | - Electrician Tool Kit - Watt Meter - AVO Meter - VAR meter | Class Room and workshop |

# Module 04 – 0713E&E3404: PERFORM SINGLE PHASE/THREE PHASE ELECTRICAL WIRING SYSTEM

Objectives:

After completion of this module, the learner will be able to install single phase domestic wiring according to the client’s demand. The trainee will be able to Maintain Tools & Equipment for Single Phase Wiring, Make Cable/Wire Joints for Single Phase Wiring, Prepare and Install Distribution Boards for Single Phase, lay cables, Practice: single phase electrical circuits and perform single phase electrical domestic wiring. This Competency Standard covers the skills and knowledge required to Make and Install a 3-phase motor connection Reverse/ forward by Magnetic contactor

| Duration: 120 Hours | Practical: 100 Hours | Theory: 20 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Maintain Tools & Equipment for Single Phase Wiring | - Identify tools and equipment - Arrange Tools and Equipment - Interpret job card - Insulate Tools and Equipment - Calibrate measuring tools - Manage Inventory of tools and equipment - Maintain Tool Box | - Recognize tools & equipment (i.e., screw driver, plier, Multimeter, clamp meter) according to job - Define tools & equipment related to single phase wiring - Enlist the tools used for single phase wiring (two-way switch circuit) - Compare the tools and equipment of wireman and solar PV technician - Define the procedure of analog volt meter, amp meter. Watt meter etc. - Describe the procedure for issuance of required tools. Practice: - Identify and perform the Practical of measurement of volt, ampere, watt and electrical energy meter - Prepare the list of tools & Equipment of Two- Way switch circuit. - Inspection of insulation of tools by Megger. - Perform calibration of analog ampere, volt and watt meter. | Theory: 3 Hrs. Practical: 12 Hrs. Total: 15 Hrs. | - Electrician Tool Kit - Analog amp meter - Analog Volt meter - Analog watt meter - AVO Meter - Analog Megger - Digital insulation tester - Digital multimeter - Analog Multimeter - Digital Clamp-On Meter - Energy Meter | Class Room and workshop |
| LU-2. Make Cable/Wire Joints for Single Phase Wiring | - Select the cable. - Strip the wire according to 50mm. - Make Cross/Twist joint - Make Straight / Married Joint - Make T- Joint - Make Rat tail joint - Make Britannia joint | - Define single core (1/0.044), two core (3/0.029, 7/0.029), three core (7/0.044) and four core cables (7/0.064) - Describe the procedure of removing insulation of two core cable (7/0.029) - Describe the process of jointing and soldering of the following: - T-Joint - Cross - Joint - Britania Joint - Married - Joint - v. Rat-tail joint Practice: - Identification of single, two, three and four core cables - Perform the making of T- Joint (single core cable) - Perform the making of Cross-Joint (2 core cable) - Perform the making of Britannia-Joint | Theory: 2 Hrs. Practical: 15 Hrs. Total: 17 Hrs. | - Electrician Tool Kit Complete - Soldering Iron | Class Room and workshop |
| LU-3. Prepare and Install Distribution Boards for Single Phase | - Identify location of Distribution - Boards as per Drawing. - Select Size of Distribution Board (DB) as per requirement. - Install Distribution Board. - Understand concept of voltage drop. | - Define Distribution Board (DB) - Define electrical wiring - Describe the types of Electrical Wiring (Domestic Wiring, Industrial Wiring) - Define Voltage Drop - Demonstrate the sizes of Distribution Board (12x12), (12x24), (24x24) with accessories (i.e., Circuit Breakers, Volt meter, Amp meter etc.) Practice: - Installation of Distribution Box with 3 Single pole circuit Breakers and 1 two pole breaker - Perform the installation of Rotary Change Over, Volt meter, Ampere Meter and Indicators in Distribution Board - Demonstrate the Voltage drop in an electric wire (7/0.029) | Theory: 3 Hrs. Practical: 15 Hrs. Total: 18 Hrs. | - Electrician Tool Kit - Distribution Box (12x12), (12x24), (24x24). - MCB 2P 63A - RCCB 2P 63A 30mA - MCB 1P 16A - MCB 1P 10A - Rotary Change Over - Digital Volt Meter - Digital Ampere Meter - Indicator Lights for panel | Class Room and workshop |
| LU-4. Lay cables | - Select Cables as per calculation according to Color Code. - Verify quality and size of Cables. - Lay cables. - Insulate Joints with Insulation - Tape. | - Understanding of Cable Chart - Recognize the color codes for single phase (2 core) and three phase (4 core) power supply cables. - Explain the methods of laying cables according to wiring methods (open & - concealed wiring) Practice: - Apply cable size as per load with the help of cable chart - Perform the laying of 2 core cable in open wiring & 4 core cable in concealed wiring using PVC Pipes | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Electrician Tool Kit - Electrical Drawing - 2 Core Cables - 4 Core Cables - Exercise Board - Cable Chart with Color Codes | Class Room and workshop |
| LU-5. Practice: single phase electrical circuit | - Draw wiring diagram of single- phase circuit. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Describe the process of installing single phase electrical circuit (wiring - diagram, install electrical components, lay wires, making connections and connecting main supply) - Recognize the different electrical wiring accessories (single-way switch, two-way switch, two pin socket, lamp holder etc.) Practice: - Installation of single-phase electrical circuit LAMP- Single Pole Switch - Perform single phase electrical Two-Way Switch Circuit - Perform single phase Intermediate - Switch circuit | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - Electrical Drawing - Intermediate switch | Class Room and workshop |
| LU-6. Perform single phase electrical domestic wiring. (Kitchen Installation, Hall Installation,) | - Draw wiring diagram for single phase. - Draw Current path diagram for single phase. - Draw layout diagram for single phase. - Mark on working board according to layout diagram. - Install accessories according to layout diagram. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply. - Make connection with main supply. - Check the function of circuit after connect the main supply | - Differentiate the types of electrical drawings (layout, current path and wiring diagram). - Interpret the function of wiring accessories used in kitchen and hall installation (circuit breakers, single pole switch, three pin socket lamp holder etc.). Practice: - Installation of single-phase domestic wiring of Kitchen with single pole switch, socket and lamp holder. - Installation of single-phase domestic wiring of Hall with two way and intermediate switch | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - Electrical Drawing - Circuit Breaker | Class Room and workshop |
| LU-7. Install 3-phase motor connection ON - OFF by Magnetic contactor. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install ON - OFF circuit by Magnetic contactor. - Make exercise on exercise board according to installation/ - layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make connections according to wiring diagram. - Check the circuit before connect the main supply and - connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply | - Define three phase induction motor - Demonstrate the DOL starting method of three phase induction motor - Differentiate the power and control diagram of DOL starter - Describe the function of - Magnetic Contactor, Overload Relay, Phase Failure Relay. Practice: - Draw the power & control diagram of 3 phase motor starter ON/OFF by magnetic contactor. - Installation of 3 phase motor starter - ON/OFF by magnetic Contactor | Theory: 3 Hrs. Practical: 15 Hrs. Total: 18 Hrs. | - Electrician Tool Kit - Electrical Drawing - AVO Meter - Phase Sequence Meter - 3-Phase Motor - Line Tester /Test boy - Push Button (2H) - Push Button -with Indicator - Indicators - Over load relay - Magnetic Contactor - Phase Failure Relay | Class Room and workshop |
| LU-8. Install 3-phase motor connection Reverse/ forward by Magnetic contactor with indicator. | - Draw layout circuit diagram of circuit. - Draw control diagram of circuit. - Draw power diagram of circuit. - Draw wiring diagram of circuit. - Install Reverse/ forward circuit by Magnetic contactor. - Make exercise on exercise board according to installation/ - layout diagram along with accessories. - Lay wires in duct/pipe according to layout diagram. - Make Connections according to wiring diagram. - Check the circuit before connect the main supply and connect the motor. - Make connection with main supply. - Check the control circuit, power circuit and motor connection - carefully in the supervision of trainer / assessor - Check the function of circuit after connect the main supply | - Demonstrate the DOL starting method of three phase induction motor FOR/REV - Differentiate the power and control diagram of DOL starter FOR/REV Practice: - Draw the power & control diagram of 3 phase motor starter ON/OFF by magnetic contactor. - Installation of 3 phase motor starter ON/OFF by magnetic Contactor | Theory: 3 Hrs. Practical: 15 Hrs. Total: 18 Hrs. | - Electrician Tool Kit - Electrical Drawing - AVO Meter - Phase Sequence Meter - 3-Phase Motor - Line Tester /Test boy - Push Button (3H) - Push Button -with Indicator - Indicators - Over load relay - Magnetic Contactor | Class Room and workshop |

# Module 05 – 0713E&E3405 - INTRODUCTION TO SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to understand the importance of Renewable Energy Recourse, Identify Solar System Parts, Calculate Panel Size, Calculate Solar Array Size, Use of different types of Charge Controllers, Differentiate Types of Solar Panels, Classify the types of Invertors, Classify the different types of Batteries, Classify the types of Cables / Wires, Use of Earthing and Lighting Arrestors in solar system.

| Duration: 66 Hours | Practical: 56 Hours | Theory: 10 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Interpret Renewable Energy Recourses | - Understand the importance of environmental benefits of Renewable Energy Resources. - Types of Renewable Energy Resources | - Explain the environmental benefits of Renewable Energy Resources - Explain the types of renewable energy resources - Compare Renewable and Conventional Energy sources Practice: - Identify Renewable and Conventional - sources of energy | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Solar PV Panels | Class Room and workshop |
| LU-2. Interpret Solar System Parts | - Solar Panels (Photovoltaic Modules) - Inverters - Mounting and Racking Systems - Battery Storage (if applicable) | - Explain the working of Solar Cell - Explain the purpose of Inverters - Explain the types of Solar Mounting Structures (L1, L2 & L3) - Explain the purpose and Connections (Series/ Parallel) of Battery Practice: - Identify the Input and outputs (Battery/Load) of Inverter - Recognize the Type of Mounting Structures - Illustrate the Series/ Parallel Connections of Battery | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar Inverters - Batteries - Mounting Structure - Solar PV - Panels | Class Room and workshop |
| LU-3. Differentiate Types of Solar Panels | - N Type and P-type Panel - Mono-facial and Bifacial Panel - Flexible and Solid Solar Panel - Array of Solar Panels - String of Solar Panels | - Compare the N- Type and P-Type Solar Panels - Compare Mono-facial and Bifacial Solar Panels - Compare Flexible and Solid Solar Panels - Compare Array and String of Solar Panels Practice: - Illustrate the Interconnection of Solar Panel Array - Illustrate the Interconnection of Solar Panel String - Illustrate the Interconnection of Solar Panel Arrays and Strings | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar PV Panels | Class Room and workshop |
| LU-4. Classify the Types of Inverters | - Install Off-Grid Inverter - Install On-Grid Inverter - Install Hybrid Inverter - Use String Inverter - Define Micro Inverter | - Describe Off-Grid Inverter - Describe On-Grid Inverter - Compare Off-Grid and On-Grid Inverter - Describe Hybrid Inverter - Interpret the term String Inverter - Define Micro Inverter Practice: - Recognize Off- Grid, On-Grid and Hybrid Inverters - Illustrate - Paralleling of String Inverters | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar Inverters | Class Room and workshop |
| LU-5. Classify the different types of Batteries | - Identify the types of Lead Acid Battery based on Acid Medium - Identify the types of Lead Acid Battery based on Plate Design - Define Lithium-Ion Battery - Connect Battery Banks | - Describe Flooded Lead Acid Battery - Describe Sealed Lead Acid Battery - Compare Flooded and Sealed Lead - Acid Batteries - Describe Flat Plate Lead Acid Battery - Describe Tubular Plate Lead Acid Battery - Compare Flat Plate and Tubular Plate Lead Acid Batteries - Describe Lithium- Ion Battery - Compare Lithium Ion and Lead Acid Battery Practice: - Recognize the different Battery Types - Identify the Positive and Negative Terminals of Battery - Illustrate the connection of 24V DC Battery Bank Connections - Illustrate the connections of 48V DC Battery Bank Connections | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Batteries | Class Room and workshop |
| LU-6. Classify the types of Cables / Wires | - Identify the wires / cables according to Sizes (Gauge)/ Ampacity - Identify the types of wires/cables according to core - Identify Stranded and Solid Cables - Identify the types of Cables according to Insulation/ Voltage Rating | - Explain Ampacity - Describe and Compare Wire Gauge Standards (British Standard/ American Wire Gauge and Metric System) - Describe Single Core and Multi Core Cables - Describe Stranded and Solid Cables - Explain Cable Insulation Practice: - Utilize different wire Gauge Standards - Recognize different types of Cables | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - Megger - Cable Chart - SWG (standard wire gauge) - Multi core cables - Grounding Conductor | Class Room and workshop |
| LU-7. Use of Earthing and Lighting Arrestors in solar system | - Introduction to the Type of earthing - Classify the parts of Earthing System | - Explain the importance of Earthing - Compare Different Types of Earthing - Define Lightening Arrestor - Define AC/DC Surge Protection Devices - Define Grounding Conductor and Earth Rod Practice: - Recognize Earthing System Parts - Illustrates the Interconnection of Earthing System Parts | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Megger - SWG (standard wire gauge) - Earthing kit - complete with all accessories | Class Room and workshop |

# Module 06 – 0713E&E3406 - DESIGN OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to calculate load, select panels, determine backup time, assess working schedule of load and workout of capacity of devices.

| Duration: 56 Hours | Practical: 44 Hours | Theory: 12 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Load Assessment for Solar PV system design | - Perform Electrical Load calculation - Calculate connected Electrical load for solar PV system design - Measure the Solar PV system load in case of existing - System | - Recall Basic Electricity Concepts Practice: - Perform Load Assessment of a Premises | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets | Class Room and workshop |
| LU-2. Selection of Inverter | - Interpret assessment of load - Determine the type of solar Inverter (On/Off Grid, Hybrid) | - Recall the Types of Inverters Practice: - Determine the Wattage of Inverter based on accessed Load of a premises - Determine the Type of solar Inverter based on the Electricity supply conditions | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Inverter Manuals | Class Room and workshop |
| LU-3. Selection of Solar Panels | - Select the Type (Mono/Bi-Facial) and Wattage of PV Panel - Select the required number of PV Panels as per Technical Data (Max. DC Input Power) of Inverter - Perform Site Visit for determination of Solar Panel Area (Roof/Land) - Selection of Mounting Structure as per Solar Panel Area Survey - Determination of Strings and Arrays of Solar Panels as per Technical Data (PV Input Voltage Range & PV Input Current) of Inverter | - Recall Types of Solar Panels - Recall Interconnection of Solar Panel Strings and Arrays - Recall Mounting Structure Types Practice: - Determine the Total Wattage and Number of Solar Panels as per Inverter and solar Panel selection - Determine the selection of Mounting structure based on Number of solar Panels and available Area - Determine the Solar Panel Arrays and Strings based on the Inverter selection | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar PV Panels Manuals | Class Room and workshop |
| LU-4. Selection of Battery Bank | - Estimate the required backup time of load - Estimate the capacity of battery bank - Select the types of batteries for backup | - Recall Types of Batteries - Recall Connections of Battery Banks - Estimate Backup time requirement of accessed load Practice: - Determine Battery Bank Voltage based on Inverter Selection - Determine Battery Bank AH Capacity based on accessed Load and Backup Time Requirement - Determine number of Batteries in Battery - Bank as per AH Capacity requirements | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Batteries Manuals | Class Room and workshop |
| LU-5. Selection of Cables and Earthing System | - Selection of Cables as per Designed Load and System Voltage - Selection of Earthing System Type - Selection of Earthing System Parts (AC/DC SPD) | - Recall Cable Types - Recall Earthing System Types and Parts Practice: - Determine the Insulation Level of Cables as per Designed PV Voltage Level - Determine the gauge of Cables as per accessed Load requirements - Determine the Earthing Type as per Earth Resistance Measurement - Determine the SPD Types and Ratings as per Designed PV Voltage Level | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Megger - SWG (standard wire gauge) - Multi Core Cables - Earthing kit complete with all accessories - Lightening Arrestor - Earth Rod | Class Room and workshop |
| LU-6. Draw basic design and BOQ of solar PV System | - Sketch a diagram as per Design - Prepare BOQ of Designed Solar System - Get the design approve by the Client | - Recall Design of Solar System Practice: - Prepare BOQ as per Designed Solar System - Prepare Drawings of Designed Solar System | Theory: 2 Hrs. Practical: 4 Hrs. Total: 6 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets | Class Room and workshop |

# Module 07 – 0713E&E3407 - INSTALLATION OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to arrange required tools and equipment, perform PV test, erect the mounting structure, fix PV modules, connect the PV modules as per circuit diagram, Install Off grid and hybrid inverters, Installation of energy meters for solar system.

| Duration: 92 Hours | Practical: 78 Hours | Theory: 14 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Arrange required tools and equipment | - Collect required tools and equipment - Check physical status of tools and equipment - Perform transportation of tools and equipment - Manage safe storing of tools and equipment | - Recall the use of Tools and Equipment Practice: - Identify Tools and Equipment - Check the Physical Status of Tools and Equipment - Demonstrate the safe handling (Transportation & Storing) of Tools and Equipment | Theory: 2 Hrs. Practical: 4 Hrs. Total: 6 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter | Class Room and workshop |
| LU-2. Perform PV Test | - Conduct Short circuit Current Test - Conduct Open circuit Voltage Test | - Explain the Short Circuit Test - Explain the open Circuit Test - Interpret the Solar Panel Name Plate data - Recall the use of PV Tester Practice: - Demonstrate the Short Circuit Test - Demonstrate the Open Circuit Test - Verify the Solar Panel Name Plate Data through PV Test | Theory: 1 Hrs. Practical: 4 Hrs. Total: 5 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter - Solar PV Modules - AVO Meter | Class Room and workshop |
| LU-3. Erect the Mounting Structure | - Assemble the structure parts - Fix mounting structure - Adjust angles of the mounting structure | - Recall the Types of Mounting Structures Practice: - Assemble all parts of Mounting Structure - Adjust the Angle of Mounting Structure | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Electrician Toolkit - Solar PV Mounting Structure | Class Room and workshop |
| LU-4. Fix PV modules as per circuit design | - Install Solar PV module on the mounting structure - Verify angle of the Solar PV module with the help of angle finder/meter - Ensure shadow overlapping | - Describe the use of End Clamps and Mid Clamps - Explain the - effect of Shadow overlapping - Recall the use of Angle Finder/ Meter Practice: - Mount Solar Panel on Structure - Measure the Angle of Solar Panel mounted on Structure - Demonstrate the effect of Shadow Overlapping on Solar Panel | Theory: 1 Hrs. Practical: 10 Hrs. Total: 11 Hrs. | - Electrician Toolkit - AVO Meter - PV Tester Meter - Solar PV Mounting Structure - Solar PV Modules | Class Room and workshop |
| LU-5. Connect the PV modules as per circuit design | - Make strings as per circuit design - Make arrays as per circuit diagrams - Connect arrays with junction boxes | - Recall Solar Panel Array and String Interconnections Practice: - Demonstrate the Interconnection of Solar Panel Array - Demonstrate the Interconnection of Solar Panel String - Demonstrate the Interconnection - of Solar Panel Arrays and Strings - Verify the Polarity of Solar Strings and Arrays | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Toolkit - AVO Meter - PV Tester Meter - Solar PV Modules | Class Room and workshop |
| LU-6. Installation of Inverters | - Installation of Off grid and hybrid inverters in lab - Installation of circuit breaker / SPD for AC/DC connection with Invertors - Make the connection of Invertor with PV Panel, Battery & Load according to the diagram. - Check the parameters of Off grid and hybrid inverters before making the on-load condition | - Recall Types of Solar Inverters - Recall the Parts of Earthing System Practice: - Demonstrate the connections of Solar Panel with Solar Inverter - Demonstrate the connections of Batteries with Solar Inverter - Demonstrate the connection of Load with Solar Inverter - Demonstrate the connections of Earthing Parts (SPD/ Earthing Rod) with Solar Inverter - Verify the Polarity of Solar Panels and Batteries with Solar Inverter - Demonstrate the Configuration of Solar Inverter as per Manufacturer Instruction Manual | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Electrician Toolkit - AVO Meter - Solar PV Modules - Solar PV Inverters - Solar Inverter Manual - Batteries - Earthing kit complete with all accessories - SPDs - Earthing Rod | Class Room and workshop |
| LU-7. Installation of Battery Bank | - Arrange batteries with accessories as per requirements - Fix battery bank in the racks - Make parallel series - strings for batteries, as per circuit design | - Recall Battery Types Practice: - Demonstrate the connection of 24V DC Battery Bank Connections - Demonstrate the connections of 48V DC Battery Bank Connections - Verify the Polarity of Battery Banks - Measure the - Battery Bank Voltage | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Toolkit - Batteries - AVO Meter | Class Room and workshop |
| LU-8. Installation of Earthing Systems | - Testing of Resistance of Earthing System - Installation of Earthing System Parts as per - Drawings | - Recall Earthing System Parts Practice: - Demonstrate Earthing System Parts - Interconnection Measure Earth Resistance with Earth Resistance Tester | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Toolkit - Earthing kit complete with all accessories - Earth Megger - Lightening Arrestor - Earthing Rod - Grounding Conductor - SPDs | Class Room and workshop |
| LU-9. Installation of energy meters for solar system | - Installation of Energy meter in lab - Check the Parameters of Energy Meter in On Load Condition - Introduction of Net Metering Rules and Regulations | - Recall the Three Phase Connections - Summarize PPIB (Former AEDB) Net Metering Regulations - Summarize DISCOs Net Metering Rules - and Procedures Practice: - Demonstrate the Interconnection of Energy Meter with Solar Invertor - Verify the Polarity of Net Metering Energy Meter - Measure the Parameters (Voltage, Current, Power) of Energy Meter | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - AVO Meter - Energy Meter (Bi- directional) - Net Metering Manual | Class Room and workshop |
| LU-10. Perform Test after installation of PV solar System | - Physically verify the Interconnection of Invertors / battery/ PV panels according to the wiring diagram - Perform Test after installation of PV solar System in OFF load condition - Perform Test after installation of PV solar System in ON load condition - Check the Parameters of the installed Energy meter in On Load condition | - Recall Solar Panels Interconnection - Recall Battery Bank Interconnection - Recall Earthing Parts Interconnections - Recall Energy Meter Interconnections Practice: - Verify the Polarity of all Interconnections of Solar System - Verify the Tightness of all Interconnections of Solar System - Perform Insulation Test on all Cables and record - Measure and Record Earth Resistance of Earthing System - Test and Record Voltages of Solar Panels, Inverter and Battery Bank in Off Load condition. - Test and Record Voltages and Solar Panels, Inverter and Battery Bank in On Load condition. - Test and Record Voltages, Currents & Power of Solar Invertor and Energy Meter | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - AVO Meter - Solar PV Modules - Solar PV Inverters - Batteries - Earthing kit complete with all accessories - Earthing Rod - Grounding Conductor - SPDs - Energy Meter (Bi- directional) | Class Room and workshop |

# Module 08 – 0713E&E3408 - MAINTENANCE OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to repair solar PV system, identify faults, troubleshoot the faults and rectify the faults as per procedure..

| Duration: 50 Hours | Practical: 38 Hours | Theory: 12 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Diagnose the fault | - Check invertor for fault code - Verify safety circuits - Check status of wiring - Verify status of battery - Check status of PV Panels - Repair the fault | - Define Warning and Fault in an inverter - Identify warning and fault codes of solar inverter - State the purpose of Safety circuit - Use of clamp on meter for PV Panel Voltage and current measurement Practice: - Inspect the solar PV inverter fault code - Inspect the safety circuit, battery polarity & production of PV - Modules | Theory: 2 Hrs. Practical: 6 Hrs. Total: 8 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter - Hydrometer - Earth Megger | Class Room and workshop |
| LU-2. Repair as per faults | - Trace out solution of fault code with the help of manual - Estimate cost of rectification - Report the fault to the concerned persons | - Describe the method of reading user manual for fault rectification. - Prepare a list of material required for rectification - Describe that who are concerned persons of project for reporting Practice: - Read the user manual and identify the fault code & rectify the fault. - Make the list of estimation cost of rectification - Prepare the Fault Report and present it to concerned person. | Theory: 3 Hrs. Practical: 9 Hrs. Total: 12 Hrs. | - Electrician tool kit - User manual of solar PV inverter - Clamp-on Meter - AVO Meter | Class Room and workshop |
| LU-3. Rectify the faults | - Reset the software for rectification - Arrange the required tools and equipment - Arrange the required material and components - Repair faulty component / equipment - Replace faulty component / equipment - Refer irreparable / un-replaceable faults to the concerned lab | - Describe the process of resetting software of solar PV inverter for rectification - Enlist required tools and equipment for rectification - Define the method of repairing faulty components of Solar PV system. State the method of replacement of faulty components of Solar PV system. Practice: - Perform reinstallation of software for resetting of solar PV inverter - Enlist the repairable parts and repair faulty parts of solar PV system - Replace the faulty parts that are not repairable. - Enlist the irreplaceable faulty parts and refer to the concerned lab | Theory: 3 Hrs. Practical: 9 Hrs. Total: 12 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-4. Carryout post rectification function test | - Connect the system with the load - Verify function of the system on full load - Document the services as per instructions - Clean and pack the store as per sop | - Define the connectivity of load with solar PV system - Define full load capacity of solar PV system Practice: - Connect load with solar PV inverter after rectification of faults - Test the wiring on full load capacity of solar PV inverter - Perform cleaning of tools and equipment & store it. | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-5. Perform wiring tests | - Perform continuity test - Perform polarity Test - Perform earth test - Rectify the problem | - Define Continuity, Polarity and earth testing. - Describe rectification of problem Practice: - Test the continuity, Polarity & Earthing of solar PV System by measuring meters. | Theory: 2 Hrs. Practical: 5 Hrs. Total: 7 Hrs. | - Electrician tool kit - User manual of - solar PV inverter - AVO Meter - Clamp-on Meter - Earth Megger | Class Room and workshop |

# Module 09 -0713E&E3409 – OPERATION OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to prepare check list for maintenance, follow routine maintenance log sheet, maintain Solar PV modules and perform post verification function of the system.

| Duration: 38 Hours | Practical: 26 Hours | Theory: 12 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Prepare check list for maintenance | - Prepare list of tools and instruments for maintenance - Prepare list of materials for maintenance - Prepare list of activities for maintenance invertor / Charge controller / Protection circuits/Battery | - Explain the Schedule to maintenance monitor the invertor/ Charge controller/ Battery - Practice: - Make maintenance schedule as per weekly /monthly Yearly for the inspection invertor / Charge controller / Protection circuits/Battery | Theory: 2 Hrs. Practical: 4 Hrs. Total: 6 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-2. Prepare log sheet | - Collect maintenance log sheet - Arrange required tools / instruments for maintenance - Perform activities as per schedule - Place equipment after maintenance as per SOP | - Explain how to prepare the log sheet of invertor/ Charge controller/ Battery weekly / monthly Yearly - Define parameters of invertor/ Charge controller (Voltage, Current, display screen Parameter), Battery (Voltage, current, ampere hour), mechanical health of modules, (Adjust the seasonal tilt angle) Practice: - Make the log sheet of invertor/ Charge controller/ Battery | Theory: 2 Hrs. Practical: 5 Hrs. Total: 7 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-3. Inspect Solar PV modules | - Arrange cleaning materials - Wash the panels as per instructions (Avoid washing during peak sun hours). - Check connections and joints of solar PV modules - Check the physical and mechanical health of modules as per Standard - Adjust the seasonal tilt angle | - Define the Inspection parameters of Solar PV modules such as measure output Voltage, Current, connections of cables, mechanical health of modules, Adjust the seasonal tilt angle Practice: - Check the parameters of Solar PV modules such as measure output Voltage, Current, connections of cables, mechanical health of modules, Adjust the seasonal tilt angle and cleaning solar PV modules | Theory: 3 Hrs. Practical: 9 Hrs. Total: 12 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-4. Inspect inverter / Charge controller / Protection circuits | - Arrange servicing equipment - Check the status of cooling fans - Check input output terminals of invertors - Perform servicing with electrical blower - Maintain connection status as per standards | - Explain the Inspection parameters of invertor, Charge controller, and Protection circuits such as measure output Voltage, Current, connections of cables, Practice: - Measure the parameters of Solar PV System invertor, Charge controller, output Voltage, Current, on load condition. - Check the connections of cables, SPD, MCB, Earth, lighting arrester Terminals etc. | Theory: 2 Hrs. Practical: 5 Hrs. Total: 7 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-5. Inspect battery bank | - Clean terminals of battery with sand paper - Maintain level of electrolytes - Maintain gravity of electrolytes - Maintain battery connections - Apply grease to terminal to avoid corrosion/ Sulphation - Verify the operations of battery bank | - Enlist the parameters of battery voltage current, Ampere hours (Ah), Specific Gravity, Terminal Cleanness, Practice: - Measure of battery voltage current, Ampere - hours (Ah), Specific Gravity, Terminal Cleanness, | Theory: 2 Hrs. Practical: 4 Hrs. Total: 6 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter - Hydrometer | Class Room and workshop |
| LU-6. Perform post verification function of the system | - Switch on the system - Observe display reading of inverter / charge controller - Perform full load test - Prepare the report of maintenance activities performed | - Define switching of system - Describe the inverter parameters displayed on its LCD - Define full load test - Interpret maintenance report Practice: - Switch ON the power of inverter and observe the parameters on LCD. - Measure the inputs and outputs of solar PV inverter and compare it with LCD. | Theory: 2 Hrs. Practical: 3 Hrs. Total: 5 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter - Hydrometer - Earth Megger | Class Room and workshop |

# Module 10 – 0713E&E3410. SOFT SKILLS

Objectives:

After completing this module, the learner will be able to protect/apply personal health and safety at workplace according to the industry’s approved guidelines, procedures and interpret rules/regulations. Trainee will also be able to identify and use Personal Protective Equipment (PPE) according to the work place requirements.

| Duration: 48 Hours | Practical: 30 Hours | Theory: 10 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Work safety | - Follow established safety procedures during work - Check pre start system and equipment as per work place procedures | - Explain role and responsibilities of employers and employees - Describe the guild lines required for work place safety | Theory: 3 Hrs. Practical: 6 Hrs. Total: 9 Hrs. | - SOPs - OHS Guidelines | Class Room and workshop |
| LU-2. Implement workplace safety requirements | - Identify existing and potential hazards in the workplace - Nominate designated persons for reporting queries and concerns about safety in the workplace - Report and record t in accordance with workplace procedures - Identify and implement workplace procedures and work instructions for controlling risks - Report emergency incidents and injuries to designated persons | - Describe hazards - Describe commonly used hazard signs and safety symbols. - Describe emergency procedures (fires, accidents, and evacuation) | Theory: 3 Hrs. Practical: 6 Hrs. Total: 9 Hrs. | - SOPs - OHS Guidelines | Class Room and workshop |
| LU-3. Participate in OHS consultative processes | - Contribute to workplace meetings, inspections, or other consultative activities - Raise OHS issues with designated persons as per organizational Procedures - Take actions to eliminate workplace hazards or to reduce risks | - Explain OHS - Describe effective measures required for handling OHS issues Practice: - Participate in OHS consultative processes as per task | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - SOPs - OHS Guidelines | Class Room and workshop |
| LU-4. Follow safety procedures | - Identify and report emergency incidents - Follow organizational procedures for responding to emergency incidents | - Explain how to follow up safety procedures | Theory: 2 Hrs. Practical: 9 Hrs. Total: 11 Hrs. | - SOPs - OHS Guidelines | Class Room and workshop |

# Tools, Equipment Required

The tools and equipment required for this competency standard are provided below:

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 |
|  | Fire Extinguisher (Different Types & standard sizes) | 1 |
|  | Fire Blanket | 1 |
|  | Fire Bucket | 1 |
|  | Safety goggles | 5 |
|  | Safety shoes | 1 |
|  | Safety Helmet (White + Yellow) | 1 |
|  | Safety Harness | 1 |
|  | AVO Meter | 1 |
|  | Combination Plier. | 1 |
|  | Nose plier. | 1 |
|  | Wire Stripper | 1 |
|  | Soldering Iron | 1 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 1 |
|  | Tacho Meter-Digital | 1 |
|  | Earth resistance tester (Digital) | 1 |
|  | Continuity & Insulation tester | 1 |
|  | IR Temperature Gun | 1 |
|  | Digital Multimeter | 1 |
|  | Cable Knife | 2 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 2 |
|  | Hacksaw cutter | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | Digital Oscilloscope | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Inverter 1500-watt sine wave | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 2 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module Mono PERC Half Cut P-Type, 580 W | 1 |
|  | Solar PV Module Mono PERC Half Cut N-Type, 580 W | 1 |
|  | Solar panel monocrystalline | 1 |
|  | Solar panel thin film | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 1 |
|  | Solar PV Tester | 1 |
|  | Three Phase Induction Motor | 1 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multimeter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Safety gloves with leather upper cover (pair) | 2 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Level | 1 |

- Consumable (with quantity/25 Students)

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 50-Gram |
| 2 | Soldering paste | 2 |
| 3 | PVC Pipe/Duct. | 10 ft |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 |
| 6 | Distribution Box-PVC | 2 |
| 7 | AC MCB 2P 63A | 1 |
| 8 | AC MCB 1P 16A | 1 |
| 9 | AC MCB 1P 10A | 1 |
| 10 | Rotary Box | 1 |
| 11 | DC Wire 4mm XLPE | 1 coils |
| 12 | DC Wire 6mm XLPE | 1 coils |
| 13 | DC Wire 10mm XLPE | 1 coil |
| 14 | DC Wire 25mm XLPE | 10 ft |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 |
| 24 | Push Button (3H) | 1 |
| 25 | Flexible Pipe 3/4” | 5 ft |
| 26 | Flexible Pipe 1” | 5 ft |
| 27 | Duct Putty 40x40 | 2 |
| 28 | Duct Putty 60x60 | 2 |
| 29 | Rawal Plug | 5 |
| 30 | Panel indicators | 5 |
| 31 | Intermediate Switch | 2 |
| 32 | Screw 1.5” | As Per requirement |
| 33 | Single pole switch. | 1 |
| 34 | Lamp holder | 1 |
| 35 | Lamp AC/DC | 1 |
| 36 | PVC Connector Strip | 1 |
| 37 | Hacksaw Blade | 1 |
| 38 | Drill bits | 1 |
| 39 | Electrical PVC tapes | 2 |
| 40 | Two-way switch | 2 |
| 41 | Two pole switches | 2 |
| 42 | Junction Box | 2 |
| 44 | PVC Cable Ties | 01 Pkt |
| 47 | PVC Distribution Box Casing for breaker | 1 |
| 48 | Connector MC-4 1500V (set) | 5 |
| 49 | PVC Flexible -2 Core Cable -40/0.0076 | 1 Coils |
| 50 | Connector/Tumble -6mm(100nos ) | 1 Pkt |
| 51 | Connector/Tumble -25mm (100 Nos ) | 1 Pkt |
| 52 | Battery Terminals (set) | 2 |
| 53 | Battery Tonic | 2 |
| 54 | Rawal Bolt -13mm | 50 |
| 55 | Lightning Arrester Complete Set (Copper) | 1 |
| 56 | PVC Pipe ¾” | 500 ft |
| 57 | Two Pin Socket | 4 |
| 58 | Lamp Holder | 4 |
| 59 | Junction Box ¾” | 2 |
| 60 | PVC Boards 4”x4” | 6 |
| 61 | DC MCB 2P 63A & 125A | 1 |
| 62 | AC MCCB 3P 40A | 1 |
| 63 | DC SPD 2P 40KA 1500V & 1000V | 1 |
| 64 | AC SPD 2P 40KA 500V | 1 |
| 65 | AC SPD 4P 40KA 1000V | 1 |
| 66 | V+A Protector 2P 80A | 1 |
| 67 | Magnetic Contactors 2+2 | 2 |
| 68 | Phase Failure Relay | 1 |
| 69 | Drawing Charts | 2 |
| 70 | Exercise Board (800x1200 mm) | 2 |