National Vocational Qualification Level-3 of Solar PV System Sr. Technician

Curriculum

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

National and Technical Training Commission, Islamabad

Government of Pakistan

FOREWORDS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level-3 “Solar PV System Sr. Technician”. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

TABLE OF CONTENTS

Contents

1.	Introduction	6

1.7	Overall objectives of the training course	7

2.	Scheme of Studies	8

3.	Overview of the curriculum	9

4.	Detail of Modules:	13

Module 01 - 0713-E&E3501: PREPARE SITE FOR SOLAR PV SYSTEM (SMALL SCALE)	13

Module 02 – 0713E&E3502: Carryout Installation of Solar PV mountain structure	17

Module 03 – 0713E&E3503:  Perform Installation Solar PV modules	20

Module 04 – 0713E&E3504: Perform inverter configration	22

Module 05 – 0713E&E3505 – Carry out installation of batteries	25

Module 06 – 0713E&E3506 – FIX LV PANELS/ POWER DISTRIBUTION BOARD	27

Module 07 – 0713E&E3507 – LAY AC WIRING OF SOLAR PV SYSTEM	30

Module 08 – 0713E&E3508 – LAY DC WIRING OF SOLAR PV SYSTEM	31

Module 09 – 0713E&E3509. INTALL EARTHING SYSTEM	32

Module 10 – 0713E&E3510. Perform connection of complete solar PV system	36

Module 11 – 0713E&E3511. CARRYOUT TROUBLESHOOTING OF SOLAR PV SYSTEM	39

Module 12 – 0713E&E3512. ANALYZE ELECTRICITY BILL AND SMART METER	40

5. List of Personal Protective Equipment (For A Class of 25 Students)	42

6.	List of Tools & Equipment	42

7.List of Consumables	45

8.	Members of Qualification Development Committee	48

# Introduction

Energy from the sun is the radiant energy which can be harnessed and converted into usable forms such as electricity and heat. This energy is captured primarily through solar panels that use the photovoltaic (PV) effect where sunlight photons excite electrons in semiconductor materials like silicon generating direct current (DC) electricity. The DC electricity is converted into alternating current (AC) by an inverter for use in homes and businesses. Solar energy is a clean, renewable, and virtually infinite source of power that produces no harmful greenhouse gas emissions. The 6-month Solar PV System Sr. Technician course curriculum is designed to equip trainees with comprehensive knowledge and practical skills in the installation, maintenance, and troubleshooting of solar photovoltaic systems. This program covers key contents including solar energy fundamentals, PV module, PV array configurations, system components such as charge controllers and inverters, electrical wiring, and safety standards. The emphasis is on hands-on training on PV structure mounting, site assessment, system design, installation of off-grid and grid-connected solar power plants, and maintenance practices to ensure optimal system performance. By the end of the course, participants will be proficient in assembling solar PV systems, performing quality checks, and adhering to industry safety protocols.

.

| 1.1 Date of Development | 19th - 23st May, 2025 |
| --- | --- |
| - Date of Review and Validation | 23 May, 2025 |
| 1.3. Entry Requirement | Matric /Level 2 in Solar PV / Electrician certificate |
| 1.4. Minimum qualification for teachers | BS. Tech/ BSc. Engr./ B.E/ B.Tech (Hon) (Electrical/ Electronics) with 2 years’ experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years’ experience in relevant field |
| 1.5. Medium of instruction | Urdu, English or local language |
| 1.6. Duration of Course | Total. 630 hours. Theory. 60 hours Practical. 390 hours On Job Training. 180 hours |

# Overall objectives of the training course

The primary objective of the Solar PV System Level 3 training program is to provide trainees with up-to-date knowledge and advanced skills required by the solar sector through a comprehensive six-month training. This program is designed to equip trainees with the expertise to perform advanced tasks in solar PV system installation, maintenance, and troubleshooting, enabling them to meet the growing demands and challenges of the solar industry in Pakistan. After successfully completing this course, trainees will be qualified as Solar PV System Technicians Level 3, capable of securing employment in the solar industry or establishing themselves as entrepreneurs.

The course content is specifically tailored to cover all major areas of the solar sector, including site assessment, system design, installation, wiring, troubleshooting, maintenance, safety procedures, and entrepreneurial skills development. It aligns with national standards such as the National Vocational Qualification Framework (NVQF) and supports the vision of Pakistan’s National Skills Strategy (NSS) and National TVET Policy.

The overall objectives of developing this qualification are to:

0713E&E3501: Prepare Site for Solar PV System (Small Scale)

0713E&E3502: Carryout Installation Structure of Solar PV mountain structure

0713E&E3503: Perform Installation Solar PV modules

0713E&E3504: Perform inverter configuration

0713E&E3505: Carry out installation of batteries

0713E&E3506: Fix LV Panels/ Power Distribution Board

0713E&E3507: Lay AC Wiring of Solar PV System

0713E&E3508: Lay DC Wiring of Solar PV System

0713E&E3509: Install Earthing System

0713E&E3510: Perform connection of complete solar PV system

0713E&E3511: Carryout Troubleshooting of Solar PV System

0713E&E3512: Analyze Electricity Bill and Smart Meter

OJT (On Job Training)

# Scheme of Studies

| Competency Standards | NVQF | Category | Estimated Contact Hours |  |  | Cr Hr. |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level |  | Th | Pr | Total |  |
| 0713E&E3501 CS1: Prepare Site for Solar PV System (Small Scale) | 3 | Technical | 5 | 20 | 25 | 1.5 |
| 0713E&E3502 CS2: Carryout Installation Structure of Solar PV mountain structure | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3503 CS3: Perform Installation Solar PV modules | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3504 CS4: Perform inverter configration | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3505 CS5: Carry out installation of batteries | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3506 CS6: Fix LV Panels/ Power Distribution Board | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3507 CS7: Lay A.C Wiring of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3508 CS8: Lay D.C Wiring of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3509 CS9: Install Earthing System | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3510 CS10: Perform connection of complete solar PV system | 3 | Technical | 5 | 40 | 45 | 2.5 |
| 0713E&E3511 CS11: Carryout Troubleshooting of Solar PV System | 3 | Technical | 5 | 30 | 35 | 2 |
| 0713E&E3512 CS12: Analyze Electricity Bill and Smart Meter | 3 | Technical | 5 | 30 | 35 | 2 |
| On Job Training (OJT) | 3 | Technical |  |  | 180 | 4.5 |
| Total |  |  | 60 | 390 | 630 | 30 |

# Overview of the curriculum

| Module Title | Learning Units | Theory Days/hours | Workplace Days/hours | Total Timeframe of modules |  |
| --- | --- | --- | --- | --- | --- |
| Module 01. 0713E&E3501: Prepare Site for Solar PV System (Small Scale) | LU-1. Perform Site Lay out LU-2. Perform Nails Fixing LU-3. Check Dimensions as per Drawing LU-4. Make Concrete Pads or Foundations | 5 | 20 | 25 |  |
| Module 02. 0713E&E3502: Carryout Installation Structure of Solar PV mountain structure |  | LU-1. Perform Structure Fixing LU-2. Align Structure for Uniformity and Aesthetic Appeal LU-3. Lay Structure at proper orientation and tilt angle | 5 | 30 | 35 |  |
| Module 03. 0713E&E3503: Perform Installation Solar PV modules |  | LU-1. Perform Solar Panels Fixing LU-2. Perform Mounting of Solar PV Structure LU-3. Align Solar PV Structure LU-4. Perform Series Fixing of Solar PV Structure LU-5. Perform Parallel Fixing of Solar PV Structure | 5 | 30 | 35 |  |
| Module 04. 0713E&E3504: Perform inverter configuration |  | LU-1. Interpret Inverter specification LU-2. Interpret Inverter Configuration LU-3 Configure basic inverter operation parameter LU-4 Set PV array and MPPT parameter LU-5 Configure battery charging setting LU-6 Configure grid and Load management parameter LU-7 Conduct Pre Installation Preparation of Inverter LU-8 Hang Inverter As per Procedure | 5 | 30 | 35 |  |
| Module 05. 0713E&E3505: Carry out installation of batteries |  | LU-1. Perform Batteries Fixing LU-2. Make Series Connection of Batteries LU-3. Make Parallel Connection of Batteries LU-4. Interpret BESS (Battery and Energy Storage System) | 5 | 40 | 45 |  |
| Module 06. 0713E&E3506: Fix LV Panels/ Power Distribution Board |  | LU-1. Drill Holes and Fix Support Structure LU-2. Arrange LV Panels/ DB at Designated Locations LU-3. Perform LV Panel Fixing LU-4. Connect Circuit Breaker, Isolator and Surge Protection Devices LU-5. Perform Wiring Tests | 5 | 40 | 45 |  |
| Module 07. 0713E&E3507: Lay AC Wiring of Solar PV System |  | LU-1. Perform wiring of AC Circuits (Inverters, AC Breaker, AC SPD etc.) LU-2. Perform Wiring Tests of AC Circuits | 5 | 30 | 35 |
| Module 08. 0713E&E3508: Lay DC Wiring of Solar PV System |  | LU-1. Perform wiring of DC Circuits (Inverters, DC Breaker, DC SPD etc.) LU-2. Perform Wiring Tests of DC Circuits | 5 | 30 | 35 |
| Module 09. 0713E&E3509: Install Earthing System |  | LU-1. Interpret Boring LU-2. Interpret Pouring of Earthing Material LU-3. Interpret Fixing of Earth Electrodes LU-4. Perform Laying of Earth Cable LU-5. Connect Distribution Board LU-6. Connect AC Earth Cables LU-7. Connect DC Earth Cables LU-8. Install Protective Devices LU-9. Perform Earth Resistance Test | 5 | 40 | 45 |
| Module 10. 0713E&E3510: Perform connection of complete solar PV system |  | LU-1. Connect Panel with Inverter LU-2. Connect Inverter with Battery LU-3. Connect Inverter with Safety Equipment LU-4. Connect Inverter with Grid Load LU-5. Connect Whole Solar PV system with Meter LU-6. Prepare Solar PV System for Testing | 5 | 40 | 45 |
| Module 11. 0713E&E3511: Carryout Troubleshooting of Solar PV System |  | LU-1. Identify the Faults LU-2. Diagnose the nature of Faults LU-3. Rectification of Faults | 5 | 30 | 35 |
| Module 12. 0713E&E3512: Analyze Electricity Bill and Smart Meter |  | LU-1. Interpret Import and Export Units LU-2. Check MDI Reading LU-3. Check Bill Amount with Taxes | 5 | 30 | 35 |
| OJT (On Job Training) |  | Annexed | - | - | 180 |
| Total Hours |  |  | 60 | 390 | 630 |

# Detail of Modules:

# Module 01 - 0713-E&E3501: PREPARE SITE FOR SOLAR PV SYSTEM (SMALL SCALE)

Objectives:

After completion of this module learner will be able to develop skill and competence required to prepare site layout, perform nails fixing, to check the dimensions as per drawing and formation of concrete pads or foundations.

| Duration: 25 Hours | Practical: 20 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform Site Layout | - Draw different components of Solar PV system - Draw the connection of different components of Solar PV System | - Enlist the Layout Diagram of Solar PV System - Design Components according to site layout Practice: Prepare Site Layout plan of Solar PV System for installation of Components & Connections | Theory: 2 Hrs. Practical: 5 Hrs. Total: 7 Hrs. | - Software Tools: - AutoCAD - PVSyst - Open Solar - Solar Pathfinder | Class Room and Workshop |
| LU-2. Perform Nails Fixing | - Interpret structural requirement - Acquire ability to fix nails - Acquire skill to ensure accurate positioning of mounting components - Inspect nails fixing as per industry standard | - Classify Type of Nails (Rawal bolts,Screws, Nutbolts etc.) - Demonstrate techniques of Nails Fixing Practice: Perform Nails Fixing as per drawing | Theory: 1 Hrs. Practical: 5 Hrs. Total: 6 Hrs. | - Hammer - Nail Set/ Punch - Drill Machine - Screw Driver set - Spirit Level (H,V,I) - Ladder - PPE kit - Measuring Tape - Marking Tools | Class Room and Workshop |
| LU-3. Check dimensions as per drawing | - Ensure distance, angle and position of Solar PV Modules as per drawing - Ensure Installation aligns with design specification | - Interpret electrical symbols in drawing - Demonstrate Electrical Diagrams - Define Structural Plan of Solar PV system. Practice: Check Dimensions (Measure distance, angle and positions) of Solar PV System structure as per drawing. | Theory: 1 Hrs. Practical: 5 Hrs. Total: 6 Hrs. | - Measuring Tape - Ruler - Caliper - Chalk line - Pencil - Spirit Level | Class Room and Workshop |
| LU-4. Make concrete pads or foundations | - Acquire skills to prepare site for concrete pad installation - Ensure proper mixing of material for concrete formation | - Elaborate functions of concrete pads - Demonstrate site conditions for installation of Solar PV System. Practice: Demonstrate and check the concrete pads or foundations as per drawing. | Theory: 1 Hrs. Practical: 5 Hrs. Total: 6 Hrs. | - Saw - Hammer - Nails - Clamp - Screw driver - Chalk line - Spirit Level - Trovel - Measuring Tape | Class and Workshop |

# Module 02 – 0713E&E3502: Carryout Installation Structure of Solar PV mountain structure

Objectives:

After completion of this module, the learner will be able to apply techniques of structural installation of a Solar PV System. The learners are expected to build upon the foundational knowledge to carry out safe, accurate and code-compliant structural installation under minimal supervision. It included assembly and secure mounting of racking systems on rooftops or the grounds, ensuring alignment, tilt and orientation meet design and performance requirements.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform Structure Fixing | - Interpret Solar PV Structural drawing and specification - Prepare installation site for structure fixing - Assemble PV Structure - Fix structure according to right tilt angle and azimuth angle - Ensure structure stability | - Define Tilt Angle - Define Azimuth Angle - Demonstrate Importance and Benefits of Structure Alignment Practice: - Make a team of 5 students, check the site for mounting PV Structure, interpret drawings, discuss assembling and fixing of structure in team. Discuss the problems in team. Make a report for the in-charge. | Theory: 02 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Measuring Tape - Chalk Line - Pencil/ Marker - Spirit level - Screwdriver - Spanners - Socket sets - Hammer - Allen Keys - Drill Machine - Angle Grinder - Solar Panel Structure (L2,L3) - Inclinometer | Class Room and workshop |
| LU-2. Align Structures for Uniformity and Aesthetic Appeal | - Interpret Design - Interpret Alignment Specification - Mark accurate reference points - Align Mounting Structure consistently | - Define Alignment Principles - Demonstrate Structure Positioning Techniques - Define Alignment Techniques Practice: - Make a team of five members. They visit solar PV site. They observe and discuss alignment problem in structure. They make a report and submit to in-charge. | Theory: 2 Hrs. Practical: 8 Hrs. Total: 10 Hrs. | - Screw drivers - Spanner set - Socket set - Wrenches | Class Room and workshop |
| LU-3. Lay structure at proper orientation and tilt angle | - Interpret Layout Plans - Interpret design specification - Verify accuracy of Installed Orientation and Tilt | - Define orientation of Solar PV system - Differentiate Tilt Angle and Azimuth Angle Practice: - Make a team of five members. They visit Solar PV Structure. Check the proper orientation. Identify the problems and discuss in team. Make a report and submit to the in-charge. | Theory: 1 Hrs. Practical: 7 Hrs. Total: 08 Hrs. | - Compass, - Inclinometer, - Spanner set - Wrenches - Solar Panel Structure (L2,L3) | Class Room and workshop |

# Module 03 – 0713E&E3503: Perform Installation Solar PV modules

Objectives:

After completion of this module, the learner will be able to develop skill and competence required to perform solar panel fixing, to perform mounting of Solar PV Module, to align Solar PV Module, to perform series and parallel fixing of Solar PV Module. It involves knowledge and skills about series and parallel connection of solar panels.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform solar panels fixing | - Acquire skills of preparation of solar panels fixing - Acquire skills of solar panels fixing. | - Describe process of solar panels fixing Practice: - Perform fixing of solar panels. | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Spanner set - Wrenches - Screwdriver set - Measuring Tape - Solar PV Module | Class Room and workshop |
| LU-2. Perform Mounting of Solar PV Module | - Acquire skills of preparation of mounting of solar panels fixing - Acquire skills of mounting of solar panels fixing. | - Elaborate the process of mounting of Solar PV Module Practice: - Perform mounting of solar PV Module | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Spanner set - Wrenches set - Screwdriver set - Measuring Tape - Solar PV Module - Solar PV Panels | Class Room and workshop |
| LU-3. Align Solar PV Structure | - Acquire skills of preparation of Solar PV Structure - Acquire skills of alignment of Solar PV Structure | - Describe process of Alignment Practice: - Perform Alignment of Solar PV Module | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Spanner set - Wrenches set - Screwdriver set - Measuring Tape - Solar PV Module - Solar PV Panels - Spirit Level | Class Room and workshop |
| LU-4. Perform Series fixing of Solar PV and Module | - Acquire skills of Preparation of fixing of Series Solar PV Module - Acquire skills of fixing of Series Solar PV Module - Measure voltage in series circuit by voltmeter - Measures current in series circuit by using Ammeter | - Define concept of series circuit - Describe characteristics of series circuit (total voltage, current, total resistance, total power etc.) Practice: - Perform series fixing of solar PV Module | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multi-meter - Solar PV Module - Solar PV Panels | Class Room and workshop |

| LU-5. Perform Parallel fixing of Solar PV Module | - Acquire skills of Preparation of fixing of Parallel Solar PV Module - Acquire skills of fixing of Parallel Solar PV Module - Measure voltage in Parallel circuit by voltmeter - Measures current in Parallel circuit by using Ammeter | - Define concept of parallel circuit - Describe characteristics of parallel circuit (total voltage, current, total resistance, total power etc.) Practice: - Perform Parallel fixing of Solar PV Module | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Electrician Tool Kit - AVO Meter - Voltmeter - Ampere Meter - Multi-meter - Solar PV Module - Solar PV Panels | Class Room and workshop |
| --- | --- | --- | --- | --- | --- |

# Module 04 – 0713E&E3504: Perform inverter configuration

Objectives:

After completion of this module, the learner will be able to make preparation for the installation of inverter. Hang Inverter as per specified procedure. The trainee will be able to make connection of inverter.

| Duration: 35 Hours | Practical: 27 Hours | Theory: 08 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Interpret Invertor specification | - Identify Rating on Nameplate - Interpret Inverter electrical specifications - Differentiate between Invertor Types based on their specifications - Interpret Input Parameters - Interpret output parameters | - Describe functions of Inverter - Differentiate different types of Inverter Practice: - Interpret Solar Invertor Nameplate and Datasheet | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Solar Invertor unit - Invertor Manuals - Digital Multimeter - Clamp Meter | Class Room and workshop |
| LU-2. Interpret inverter configuration | - Identify configurable parameters - Interpret Invertor configuration menus - Interpret grid related configuration parameters | - Understand Invertor configuration menus and terminology Practice: - Interpret Solar Invertor Configuration settings | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Solar Inverter - Digital multimeter - Clamp meter | Class Room and workshop |
| LU-3. Configure basic inverter operation parameter | - Identify basic invertor operating parameters - Configure Inverter operating mode as per design - Set Protection Limits | - Demonstrate Invertor Operation Parameters - Interpret Invertor Mode Configuration Practice: Configure basic Operating Parameters of a Solar Inverter | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs | - Solar Inverter - Digital multimeter - Clamp meter | Class Room and workshop |
| LU-4. Set PV array and MPPT parameter | - Interpret PV Array Configuration - Set PV array Electrical Parameters - Set PV Input Parameters on Invertor | - Introduction to PV Array - Introduction to MPPT Practice: Configure PV Array and MPPT Parameters on a Solar Inverter | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs | - Solar Inverter - Digital multimeter - Clamp meter - Solar Panels | Class Room and workshop |
| LU-5. Configure battery charging setting | - Identify different types of batteries - Set battery system voltage - Configure charging voltage and current - Troubleshoot battery charging issues | - Introduction to battery charging - Types of batteries - Batteries configuration on Invertor Practice: Configure Battery Charging Parameters on a Solar Inverter or Charge Controller | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs | - Solar Inverter - Batteries - Digital multimeter - Clamp meter | Class Room and workshop |
| LU-6. Configure grid and Load management parameter | - Identify grid connection parameters - Set grid connection parameters - Configure load management parameters | - Introduction to grid and load management - Grid connection basics Practice: Configure Grid and Load Management Parameters on a Solar Inverter | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs | - Solar Inverter - Batteries - Digital multimeter - Clamp meter | Class Room and workshop |
| LU-7. Conduct Pre Installation Preparation of Inverter | - Identify invertor type - Verify site suitability - Inspect Invertor - Select site suitability for Invertor | - Introduction to pre installation preparation - Site Assessment - Invertor Identification and Inspection Practice: Conduct Pre-Installation preparation of Solar Invertor | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs | - Solar Inverter - Batteries - Digital multimeter - Clamp meter | Class Room and workshop |
| LU-8. Hang Inverter As per Procedure | - Identify appropriate mounting location - Select suitable mounting hardware and tools - Perform physical mounting of invertor | - Introduction to Invertor Mounting - Site assessment for mounting Practice: Mount Solar Invertor Properly | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs | - Solar Inverter - Batteries - Digital multimeter - Clamp meter | Class Room and workshop |

# Module 05 – 0713E&E3505 – Carry out installation of batteries

Objectives:

After completion of this module, the learner will be able to understand the process of installation of batteries, charging process of batteries. It involves complete connection of batteries.

| Duration: 45 Hours | Practical: 40 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform Batteries Fixing | - Acquire Skill of preparation of fixing of Batteries - Acquire Skills to perform batteries fixing | - Elaborate the function of Batteries - Describe stages of charging of batteries Practice: - Perform connection of Batteries with Inverter | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Electrician Tool Kit - Batteries | Class Room and workshop |
| LU-2. Make Series Connection of Batteries | - Acquire skills to make preparation of series connection of batteries - Acquire skills to make series connection of batteries | - Explain the series connection of Batteries - Elaborate charging stages of batteries Practice: - Perform series connection of batteries | Theory: 1 Hrs. Practical: 10 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - Solar PV Panels - Batteries | Class Room and workshop |
| LU-3. Make Parallel Connection of Batteries | - Acquire skills to make preparation of parallel connection of batteries - Acquire skills to make parallel connection of batteries | - Explain the parallel connection of Batteries - Elaborate charging stages of batteries Practice: - Perform parallel connection of batteries | Theory: 1 Hrs. Practical: 10 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar PV Panels - Batteries | Class Room and workshop |
| LU-4. Interpret BESS (Battery and Energy Storage System) | - Acquire knowledge of Battery and Energy Storage System | - Demonstrate the process of Energy Storage System Practice: - Make a group of five students. They discuss on the topic of Energy storage. They submit report to the In charge. | Theory: 1 Hrs. Practical: 10 Hrs. Total: 11 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Solar PV Panels Batteries | Class Room and workshop |

# Module 06 – 0713E&E3506 – FIX LV PANELS/ POWER DISTRIBUTION BOARD

Objectives:

After completion of this module, the learner will be able to fix LV Panels and to fix power distribution board.

| Duration: 45 Hours | Practical: 40 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Drill holes and fix support structure | - Perform Electrical Load calculation - Calculate connected Electrical load for solar PV system design - Measure the Solar PV system load in case of existing - System | - Recall Basic Electricity Concepts Practice: - Perform Load Assessment of a Premises | Theory: 1 Hrs. Practical: 8 Hrs. Total: 9 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets | Class Room and workshop |
| LU-2. Arrange LV Panel and DB at designated location | - Interpret assessment of load - Determine the type of solar Inverter (On/Off Grid, Hybrid) | - Recall the Types of Inverters Practice: - Determine the Wattage of Inverter based on accessed Load of a premises - Determine the Type of solar Inverter based on the Electricity supply conditions | Theory: 1 Hrs. Practical: 7 Hrs. Total: 8 Hrs. | - Electrician Tool Kit - Inverter Manuals | Class Room and workshop |
| LU-3. Perform LV Panel fixing | - Acquire skill to make preparation of LV Panel Fixing - Acquire skill to perform LV Panel Fixing | - Describe process of LV Panel fixing Practice: - Make a team of 5 students and perform LV Panels Fixing | Theory: 1 Hrs. Practical: 9 Hrs. Total: 10 Hrs. | - Electrician Tool Kit | Class Room and workshop |
| LU-4. Connect Circuit Breaker, Isolator and Surge Protection Devices etc. | - Acquire skill to make preparation of installation of circuit breaker, Isolator and Surge Protection Devices - Acquire skill to make installation of circuit breaker, Isolator and Surge Protection Devices | - Describe function of circuit breaker - Describe function of Isolator - Elaborate function of SPD Practice: - Perform connection of circuit breaker, Isolator and SPD etc. | Theory: 1 Hrs. Practical: 9 Hrs. Total: 10 Hrs. | - Electrician Tool Kit - Drawing Tools - Drawing Sheets - Batteries Manuals | Class Room and workshop |
| LU-5. Perform wiring tests | - Acquire skills to perform continuity test - Acquire skills to perform polarity test - Acquire skills to perform Insulation resistance test | - Describe process of Continuity test - Describe process of Polarity Test - Describe process of Insulation resistance test Practice: - Perform continuity test - Perform Polarity Test - Perform Insulation resistance test | Theory: 1 Hrs. Practical: 7 Hrs. Total: 08 Hrs. | - Electrician Tool Kit - Megger - Multi-meter | Class Room and workshop |

# Module 07 – 0713E&E3507 – LAY AC WIRING OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to lay AC Wiring of Solar PV System. It involves complete AC wiring of AC Solar Components.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 5 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform wiring of AC Circuits (Inverters, AC Breakers, AC SPD etc.) | - Acquire the skills to make preparation of wiring of AC Circuits - Acquire skills to perform AC Wiring | - Describe process of AC Wiring Practice: - Perform AC wiring in Solar PV System | Theory: 3 Hrs. Practical: 15 Hrs. Total: 18 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter - Continuity & Insulation tester | Class Room and workshop |
| LU-2. Perform wiring tests of AC Circuits (Inverters, AC Breakers, AC SPD etc.) | - Perform Continuity test - Perform Polarity test - Perform Insulation resistance test | - Explain the continuity Test - Explain the Polarity Test - Explain the Insulation Resistance Test Practice: - Perform continuity test - Perform polarity test - Perform insulation resistance test | Theory: 2 Hrs. Practical: 15 Hrs. Total: 17 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter - Solar PV Modules - AVO Meter - Continuity & Insulation tester | Class Room and workshop |

# Module 08 – 0713E&E3508 – LAY DC WIRING OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to lay DC Wiring of Solar PV System. It involves complete DC wiring of DC Solar Components.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 5 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform wiring of DC Circuits (DC Breakers, DC SPD etc.) | - Acquire the skills to make preparation of wiring of DC Circuits - Acquire skills to perform DC Wiring | - Describe process of DC Wiring Practice: - Perform DC wiring in Solar PV System | Theory: 3 Hrs. Practical: 15 Hrs. Total: 18 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter - Continuity & Insulation tester | Class Room and workshop |
| LU-2. Perform wiring tests of DC Circuits | - Perform Polarity test | - Explain the Continuity Test Practice: - Perform Continuity Test | Theory: 2 Hrs. Practical: 15 Hrs. Total: 17 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter | Class Room and workshop |

Module 09 -0713E&E3509 – INSTALL EARTHING SYSTEM

Objectives:

After completion of this module, the learner will be able to interpret complete earthing process and to install earthing for the protection of solar pv system.

| Duration: 45 Hours | Practical: 40 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Interpret Boring | - Acquire skills of preparation of boring - Acquire skills of boring | - Explain the process of boring - Practice: Demonstrate the procedure for boring and inspecting earth pits as per the earting design of a SolarPV system | Theory: 1/2 Hrs. Practical: 5 Hrs. Total: 5.5 Hrs. | - Electrician tool kit - Earth resistance meter Multi-meter - Clamp-on Meter | Class Room and workshop |
| LU-2. Interpret Pouring of Earthing material | - Interpret composition of Earthing powder | - Explain the earthing process Practice: - Make the measurement of earth resistance. | Theory: 1/2 Hrs. Practical: 5 Hrs. Total: 5.5 Hrs. | - Electrician tool kit - Earth resistance meter Multi-meter - Clamp-on Meter | Class Room and workshop |
| LU-3. Interpret fixing of earth electrode | - Acquire skills of preparation of fixing of earth electrode - Acquire skills of fixing of earth electrode | - Describe the process of fixing of earth electrode in earthing process Practice: - Make team of five trainees. They perform fixing of earth electrode and prepare a report. Submit report to the In charge. | Theory: 1/2 Hrs. Practical: 5 Hrs. Total: 5.5 Hrs. | - Electrician tool kit - Earth resistance meter Multi-meter - Clamp-on Meter | Class Room and workshop |
| LU-4. Perform laying of earth cable | - Acquire skill of preparation of laying of earth cable - Acquire skill of laying of earth cable | - Describe the process of laying of earth cable Practice: - Perform laying of earth cable in the earthing process | Theory: 1/2 Hrs. Practical: 5 Hrs. Total: 5.5 Hrs. | - Electrician tool kit - Earthing system tool kit - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-5. Connect Distribution Board | - Acquire skills of preparation of connection of distribution board. - Acquire skills of connection of distribution board | - Enlist the steps required to connect distribution board Practice: - Hang the distribution board - Make connections | Theory: 1/2 Hrs. Practical: 4 Hrs. Total: 4.5 Hrs. | - Electrician tool kit - AVO Meter - Clamp-on Meter | Class Room and workshop |
| LU-6. Connect AC Earth Cable | - Acquire skills to make preparation of connection of AC earth cable - Acquire skills to make connection of AC earth cable | - Define earthing process - Describe the types of earthing Practice: - Connect AC Earth cable to the AC Circuit through AC SPD | Theory: 1/2 Hrs. Practical: 4 Hrs. Total: 4.5 Hrs. | - Electrician tool kit - AVO Meter - Clamp-on Meter - Earthing system kit | Class Room and workshop |
| LU-7: Connect DC Earth Cable | - Acquire skills to make preparation of connection of DC earth cable - Acquire skills to make connection of DC earth cable | - Define earthing process - Describe the types of earthing Practice: - Connect DC Earth cable to the DC Circuit through DC SPD | Theory: 1/2 Hrs. Practical: 4 Hrs. Total: 4.5 Hrs. | - Electrician tool kit - AVO Meter - Clamp-on Meter - Earthing system kit | Class Room and workshop |
| LU-8: Install Protective Devices | - Acquire skills to make preparation of installation of Protective Devices - Acquire skills for Installation of Protective Devices | - Describe the function of Protective Devices in Solar PV System Practice: - Install the protective devices in Solar PV System | Theory: 1/2 Hr Practical: 4 Hrs Total: 4.5 Hrs | - A.C. Breaker - D.C Breaker - AC SPD - DC SPD |  |
| LU-9:Perform Earth resistance Test | - Acquire skills to make preparation for earth resistance test - Acquire skills to perform earth resistance test | - Define earth resistance in earthing process of Solar PV System Practice: - Perform the earth resistance test of Earthing system | Theory: 1 Hr Practical: 4 Hrs Total: 5 Hrs | - Earth resistance meter |  |

# Module 10 – 0713E&E3510. Perform connection of complete solar PV system

Objectives:

After completing this module, the learner will be able to install complete Solar PV System. It includes installation of panels, inverters, batter and Grid Meter etc. Trainee will also be able to use different components of Solar PV System.

| Duration: 45 Hours | Practical: 40 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Connect Panel with Inverters | - Acquire skills of preparation of connection of panel with inverter - Acquire skills of connection of panel with inverter | - Explain different parameters of inverter before connection - Describe the process of connection of panel with inverter Practice: Make the connection of Solar PV panels with Inverters | Theory: 1 Hrs. Practical: 7 Hrs. Total: 8 Hrs. | - Solar Panels - Inverter - Screwdriver | Class Room and workshop |
| LU-2. Connect Inverter with battery | - Acquire skills of preparation of connection of inverter with battery - Acquire skills of connection of inverter with battery | - Explain different parameters of inverter before connection - Describe the process of connection of Inverter with battery Practice: Make the connection of batteries with Inverters | Theory: 1 Hrs. Practical: 7 Hrs. Total: 8 Hrs. | - Battery - Inverters - Screwdriver set | Class Room and workshop |
| LU-3. Connect Inverter with Safety Equipment | - Acquire skills of preparation of connection of inverter with safety equipment - Acquire skills of connection of inverter with safety equipment | - Explain parameters of inverter before connection - Describe process of connection of inverter with safety equipment - Practice: - Perform connection of inverter with Safety Equipment | Theory: 1 Hrs. Practical: 7 Hrs. Total: 8 Hrs. | - SOPs - OHS Guidelines | Class Room and workshop |
| LU-4. Connect Inverter with Grid Load | - Acquire skills of preparation of connection of inverter with Grid load - Acquire skills of connection of inverter with Grid load | - Explain Process of connection of inverter with grid load Practice: Make the Connection of Inverters with Grid Load | Theory: 1/2 Hrs. Practical: 7 Hrs. Total: 7.5 Hrs. | - Inverter - Screwdriver | Class Room and workshop |
| LU-5. Connect whole Solar PV System with Inverter | - Acquire skills of preparation of connection of inverter with whole solar PV System - Acquire skills of connection of inverter with whole solar PV System | - Explain the concept of Hybrid Inverter - Explain On-grid Inverter Practice: Connecting the complete Solar PV System with Inverters | Theory: 1/2 Hrs Practical: 7 Hrs. Total: 7.5 Hrs. |  |  |
| LU-6. Prepare Solar PV System for Testing | - Acquire skills of preparation of connection of inverter with whole solar PV System for testing - Acquire skills of testing of solar inverter with whole solar PV System | - Define testing process of solar PV system Practice: Prepare Solar PV System for Testing of Batteries, Inverters, Grid Load, PV Panels | Theory: 1 Hr Practical: 5 Hrs. Total: 6 Hrs. |  |  |

# Module 11 – 0713E&E3511. Carryout Troubleshooting of Solar PV System

Objectives:

After completing this module, the learner will be able to perform trouble shooting of Solar PV System. It includes the identification of local fault, diagnose the nature of faults and rectification of faults.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Identify the faults | - Acquire skills of identification of faults in Solar PV System | - Explain different faults in Solar PV System Practice: Identify the Faults in Solar PV System (Batteries, Inverters, Grid Load, PV Panels) | Theory: 2 Hrs. Practical: 11 Hrs. Total: 13 Hrs. | - Solar Panels - Inverter - Screwdriver | Class Room and workshop |
| LU-2. Diagnose the nature of faults | - Acquire skills of diagnosis of nature of faults in Solar PV System | - Explain different nature of faults in Solar PV System Practice: Diagnose the nature of faults in Solar PV System (Batteries, Inverters, Grid Load, PV Panels) | Theory: 2 Hrs. Practical: 11 Hrs. Total: 13 Hrs. | - Solar Panels - Inverter - Screwdriver | Class Room and workshop |
| LU-3. Rectification of faults | - Acquire skills of rectification of faults | - Explain parameters of inverter. - Describe parameters setting of inverter - Practice: - Perform parameter setting of inverters and batteries BMS systems for Rectification of Faults | Theory: 1 Hrs. Practical: 14 Hrs. Total: 15 Hrs. | - Solar Panels - Inverter - Screwdriver se - Batteries - (BMS system) | Class Room and workshop |

# Module 12 – 0713E&E3512. ANALYZE ELECTRICITY BILL AND SMART METER

Objectives:

After completing this module, the learner will be able to analyze the electricity bill, to interpret import and export units to check MDI reading and to calculate Bill amount with taxes.

| Duration: 35 Hours | Practical: 30 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Interpret Import and Export Units | - Acquire skills to interpret Import Unit - Acquire skills to interpret Export Units | - Elaborate the term Import Units - Elaborate the term Export Units - Elaborate the function of smart meter Practice: Interpret Import and Export Units by using billing and solar system data | Theory: 1 Hrs. Practical: 11 Hrs. Total: 12 Hrs. | - Solar Panels - Inverter - Screwdriver | Class Room and workshop |
| LU-2. Check MDI Reading | - Acquire skills to interpret MDI Reading | - Elaborate the term MDI Reading - Elaborate the difference between Peak Time and Off Time Practice: Check MDI (Maximum Demand Indicator meter)reading of MDI and compare with billing data | Theory: 1 Hrs. Practical: 11 Hrs. Total: 12 Hrs. | - Electrician Tool Kit - Energy meter | Class Room and workshop |
| LU-3. Check Bill Amount with Taxes | - Acquire skills to interpret the amount of bill with taxes | - Elaborate stages of bill calculation - Practice: - Perform calculation of bill amount with taxes of domestic bill | Theory: 1 Hrs. Practical: 10 Hrs. Total: 11 Hrs. | - Energy meter | Class Room and workshop |

# 5. List of Personal Protective Equipment (For A Class of 25 Students)

| Name of Trade |  | Solar PV System Sr. Technician (L-3) |  |
| --- | --- | --- | --- |
| Duration of Course |  | 6 Months |  |
| Sr. # | Description |  | Quantity |
|  | First AID Box |  | 5 Nos |
|  | Fire Extinguisher (Different Types & standard sizes) |  | 5 Nos |
|  | Fire Blanket |  | 25 Nos |
|  | Fire Bucket |  | 25 Nos |
|  | Safety goggles |  | 25 Nos |
|  | Safety shoes |  | 25 Nos |
|  | Safety Helmet (White + Yellow) |  | (5 + 25) Nos |
|  | Safety Harness |  | - Nos |

# List of Tools & Equipment

| Sr. No. | Machinery / Lab Equipment | Quantity |
| --- | --- | --- |
|  | First AID Box | 1 Nos |
|  | Fire Extinguisher (Different Types & standard sizes) | 2 Nos |
|  | Fire Blanket | 1 Nos |
|  | Fire Bucket | 1 Nos |
|  | Safety goggles | 5 |
|  | Safety shoes | 5 |
|  | Safety Helmet (White + Yellow) | As Per Required |
|  | Safety Harness | As Per Required |
|  | AVO Meter | 01 |
|  | Combination Plier. | 5 |
|  | Nose plier. | 5 |
|  | Wire Stripper | 5 |
|  | Soldering Iron | 5 |
|  | Set of Screw Drivers | 5 |
|  | Ring Spanner Set | 2 |
|  | Techno Meter-Digital | 2 |
|  | Earth resistance tester (Digital) Spike Type, Clamp Type) | 2 |
|  | Continuity & Insulation tester | 4 |
|  | IR Temperature Gun | 2 |
|  | Digital Multi-meter | 1 |
|  | Cable Knife | 1 |
|  | Phase Sequence Meter | 1 |
|  | Clamp-On Meter (AC &DC) | 1 |
|  | Lux Meter | 1 |
|  | Lugs Punching Machine (Hydraulic and Manual) | 1 |
|  | Battery Tester | 1 |
|  | Micro Meter mm | 1 |
|  | Hydrometer(digital) | 1 |
|  | Disk Grinder Machine | 1 |
|  | Hammer | 1 |
|  | Hacksaw Frames | 1 |
|  | Cordless Impact Wrench with Kit | 1 |
|  | Battery Charger | 1 |
|  | Bench Vice | 1 |
|  | Chisel | 1 |
|  | 3- Phase energy meter (Green Meter) | 1 |
|  | Energy meter Digital Single Phase | 1 |
|  | Charge Controller PWM 40 amp | 1 |
|  | Charge Controller MPPT 50 amp | 1 |
|  | Solar Hybrid Inverter 4KW MPPT | 1 |
|  | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 1 |
|  | Solar OFF-Grid Inverter 3KW- (Single Phase) | 1 |
|  | Solar ON-Grid Inverter 10 KW--(Three Phase) | 1 |
|  | Lead Acid Battery -12 V, 150 AH | 1 |
|  | DRY Battery- 12 V, 100AH | 1 |
|  | Tall tubular Battery -12 V, 180AH | 1 |
|  | Solar PV Module N-Type, Monoficial 585 W | 1 |
|  | Solar PV Module N-Type Bifacial TOPCON, 585 W | 1 |
|  | Solar PV Module Mono (P-Type), 585 W | 1 |
|  | Solar PV Module P-Type Hetro Junction Technology, 585W | 1 |
|  | Solar PV Module P-Type Back Contact, 585 W | 1 |
|  | DC power Supply 12-to-24-volt | 1 |
|  | Solar panel Structure (L2, L3) | 5 |
|  | Solar PV Tester | 2 |
|  | Voltmeter (Analog & Digital) | 1 |
|  | Ampere Meter (Analog & Digital) | 1 |
|  | Watt Meter (Analog & Digital) | 1 |
|  | VAR Meter | 1 |
|  | Digital Power Factor Meter | 1 |
|  | Analog Multi-meter | 1 |
|  | Energy meter Digital- Three phase | 1 |
|  | Spanner set (Open end) | 1 |
|  | Ratcheted Set | 1 |
|  | SWG Wire Gage | 1 |
|  | Spirit Level | 1 |

# 7.List of Consumables

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 5 No |
| 3 | PVC Pipe/ Duct. | 5 ft. |
| 4 | PVC clamp. | 1Pkt |
| 5 | PVC board with plate. | 5 No. |
| 6 | Distribution Box-PVC | 2No. |
| 7 | AC MCB 2P 63A | 1 No. |
| 8 | AC MCB 1P 16A | 1 No. |
| 9 | AC MCB 1P 10A | 1 No. |
| 10 | Rotary Box | 1 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 1 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 1 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 10 ft. |
| 15 | Wire 1/0.044 | 1 Coil |
| 16 | Wire 3/0.029 | 1 Coil |
| 17 | Wire 7/0.029 | 1 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 1 No. |
| 24 | Push Button (3H) | 1 No. |
| 25 | Flexible Pipe 3/4” | 5 ft. |
| 26 | Flexible Pipe 1” | 2 ft. |
| 27 | Duct Putty 40x40 | 2 No. |
| 28 | Duct Putty 60x60 | 2 No. |
| 29 | Rawal Plug | 2 No. |
| 30 | Panel indicators | 2 No. |
| 31 | Intermediate Switch | 2 No. |
| 32 | Screw 1.5” | 1 No |
| 33 | Single pole switch. | 5 No. |
| 34 | Lamp holder | 2 No. |
| 35 | Lamp AC/DC | 2 No. |
| 36 | PVC Connector Strip | 2 No. |
| 37 | Drill bits | 2 No. |
| 38 | Electrical PVC tapes (Multi colors) | 2 No. |
| 39 | Two-way switch | 2 No. |
| 40 | Two pole switches | 2 No. |
| 41 | Junction Box | 2 No. |
| 42 | Photo Copy Paper -A4 | 1 Rims |
| 43 | PVC Cable Ties | 5 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 5 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 5 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 5 No. |
| 47 | Connector MC-4 1500V (set) | 10 No. |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 2 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 2 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. No. | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1. | Engr. Muhammad Wameq Ayaz | DACUM Facilitator, | PVTC Lahore |
| 2. | Dr. Syed Ift.ikhar Hussain Shah | Co-DACUM Facilitator -Additional Director General | (TEVTA Punjab) |
| 3. | Engr. Dr. Waqas Abdul Salaam | Assistant Director, | Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
| 4. | Engr. Mr. Muhammad Saeed | Sr. Instructor Electrical | GTTI Gulberg Lahore |
| 5. | Mr. Muhammad Rehan Qureshi | Sr. Instructor Electrical | GTTI Gulberg Lahore |
| 6. | Engr.Junaid khalid | Sr.Instructor TEVTA | MIDC IST Sialkot |
| 7. | Engr.Sajjad Ali Khan | Lecturer (Solar Energy) | KP TEVTA GCT Tangi Charsadda |
| 8. | Engr.Dilshad Khan | Lecturer (Electrical) | KP TEVTA GPI Sardar Garhi |
| 9. | Irfan Ali | Trade Instructor | GVTTC NAGAR (G-B) |
| 10. | Imtiaz Ahmed | HOD Electrical | GPI Skardu |
| 11. | Khalid Iqbal Khan | Assistant Manager | PLEC MoIP |