National Vocational Qualification Level-4 of Solar PV System Senior Technician

Curriculum

National Vocational and Technical Training Commission (NAVTTC)

Government of Pakistan

National Vocational Qualification Level -4 “Solar PV System Supervisor” (6 Months)

National and Technical Training Commission, Islamabad

Government of Pakistan

FOREWORDS

National Vocational and Technical Training Commission (NAVTTC) extends its gratitude and appreciation to representatives of business, industry, academia, government agencies, provincial TEVTAs, sector skill councils and trade associations who spared time and extended their expertise for the development of National Vocational Qualification for Level-4 “Solar PV System Supervisor”. This work would not have been possible without the technical support of the experts.

It may not be out of place to mention here that all the experts of Industry, Academia and TVET experts of TEVTAs, BTEs and PVTC work diligently for making this qualification worthy and error free for which all credit goes to them. However, NAVTTC accepts the responsibility of all the errors and omissions still prevailing in the Qualification document.

It is also noteworthy that development of Skill Standards is a dynamic and ongoing process, and the developed competency standards needs periodic review and updating owing to the constant technological advancements, development in scientific knowledge, and growing experience of implementation at the grass root level as well as the demand of industry. The NAVTTC, Government of Pakistan will ensure to keep the qualifications abreast with the changing demands of both national and international job markets.

Executive Director (NAVTTC)

TABLE OF CONTENTS

Contents

1.	Introduction	5

1.7	Overall objectives of the training course	5

2.	Sceme of Studies	7

3.	Overview of Curriculum	8

4.	Detail of Modules	12

Module 01 – 0713E&E3601: PERFORM SOLAR SITE ASSESSMENT	12

Module 02 – 0713E&E3602: DESIGN SOLAR PV SYSTEM	16

Module 03 – 0713E&E3603: TEST SOLAR PV SYSTEM AS PER DESIGN	20

Module 04 – 0713E&E3604: CONFIGURE SOLAR PV SYSTEM	22

Module 05 – 0713E&E3605 – PREPARE COMPLETION/ CONFIGURATION REPORT OF SOLAR PV SYSTEM	24

Module 06 – 0713E&E3606 – PERFORM TROUBLESHOOTING OF SOLAR PV SYSTEM	27

Module 07 – 0713E&E3607 - INSPECT SOLAR PV SYSTEM	31

Module 08 – 0713E&E3608 – PERFORM MAINTENANCE OF SOLAR PV SYSTEM	34

Module 09 -0713E&E3609 – DEVELOP ENTREPRENEURSHIP SKILLS	37

5. List of PPE’s	41

6. List of Tools and Equipment	41

7. List of Consumable	44

8. Members of Qualification Development Committee	47

# Introduction

Solar energy converts energy from sunlight into electricity directly using photovoltaics (PV) Source: The use of solar energy has been significant growth across the world in the recent years due to reduction in the cost of electricity, related equipment & it also supports green skills. Solar PV system is now becoming financially competitive with conventional forms of power generation.

The Solar PV System Supervisor Course Level 4 is designed to develop advanced skills and competencies required for supervising the installation, operation, and maintenance of solar photovoltaic (PV) systems. This course prepares candidates to conduct site assessments, design solar PV systems, interpret technical documents, oversee installation and wiring, troubleshoot and maintain systems, and ensure safety compliance. It also equips learners with entrepreneurial skills to enable self-employment or supervisory roles in the solar energy sector.

| 1.1 Date of Development | 19th - 23st May, 2025 |
| --- | --- |
| - Date of Review and Validation | 23 May, 2025 |
| 1.3. Entry Requirement | Must have Matric + Solar PV System Technician Level -3 |
| 1.4. Minimum qualification for teachers | BS. Tech/ BSc. Engineering./ B.E/ B.Tech (Hon) (Electrical/ Electronics) with 2 years’ experience in relevant field (OR) DAE (Electrical/ Electronics) with 4 years’ experience in relevant field |
| 1.5. Medium of instruction | Urdu, English or local language |
| 1.6. Duration of Course | Total. 840 hours. Theory. 80 hours Practical. 520 hours On Job Training. 240 hours |

# Overall objectives of the training course

The primary objective of the Solar PV System Level 4 training program is to provide trainees with up-to-date knowledge and advanced skills required by the solar sector through a comprehensive six-month training. This program is designed to equip trainees with the expertise to perform advanced tasks in solar PV system installation, maintenance, and troubleshooting, enabling them to meet the growing demands and challenges of the solar industry in Pakistan. After successfully completing this course, trainees will be qualified as Solar PV System Technicians Level 3, capable of securing employment in the solar industry or establishing themselves as entrepreneurs.

The course content is specifically tailored to cover all major areas of the solar sector, including site assessment, system design, installation, wiring, troubleshooting, maintenance, safety procedures, and entrepreneurial skills development. It aligns with national standards such as the National Vocational Qualification Framework (NVQF) and supports the vision of Pakistan’s National Skills Strategy (NSS) and National TVET Policy.

The overall objectives of developing this qualification are to:

0713E&E3601 Perform Solar Site Assessment

0713E&E3602 Design Solar PV System

0713E&E3603 Test Solar PV System As Per Design

0713E&E3604 Configure Solar PV System

0713E&E3605 Prepare Completion/ Configuration Report of Solar PV System

0713E&E3606 Perform Troubleshooting of Solar PV System

0713E&E3607 Inspect Solar PV System

0713E&E3608 Perform Maintenance of Solar PV System

0713E&E3609 Develop Entrepreneurship skills

OJT (On Job Training)

# Scheme of study

| Competency Standards | NVQF | Category | Estimated Contact Hours |  |  | Cr Hr |
| --- | --- | --- | --- | --- | --- | --- |
|  | Level |  | Th | Pr | Total |  |
| 0713E&E3601 CS1 Perform Solar Site Assessment | 4 | Technical | 5 | 20 | 25 | 1.5 |
| 0713E&E3602 CS2 Design Solar PV System | 4 | Technical | 15 | 130 | 145 | 8 |
| 0713E&E3603 CS3 Test Solar PV System As Per Design | 4 | Technical | 10 | 60 | 70 | 4 |
| 0713E&E3604 CS4 Configure Solar PV System | 4 | Technical | 5 | 20 | 25 | 1.5 |
| 0713E&E3605 CS5 Prepare Completion Report of Solar PV System | 4 | Technical | 8 | 34 | 42 | 2.5 |
| 0713E&E3606 CS6 Perform Troubleshooting of Solar PV System | 4 | Technical | 10 | 70 | 80 | 4.5 |
| 0713E&E3607 CS7 Inspect Solar PV System | 4 | Technical | 7 | 66 | 73 | 4 |
| 0713E&E3608 CS8 Perform Maintenance of Solar PV System | 4 | Technical | 15 | 100 | 115 | 6.5 |
| 0713E&E3609 CS9 Develop Entrepreneurship Skills | 4 | Generic | 5 | 20 | 25 | 1.5 |
| OJT | 4 | Technical |  |  | 240 | 6 |
| Total |  |  | 80 | 520 | 840 | 40 |

# Overview of the curriculum

| Module Title | Learning Units | Theory Days/hours | Workplace Days/hours | Total Timeframe of modules |  |
| --- | --- | --- | --- | --- | --- |
| Module 01. 0713E&E3601: Perform Solar Site Assessment | LU-1. Conduct Survey LU-2. Interpret Solar Irradiance LU-3. Interpret Weather Pattern LU-4. Interpret Shading Analysis LU-5. Interpret Topography of Solar Site LU-6. Prepare Assessment Report | 5 | 20 | 25 |  |
| Module 02. 0713E&E3602: Design Solar PV System |  | LU-1. Prepare design of Off Grid System LU-2. Prepare design of ON Grid System LU-3. Prepare design of Hybrid Solar PV System LU-4. Prepare design of Solar PV System on software PVSyst, PVSOL, HELLIOSCOPE etc. | 15 | 130 | 145 |  |
| Module 03. 0713E&E3603: Test Solar PV System As Per Design |  | LU-1. Perform start-up of Solar PV System LU-2. Perform Testing of Solar PV System LU-3. Perform commissioning of Solar PV System | 10 | 60 | 70 |  |
| Module 04. 0713E&E3604: Configure Solar PV System |  | LU-1. Perform parameter setting of solar inverter LU-2. Monitor the operation via software on digital platforms | 5 | 20 | 25 |  |
| Module 05. 0713E&E3605: Prepare Completion/ Configuration Report of Solar PV System |  | LU-1. Perform preparation of Completion Report LU-2. Enlist each part of equipment installed LU-3. Make photograph of installation for evidence LU-4. Make record of test results LU-5. Perform Handing over/ Taking over Process | 8 | 34 | 42 |  |
| Module 06. 0713E&E3606: Perform Troubleshooting of Solar PV System |  | LU-1. Identify nature of Faults LU-2. Diagnose the faults LU-3. Rectify the Faults | 10 | 70 | 80 |  |
| Module 07. 0713E&E3607: Inspect Solar PV System |  | LU-1. Perform Inspection as per Check list LU-2. Perform Monitoring during Operation LU-3. Identify Faults LU-4. Rectify Faults as per Procedure | 7 | 66 | 73 |
| Module 08. 0713E&E3608: Perform Maintenance of Solar PV System |  | LU-1. Clean Solar PV Modules LU-2. Implement Monitoring schedule for Preventive Maintenance LU-3. Perform Maintenance of Solar PV System as per schedule LU-4. Check Performance of Solar PV System | 15 | 100 | 115 |
| Module 09. 0713E&E3609: Develop Entrepreneurship skills |  | LU-1. Identify Solar PV Market and Business Opportunities LU-2. Plan Solar PV Business LU-3. Set up an enterprise of Solar PV LU-4. Manage Solar PV Business | 5 | 20 | 25 |
| OJT |  | Annexed. | - | - | 240 |
| Total Hours |  |  | 80 | 520 | 840 |

# Detail of Modules

# Module 01 - 0713-E&E3401: PERFORM SOLAR SITE ASSESSMENT

Objectives:

After completion of this module learner will be able to perform solar site assessment for the installation of complete solar pv system. It includes survey, Irradiance, weather pattern, shading analysis and topography etc.

| Duration: 25 Hours | Practical: 20 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Conduct Survey | - Acquire skills to make preparation for the conduct of survey - Acquire skills to conduct survey | - Define the term Solar Site Assessment Practice: - Make a team of five trainees. They conduct survey for installation of solar PV system site | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) - Electrician Tool Kit | Class Room and workshop |
| LU-2. Interpret Solar Irradiance | - Acquire skills to interpret Solar Irradiance - Acquire Skills to measure Solar Irradiance | - Define term Solar Irradiance and its importance in solar energy systems. - Interpret solar irradiance data from charts, graphs, and table Practice: Measure Solar Irradiance for Solar PV System Site | Theory: 1 Hrs. Practical: 3 Hrs. Total: 4 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) | Class Room and workshop |
| LU-3. Interpret Weather Pattern | - Acquire skills to Interpret weather pattern - Perform Assessment from weather pattern | - Explain weather pattern (temperature, humidity, wind speed, atmospheric pressure, precipitation) including historical data pattern of solar PV site. Practice: Perform Assessment from Weather Patterns for Solar PV System Site | Theory: 1 Hrs. Practical: 4 Hrs. Total: 5 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) | Class Room and workshop |
| LU-4. Interpret Shading Analysis | - Acquire Skills to interpret shading analysis | - Describe the shading analysis - Understand the concept and importance of shading analysis in solar energy systems. - Identify types and sources of shading (e.g., trees, buildings, terrain). Practice: Preforms the Shadow analysis for Solar PV System Site | Theory: 1/2 Hrs. Practical: 3 Hrs. Total: 3.5 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) - Software |  |
| LU-5. Interpret Topography of Solar Site | - Acquire skills to interpret geographical conditions for solar PV System installations | - What is meaning of term topography? - Identify key geographical features that influence solar access (e.g., slope, elevation, orientation, surrounding terrain). Practice: Perform the activity of Topography in Solar Site, using of topographic maps, site surveys, and digital tools (e.g., Google Earth, GIS software) to evaluate a solar site. | Theory: 1/2 Hrs. Practical: 3 Hrs. Total: 3.5 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) - Software |  |
| LU-6. Prepare Assessment Report | - Acquire Skills to prepare assessment report | - Elaborate different stages of Assessment Report Practice: - Prepare an Assessment Report which include Collected Data-(Review and compile data gathered from practical tasks ( solar irradiance, topography, shading, weather). draft the Report, Review, Submit report . | Theory: 1 Hrs. Practical: 4 Hrs. Total: 5 Hrs. | - Survey Book - Laptop - Printer - Solar Irradiance Meter - Compass - Laser Temperature Gun - Spirit Level - Solar Pathfinder - Personal Protective Equipment (PPE) - Software |  |

Module 02 – 0713E&E3402: DESIGN SOLAR PV SYSTEM

Objectives:

After completion of this module the learner will be able to design Off-grid solar pv system, On-Grid Solar PV System and Hybrid Solar PV System.

| Duration: 145 Hours | Practical: 130 Hours | Theory: 15 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Prepare Design of Off-grid Solar System | - Acquire Complete understanding of Off-Grid Solar System - Acquire skills to design off-grid Solar system | - Explain parts function and application of OFF-grid Solar System. - Elaborate the components of an off-grid system (solar panels, batteries, charge controller, inverter). - Determine energy demand and load profile of the site. - Size PV modules, battery bank, and inverter based on daily energy consumption and autonomy requirements. - Design wiring configuration and select appropriate protective devices. - Prepare basic layout and system schematic diagram of solar PV system . Practice: - Make a team of 5 students, they design 5 kW Solar PV System Off-grid and they submit report to the in charge. | Theory: 5 Hrs. Practical: 28 Hrs. Total: 33 Hrs. | - Solar PVSyst - Laptop - Software’s (Solar PV syst, PV Sol, Helioscope, PV sketch - Printer | Class Room and workshop |
| LU-2. Prepare Design of On-grid Solar System | - Acquire Complete understanding of On-Grid Solar System - Acquire skills to design on-grid Solar system | - Explain parts function and application function of On-grid Solar System. Practice: - Make a team of 5 students, they design 5 kW Solar PV System On-grid and they submit report to the In charge. | Theory: 4 Hrs. Practical: 28 Hrs. Total: 32 Hrs. | - Solar PVSyst - Laptop - Software’s - (Solar PV syst, PV Sol, Helioscope, PV sketch - Printer | Class Room and workshop |
| LU-3. Prepare Design of Hybrid Solar PV System | - Acquire Complete understanding of Hybrid Solar System - Acquire skills to design Hybrid Solar system | - Explain function of Hybrid Solar System. Practice: - Make a team of 5 students, they design 5 kW Solar PV System Hybrid and they submit report to the In charge. | Theory: 3 Hrs. Practical: 28 Hrs. Total: 31 Hrs. | - Solar PVSyst - Laptop - Software’s - (Solar PV syst, PV Sol, Helioscope, PV sketch - Printer | Class Room and workshop |
| LU-4. Prepare Design of Solar PV System on Software PVSyst, Hilliscope etc. | - Acquire skills to operate Software tools i.e. PVSyst, Hillioscope etc. | - Acquire Skills to Operate Software Tools (PVSyst, Helioscope, etc.) - Purpose of Solar PV Design Software - Acquire Skills to Operate PVSyst - Acquire Skills to Operate Helioscope - Compare and Optimize System Designs - Document and Present Design Outputs Practice - Make analysis of Solar PV System on PVSyst tool/ Helioscope including the step of (Project Setup, System Configuration, Environment and Irradiation Data, Simulation and Optimization, Layout Design) | Theory:03 Practical:46 Total:49 | - Solar PVSyst - Laptop - Software’s - (Solar PV syst, PV Sol, Helioscope, PV sketch - Printer | Class Room and workshop |

# Module 03 – 0713E&E3403: TEST SOLAR PV SYSTEM AS PER DESIGN

Objectives:

After completion of this module, the learner will be able to perform start-up of Solar PV system, to test and to commission Solar PV system.

| Duration: 70 Hours | Practical: 60 Hours | Theory: 10 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform Start-up of Solar PV System | - Acquire skills to perform pre-start-up preparation of Solar PV System - Acquire skills to perform start-up of Solar PV System | - Describe the terms and parameters used for testing and commissioning to start-up process of Solar PV System includes (Inspection of Components, System Check, Safety Protocols) Practice: - Make a group of five student. They perform start-up of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 3 Hrs. Practical: 20 Hrs. Total: 23 Hrs. | - Electrician Tool Kit - PV analyzer - Design software - IV curve Tracer - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager | Class Room and workshop |
| LU-2. Perform Testing of Solar PV System | - Acquire skills to perform pre testing preparation of Solar PV System - Acquire skills to perform testing of Solar PV System | - Elaborate testing process of Solar PV System Practice: - Make a group of five student. They perform testing of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 4 Hrs. Practical: 20 Hrs. Total: 24 Hrs. | - Electrician Tool Kit - Invertors - Battery - Laptop - Solar PV Systems - Personal Protective Equipment (PPE) | Class Room and workshop |
| LU-3. Perform Commissioning of Solar PV System | - Acquire skills to perform pre commissioning preparation of Solar PV System - Acquire skills to perform commissioning of Solar PV System | - Explain difference between testing and commissioning process Practice: - Make a group of five student. They perform testing and commissioning of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 3 Hrs. Practical: 20 Hrs. Total: 23 Hrs. | - Electrician Tool Kit - PV analyzer - Design software - IV curve Tracer - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - Personal Protective Equipment (PPE) | Class Room and workshop |

# Module 04 – 0713E&E3404: CONFIGURE SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to perform parameters setting of solar inverter and to monitor the operation of solar system via software on digital platforms.

| Duration: 25 Hours | Practical: 20 Hours | Theory: 05 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform Parameters setting of Solar Inverter | - Acquire the skills to interpret the parameters of solar inverter - Acquire the skills to change the parameters of solar inverter as per requirement | - Elaborate some important parameters of Inverter and describe their functions. Practice: - Make a group of five student. They perform parameters setting of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 3 Hrs. Practical: 10 Hrs. Total: 13 Hrs. | - Electrician Tool Kit - Invertors - Battery - Laptop | Class Room and workshop |
| LU-2. Monitor the operation via software on digital platforms | - Acquire the skills to interpret the operation of solar inverter - Acquire the skills to monitor the parameters of operation solar pv system | - Elaborate the function of digital software for monitoring of Solar PV System Practice: - Make a group of five student. They perform monitoring of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Electrician Tool Kit Complete - Invertors - Battery - Laptop - Personal Protective Equipment (PPE) | Class Room and workshop |

# Module 05 – 0713E&E3405 – PREPARE COMPLETION/ CONFIGURATION REPORT OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to understand the process of completion of report of Solar PV system including equipment lit, photograph, record, handing over/ taking over process of Complete Solar PV System.

| Duration: 42 Hours | Practical: 34 Hours | Theory: 08 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform preparation of completion report | - Acquire skills to perform pre-report submission preparation - Acquire skills to perform preparation of completion report | - Elaborate stages of preparation of completion report Practice: - Make a group of five student. They prepare completion report of Solar PV System. They submit report to the In-charge. | Theory: 2 Hrs. Practical: 10 Hrs. Total: 12 Hrs. | - Laptop - Software’s - Printer - Invertors - Battery - Laptop | Class Room and workshop |
| LU-2. Enlist each part of equipment installed | - Acquire skills to identify each part of equipment - Acquire skills to enlist each part of equipment installed | - Explain different parts of Solar PV System Practice: - Make a group of five student. They prepare equipment list of Solar PV System. They submit report to the In-charge. | Theory: 2 Hrs. Practical: 7 Hrs. Total: 09 Hrs. |  | Class Room and workshop |
| LU-3. Make photograph of installation for evidence | - Acquire skills to make preparation to take photograph of each part of installation - Acquire skills to make preparation to take photograph of each part of installation | - Identify each component on the bases of function to make photograph of solar PV System Practice: - Make a group of five student. They prepare photo album of equipment for record purpose of Solar PV System. They submit report to the In-charge. | Theory: 2 Hrs. Practical: 7 Hrs. Total: 09 Hrs. | - Laptop - Software’s - Printer - Camera | Class Room and workshop |
| LU-4. Make record of test result | - Acquire skills to make preparation to make record of test result - Acquire skills to make record and document the result of performance and safety test | - Describe the importance of record keeping of solar pv system installation Practice: - Make a group of five student. They prepare record list of Solar PV System. They submit report to the In-charge. | Theory: 1 Hrs. Practical: 5 Hrs. Total: 6 Hrs. | - Laptop - Software’s - Printer | Class Room and workshop |
| LU-5. Perform Handing over/ Taking over Process | - Acquire skills to interpret Handing over/ Taking over Process - Acquire skills to perform Handing over/ taking over process | - Describe Handing over/ taking over process Practice: - Make a group of five student. They prepare record list of Solar PV System. They submit report to the In-charge. | Theory: 1 Hrs. Practical: 5 Hrs. Total: 6 Hrs. | - Laptop - Software’s - Printer | Class Room and workshop |

# Module 06 – 0713E&E3406 – TROUBLESHOOTING OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to identify the nature of faults, to diagnose the faults and rectify the faults in Solar PV System.

| Duration: 80 Hours | Practical: 70 Hours | Theory: 10 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Identify nature of faults | - Acquire the skills for the preparation to identify the nature of faults - Acquire the skills to identify the nature of faults | - Elaborate different types of faults in Solar PV System Practice: - Make a team of five trainees. They identify the nature of faults in Solar PV System. They discuss the issue in group. They prepare a report and submit to the In-charge. | Theory: 3 Hrs. Practical: 20 Hrs. Total: 23 Hrs. | - Electrician Tool Kit - Personal Protective Equipment (PPE) - Invertors - Battery - Laptop - Solar PV System - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-2. Diagnose the faults | - Acquire the skills for the preparation to diagnose the faults. - Acquire the skills to diagnose the faults. | - Elaborate Electrical faults in Solar PV system Practice: - Make a team of five trainees. They diagnose faults in Solar PV System. They discuss the issue in group. They prepare a report and submit to the In-charge. | Theory: 3 Hrs. Practical: 25 Hrs. Total: 28 Hrs. | - Electrician Tool Kit - Personal Protective Equipment (PPE) - Invertors - Battery - Laptop - Solar PV System - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-3. Rectify the faults | - Acquire the skills for the preparation of the rectification of faults. - Acquire the skills for rectification of faults. | - Elaborate different rectification techniques in Solar PV System Practice: - Make a team of five trainees. They rectify faults in Solar PV System. They discuss the issue in group. They prepare a report and submit to the In-charge. | Theory: 4 Hrs. Practical: 25 Hrs. Total: 29 Hrs. | - Electrician Tool Kit - Personal Protective Equipment (PPE) - Invertors - Battery - Laptop - Solar PV System - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |

# Module 07 – 0713E&E3407 - INSPECT SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to perform inspection as per checklist, to perform monitoring during operation, to identify faults and to rectify the faults as per procedure.

| Duration: 73 Hours | Practical: 66 Hours | Theory: 07 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Perform inspection as per checklist | - Acquire skills to interpret checklist of Inspection - Acquire skills to perform inspection as per checklist | - Elaborate the steps of Inspection of Solar PV System Practice: - Make a team of five trainees. They perform inspection of Solar PV System . They prepare the report and submit to the In-charge. | Theory: 2 Hrs. Practical: 14 Hrs. Total: 16 Hrs. | - Electrician Toolkit - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-2. Perform monitoring during operation | - Acquire skills to monitor during operation of Solar PV System | - Elaborate the function of different components of Solar PV System Practice: - Make a team of five trainees. They perform the monitoring of Solar PV System. They prepare a report and submit to the In-charge. | Theory: 2 Hrs. Practical: 15 Hrs. Total:17 Hrs. | - Electrician Toolkit - Digital Clamp- On Meter - PV Tester Meter - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-3. Identify faults | - Acquire skills to identify the faults | - Enlist the types of electrical faults in Solar PV System Practice: - Make a group of five trainees. They identify the faults in Solar PV System. They discuss the faults in group and prepare a report on it. They submit report to In-charge. | Theory: 2 Hrs. Practical: 20 Hrs. Total: 22 Hrs. | - Electrician Toolkit - Solar PV Mounting Structure - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-4. Rectify faults as per procedure | - Acquire the skills to rectify the faults as per procedure | - Elaborate the rectification techniques for Electrical faults in Solar PV System. Practice: - Make a team of five trainees. They perform the task of rectification process in Solar PV System. | Theory: 1 Hrs. Practical: 17 Hrs. Total: 18 Hrs. | - Electrician Toolkit - Clamp Meter - Digital Multimeter - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |

# Module 08 – 0713E&E3408 – PERFORM MAINTENANCE OF SOLAR PV SYSTEM

Objectives:

After completion of this module, the learner will be able to perform maintenance of Solar PV System after Installation. It includes cleaning, monitoring and verification of Solar PV System.

| Duration: 115 Hours | Practical: 100 Hours | Theory: 15 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Clean Solar PV Modules | - Acquire skills to clean Solar PV Modules as per SOP | - Explain the safety precaution before cleaning Solar PV Module - Elaborate the techniques for cleaning solar pv modules Practice: - Make a team of five trainees. They perform the cleaning of solar PV modules. They submit report to the In-charge. | Theory: 4 Hrs. Practical: 25 Hrs. Total: 29 Hrs. | - Electrician tool kit - Cleaning Kit Complete | Class Room and workshop |
| LU-2. Implement monitoring schedule for preventive maintenance | - Acquire skills to interpret monitoring schedule - Acquire skills to Implement monitoring schedule for preventive maintenance | - Elaborate preventive maintenance Practice: - Perform implementation of monitoring schedule for preventive maintenance (Weekly, monthly, Quarterly) | Theory: 4 Hrs. Practical: 25 Hrs. Total: 29 Hrs. | - Electrician tool kit - User manual of solar PV inverter - Clamp-on Meter - AVO Meter - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-3. Perform maintenance of Solar PV system as per schedule | - Acquire skills to perform maintenance of Solar PV System as per schedule | - Elaborate Corrective maintenance - Differentiate between preventive maintenance and corrective maintenance Practice: - Make a team and perform maintenance of solar pv system as per schedule | Theory: 4 Hrs. Practical: 25 Hrs. Total: 29 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |
| LU-4. Check performance of Solar PV System | - Verify the performance of solar pv system as per procedure | - Elaborate functions of different components of solar pv system Practice: - Perform verification of operation of Solar PV System as per SOP | Theory: 3 Hrs. Practical: 25 Hrs. Total: 28 Hrs. | - Electrician tool kit - User manual of solar PV inverter - AVO Meter - Clamp-on Meter - Radiation measuring meter (Solar Irradiance meter) - Pyranometer (For Solar irradiance) - Thermal Infrared Sensor / Imager - IV Curve tracer | Class Room and workshop |

# Module 09 -0713E&E3409 – DEVELOP ENTREPRENEURSHIP SKILLS

Objectives:

After completion of this module, the learner will be able to identify solar pv market and business opportunities, plan solar pv business, set up an enterprise and mange solar pv business.

| Duration: 25 Hours | Practical: 20 Hours | Theory: 5 Hours |
| --- | --- | --- |

| Learning Unit | Learning Outcomes | Learning Elements | Duration | Materials (Tools & Equipment) Required | Learning Place |
| --- | --- | --- | --- | --- | --- |
| LU-1. Identify solar pv market and business opportunities | - Interpret Solar PV Industry Landscape - Analyze market Dynamics - Identify business models - Conduct market research | - Explain the trends in solar pv industry - Enlist the parameters to Prepare a report regarding Identification of solar pv market and business opportunities in (residential, commercial, industrial, utility-scale) Practice: - Prepare a business plan for solar pv market and business opportunities in (residential, commercial, industrial, utility-scale) Such as Market Overview - Target Sector Analysis - Demand Drivers - Technology Adoption - Financial Factors - Regulatory Environment - Business Models - Barriers and Challenges - Opportunities - Competitor and Market Player Analysis - SWOT Analysis - Conclusion & Recommendations | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - SWOT Analysis software - Laptop - Printer | Class Room and workshop |
| LU-2. Plan Solar PV Business | - Interpret fundamentals of Solar PV Business - Perform Market Analysis - Perform Solar PV Business Model - Prepare Solar PV Business Plan | - Explain demand assessment and customer segmentation Practice: - Prepare a business Plan for solar Energy Solutions startup the initial cost of 2 Million | Theory: 1 Hrs. Practical: 6 Hrs. Total: 7 Hrs. | - Feasibility study Template - Laptop - Software’s - Printer | Class Room and workshop |
| LU-3. Setup an Enterprise of Solar PV | - Interpret Solar PV Enterprise Ecosystem - Identify Entrepreneurial opportunities in Solar PV. - Develop Business Plan for Solar PV Enterprise | - Define Solar PV Entrepreneurship - Explain local energy needs and solar potential Practice: Develop a lean canvas or a one-page business plan for a chosen solar PV entrepreneurial opportunity. Outline key components such as: - Key Partners - Key Activities - Value Propositions - Customer Segments - Cost Structure - Revenue Streams | Theory: 1 Hrs. Practical: 4 Hrs. Total: 5 Hrs. | - Business Model Canvas - Laptop - Software’s - Printer | Class Room and workshop |
| LU-4. Manage Solar PV Business | - Interpret Operations of Solar PV Business - Develop Business Strategies - Implement Business Strategies - Manage Financial Resources - Monitor Project Execution | - Explain functions of Business Operation Management. Practice: - Develop a basic operational plan for a hypothetical solar PV business, including steps for project execution, resource allocation, and quality control. - Create a financial projection (e.g., simple income statement or cash flow) for a solar PV project, considering initial investment, operational costs, and potential revenue streams. - Simulate a project monitoring session, identifying key performance indicators (KPIs) for a solar PV installation and discussing strategies for addressing common issues. | Theory: 2 Hrs. Practical: 4 Hrs. Total: 6 Hrs. | - Laptop - Software’s Printer | Class Room and workshop |

# 5. List of Personal Protective Equipment (For A Class of 25 Students)

| Name of Trade |  | Solar PV System Sr. Technician (L-3) |  |
| --- | --- | --- | --- |
| Duration of Course |  | 6 Months |  |
| Sr. # | Description |  | Quantity |
|  | First AID Box |  | - Nos |
|  | Fire Extinguisher (Different Types & standard sizes) |  | 5 Nos |
|  | Fire Blanket |  | 25 Nos |
|  | Fire Bucket |  | 25 Nos |
|  | Safety goggles |  | 25 Nos |
|  | Safety shoes |  | 25 Nos |
|  | Safety Helmet (White + Yellow) |  | (5 + 25) Nos |
|  | Safety Harness |  | - Nos |

- List of Tools & Equipment

| SR. NO | NAME OF TOOL EQUIPMENT’S AND MACHINERY | QTY. REQUIRED |
| --- | --- | --- |
| 1 | AVO Meter | 05 No. |
| 2 | Combination Plier. | 25 No. |
| 3 | Nose plier. | 25 No. |
| 4 | Wire Stripper | 25 No. |
| 5 | Soldering Iron | 05 No. |
| 6 | Set of Screw Drivers (ASTM) | 25 No. |
| 7 | Ring Spanner Set | 02 No. |
| 8 | Tacho Meter-Digital | 05 No. |
| 9 | Earth resistance tester (Digital) | 04 No. |
| 10 | Continuity & Insulation tester | 04 No. |
| 11 | Laser Temperature Gun | 05 No. |
| 12 | Digital Multimeter | 05 No. |
| 13 | Cable Knife Shielder | 25 No. |
| 14 | Phase Sequence Meter | 04 No. |
| 15 | Clamp-On Meter (AC &DC) | 05 No. |
| 16 | Lux Meter | 02 No. |
| 17 | Lugs Punching Machine (Hydraulic and Manual) | 02 No. |
| 18 | Battery Tester | 02 No. |
| 19 | Micro Meter mm | 05 No. |
| 20 | Hydrometer(digital) | 05 No. |
| 21 | Hammer | 10 No. |
| 22 | Battery Charger | 05 No. |
| 23 | Bench Vice | 02 No. |
| 24 | Chisel | 02 No. |
| 25 | Digital Oscilloscope | 01 No. |
| 26 | 3- Phase energy meter (Green Meter) | 02 No. |
| 27 | Energy meter Digital Single Phase | 03 No. |
| 28 | Charge Controller MPPT 100 amp | 05 No. |
| 29 | Solar Hybrid Inverter 4KW MPPT | 02 No. |
| 30 | Solar Hybrid Inverter 10 KW MPPT (Three Phase) | 02 No. |
| 31 | Solar OFF-Grid Inverter 3KW- (Single Phase) | 02 No. |
| 32 | Solar ON-Grid Inverter 10 KW--(Three Phase) | 02 No. |
| 33 | Tall tubular Battery -12 V, 180AH | 02 N0. |
| 34 | Solar PV Module N-Type, Monoficial 585 W | 25 No. |
| 35 | Solar PV Module N-Type Bifacial TOPCON, 585 W | 25 No. |
| 36 | Solar PV Module Mono (P-Type), 585 W | 02 No. |
| 37 | Solar PV Module P-Type Hetro Junction Technology, 585W | 02 No. |
| 38 | Solar PV Module P-Type Back Contact, 585 W | 02 No. |
| 39 | DC power Supply 12-to-24-volt | 05 No. |
| 40 | Solar PV Tester | 05 No. |
| 41 | Voltmeter (Analog & Digital) | 05 No. |
| 42 | Ampere Meter (Analog & Digital) | 05 No. |
| 43 | Watt Meter (Analog & Digital) | 05 No. |
| 44 | VAR Meter | 05 No. |
| 45 | Digital Power Factor Meter | 02 No. |
| 46 | Power Quality Analyzer | 02 No. |
| 47 | Analog Multimeter | 05 No. |
| 48 | Energy meter Digital- Three phase | 05 No. |
| 49 | Spirit Level | 05 No. |
| 50 | Screw Driver Set Cardless (Battery Operated) | 01 No. |
| 51 | Printer Laser | 01 No. |
| 52 | # Computer Dell OptiPlex Tower Plus Intel Core i7 14700 32-GB DDR5 4TB SSD with IPS 2K QHD LED WQHD (2560x1440) IPS 27" LED | 03 No. |
| 53 | Multimedia Projector | 01 No. |
| 54 | Rotary Change Over 4-P 100A | 02 No. |
| 55 | Electronic Relay 0-20Amp | 04 No. |
| 56 | Stop Watch | 02 No. |
| 57 | Laptop 13th Gen Core i7 Processor 32-GB 2TB SSD 4-GB NVIDIA screen size -16 | 02 No. |
| 58 | Operation Monitoring Device (LED Screen or Tablet) | 02 No. |
| 59 | Power Sensor/Zero Export device / Compatible with each brand | 02 No. |
| 60 | Laser Distance Meter | 05 No. |
| 61 | VFD (Variable Frequency Drive)-(Different Brands)-7-11KW -400V | 04 No. |
| 62 | calculator (Scientific) | 02 No. |
| 63 | Photovoltaic Solar Energy Simulator | 02 No. |
| 64 | Compass | 05 No. |
| 65 | Soldering gun | 02 No. |
| 66 | Automatic Solar Panel cleaning equipment | 02 No. |
| 67 | Design software (Solar PV syst, PV Sol, Helioscope, PV sketch)-Registered version | 01 each |
| 68 | Irradiance Meter | 05 No. |
| 69 | Lithium Ion Battery 1-C 48V, 100 AH | 04 No. |
| 69 | Safety Gloves with Niproin Coating | 12 No. |
| 70 | Solar cleaning brush | 02No |

| 71 | Radiation measuring meter (Solar Irradiance meter) | 05 |
| --- | --- | --- |
| 72 | Pyranometer (For Solar irradiance) | 05 |
| 73 | Thermal Infrared Sensor / Imager | 05 |
| 74 | IV Curve tracer | 05 |
| 75 | Thermal Infrared Sensor / Imager | 05 |
| 76 | Compass | 05 |
| 77 | Solar cleaning brush | 02 |
| 78 | Pressure washer for cleaning | 02 |
| 79 | Solar Pathfinder | 02 |
| 80 | Lithium Battery- 48V- 100AH with smart BMS system for all around protection overload, short circuit, over voltage | 02 |
| 81 | Lithium Battery Nominal Capacity-100Ah Nominal Voltage 25.6V | 02 |
| 82 | Lithium Battery-cell -2V 100AH | 24 |
| 83 | Solarimeters | 02 |

- Lit of Consumables

| SR.NO | NAME | QTY. REQUIRED |
| --- | --- | --- |
| 1 | Solder wire. | 500-Gram |
| 2 | Soldering paste | 10 No. |
| 3 | PVC Pipe/ Duct. | 500 ft |
| 4 | PVC clamp. | 3Pkt |
| 5 | PVC board with plate. | 72 No. |
| 6 | Distribution Box-PVC | 10 No. |
| 7 | AC MCB 2P 63A | 06 No. |
| 8 | AC MCB 1P 16A | 10 No. |
| 9 | AC MCB 1P 10A | 10 No. |
| 10 | Rotary Box | 4 No. |
| 11 | DC Wire 4mm XLPE (tinned coated) | 2 coils |
| 12 | DC Wire 6mm XLPE (tinned coated) | 2 coils |
| 13 | DC Wire 10mm XLPE (tinned coated) | 1 coil |
| 14 | DC Wire 25mm XLPE (tinned coated) | 40 ft |
| 15 | Wire 1/0.044 | 2 Coil |
| 16 | Wire 3/0.029 | 5 Coil |
| 17 | Wire 7/0.029 | 2 Coil |
| 18 | Wire 7/0.044 | 1 Coil |
| 19 | Single Core Cable 3/0.029 | 1 Coil |
| 20 | 2 core cable 7/0.029 | 1 Coil |
| 21 | 3 core cable 7/0.029 | 1 Coil |
| 22 | 4 core cable 7/0.064 | 1 Coil |
| 23 | Push Button (2H) | 10 No. |
| 24 | Push Button (3H) | 10 No. |
| 25 | Flexible Pipe 3/4” | 20 ft |
| 26 | Flexible Pipe 1” | 20 ft |
| 27 | Duct Putty 40x40 | 10 No. |
| 28 | Duct Putty 60x60 | 10 No. |
| 29 | Rawal Plug | 100 No. |
| 30 | Panel indicators | 12 No. |
| 31 | Intermediate Switch | 10 No. |
| 32 | Screw 1.5” | 5 boxes |
| 33 | Single pole switch. | 50 No. |
| 34 | Lamp holder | 25 No. |
| 35 | Lamp AC/DC | 25 No. |
| 36 | PVC Connector Strip | 25 No. |
| 37 | Drill bits | 25 No. |
| 38 | Electrical PVC tapes (Multi colors) | 25 No. |
| 39 | Two-way switch | 25 No. |
| 40 | Two pole switches | 25 No. |
| 41 | Junction Box | 25 No. |
| 42 | Photo Copy Paper -A4 | 12 Rims |
| 43 | PVC Cable Ties | 05 Pkt |
| 44 | PVC Elbow -3/4" (Packet -100-No) | 05 Pkt |
| 45 | PVC Saddle -3/4" (Packet -100-No) | 05 Pkt |
| 46 | PVC Distribution Box Casing for breaker | 12 No. |
| 47 | Connector MC-4 1500V (set) | 50 No. |
| 48 | PVC Flexible -2 Core Cable - 40/0.0076 | 3 Coils |
| 49 | Connector/Tumble -6-mm(100nos ) | 1 Pkt |
| 50 | Connector/Tumble -25-mm (100 Nos) | 1 Pkt |
| 51 | Battery Terminals (set) | 24 |
| 52 | Battery Water (Distilled Water) | 05 Bottles |
| 53 | Rawal Bolt with Washers | 50 No. |
| 54 | Lightning Arrester Complete Set (Copper) Medium Size | 03 |
| 55 | PVC Pipe ¾” | 500 ft |
| 56 | Two Pin Socket | 36 No. |
| 57 | Lamp Holder | 36 No. |
| 58 | Junction Box ¾” | 20 No. |
| 59 | PVC Boards 4”x4” | 60 No. |
| 60 | DC MCB 2P 63A & 125A | 10 No. |
| 61 | AC MCCB 3P 40A | 10 No. |
| 62 | DC SPD 2P 40KA 1500V & 1000V | 10 No. |
| 63 | AC SPD 2P 40KA 500V | 10 No. |
| 64 | AC SPD 4P 40KA 1000V | 10 No. |
| 65 | V+A Protector 2P 80A | 5 No. |
| 66 | Magnetic Contactors 2+2 | 20 No. |
| 67 | Phase Failure Relay | 5 No. |
| 68 | Drawing Charts | 200 No. |
| 69 | Exercise Board (800x1200 mm) | 25 No. |
| 70 | Cable (4-core) 10-mm | 01 coil |

# Members of Qualification Development Committee

The Qualifications Development Committee consisted of the following members:

| Sr. No. | Name | Designation | Organization |
| --- | --- | --- | --- |
| 1. | Engr. Muhammad Wameq Ayaz | DACUM Facilitator, | KP-TEVTA |
| 2. | Dr. Syed Iftikhar Hussain Shah | Co-DACUM Facilitator -Additional Director General | (TEVTA Punjab) |
| 3. | Engr. Dr. Waqas Abdul Salaam | Assistant Director, | Govt. Centre of Excellence (GSTC) Mughal Pura Lahore |
| 4. | Engr. Mr. Muhammad Saeed | Sr. Instructor Electrical | GTTI Gulberg Lahore |
| 5. | Mr. Muhammad Rehan Qureshi | Sr. Instructor Electrical | GTTI Gulberg Lahore |
| 6. | Engr.Junaid khalid | Sr.Instructor TEVTA | MIDC IST Sialkot |
| 7. | Engr.Sajjad Ali Khan | Lecturer (Solar Energy) | KP TEVTA GCT Tangi Charsadda |
| 8. | Engr.Dilshad Khan | Lecturer (Electrical) | KP TEVTA GPI Sardar Garhi |
| 9. | Irfan Ali | Trade Instructor | GBPI (G-B) |
| 10. | Imtiaz Ahmed | HOD (Electrical) | GPI Skardu |
| 11 | Khalid Iqbal Khan | Assistant Manger | PLEC MOIP |