Assessors Judgment Guide

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | - Construct power supply - Install and maintain Batteries - Install PDU,SPD,ATS and circuit breakers - Install and maintain diesel generator - Preventive maintenance of telecom power system |
| Candidate Details | Name:______________________________________________ Registration/Roll Number: ________________________ Signature: ____________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________ Assessor’s code:___________________ Signature:__________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Install Auto Transfer Switch (ATS) - Install Circuit Breaker |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | - Install Auto Transfer Switch (ATS) |  |  |  |  |  |
|  | - Install/Mount the ATS panel at the specific place mention in given site plan. |  |  |  |  |  |
|  | - Install Magnetic contactors, Relays, Phase Missing Relays |  |  |  |  |  |
|  | - Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. |  |  |  |  |  |
|  | - Install Circuit Breaker |  |  |  |  |  |
|  | - Determine Where to Install the Circuit Breaker |  |  |  |  |  |
|  | - TURN OFF THE MAIN Supply. |  |  |  |  |  |
|  | - Remove the panel cover. |  |  |  |  |  |
|  | - Remove old circuit breaker. |  |  |  |  |  |
|  | - Connect the MCB (Miniature circuit Breaker). |  |  |  |  |  |
|  | - CONNECT THE input and output wire with circuit breaker. |  |  |  |  |  |
|  | - Put the panel cover on. |  |  |  |  |  |
|  | - Turn ON the main power. |  |  |  |  |  |
|  | - Test the Installation. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | - Construct power supply - Install and maintain Batteries - Install PDU,SPD,ATS and circuit breakers - Install and maintain diesel generator - Preventive maintenance of telecom power system |
| Candidate Details | Name:_______________________________________________________________________ Registration/Roll Number: __________________ Candidate Signature:__________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor:__________________________ Assessor’s code:_________________ Signature of the Assessor:_______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What is PDU In Telecom/ Power Electronics |  |  |
|  | What is Circuit Braker power Rating |  |  |
|  | What is SPD in Telecom/ Electronics |  |  |
|  | What is DP in Electronics |  |  |

Feedback to the Candidate

Candidate’s Signature________________________ Assessor’s Signature _________________________

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant (Telecom) Level-5 |
| Competency Standards | - Construct power supply - Install and maintain Batteries - Install PDU,SPD,ATS and circuit breakers - Install and maintain diesel generator - Preventive maintenance of telecom power system |
| Assessment Task | - Install Auto Transfer Switch (ATS) - Install Circuit Breaker |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Install Auto Transfer Switch (ATS) |  |  |
| - Install/Mount the ATS panel at the specific place mention in given site plan. |  |  |
| - Install Magnetic contactors, Relays, Phase Missing Relays |  |  |
| - Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. |  |  |
| - Install Circuit Breakers |  |  |
| - Determine Where to Install the Circuit Breaker |  |  |
| - TURN OFF THE MAIN Supply. |  |  |
| - Remove the panel cover. |  |  |
| - Remove old circuit breaker. |  |  |
| - Connect the MCB (Miniature circuit Breaker). |  |  |
| - CONNECT THE input and output wire with circuit breaker. |  |  |
| - Put the panel cover on. |  |  |
| - Turn ON the main power. |  |  |
| - Test the Installation. |  |  |

Candidate’s Signature___________________		Assessor’s Signature_____________________

Date: ________________________________

Instruction Sheet for the Candidate

| Qualification | National Diploma Level-5 in Telecommunication Technology National vocational certificate of Power Plant (Telecom) Level-5 |
| --- | --- |
| Competency Standard(s) | - Construct power supply - Install and maintain Batteries - Install PDU,SPD,ATS and circuit breakers - Install and maintain diesel generator - Preventive maintenance of telecom power system |
| Purpose of Assessment |  |

| Candidate Details | Name________________________________________________________ Registration/Roll Number_____________________________________________ |
| --- | --- |
| Guidance for Candidate | To meet this standard you are required to complete the following within the given time frame (for practical demonstration & assessment): - Install Auto Transfer Switch (ATS) - Install Circuit Breaker |
| Time: 04 hrs | During a practical assessment, under observation by an assessor, you are required to - Install Auto Transfer Switch (ATS) - Install/Mount the ATS panel at the specific place mention in given site plan. - Install Magnetic contactors, Relays, Phase Missing Relays - Connect Available Main AC Supply, Diesel Generator and Rectifier system with ATS. - Install Circuit Breaker - Determine Where to Install the Circuit Breaker - TURN OFF THE MAIN Supply. - Remove the panel cover. - Remove old circuit breaker. - Connect the MCB (Miniature circuit Breaker). - CONNECT THE input and output wire with circuit breaker. - Put the panel cover on. - Turn ON the main power. - Test the Installation. |
| Minimum Evidence Required |  |

Integrated Approach of Assessment

Following are the competencies in the qualification of Power Plant.  You are required to design the assessment task(s) by following integrated approach and clustering of competencies:

TASK(S):

- Install Auto Transfer Switch (ATS)

- Install Circuit Breaker

__________________________________________________________________________________

| Tools and Equipment |  |
| --- | --- |
| - Trainer - Connecting wire. - Transformers - Trainer - Battery lifting equipment - Full face shield. - Complete Tool kit of screws and wrenches. - Complete Electrical Toolkit - Torque wrench calibrated in inch-pounds, insulated. - Insulated Shoes | - Complete Electrical Tools kit. - Earth Tester. - RLC Meter - Digital Multi Meter - Digital Oscilloscope - Power Supply - Impedance Meter - Clamp Meter - Rubber gloves - Safety Helmet |