|  | Assessment Evidence Guide For Transformer Technician Level 4 Formative Assessment 0713E&E4301 Maintain Safe Working Environment of Transformer |
| --- | --- |
|  | Date: 29thSeptember – 03rdOctober 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4301 Maintain Safe Working Environment of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Identify hazards in the transformer work area. - Assess and categorize associated risks. - Implement corrective and risk-mitigation measures. - Apply required safety protocols (PPE, LOTO, site rules). - Inspect and maintain safety signage and symbols. - Prepare and complete required safety reports and documentation." Activity: Candidate is tasked inspect the transformer workplace to identify hazards, categorize risks, and apply suitable safety control measures. They will follow safety procedures, use personal protective equipment, check and maintain safety signage, and monitor working conditions to prevent accidents. The candidate will report unsafe situations, take corrective actions, and prepare basic safety documentation. Finally, they will explain how their actions help maintain a safe working environment around the transformer. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Identify workplace hazards. - Assess and categorize risks. - Implement appropriate risk-control measures. - Participate in safety drills and T&P parades. - Comply with safety regulations and procedures. - Use and maintain safety signage, symbols, codes, and colors. - Compile standard-compliant safety reports" |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Transformer Technician Level 4 |
| Competency Standard | 0713E&E4301 Maintain Safe Working Environment of Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Identify hazards in the transformer work area. - Assess and categorize associated risks. - Implement corrective and risk-mitigation measures. - Apply required safety protocols (PPE, LOTO, site rules). - Inspect and maintain safety signage and symbols. - Prepare and complete required safety reports and documentation." Activity: Candidate is tasked inspect the transformer workplace to identify hazards, categorize risks, and apply suitable safety control measures. They will follow safety procedures, use personal protective equipment, check and maintain safety signage, and monitor working conditions to prevent accidents. The candidate will report unsafe situations, take corrective actions, and prepare basic safety documentation. Finally, they will explain how their actions help maintain a safe working environment around the transformer. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check the workplace environment for unsafe conditions. |  |  |
| - Identify hazards and assess/categorize risks. |  |  |
| - Communicate risk assessment outcomes to relevant personnel. |  |  |
| - Apply the hierarchy of controls and isolate circuits using LOTO. |  |  |
| - Install barriers, guards, and safety devices. |  |  |
| - Ensure correct use of PPE/SPs. |  |  |
| - Conduct safety drills and T&P parades. |  |  |
| - Verify compliance with safety protocols and SOPs. |  |  |
| - Record safety violations and maintain compliance records. |  |  |
| - Place and update safety signage according to standards and layout changes. |  |  |
| - Prepare accurate reports and maintain logs of inspections, incidents, and corrective actions. |  |  |
| - Submit reports on time and ensure documentation meets audit/regulatory requirements. |  |  |
| - Keep records secure and retrievable." |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4301 Maintain Safe Working Environment of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Identify hazards in the transformer work area. - Assess and categorize associated risks. - Implement corrective and risk-mitigation measures. - Apply required safety protocols (PPE, LOTO, site rules). - Inspect and maintain safety signage and symbols. - Prepare and complete required safety reports and documentation." Activity:1 Candidate is tasked inspect the transformer workplace to identify hazards, categorize risks, and apply suitable safety control measures. They will follow safety procedures, use personal protective equipment, check and maintain safety signage, and monitor working conditions to prevent accidents. The candidate will report unsafe situations, take corrective actions, and prepare basic safety documentation. Finally, they will explain how their actions help maintain a safe working environment around the transformer. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check the workplace environment for unsafe conditions. |  |  |  |  |  |
|  | Identify hazards and assess/categorize risks. |  |  |  |  |  |
|  | Communicate risk assessment outcomes to relevant personnel. |  |  |  |  |  |
|  | Apply the hierarchy of controls and isolate circuits using LOTO. |  |  |  |  |  |
|  | Install barriers, guards, and safety devices. |  |  |  |  |  |
|  | Ensure correct use of PPE/SPs. |  |  |  |  |  |
|  | Conduct safety drills and T&P parades. |  |  |  |  |  |
|  | Verify compliance with safety protocols and SOPs. |  |  |  |  |  |
|  | Record safety violations and maintain compliance records. |  |  |  |  |  |
|  | Place and update safety signage according to standards and layout changes. |  |  |  |  |  |
|  | Prepare accurate reports and maintain logs of inspections, incidents, and corrective actions. |  |  |  |  |  |
|  | Submit reports on time and ensure documentation meets audit/regulatory requirements. |  |  |  |  |  |
|  | Keep records secure and retrievable." |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4301 Maintain Safe Working Environment of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What tool is commonly used to detect hot spots that may indicate hidden transformer hazards? |  |  |
|  |  | Which factor determines the severity level of an oil leak—rate of leakage or oil colour? |  |  |
|  |  | What type of hazard (electrical, mechanical, or environmental) is prioritized first in a substation? |  |  |
|  |  | Which planning document should be updated after completing a risk assessment? |  |  |
|  |  | What is the first step in the isolation procedure for a transformer? |  |  |
|  |  | What PPE item is mandatory when working near high-voltage transformers? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |