|  | Assessment Evidence Guide For Transformer Technician Level 4 Formative Assessment 0713E&E4302 Perform Installation and Commissioning of Transformer |
| --- | --- |
|  | Date: 29thSeptember – 03rdOctober 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4302 Perform Installation and Commissioning of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Interpret drawings & specifications of given transformer - Perform all tests of given transformer correctly - Check and verify the site readiness - Make connections with correct phase sequence & polarity - Install transformer with grounding - Safely energize transformer and complete documentation Activity: The candidate will individually study the transformer drawings and specifications to understand installation requirements. They will prepare the site, position and install the transformer correctly, and connect electrical and grounding systems according to standards. Next, the candidate will carry out commissioning tests, check insulation, polarity, and connections, and ensure all safety conditions are met. After verification, they will safely energize the transformer and monitor its initial operation. Finally, the candidate will record test results, installation details, and commissioning data in the required reports. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Interpret transformer drawings and specifications - Verify site and equipment readiness - Install and aligned transformer with grounding - Conduct pre-commissioning checks and tests - Connect electrical terminals and auxiliaries - Energize transformer safely and monitored parameters |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Transformer Technician Level 4 |
| Competency Standard | 0713E&E4302 Perform Installation and Commissioning of Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Interpret drawings & specifications of given transformer - Perform all tests of given transformer correctly - Check and verify the site readiness - Make connections with correct phase sequence & polarity - Install transformer with grounding - Safely energize transformer and complete documentation Activity: The candidate will individually study the transformer drawings and specifications to understand installation requirements. They will prepare the site, position and install the transformer correctly, and connect electrical and grounding systems according to standards. Next, the candidate will carry out commissioning tests, check insulation, polarity, and connections, and ensure all safety conditions are met. After verification, they will safely energize the transformer and monitor its initial operation. Finally, the candidate will record test results, installation details, and commissioning data in the required reports. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify various types of transformer drawings and symbols |  |  |
| - Interpret electrical and mechanical specifications of transformers |  |  |
| - Verify ratings, configurations, and installation requirements as per manufacturer’s documentation |  |  |
| - Verify site conditions with transformer design parameter |  |  |
| - Prepare installation site and readiness. |  |  |
| - Perform correct alignment and positioning of the transformer. |  |  |
| - Secure mechanical fittings and structural supports. |  |  |
| - Perform grounding of the transformer as per standard requirements. |  |  |
| - Connect auxiliary components including cooling fans, protection relays. |  |  |
| - Implement physical clearances and ventilation as per safety guidelines |  |  |
| - Conduct pre-commissioning checks including insulation, oil level, tap changer position, leaks, breather, gaskets |  |  |
| - Conduct key mechanical functional tests, including the cooling system, Buchholz relay, temperature indicators, oil level indicators, and pressure relief valve |  |  |
| - Conduct key electrical tests, including Insulation Resistance Test, Transformer Turns Ratio (TTR) Test, Capacitance and Dissipation Factor (C&DF) Test, Dissolved Gas Analysis (DGA), Open Circuit Test, and Short Circuit Test |  |  |
| - Evaluate test results against manufacturers and industry standards |  |  |
| - Comply with commissioning procedures and safety protocols |  |  |
| - Perform final safety checks before energizing. |  |  |
| - Coordinate with relevant departments for synchronization. |  |  |
| - Energize the transformer following standard procedures. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4302 Perform Installation and Commissioning of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Interpret drawings & specifications of given transformer - Perform all tests of given transformer correctly - Check and verify the site readiness - Make connections with correct phase sequence & polarity - Install transformer with grounding - Safely energize transformer and complete documentation Activity:1 The candidate will individually study the transformer drawings and specifications to understand installation requirements. They will prepare the site, position and install the transformer correctly, and connect electrical and grounding systems according to standards. Next, the candidate will carry out commissioning tests, check insulation, polarity, and connections, and ensure all safety conditions are met. After verification, they will safely energize the transformer and monitor its initial operation. Finally, the candidate will record test results, installation details, and commissioning data in the required reports. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identify various types of transformer drawings and symbols |  |  |  |  |  |
|  | Interpret electrical and mechanical specifications of transformers |  |  |  |  |  |
|  | Verify ratings, configurations, and installation requirements as per manufacturer’s documentation |  |  |  |  |  |
|  | Verify site conditions with transformer design parameter |  |  |  |  |  |
|  | Prepare installation site and readiness. |  |  |  |  |  |
|  | Perform correct alignment and positioning of the transformer. |  |  |  |  |  |
|  | Secure mechanical fittings and structural supports. |  |  |  |  |  |
|  | Perform grounding of the transformer as per standard requirements. |  |  |  |  |  |
|  | Connect auxiliary components including cooling fans, protection relays. |  |  |  |  |  |
|  | Implement physical clearances and ventilation as per safety guidelines |  |  |  |  |  |
|  | Conduct pre-commissioning checks including insulation, oil level, tap changer position, leaks, breather, gaskets |  |  |  |  |  |
|  | Conduct key mechanical functional tests, including the cooling system, Buchholz relay, temperature indicators, oil level indicators, and pressure relief valve |  |  |  |  |  |
|  | Conduct key electrical tests, including Insulation Resistance Test, Transformer Turns Ratio (TTR) Test, Capacitance and Dissipation Factor (C&DF) Test, Dissolved Gas Analysis (DGA), Open Circuit Test, and Short Circuit Test |  |  |  |  |  |
|  | Evaluate test results against manufacturers and industry standards |  |  |  |  |  |
|  | Comply with commissioning procedures and safety protocols |  |  |  |  |  |
|  | Perform final safety checks before energizing. |  |  |  |  |  |
|  | Coordinate with relevant departments for synchronization. |  |  |  |  |  |
|  | Energize the transformer following standard procedures. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4302 Perform Installation and Commissioning of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | Define a transformer and name its main components. |  |  |
|  |  | Draw or explain any three common electrical symbols used in transformer drawings. |  |  |
|  |  | Define “standard testing protocol” for transformers. |  |  |
|  |  | List common tests performed during transformer commissioning. |  |  |
|  |  | List four types of documentation needed during transformer installation and commissioning. |  |  |
|  |  | What is the purpose of bonding in a transformer installation? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |