|  | Assessment Evidence Guide For Transformer Technician Level 4 Formative Assessment 0713E&E4303 Perform Preventive Maintenance of Transformer |
| --- | --- |
|  | Date: 29thSeptember – 03rdOctober 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4303 Perform Preventive Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Perform visual inspection of transformer - Plan schedule for the preventive maintenance - Conduct the preventive maintenance - Analyze the preventive maintenance results - Document the reports Activity: The candidate will individually carry out a visual inspection of the transformer to identify signs of damage, leakage, overheating, or loose connections. They will prepare a basic preventive maintenance schedule based on manufacturer guidelines and workplace procedures. Next, the candidate will perform routine maintenance tasks such as cleaning, tightening connections, checking oil levels, and inspecting insulation. They will analyze the maintenance findings to assess the condition and performance of the transformer. Finally, the candidate will record all inspection results, maintenance activities, and observations in the required maintenance reports. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Differentiate between critical and non-critical defects of transformer - Tightening of connections and inspection of earthing - Performance of basic electrical tests - Restoration of system, safe disposal of materials, and site housekeeping - Completion of Maintenance records and effective communication of findings." |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Transformer Technician Level 4 |
| Competency Standard | 0713E&E4303 Perform Preventive Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Perform visual inspection of transformer - Plan schedule for the preventive maintenance - Conduct the preventive maintenance - Analyze the preventive maintenance results - Document the reports Activity: The candidate will individually carry out a visual inspection of the transformer to identify signs of damage, leakage, overheating, or loose connections. They will prepare a basic preventive maintenance schedule based on manufacturer guidelines and workplace procedures. Next, the candidate will perform routine maintenance tasks such as cleaning, tightening connections, checking oil levels, and inspecting insulation. They will analyze the maintenance findings to assess the condition and performance of the transformer. Finally, the candidate will record all inspection results, maintenance activities, and observations in the required maintenance reports. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Check tank, conservator and joints for oil leaks or rust |  |  |
| - Verify oil level and gauges |  |  |
| - Inspect bushing for cracks, damage and leakage |  |  |
| - Examine cooling system for cleanliness/operation |  |  |
| - Check breather and silica gel conditions |  |  |
| - Verify grounding connections |  |  |
| - Inspect for unusual noise, vibration, smell and hot spots |  |  |
| - Prepare plan for preventive maintenance and submit to concerned authority |  |  |
| - Obtain final approval before execution |  |  |
| - Coordinate timing with operations and maintenance team |  |  |
| - Get permit to work (PTW) |  |  |
| - De-energize the transformer |  |  |
| - Connect grounding for safety purpose |  |  |
| - Perform tightening of joints, repair leaks, clean and repair rust |  |  |
| - Perform refilling of oil, take sample of oil for testing and repair Gauges |  |  |
| - Clean, tighten replace bushings if cracked/damaged |  |  |
| - Clean radiator, service/replace fans & pumps |  |  |
| - Replace silica gel, clean/replace breather |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4303 Perform Preventive Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Perform visual inspection of transformer - Plan schedule for the preventive maintenance - Conduct the preventive maintenance - Analyze the preventive maintenance results - Document the reports Activity:1 The candidate will individually carry out a visual inspection of the transformer to identify signs of damage, leakage, overheating, or loose connections. They will prepare a basic preventive maintenance schedule based on manufacturer guidelines and workplace procedures. Next, the candidate will perform routine maintenance tasks such as cleaning, tightening connections, checking oil levels, and inspecting insulation. They will analyze the maintenance findings to assess the condition and performance of the transformer. Finally, the candidate will record all inspection results, maintenance activities, and observations in the required maintenance reports. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Check tank, conservator and joints for oil leaks or rust |  |  |  |  |  |
|  | Verify oil level and gauges |  |  |  |  |  |
|  | Inspect bushing for cracks, damage and leakage |  |  |  |  |  |
|  | Examine cooling system for cleanliness/operation |  |  |  |  |  |
|  | Check breather and silica gel conditions |  |  |  |  |  |
|  | Verify grounding connections |  |  |  |  |  |
|  | Inspect for unusual noise, vibration, smell and hot spots |  |  |  |  |  |
|  | Prepare plan for preventive maintenance and submit to concerned authority |  |  |  |  |  |
|  | Obtain final approval before execution |  |  |  |  |  |
|  | Coordinate timing with operations and maintenance team |  |  |  |  |  |
|  | Get permit to work (PTW) |  |  |  |  |  |
|  | De-energize the transformer |  |  |  |  |  |
|  | Connect grounding for safety purpose |  |  |  |  |  |
|  | Perform tightening of joints, repair leaks, clean and repair rust |  |  |  |  |  |
|  | Perform refilling of oil, take sample of oil for testing and repair Gauges |  |  |  |  |  |
|  | Clean, tighten replace bushings if cracked/damaged |  |  |  |  |  |
|  | Clean radiator, service/replace fans & pumps |  |  |  |  |  |
|  | Replace silica gel, clean/replace breather |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4303 Perform Preventive Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | State the main purpose of preventive maintenance for electrical equipment. |  |  |
|  |  | Give one common visual defect that may appear on a transformer tank. |  |  |
|  |  | Identify the factor that increases maintenance frequency in harsh environments. |  |  |
|  |  | Identify one sign of a failing transformer pump. |  |  |
|  |  | Identify the component that allows transformer oil to expand and contract. |  |  |
|  |  | Identify one common defect caused by moisture in transformer oil. |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |