|  | Assessment Evidence Guide For Transformer Technician Level 4 Formative Assessment 0713E&E4304 Perform Corrective Maintenance of Transformer |
| --- | --- |
|  | Date: 29thSeptember – 03rdOctober 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4304 Perform Corrective Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Isolate the Transformer - Perform Troubleshooting - Categorize the Nature of Faults - Carry Out Alternate Arrangements for Smooth Power Supply - Repair/Replace Faulty Component - Document the Reports Activity: The candidate will individually isolate the transformer by following approved safety and lockout–tagout procedures. They will then troubleshoot the system to identify faults and classify the nature of the problem, such as electrical, mechanical, or insulation-related issues. Based on the findings, the candidate will arrange temporary or alternate power supply to ensure continuity of service. Next, they will repair or replace the faulty components using proper tools and standard practices. After restoring the system, the candidate will test the transformer for safe operation. Finally, they will document the fault details, corrective actions taken, and test results in the required maintenance reports. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Safely isolate the transformer following LOTO procedures and confirm isolation. - Able to use appropriate diagnostic tools to identify faults. - Categorize the fault nature. - Disassemble and assemble transformer and repair/replace faulty components using standard procedures. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Transformer Technician Level 4 |
| Competency Standard | 0713E&E4304 Perform Corrective Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Isolate the Transformer - Perform Troubleshooting - Categorize the Nature of Faults - Carry Out Alternate Arrangements for Smooth Power Supply - Repair/Replace Faulty Component - Document the Reports Activity: The candidate will individually isolate the transformer by following approved safety and lockout–tagout procedures. They will then troubleshoot the system to identify faults and classify the nature of the problem, such as electrical, mechanical, or insulation-related issues. Based on the findings, the candidate will arrange temporary or alternate power supply to ensure continuity of service. Next, they will repair or replace the faulty components using proper tools and standard practices. After restoring the system, the candidate will test the transformer for safe operation. Finally, they will document the fault details, corrective actions taken, and test results in the required maintenance reports. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Wear the required PPEs. |  |  |
| - Isolate transformers from supply safely. |  |  |
| - Ensure grounding and discharge residual charge. |  |  |
| - Place warning signage and lock-out/tag-out (LOTO) at isolation points. |  |  |
| - Verify isolation using a line tester. |  |  |
| - Confirm with the supervisor before proceeding. |  |  |
| - Carry out visual inspection of the transformer. |  |  |
| - Identify common symptoms such as noise, overheating and abnormal readings. |  |  |
| - Apply diagnostic tools such as multimeter, Megger and thermal scanner. |  |  |
| - Perform tests to diagnose the faults. |  |  |
| - Analyze test results to locate the fault. |  |  |
| - Record preliminary fault observations. |  |  |
| - Compare results with the manufacturer’s standard values. |  |  |
| - Identify the nature of faults. |  |  |
| - Assess the severity of the faults. |  |  |
| - Evaluate cost and downtime implications of the fault. |  |  |
| - Record the data. |  |  |
| - Provide temporary power backup such as DG set or alternate transformer. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4304 Perform Corrective Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Isolate the Transformer - Perform Troubleshooting - Categorize the Nature of Faults - Carry Out Alternate Arrangements for Smooth Power Supply - Repair/Replace Faulty Component - Document the Reports Activity:1 The candidate will individually isolate the transformer by following approved safety and lockout–tagout procedures. They will then troubleshoot the system to identify faults and classify the nature of the problem, such as electrical, mechanical, or insulation-related issues. Based on the findings, the candidate will arrange temporary or alternate power supply to ensure continuity of service. Next, they will repair or replace the faulty components using proper tools and standard practices. After restoring the system, the candidate will test the transformer for safe operation. Finally, they will document the fault details, corrective actions taken, and test results in the required maintenance reports. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Wear the required PPEs. |  |  |  |  |  |
|  | Isolate transformers from supply safely. |  |  |  |  |  |
|  | Ensure grounding and discharge residual charge. |  |  |  |  |  |
|  | Place warning signage and lock-out/tag-out (LOTO) at isolation points. |  |  |  |  |  |
|  | Verify isolation using a line tester. |  |  |  |  |  |
|  | Confirm with the supervisor before proceeding. |  |  |  |  |  |
|  | Carry out visual inspection of the transformer. |  |  |  |  |  |
|  | Identify common symptoms such as noise, overheating and abnormal readings. |  |  |  |  |  |
|  | Apply diagnostic tools such as multimeter, Megger and thermal scanner. |  |  |  |  |  |
|  | Perform tests to diagnose the faults. |  |  |  |  |  |
|  | Analyze test results to locate the fault. |  |  |  |  |  |
|  | Record preliminary fault observations. |  |  |  |  |  |
|  | Compare results with the manufacturer’s standard values. |  |  |  |  |  |
|  | Identify the nature of faults. |  |  |  |  |  |
|  | Assess the severity of the faults. |  |  |  |  |  |
|  | Evaluate cost and downtime implications of the fault. |  |  |  |  |  |
|  | Record the data. |  |  |  |  |  |
|  | Provide temporary power backup such as DG set or alternate transformer. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4304 Perform Corrective Maintenance of Transformer |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What type of maintenance is performed to fix a fault after it occurs? |  |  |
|  |  | What instrument is used to test for absence of voltage? |  |  |
|  |  | What document should be checked to ensure correct repair steps are followed? |  |  |
|  |  | What must be applied to the transformer after isolation to discharge stored energy? |  |  |
|  |  | What type of record book is used to document maintenance activities? |  |  |
|  |  | What maintenance record system helps with digital tracking of work history? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |