|  | Assessment Evidence Guide For Transformer Technician Level 4 Formative Assessment 0713E&E4305 Perform Transformer Winding Operation |
| --- | --- |
|  | Date: 29thSeptember – 03rdOctober 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4305 Perform Transformer Winding Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name______________________________________________________ Registration/Roll Number_______________________________________ |
| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 Hrs. time frame (for practical demonstration & assessment): - Dis-assemble the transformer - Interpret Winding Drawings & Specifications - Perform winding operation - Perform reassembling of transformer - Perform Post- Winding Testing for smooth functioning - Re-install and energize the transformer Activity: The candidate is required to Perform Transformer Winding Operation as per SOP through selection of winding materials, Proper setup of winding machine, making transformer coils with correct number of turns and Leads, tapping points, terminations applied securely as per design and performing post winding tests. |
| Time: 4 Hrs. | During a practical assessment, under observation by an assessor, you are required to |
| Minimum Evidence Required | - Correct selection of winding materials. - Proper setup of winding machine. - Wind coils with correct number of turns. - Leads, tapping points, and terminations applied securely as per design. |

Self-Assessment Checklist

| Candidate Name |  |
| --- | --- |
| Registration No. |  |
| Qualification | Transformer Technician Level 4 |
| Competency Standard | 0713E&E4305 Perform Transformer Winding Operation |
| Purpose of Assessment | Formative Assessment |
| Assessment Task | - Dis-assemble the transformer - Interpret Winding Drawings & Specifications - Perform winding operation - Perform reassembling of transformer - Perform Post- Winding Testing for smooth functioning - Re-install and energize the transformer Activity: The candidate is required to Perform Transformer Winding Operation as per SOP through selection of winding materials, Proper setup of winding machine, making transformer coils with correct number of turns and Leads, tapping points, terminations applied securely as per design and performing post winding tests. |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Assess the condition of transformer |  |  |
| - Drain transformer oil |  |  |
| - Dis-assemble the component of the transformer |  |  |
| - Label and document parts for proper re-assembly and record- keeping. |  |  |
| - Check transformer type, rating, and winding configuration from drawings. |  |  |
| - Identify number of turns, wire gauge, layering, insulation type with clearances, tapping points as per specifications. |  |  |
| - Interpret winding direction and coil arrangement accurately. |  |  |
| - Check all data before starting winding to avoid errors during operation. |  |  |
| - Prepare and setup the transformer |  |  |
| - Allocate requisite material for transformer |  |  |
| - Set up winding machine or jig with correct tension, guides, and alignment. |  |  |
| - Anchor conductor securely before starting winding |  |  |
| - Perform winding operation while maintaining correct tension and alignment |  |  |
| - Apply interlayer insulation and spacers where required. |  |  |
| - Label winding clearly as per phase sequence. |  |  |
| - Ensure number of turns and layers meet design specifications. |  |  |
| - Avoid overlaps, loose turns, or damaged conductors during winding. |  |  |
| - Tie, tape, or secure winding according to standard practices. |  |  |

Candidate’s Signature__________________ Assessor’s Signature____________________

Date: _______________________________

Assessors Judgment Guide

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4305 Perform Transformer Winding Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: _____________________________________________________ Registration/Roll Number_________________ Signature: ______________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor____________________________________ Assessor’s code: _____________________________________________ Signature: ________________________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Observation Checklist

| Assessment Task |  | - Dis-assemble the transformer - Interpret Winding Drawings & Specifications - Perform winding operation - Perform reassembling of transformer - Perform Post- Winding Testing for smooth functioning - Re-install and energize the transformer Activity:1 The candidate is required to Perform Transformer Winding Operation as per SOP through selection of winding materials, Proper setup of winding machine, making transformer coils with correct number of turns and Leads, tapping points, terminations applied securely as per design and performing post winding tests. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Assess the condition of transformer |  |  |  |  |  |
|  | Drain transformer oil |  |  |  |  |  |
|  | Dis-assemble the component of the transformer |  |  |  |  |  |
|  | Label and document parts for proper re-assembly and record- keeping. |  |  |  |  |  |
|  | Check transformer type, rating, and winding configuration from drawings. |  |  |  |  |  |
|  | Identify number of turns, wire gauge, layering, insulation type with clearances, tapping points as per specifications. |  |  |  |  |  |
|  | Interpret winding direction and coil arrangement accurately. |  |  |  |  |  |
|  | Check all data before starting winding to avoid errors during operation. |  |  |  |  |  |
|  | Prepare and setup the transformer |  |  |  |  |  |
|  | Allocate requisite material for transformer |  |  |  |  |  |
|  | Set up winding machine or jig with correct tension, guides, and alignment. |  |  |  |  |  |
|  | Anchor conductor securely before starting winding |  |  |  |  |  |
|  | Perform winding operation while maintaining correct tension and alignment |  |  |  |  |  |
|  | Apply interlayer insulation and spacers where required. |  |  |  |  |  |
|  | Label winding clearly as per phase sequence. |  |  |  |  |  |
|  | Ensure number of turns and layers meet design specifications. |  |  |  |  |  |
|  | Avoid overlaps, loose turns, or damaged conductors during winding. |  |  |  |  |  |
|  | Tie, tape, or secure winding according to standard practices. |  |  |  |  |  |
| Competent |  |  | Not Yet Competent |  |  |  |

Knowledge Assessment

| Qualification | Transformer Technician Level 4 |
| --- | --- |
| Competency Standard | 0713E&E4305 Perform Transformer Winding Operation |
| Purpose of Assessment | Formative Assessment |
| Candidate Details | Name: ______________________________________________________ Registration/Roll Number: ______________ Candidate Signature: _____ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor: ________________________________ Assessor’s code: __________ Signature of the Assessor: ______________________ |

Candidate’s response is not required to be identical, but similar concepts and/or keywords must be used. Oral questioning may be used to clarify candidate understanding of topic and its application.

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- | --- |
|  |  | What is the purpose of transformer windings? |  |  |
|  |  | What material is commonly used for transformer winding wire? |  |  |
|  |  | What does a winding machine help achieve? |  |  |
|  |  | Name one common material used for interlayer insulation. |  |  |
|  |  | Why is overheating dangerous during winding? |  |  |
|  |  | What basic inspection is done before starting the winding machine? |  |  |
| Feedback to the Candidate |  |  |  |
| Candidate’s Signature__________________ Assessor’s Signature _________________ |  |  |  |