|  | Assessment Evidence Guide For Transformer Technician Level-4 Summative Assessment Activity-3 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer. - Perform Installation and Commissioning of Transformer. - Perform Preventive Maintenance of Transformer. - Perform Corrective Maintenance of Transformer. - Perform Transformer Winding operation. - Fabricate and weld transformer components. - Develop Entrepreneurship/ Business |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-3: You are required to prepare an oil-filled transformer by installing its components, conduct necessary tests, troubleshoot any issue, and document to ensure the transformer is ready for safe operation. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Identify hazards correctly. - Apply PPE, LOTO and PTW properly. - Conduct Tool Box Talk. - Install accessories securely and correctly. - Mount the transformer correctly on the foundation or platform. - Connect HV and LV terminals correctly according to specifications. - Perform electrical tests using proper procedures. - Check transformer oil level indicator - Record commissioning data accurately. - Produce a complete Preventive Maintenance checklist with accurate items. - Identify faults accurately. - Apply appropriate corrective measures. - Test winding with correct number of turns. - Measure and fabricate parts accurately. - Develop business plan includes services, costs, pricing, and profit |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-3: You are required to prepare an oil-filled transformer by installing its components, conduct necessary tests, troubleshoot any issue, and document to ensure the transformer is ready for safe operation. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Identify hazards correctly. |  |  |
| - Apply PPE, LOTO and PTW properly. |  |  |
| - Conduct Tool Box Talk |  |  |
| - Install accessories securely and correctly. |  |  |
| - Mount the transformer correctly on the foundation or platform. |  |  |
| - Connect HV and LV terminals correctly according to specifications. |  |  |
| - Perform electrical tests using proper procedures. |  |  |
| - Check transformer oil level indicator |  |  |
| - Record commissioning data accurately. |  |  |
| - Produce a complete Preventive Maintenance checklist with accurate items. |  |  |
| - Identify faults accurately. |  |  |
| - Apply appropriate corrective measures. |  |  |
| - Test winding with correct number of turns. |  |  |
| - Measure and fabricate parts accurately. |  |  |
| - Develop business plan includes services, costs, pricing, and profit |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Transformer Technician Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer. - Perform Installation and Commissioning of Transformer. - Perform Preventive Maintenance of Transformer. - Perform Corrective Maintenance of Transformer. - Perform Transformer Winding operation. - Fabricate and weld transformer components. - Develop Entrepreneurship/ Business |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-3: You are required to prepare an oil-filled transformer by installing its components, conduct necessary tests, troubleshoot any issue, and document to ensure the transformer is ready for safe operation. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Identified hazards correctly. |  |  |  |  |  |
|  | Applied PPE, LOTO and PTW properly. |  |  |  |  |  |
|  | Installed accessories securely and correctly. |  |  |  |  |  |
|  | Conducted Tool Box Talk. |  |  |  |  |  |
|  | Mounted the transformer correctly on the foundation or platform. |  |  |  |  |  |
|  | Connected HV and LV terminals correctly according to specifications. |  |  |  |  |  |
|  | Performed electrical tests using proper procedures. |  |  |  |  |  |
|  | Checked transformer oil level indicator |  |  |  |  |  |
|  | Record commissioning data accurately. |  |  |  |  |  |
|  | Produced a complete Preventive Maintenance checklist with accurate items. |  |  |  |  |  |
|  | Identied faults accurately. |  |  |  |  |  |
|  | Applied appropriate corrective measures. |  |  |  |  |  |
|  | Test winding with correct number of turns. |  |  |  |  |  |
|  | Measured and fabricated parts accurately. |  |  |  |  |  |
|  | Developed business plan includes services, costs, pricing, and profit |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What hazards did you identify before starting the task? |  |  |
| 2 | Why is hazard identification important in transformer work? |  |  |
| 3 | Can you explain the purpose of the LOTO procedure? |  |  |
| 4 | What could happen if the bushing is not installed properly? |  |  |
| 5 | What electrical tests did you perform and what is its purpose? |  |  |
| 6 | What is proper test sequence? |  |  |
| 7 | Which parameters or test values did you record? |  |  |
| 8 | How often should transformer Preventive Maintenance be performed? |  |  |
| 9 | Which Preventive Maintenance item do you think is the most critical and why? |  |  |
| 10 | What fault(s) did you find in the transformer test and how did you confirm it? |  |  |
| 11 | How do you make sure winding number of turns are as per specification mentioned on name plate? |  |  |
| 12 | What happens if the winding turns are incorrect? |  |  |
| 13 | What materials can be used for insulation in coil winding? |  |  |
| 14 | How do you check if insulation is applied correctly? |  |  |
| 15 | Which measuring tools did you use for fabrication? |  |  |
| 16 | What services are included in your business plan? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________