|  | Assessment Evidence Guide For Transformer Technician Level-4 Summative Assessment Activity-1 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer - Perform Installation and Commissioning of Transformer - Perform Preventive Maintenance of Transformer - Perform Corrective Maintenance of Transformer - Perform Transformer Winding operation - Fabricate and weld transformer components - Develop Entrepreneurship/ Business |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-1: You are given a 3-phase transformer showing abnormal temperature. Troubleshoot the fault(s), rectify the fault(s), reassemble the transformer, and retest it while keeping all safety aspects in view. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Apply workplace safety and PPE - Ensure clean and organized work area - Identify potential hazards and implement preventive measures - Isolate the transformer from supply. - Conduct physical inspection - Select and use proper electrical instruments /tools correctly - Perform diagnostic tests - Interpret test results - Diagnose the reason of overheating the transformer - Select appropriate materials for repair of detected transformer fault - Rectify the identified fault(s) - Refill/maintain transformer oil (if required) - Handle transformer oil and insulating materials safely - Re-assemble the transformer - Ensure proper insulation and connections - Conduct post-repair testing - Complete documentation - Communicate observations and actions clearly to supervisor - Follow environmental and waste disposal guidelines while handling components and oil |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-1: You are given a 3-phase transformer showing abnormal temperature. Troubleshoot the fault(s), rectify the fault(s), reassemble the transformer, and retest it while keeping all safety aspects in view. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Apply workplace safety and PPE |  |  |
| - Ensure clean and organized work area |  |  |
| - Identify potential hazards and implement preventive measures |  |  |
| - Isolate the transformer from supply. |  |  |
| - Conduct physical inspection |  |  |
| - Select and use proper electrical instruments /tools correctly |  |  |
| - Perform diagnostic tests |  |  |
| - Interpret test results |  |  |
| - Diagnose the reason of overheating the transformer |  |  |
| - Select appropriate materials for repair of detected transformer fault |  |  |
| - Rectify the identified fault(s) |  |  |
| - Refill/maintain transformer oil (if required) |  |  |
| - Handle transformer oil and insulating materials safely |  |  |
| - Re-assemble the transformer |  |  |
| - Ensure proper insulation and connections |  |  |
| - Conduct post-repair testing |  |  |
| - Complete documentation |  |  |
| - Communicate observations and actions clearly to supervisor |  |  |
| - Follow environmental and waste disposal guidelines while handling components and oil |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Transformer Technician (Industrial) Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer - Perform Installation and Commissioning of Transformer - Perform Preventive Maintenance of Transformer - Perform Corrective Maintenance of Transformer - Perform Transformer Winding operation - Fabricate and weld transformer components - Develop Entrepreneurship/ Business |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-1: You are given a 3-phase transformer showing abnormal temperature. Troubleshoot the fault(s), rectify the fault(s), reassemble the transformer, and retest it while keeping all safety aspects in view. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Applied workplace safety and PPE |  |  |  |  |  |
|  | Ensured clean and organized work area |  |  |  |  |  |
|  | Identified potential hazards and implement preventive measures |  |  |  |  |  |
|  | Isolated the transformer from supply. |  |  |  |  |  |
|  | Conducted physical inspection |  |  |  |  |  |
|  | Selected and use proper electrical instruments /tools correctly |  |  |  |  |  |
|  | Performed diagnostic tests |  |  |  |  |  |
|  | Interpreted test results |  |  |  |  |  |
|  | Diagnosed the reason of overheating the transformer |  |  |  |  |  |
|  | Selected appropriate materials for repair of detected transformer fault |  |  |  |  |  |
|  | Rectified the identified fault(s) |  |  |  |  |  |
|  | Refilled/maintained transformer oil (if required) |  |  |  |  |  |
|  | Handled the transformer oil and insulating materials safely |  |  |  |  |  |
|  | Re-assembled the transformer |  |  |  |  |  |
|  | Ensured proper insulation and connections |  |  |  |  |  |
|  | Conduct post-repair testing |  |  |  |  |  |
|  | Completed the documentation |  |  |  |  |  |
|  | Communicated observations and actions clearly to supervisor |  |  |  |  |  |
|  | Followed environmental and waste disposal guidelines while handling components and oil |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | What PPE should be worn before working on a transformer? |  |  |
|  | Why is it important to isolate the transformer electrically before inspection? |  |  |
|  | What is the purpose of a visual inspection on a transformer? |  |  |
|  | Name two common faults in a 3-phase transformer. |  |  |
|  | What instrument is used to check continuity in transformer windings? |  |  |
|  | How do you test the insulation resistance of a transformer? |  |  |
|  | What does a burnt smell in a transformer indicate?. |  |  |
|  | Why should all connections be tightened during reassembly? |  |  |
|  | What is the importance of checking the transformer oil level |  |  |
|  | Which instrument is used to identify a short-circuited winding? |  |  |
|  | What is the purpose of a no-load test? |  |  |
|  | Why should transformer faults and repairs be properly recorded and documented. |  |  |
|  | How can overheating damage a transformer? |  |  |
|  | What should be done if insulation resistance is below standard? |  |  |
|  | Name two safety precaution when handling a live transformer. |  |  |
|  | What is the function of the tap changer in a transformer? |  |  |
| 17. | How do you verify that a transformer is operating correctly after repair? |  |  |
| 18. | What would happen if phases are connected incorrectly during reassembly? |  |  |
| 19. | How often should transformer maintenance and testing be performed? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________