|  | Assessment Evidence Guide For Transformer Technician Level-4 Summative Assessment Activity-2 |
| --- | --- |
|  | Date 1-5 December, 2025 Lahore |
|  | National Vocational & Technical Training Commission |

Section A: Instruction Sheet for the Candidate

| Qualification | Transformer Technician Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer - Perform Installation and Commissioning of Transformer - Perform Preventive Maintenance of Transformer - Perform Corrective Maintenance of Transformer - Perform Transformer Winding operation - Fabricate and weld transformer components - Develop Entrepreneurship/ Business |
| Purpose of Assessment | Summative Assessment |
| Candidate Details | Name_______________________________________________________ Registration Number_________________________________________________ |

Section A1: Guidance for Candidate

| Guidance for Candidate | To meet this standard, you are required to complete the following within 04 hrs. time frame (for practical demonstration & assessment): Activity-2: A transformer needs repair due to a shorted winding turn. Disassemble the unit, perform a winding repair, reassemble the unit and verify its functionality. |
| --- | --- |
| Time: 04 Hrs | During a practical assessment, under observation by an assessor, you are required to demonstrate the following criteria: |
| Minimum Evidence Required | - Ensure effective use of PPEs - Safely isolate circuits using lock-out/tag-out procedures - Carry out visual inspection of the transformer - Applly diagnostic tools (multimeter, Megger, thermal scanner). - Perform tests to diagnose the faults. - Analyze test results to locate the fault. - Repaire/replace the faulty components - Conduct preliminary function test of replaced part. - Reassemble and tighten all connections securely. - Perform post-repair safety and insulation resistance tests - Perform tagging-in of the transformer after successful repair and testing. - Perform winding operation while maintaining correct tension and alignment - Apply interlayer insulation and spacers where required. - Label winding clearly as per phase sequence. - Ensure number of turns and layers meet design specifications. - Tie, tape, or secure winding according to standard practices. - Install and insulate terminals or leads correctly. - Perform required test as per SOPs - Cleane and inspect components before assembly. - Connect leads, taps, and bushings securely according to wiring diagram. - Assemble and tighten clamping structures, tank covers, and fasteners with proper torque. |

Section A2: Self-Assessment Checklist

| Assessment Task | Activity-2: A transformer needs repair due to a shorted winding turn. Disassemble the unit, perform a winding repair, reassemble the unit and verify its functionality. |
| --- | --- |

I can……………….

| Performance Criteria | Yes | No |
| --- | --- | --- |
| - Ensure effective use of PPEs |  |  |
| - Safely isolate circuits using lock-out/tag-out procedures |  |  |
| 3. Carry out visual inspection of the transformer |  |  |
| - Apply diagnostic tools (multimeter, Megger, thermal scanner). |  |  |
| - Perform tests to diagnose the faults. |  |  |
| - Analyze test results to locate the fault. |  |  |
| - Repair/replace the faulty components |  |  |
| - Conduct preliminary function test of replaced part. |  |  |
| - Reassemble and tighten all connections securely. |  |  |
| - Perform post-repair safety and insulation resistance tests |  |  |
| - Perform tagging-in of the transformer after successful repair and testing. |  |  |
| - Perform winding operation while maintaining correct tension and alignment |  |  |
| - Apply interlayer insulation and spacers where required. |  |  |
| - Label winding clearly as per phase sequence. |  |  |
| - Ensure number of turns and layers meet design specifications. |  |  |
| - Tie, tape, or secure winding according to standard practices. |  |  |
| - Install and insulate terminals or leads correctly. |  |  |
| - Perform required test as per SOPs |  |  |
| - Clean and inspect components before assembly. |  |  |
| - Connect leads, taps, and bushings securely according to wiring diagram. |  |  |
| - Assemble and tighten clamping structures, tank covers, and fasteners with proper torque. |  |  |

Candidate’s Signature__________________ Assessor’s Signature__________________

Date: _______________________________

Section B : Assessors Judgment Guide

| Qualification | Transformer Technician Level-4 |
| --- | --- |
| Competency Standards | - Maintain Safe Working Environment of Transformer - Perform Installation and Commissioning of Transformer - Perform Preventive Maintenance of Transformer - Perform Corrective Maintenance of Transformer - Perform Transformer Winding operation - Fabricate and weld transformer components - Develop Entrepreneurship/ Business |
| Candidate Details | Name: ______________________________________________________________ Registration Number: ________________________ Signature: _________________ |
| Assessment Outcome | COMPETENT NOT YET COMPETENT Name of the Assessor________________________________________________ Assessor’s code: ___________________ Signature: _____________________ |

| Assessment Summary (to be filled by the assessor) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity | Method |  |  |  |  | Result |  |
| Nature of Activity | Written | Oral | Observation | Portfolio | Role Play | Competent | Not Yet Competent |
| Practical Skill Demonstration |  |  |  |  |  |  |  |
| Knowledge Assessment |  |  |  |  |  |  |  |
| Other Requirement |  |  |  |  |  |  |  |

Section B1: Observation Checklist

| Assessment Task |  | Activity-2: A transformer needs repair due to a shorted winding turn. Disassemble the unit, perform a winding repair, reassemble the unit and verify its functionality. |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| During the practical assessment, candidate demonstrated the following: |  |  |  | Yes | No | Remarks |
|  | Ensured effective use of PPEs |  |  |  |  |  |
|  | Safely isolated circuits using lock-out/tag-out procedures |  |  |  |  |  |
|  | Carried out visual inspection of the transformer |  |  |  |  |  |
|  | Applied diagnostic tools (multimeter, Megger, thermal scanner). |  |  |  |  |  |
|  | Performed tests to diagnose the faults. |  |  |  |  |  |
|  | Analyzed test results to locate the fault. |  |  |  |  |  |
|  | Repaired/replaced the faulty components |  |  |  |  |  |
|  | Conducted preliminary function test of replaced part. |  |  |  |  |  |
|  | Reassembled and tighten all connections securely. |  |  |  |  |  |
|  | Performed post-repair safety and insulation resistance tests |  |  |  |  |  |
|  | Performed tagging-in of the transformer after successful repair and testing. |  |  |  |  |  |
|  | Performed winding operation while maintaining correct tension and alignment |  |  |  |  |  |
|  | Applied interlayer insulation and spacers where required. |  |  |  |  |  |
|  | Labeled winding clearly as per phase sequence. |  |  |  |  |  |
|  | Ensured number of turns and layers meet design specifications. |  |  |  |  |  |
|  | Tied, taped, or secured winding according to standard practices. |  |  |  |  |  |
|  | Installed and insulated terminals or leads correctly. |  |  |  |  |  |
|  | Performed required test as per SOPs |  |  |  |  |  |
|  | Cleaned and inspected components before assembly. |  |  |  |  |  |
|  | Connected leads, taps, and bushings securely according to wiring diagram. |  |  |  |  |  |
|  | Assembled and tighten clamping structures, tank covers, and fasteners with proper torque. |  |  |  |  |  |
| Competent |  |  | Not Competent |  |  |  |

Section B2: Knowledge Assessment

| Questions (Candidate confidently answered questions correctly and demonstrated understanding of the topics and their application) |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
| 1 | What is the purpose of grounding and discharging residual charge? |  |  |
| 2 | How do you verify de-energization of line? |  |  |
| 3 | Which PPEs are essential before starting transformer work? |  |  |
| 4 | Where must the LOTO be placed to safely isolate circuits? |  |  |
| 5 | Why is it crucial to implement national/international signage at the work site? |  |  |
| 6 | Name three common symptoms indicating a transformer fault |  |  |
| 7 | What tool is used to verify winding insulation resistance? |  |  |
| 8 | How do you analyze test results to specifically locate a fault? |  |  |
| 9 | What is the further step after identifying the nature and severity of faults? |  |  |
| 10 | What type of visual inspection must be carried out on the transformer's exterior? |  |  |
| 11 | What are common indications of transformer failure? |  |  |
| 12 | How must connections be treated when reassembling components? |  |  |
| 13 | When is tagging-in performed on the transformer? |  |  |
| 14 | Which post-repair tests are essential before re-energizing? |  |  |
| 15 | How to avoid similar faults in future? |  |  |
| 16 | What must be maintained during the winding operation? |  |  |
| 17 | What is the key requirement for the number of turns and layers? |  |  |
| 18 | Name two common winding issues that must be avoided |  |  |
| 19 | What is the purpose of applying interlayer insulation and spacers? |  |  |
| 20 | What is the working principle of transformer? |  |  |

Feedback to the Candidate

Candidate’s Signature__________________ Assessor’s Signature ___________________