Trade Registration Form

- Description of Qualification

| ## Code & Title of Qualification | 0713E&E43 - National Diploma in Transformer (Technician) Level-4 |
| --- | --- |
| ## Date of development | 25-29 August, 2025 |
| ## Entry requirement | Industrial Electrician (Level-3), or Equivalent qualification |
| ## Minimum qualification for teachers / instructors | BS/BSc/BE Engineering (Electrical/ Electronics) with 3 years of Experience OR B.Tech (Honour) / BS Technology (Electrical/ Electronics) with 3 years of Experience OR Diploma of Associate Engineers (DAE in Electrical/ Electronic) with 5 years’ experience |
| ## Medium of instruction | English |
| ## Duration of course | Theory: 0 90 Hours Practical: 500 Hours On Job Training: 240 Hours Total: 830 Hours |

- List of Competencies/Modules

| Module Code | Name of Competency | Competency level | Category |
| --- | --- | --- | --- |
| 0713E&E4301 | Maintain Safe Working Environment of Transformer | L-4 | Functional |
| 0713E&E4302 | Perform Installation and Commissioning of Transformer | L-4 | Technical |
| 0713E&E4303 | Perform Preventive Maintenance of Transformer | L-4 | Technical |
| 0713E&E4304 | Perform Corrective Maintenance of Transformer | L-4 | Technical |
| 0713E&E4305 | Perform Transformer Winding operation | L-4 | Technical |
| 0713E&E4306 | Fabricate and weld transformer components | L-4 | Technical |
| 0713E&E4307 | Develop Entrepreneurship/ Business | L-4 | Technical |
| 0713E&E4308 | On Job Training |  | Technical |

- Class / Workshop Size/ Dimension (Trainee Capacity: 25)

| Description | Requirement | Size/Dimensions |
| --- | --- | --- |
| Classroom size | Yes | As prescribed by the respective provincial Qualification Awarding Body |
| Workshop/Laboratory size | Yes |  |
| Any other Requirement | As prescribed by the respective Qualification Awarding Body |  |

- Machinery / Lab Equipment (with quantity / 25 Trainees)

| S.No | Items | Quantity |
| --- | --- | --- |
| 1 | Personal Protective Equipment’s (PPEs) (Safety Gloves (upto rated 2kV&18kV), Safety Helmets, Safety Glasses, Arc Flash Suit, Safety Shoes, Full Body Harness, Safety Belt, Ear Plugs, Ear Moff, Apron, Safety Jacket) | 25 Sets |
| 2 | Fire Extinguishers (CO2, DCP) | 01 each |
| 3 | Fire Hydrants | 01 Nos |
| 4 | Fire Ball Extinguisher | 02 Nos |
| 5 | Fire Blankets | 10 Nos |
| 6 | Sand Buckets | 06 Nos |
| 7 | First Aid Kit | 02 Nos |
| 8 | Safety Mask N95 | 02 Nos |
| 9 | Portable Temporary Ground | 02 Nos |
| 10 | Grounding Rods & Cables | 02 Nos |
| 11 | Lockout/Tagout (LOTO) Kits | 02 Nos |
| 12 | Safety Barriers & Cones | 02 Nos |
| 13 | Smoke & Gas Detectors | 02 Nos |
| 14 | Emergency Alarm Systems | 02 Nos |
| 15 | Digital Multimeter | 02 Nos |
| 16 | DC/AC Clamp Meter | 02 Nos |
| 17 | Power Quality Analyzer | 02 Nos |
| 18 | Infrared Thermometer | 02 Nos |
| 19 | Motor Generator Set | 02 Nos |
| 20 | Fuel Flow Meter (For Diesel Generators) | 02 Nos |
| 22 | Solar Irradiance Meter (For Renewable Systems) | 02 Nos |
| 23 | Lockout/Tagout (LOTO) Kit | 06 Nos |
| 24 | Grounding Rods & Clamps | 06 Nos |
| 25 | Insulation Resistance Tester | 06 Nos |
| 26 | Circuit Breaker Analyzer | 06 Nos |
| 27 | Synchroscope | 06 Nos |
| 28 | Magnetic Contactor 220V | 06 Nos |
| 30 | Magnetic Contactor 400V | 06 Nos |
| 31 | On-Off Push Buttons | 06 Nos |
| 32 | Rev-Stop-For Push Button | 06 Nos |
| 33 | Thermal Overload | 06 Nos |
| 34 | Phase Sequence Relay | 06 Nos |
| 35 | Current Transformer (CTs) | 06 Nos |
| 36 | Potential Transformers (PTs) | 02 Nos |
| 37 | Galvanometer | 02 Nos |
| 38 | Exciters | 02 Nos |
| 40 | Automatic Voltage Regulator | 02 Nos |
| 41 | Frequency Meter | 02 Nos |
| 42 | Single Phase Wattmeter | 02 Nos |
| 43 | Three Phase Wattmeter | 02 Nos |
| 44 | DC Wattmeter (100W) | 02 Nos |
| 45 | Digital Lux Meter | 02 Nos |
| 46 | Analog Lux Meter | 02 Nos |
| 47 | Solar Panels (180W, 585W) | 02 Nos |
| 48 | Inverters (1000W, 2kW, 5kW) | 02 Nos |
| 49 | Controller Trainer | 04 Nos |
| 50 | Charge Controller PWM (20A, 30A) | 03 each |
| 51 | Charge Controller MPPT (40A) | 04 Nos |
| 52 | Battery 100Ah | 05 Nos |
| 53 | Battery 200Ah | 05 Nos |
| 54 | Single Phase Energy meters (Analog and Digital) | 05 each |
| 55 | Three Phase Energy meters (Analog and Digital) | 05 each |
| 56 | Testing Board | 25 Nos |
| 57 | Single Pole Circuit Breaker (C6, C13, C63) | 02 each |
| 58 | Two Pole Circuit Breaker (C6, C13, C63) | 02 each |
| 59 | Three Pole Circuit Breaker (C6, C13, C63) | 02 each |
| 60 | Power Factor meter | 05 Nos |
| 61 | kVAR meter | 02 Nos |
| 62 | Four Pole Circuit Breaker (C6, C13, C63) | 02 each |
| 63 | Barcode Scanners (For Equipment Tagging & Tracking) | 01 Nos |
| 64 | RFID Tags & Readers (For Asset Management) | 01 Nos |
| 65 | Handheld Label Printers (For Equipment & Component Labelling) | 01 Nos |
| 66 | Digital Weighing Scales (For Measuring Components & Materials) | 02 Nos |
| 67 | Microsoft Office 2024 | 01 Nos |
| 68 | Computer | 25 Nos |
| 69 | Frequency Telephone Set | 02 Nos |
| 70 | kVARs Meters | 05 Nos |

- Consumable (with quantity/25 Students)

| S. No. | Items | Quantity |
| --- | --- | --- |
|  | Cable (various gauges: 1.5mm², 2.5mm², 4mm², etc.) | 90m per type |
|  | Log Books | 25 Nos |
|  | Microsoft Office 2024 | 01 Nos |
|  | Safety googles, helmets, high voltage gloves. | 25 each |
|  | Connectors & terminals (lug connectors, ring terminals) | 1000 pcs |
|  | Fuses (various ratings: 5A, 10A, 15A, 20A) | 100 each |
|  | Circuit breakers (MCB, MCCB, RCD) | 50 each |
|  | Batteries (for meters & analyzers, AA, AAA, 9V, lithium-ion) | 24 each |
|  | Insulation tape (red, black, yellow, green, blue) | 5 roll each |
|  | Heat shrinks tubing (assorted sizes) | 100m |
|  | Cable glands (assorted sizes) | 100 pcs |
|  | Cable lugs & ferrules | 1000 pcs |
|  | Safety gloves (electrical insulated, cut-resistant, nitrile) – | 50 pairs |
|  | Helmets | 50 pcs |
|  | Safety glasses | 50 pcs |
|  | Arc flash suits | 5 sets |
|  | Face masks (N95, surgical) | 300 pcs |
|  | Earplugs | 200 pairs |
|  | Face shields | 10 pcs |
|  | High-visibility vests | 50 pcs |
|  | Respirators | 10 pcs |
|  | Safety shoes (optional if required) | 50 pairs |
|  | Cable ties (various sizes) | 2000 pcs |
|  | Marking labels (self-adhesive, cable labels) | 500 pcs |
|  | Lockout/Tagout tags | 100 pcs |
|  | Industrial-grade lubricants & grease | 20 Liters |
|  | Contact cleaner spray | 10 cans |
|  | Rust removers | 5 Liters |
|  | Wire strippers & cutters (extra consumable blades) | 10 pcs |
|  | Calibration stickers & logbooks | 10 set |
|  | Ethernet cables (Cat 6, Cat 5e) | 1000m roll |
|  | RJ45 connectors | 500 pcs |
|  | Fiber optic cables | 500m |
|  | Fiber optic connectors (SC, LC, ST) | 100 pcs |
|  | Network switch replacement modules | 5 pcs |
|  | Power strips & surge protectors | 20 pcs |
|  | BNC connectors (for oscilloscopes) | 10 pcs |
|  | Fire extinguishers (CO₂, dry chemical, foam) | 2 pcs |
|  | Fire extinguisher refills | 5 sets |
|  | Fire blankets | 10 pcs |
|  | First aid kits | 10 kits |
|  | Emergency exit sign | 10 pcs |
|  | Emergency lights (batteries included) | 10 pcs |
|  | Eye wash station solution | 5 Liters |
|  | Safety cones & barriers | 20 sets |
|  | Multimeter probes & leads | 50 sets |
|  | Clamp meter accessories (flexible CT coils, extra clamps) | 10 sets |
|  | Oscilloscope probes | 20 sets |
|  | Pressure gauge calibration kits | 5 sets |
|  | Infrared thermometer lens cleaning wipes | 50 packs |
|  | Battery analyzer test leads | 20 sets |
|  | Earth tester auxiliary electrodes | 10 sets |
|  | Whiteboard Markers | 50 sets |
|  | Whiteboard Cleaner | 10 bottles |
|  | Projector bulbs | 5 pcs |
|  | Presentation boards & flip charts | 5 pcs |
|  | Printed training manuals & datasheets | 25 copies |
|  | USB flash drives (for software & reports) | 50 pcs |
|  | Ethernet patch cables (for network devices) | 100 pcs |
|  | Barcode labels (for scanner testing) | 1000 pcs |

- Any other co-curricular activities

| Activity | Requirement |
| --- | --- |
| Playgrounds | Yes (Optional) |
| Industry linkage | Yes |
| Teacher training | Yes |